## input
ÿþ##BLOCKS= 4
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 PlateFormat Endpoint Fluorescence FALSE Reduced FALSE 1 1 535 1 12 96 485 Manual 0 1 8
1 2 3 4 5 6 7 8 9 10 11 12
15092956.666666666 12557403.666666666 12067415.666666666 10980718.666666666 2089.6666666666661 -7939.3333333333339 -7982.3333333333339 -7905.3333333333339 -7997.3333333333339 -7891.3333333333339 -7958.3333333333339 -7946.3333333333339
5727157.666666667 4837750.666666667 8226252.666666667 6343926.666666667 -111.33333333333394 -7959.3333333333339 -7757.3333333333339 -7908.3333333333339 -7899.3333333333339 -7918.3333333333339 -7858.3333333333339 -7843.3333333333339
-248.33333333333394 4715777.666666667 2951584.6666666665 4147867.6666666665 509684.66666666669 -7943.3333333333339 -7849.3333333333339 -7936.3333333333339 -7902.3333333333339 -7921.3333333333339 -7479.3333333333339 -8015.3333333333339
-762.33333333333394 2855448.6666666665 2646571.6666666665 2543654.6666666665 331790.66666666669 -7934.3333333333339 -7905.3333333333339 -7929.3333333333339 -7977.3333333333339 -7797.3333333333339 -7869.3333333333339 -7893.3333333333339
325.66666666666606 2407.6666666666661 2466898.6666666665 2194947.6666666665 -7902.3333333333339 -7935.3333333333339 -7949.3333333333339 -7954.3333333333339 -7895.3333333333339 -7962.3333333333339 -7940.3333333333339 -7907.3333333333339
630.66666666666606 1145499.6666666667 981489.66666666663 1011129.6666666666 -7488.3333333333339 -7779.3333333333339 -5875.3333333333339 -7915.3333333333339 -6931.3333333333339 -7924.3333333333339 -7962.3333333333339 -7933.3333333333339
19.66666666666606 727323.66666666663 667588.66666666663 648707.66666666663 -7914.3333333333339 -7973.3333333333339 -7973.3333333333339 -7918.3333333333339 -7873.3333333333339 -7904.3333333333339 -7990.3333333333339 -7940.3333333333339
34.66666666666606 499162.66666666669 460505.66666666669 480648.66666666669 -7901.3333333333339 -7877.3333333333339 -7896.3333333333339 -7915.3333333333339 -5260.3333333333339 -4829.3333333333339 -7893.3333333333339 -7986.3333333333339
~End
Group: Standards
Sample Concentration µg/mL BackCalcConc Wells Value MeanValue SD CV
01 21.600 23.530 A2 12557403.667 11868512.667 806942.191 6.8
22.607 A3 12067415.667
20.560 A4 10980718.667
02 12.960 8.987 B2 4837750.667 6469310.000 1697727.065 26.2
15.371 B3 8226252.667
11.825 B4 6343926.667
03 7.776 8.757 C2 4715777.667 3938410.000 900554.619 22.9
5.434 C3 2951584.667
7.688 C4 4147867.667
04 4.666 5.253 D2 2855448.667 2681891.667 158869.448 5.9
4.859 D3 2646571.667
4.665 D4 2543654.667
05 2.799 -0.122 E2 2407.667 1554751.333 1351228.138 86.9
4.521 E3 2466898.667
4.008 E4 2194947.667
06 1.680 2.031 F2 1145499.667 1046039.667 87400.521 8.4
1.722 F3 981489.667
1.778 F4 1011129.667
07 1.008 1.244 G2 727323.667 681206.667 41039.083 6.0
1.131 G3 667588.667
1.096 G4 648707.667
08 0.605 0.814 H2 499162.667 480105.667 19334.220 4.0
0.741 H3 460505.667
0.779 H4 480648.667
Group Summaries
MinStd Smallest standard value: Min(MeanValue)
MaxStd Largest standard value: Max(MeanValue)
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 A5 2089.667 R -0.123 0.271 0.477 176.1
B5 -111.333 R -0.127
C5 509684.667 R 0.834
D5 331790.667 R 0.499
Group Summaries
InRange R - Outside standard range
~End
Original Filename: 20171016-sorghum1; Date Last Saved: 10/16/2017 12:43:02 PM