## input
ÿþ##BLOCKS= 4
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 PlateFormat Endpoint Fluorescence FALSE Reduced FALSE 1 1 535 1 12 96 485 Manual 0 1 8
1 2 3 4 5 6 7 8 9 10 11 12
-3371.125 14069036.875 11842541.875 10327535.875 1993739.875 -15269.125 -15277.125 -15237.125 -15274.125 -15223.125 -15220.125 -15115.125
-4113.125 500902.875 15237115.875 7002.875 1637838.875 -15225.125 -15223.125 -15218.125 -15258.125 -15214.125 -15246.125 -15242.125
-2296.125 4605034.875 4548678.875 3826906.875 -4447.125 -15249.125 -15200.125 -15125.125 -15275.125 -15257.125 -15233.125 -15247.125
-4660.125 3302470.875 405897.875 -2986.125 2101702.875 -15211.125 -15178.125 -15189.125 -15276.125 -15161.125 -15297.125 -15252.125
26854.875 1767418.875 1852277.875 1237847.875 3756784.875 -15251.125 -14910.125 -15308.125 -15245.125 -15174.125 -15219.125 -15310.125
-4184.125 1156402.875 915046.875 776787.875 4483529.875 -15213.125 -15236.125 -15192.125 -15189.125 -15170.125 -15212.125 -15252.125
-3702.125 656132.875 523950.875 457298.875 2650708.875 -15200.125 -15198.125 -15209.125 -15226.125 -15249.125 -15221.125 -15245.125
-4528.125 504547.875 392879.875 437988.875 2629350.875 -15190.125 -15241.125 -15278.125 -15271.125 -15110.125 -15275.125 -15222.125
~End
Group: Standards
Sample Concentration µg/mL BackCalcConc Wells Value MeanValue SD CV
01 21.600 26.919 A2 14069036.875 12079704.875 1881991.538 15.6
22.723 A3 11842541.875
19.868 A4 10327535.875
02 12.960 1.350 B2 500902.875 5248340.542 8654057.360 164.9
29.120 B3 15237115.875
0.419 B4 7002.875
03 7.776 9.084 C2 4605034.875 4326873.542 433899.759 10.0
8.978 C3 4548678.875
7.618 C4 3826906.875
04 4.666 6.630 D2 3302470.875 1235127.542 1802006.625 145.9
1.171 D3 405897.875
0.401 D4 -2986.125
05 2.799 3.737 E2 1767418.875 1619181.542 332959.136 20.6
3.897 E3 1852277.875
2.739 E4 1237847.875
06 1.680 2.585 F2 1156402.875 949412.542 192126.615 20.2
2.131 F3 915046.875
1.870 F4 776787.875
07 1.008 1.643 G2 656132.875 545794.208 101200.733 18.5
1.394 G3 523950.875
1.268 G4 457298.875
08 0.605 1.357 H2 504547.875 445138.875 56176.307 12.6
1.147 H3 392879.875
1.232 H4 437988.875
Group Summaries
MinStd Smallest standard value: Min(MeanValue)
MaxStd Largest standard value: Max(MeanValue)
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 A5 1993739.875 R 4.163 4.941 2.560 51.8
B5 1637838.875 R 3.493
C5 -4447.125 R 0.398
D5 2101702.875 R 4.367
E5 3756784.875 R 7.486
F5 4483529.875 R 8.855
G5 2650708.875 R 5.401
H5 2629350.875 R 5.361
Group Summaries
InRange R - Outside standard range
~End
Original Filename: 20171116-sorghum2; Date Last Saved: 11/16/2017 4:05:59 PM