## input
ÿþ##BLOCKS= 4
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
23 3802.5 8941114.5 9010378.5 9007317.5 35789.5 147877.5 29108.5 -12466.5 -12421.5 -12425.5 -12402.5 -12383.5
1203.5 5415350.5 5935597.5 5003334.5 10565.5 61033.5 364566.5 -12426.5 -12461.5 -12414.5 -12520.5 -12444.5
1134.5 3236004.5 2921844.5 3007201.5 11166.5 159123.5 579633.5 -12464.5 -12445.5 -12490.5 -12157.5 -12377.5
-1506.5 1954310.5 1888538.5 1568239.5 25689.5 106212.5 45598.5 -12535.5 -12410.5 -12427.5 -12547.5 -12448.5
-2706.5 1081735.5 1109369.5 1005222.5 48058.5 100505.5 100185.5 -12430.5 -12416.5 -12433.5 -12409.5 -12438.5
2419.5 677911.5 660055.5 596202.5 18546.5 35381.5 3305.5 -12367.5 -12108.5 -12513.5 -12209.5 -11223.5
14.5 429071.5 409483.5 387505.5 22062.5 168957.5 184507.5 -12440.5 -12378.5 -11308.5 -12336.5 -12412.5
-4361.5 271046.5 264198.5 222180.5 10887.5 5313.5 74945.5 -12248.5 -12113.5 -12502.5 -12315.5 -12238.5
1 2 3 4 5 6 7 8 9 10 11 12
3802.5 8941114.5 9010378.5 9007317.5 35789.5 147877.5 29108.5 -12466.5 -12421.5 -12425.5 -12402.5 -12383.5
1203.5 5415350.5 5935597.5 5003334.5 10565.5 61033.5 364566.5 -12426.5 -12461.5 -12414.5 -12520.5 -12444.5
1134.5 3236004.5 2921844.5 3007201.5 11166.5 159123.5 579633.5 -12464.5 -12445.5 -12490.5 -12157.5 -12377.5
-1506.5 1954310.5 1888538.5 1568239.5 25689.5 106212.5 45598.5 -12535.5 -12410.5 -12427.5 -12547.5 -12448.5
-2706.5 1081735.5 1109369.5 1005222.5 48058.5 100505.5 100185.5 -12430.5 -12416.5 -12433.5 -12409.5 -12438.5
2419.5 677911.5 660055.5 596202.5 18546.5 35381.5 3305.5 -12367.5 -12108.5 -12513.5 -12209.5 -11223.5
14.5 429071.5 409483.5 387505.5 22062.5 168957.5 184507.5 -12440.5 -12378.5 -11308.5 -12336.5 -12412.5
-4361.5 271046.5 264198.5 222180.5 10887.5 5313.5 74945.5 -12248.5 -12113.5 -12502.5 -12315.5 -12238.5
~End
Group: Standards
Sample Concentration µg/mL BackCalcConc Wells Value MeanValue SD CV
01 21.600 21.509 A2 8941114.500 8986270.167 39135.893 0.4
21.674 A3 9010378.500
21.667 A4 9007317.500
02 12.960 13.096 B2 5415350.500 5451427.500 467177.416 8.6
14.337 B3 5935597.500
12.113 B4 5003334.500
03 7.776 7.895 C2 3236004.500 3055016.833 162446.471 5.3
7.146 C3 2921844.500
7.349 C4 3007201.500
04 4.666 4.837 D2 1954310.500 1803696.167 206546.291 11.5
4.680 D3 1888538.500
3.916 D4 1568239.500
05 2.799 2.755 E2 1081735.500 1065442.500 53951.328 5.1
2.821 E3 1109369.500
2.572 E4 1005222.500
06 1.680 1.791 F2 677911.500 644723.167 42958.125 6.7
1.749 F3 660055.500
1.596 F4 596202.500
07 1.008 1.197 G2 429071.500 408686.833 20794.449 5.1
1.151 G3 409483.500
1.098 G4 387505.500
08 0.605 0.820 H2 271046.500 252475.167 26458.437 10.5
0.804 H3 264198.500
0.704 H4 222180.500
Group Summaries
MinStd Smallest standard value: 252475.167 Min(MeanValue)
MaxStd Largest standard value: 8986270.167 Max(MeanValue)
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 A5 35789.500 R 0.259 0.407 0.314 77.2
A6 147877.500 R 0.527
A7 29108.500 R 0.243
B5 10565.500 R 0.199
B6 61033.500 R 0.319
B7 364566.500 1.044
C5 11166.500 R 0.200
C6 159123.500 R 0.553
C7 579633.500 1.557
D5 25689.500 R 0.235
D6 106212.500 R 0.427
D7 45598.500 R 0.282
E5 48058.500 R 0.288
E6 100505.500 R 0.413
E7 100185.500 R 0.413
F5 18546.500 R 0.218
F6 35381.500 R 0.258
F7 3305.500 R 0.182
G5 22062.500 R 0.226
G6 168957.500 R 0.577
G7 184507.500 R 0.614
H5 10887.500 R 0.200
H6 5313.500 R 0.186
H7 74945.500 R 0.352
Group Summaries
InRange R - Outside standard range
~End
Original Filename: 20180201-sorgum-bradseq; Date Last Saved: 2/1/2018 12:55:29 PM