## 8_23_07_andrew_eckhert
Load time: | 2007-08-23 12:11
Read time: | 2007-08-23 12:11
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | DNA-Tech
Plate ID: | #1316
Comment: | standard
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31.6 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f4
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 1 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 39189580 | cps
Min counts: | 5492 | counts
Well list: | r0(a1:h12) = (f4(a1:h12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 165559600 | 212851700 | 115009000 | 238567900 | 50637100 | 74489800 | 157872500 | 46534700 | 1347903900 | 1379891900 | 315256100 | 79915200
B | 42746400 | 912088700 | 347940100 | 1099690400 | 1186965600 | 570155000 | 19331500 | 28726000 | 1426362900 | 1254188900 | 120853300 | 120187000
C | 120386900 | 412848900 | 748087600 | 1383343700 | 3464798000 | 482620000 | 112543800 | 46449000 | 103596600 | 136053900 | 320667600 | 1354918900
D | 94925500 | 57233200 | 853718700 | 1167924300 | 357834400 | 545016100 | 125107900 | 167401500 | 200658900 | 41061700 | 702584700 | 537470600
E | 1084532500 | 1885970000 | 1946467600 | 532955700 | 2245717200 | 2529227200 | 3044830800 | 3918958000 | 102730500 | 93745300 | 172861400 | 46991600
F | 271524500 | 227525800 | 150121900 | 32999700 | 54672800 | 17256500 | 22339300 | 22786700 | 31505400 | 22624800 | 180763500 | 1453645600
G | 174190800 | 316042500 | 103615700 | 1379513400 | 988070000 | 1119617800 | 1745643800 | 46677500 | 417530100 | 217420300 | 3578738000 | 64943000
H | 629257800 | 317726300 | 741584600 | 1458035400 | 1851795200 | 1121727800 | 266752200 | 114228500 | 299542800 | 280298900 | 116227400 | 5492000
[6 empty] | equals | raw data
1
100 | 17000000000 | 13000000000 | 14000000000
10 | 1560000000 | 1270000000 | 1640000000
1 | 228000000 | 208000000 | 199000000
0.1 | 52600000 | 51900000 | 25600000 |  |  | equals | standard curves and slope
0.01 | 21100000 | 16400000 | 7600000
5.8826e-09 | 1380000
7.7142e-09 |  |  | 7.7142e-09
7.1863e-09
| 1.2772 | 1.642 | 0.8872 | 1.8404 | 0.39062 | 0.57463 | 1.2179 | 0.35898 | 10.398 | 10.6448 | 2.4319 | 0.61648
| 0.32975 | 7.036 | 2.6841 | 8.4832 | 9.1565 | 4.3983 | 0.14913 | 0.2216 | 11.0033 | 9.6751 | 0.93229 | 0.92715
| 0.92869 | 3.1848 | 5.7709 | 10.6714 | 26.7282 | 3.723 | 0.86819 | 0.35832 | 0.79917 | 1.0495 | 2.4737 | 10.4521
| 0.73227 | 0.44151 | 6.5858 | 9.0096 | 2.7604 | 4.2044 | 0.96511 | 1.2914 | 1.5479 | 0.31676 | 5.4199 | 4.1462
| 8.3663 | 14.5488 | 15.0154 | 4.1113 | 17.3239 | 19.511 | 23.4884 | 30.2316 | 0.79248 | 0.72317 | 1.3335 | 0.3625
| 2.0946 | 1.7552 | 1.1581 | 0.25457 | 0.42176 | 0.13312 | 0.17233 | 0.17578 | 0.24304 | 0.17453 | 1.3944 | 11.2137
| 1.3437 | 2.438 | 0.79931 | 10.6418 | 7.6222 | 8.637 | 13.4662 | 0.36008 | 3.2209 | 1.6772 | 27.6071 | 0.50098
| 4.8542 | 2.451 | 5.7207 | 11.2476 | 14.2851 | 8.6532 | 2.0578 | 0.88118 | 2.3107 | 2.1623 | 0.8966 | 0.042366
[6 empty] | equals | actual DNA concentration in ng/ul