## input
Load time: 1/2/2007 12:57
Read time: 1/2/2007 12:57
Kinetic read cycle: 1 of 1
Read start delay time: 0 s
Time delay between kinetic reads: <n/a>
Barcode: <n/a>
Method ID: DNA-Tech
Plate ID: #856
Comment: standard
Microplate format: Greiner Square 384 Flat Black PP
Shake time: 0 s
Temperature: 31.4 C
Instrument tag:
Serial number: AD2123
Read sequence: column
Mode sequence: plate
Detection mode: f4
Light sensor: HC-120
Excitation side: Top
Emission side: Top
Lamp: Continuous
Readings per well: 1
Time between readings: <n/a>
Integration time: 100000 us
Attenuator mode: m
Motion settling time: 25 ms
Z Height: 0 mm Bottom
Excitation filter: 1 Fluorescein 485 nm
Emission filter: 1 Fluorescein 530 nm
Beamsplitter: Top Fluorescein 505
Excitation polarizer filter: o
Emission polarizer filter: o
Detector counting: SmartRead
Flash lamp voltage: <n/a>
Delay after flash: <n/a>
Sensitivity setting: 2
A/D converter gain: x1
Integrating gain: x1
Max cps: 72287136 cps
Min counts: 3544 counts
Well list: r0(a1:a14) = (f4(a1:a14))
Data: RAW DATA
Units: rfu
Display format: %.9e
1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24
7.69E+07 7.23E+09 5.07E+07 7.06E+09 7.21E+07 6.41E+09 3.45E+07 6.57E+09 2.84E+07
C
D
E
F
G
H
I
J
K
L
M
N
O
P