## A - template 0.01-10ng per ul
Raw data: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 17825195200 | 10256234400 | 15400574400 | 16780720000 | 6483777200 | 13388811200 | 12431552000 | 5595984400 | 4047812400 | 13315572000 | 15352011200 | 14928344000
B | 18259752000 | 10213204000 | 14680758400 | 14814779200 | 16087587200 | 13428048000 | 7994263200 | 644621800 | 12943852800 | 10806146400 | 2294537400 | 14188726400
C | 20359670400 | 16897201600 | 16062708800 | 15876104000 | 14025227200 | 13500190400 | 1234330000 | 721186700 | 4916907600 | 12095668000 | 14188726400 | 10495298400
D | 17287196800 | 16061052800 | 14614654400 | 18467544000 | 15352011200 | 13944881600 | 4513230800 | 14725161600 | 1205430200 | 8857869600 | 11616748800 | 13425732800
E | 16440713600 | 17599660800 | 9854652800 | 16809689600 | 14793676800 | 16008241600 | 3389144400 | 1502480500 | 3238115600 | 6420978800 | 13670777600 | 15723880000
F | 16926576000 | 16897201600 | 15597937600 | 16250360000 | 17015313600 | 16248664000 | 2528683800 | 12909529600 | 3426490000 | 12641366400 | 4989182400 | 16527923200
G | 17287196800 | 16466779200 | 14859996800 | 15981966400 | 15826107200 | 16303078400 | 8363784800 | 13691203200 | 14313875200 | 8914637600 | 5229154800 | 10339275200
H | 14551859200 | 11059289600 | 14210728000 | 12095668000 | 13407246400 | 17727833600 | 17074988800 | 17923632000 | 16694406400 | 17567908800 | 10244769600 | 16114211200
ng/ul
6025146000
732350600
279720300
45233300
slope: | #VALUE! | #VALUE!
DNA conc: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## B - template 0.01-100ng per ul
Raw data: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 4525948400 | 1595038500 | 2316578400 | 4623188400 | 650302000 | 1608277300 | 2354032200 | 864268700 | 627647700 | 1731428400 | 2834337600 | 3030858600
B | 7395082400 | 1472516100 | 2156950400 | 2558794600 | 2631536200 | 1625171700 | 1219403500 | 122264100 | 2011779400 | 1694406400 | 367756200 | 3307409200
C | 9035623200 | 3234888200 | 3247633000 | 2852605800 | 1806412200 | 1690325200 | 146939500 | 104606300 | 862598600 | 1721232600 | 2637952600 | 1924833800
D | 5063449200 | 3125408000 | 1961105800 | 5806209200 | 2529997800 | 1771171000 | 675428000 | 2659069200 | 202420000 | 1437409600 | 1321942100 | 2381852600
E | 3358024800 | 2463079000 | 1468283400 | 4034395200 | 2043310400 | 2747754800 | 737038200 | 217237300 | 444824400 | 802374300 | 2178790200 | 3260683800
F | 2630203400 | 2972226200 | 2898459600 | 2351935400 | 6238675600 | 2065990400 | 398543400 | 2362635800 | 549715800 | 2214467400 | 579946500 | 4373605600
G | 8091000000 | 2533289000 | 2280230600 | 2506148400 | 3871864400 | 3188151400 | 1288710500 | 2110891000 | 2163209800 | 2051760200 | 920322600 | 1195229700
H | 2743400200 | 1357264200 | 1628177900 | 1375843100 | 2058701000 | 4863642800 | 3478281200 | 3301801600 | 3443454400 | 3180860800 | 1353008900 | 3516754000
ng/ul | RFU |  | final conc
2 | 16444185600
0.2 | 2769343800
0.02 | 340476500
0.002 | 53857800
slope: | 1.2388e-10 | 1.2388e-10
| 0.56069 | 0.1976 | 0.28699 | 0.57274 | 0.080562 | 0.19924 | 0.29163 | 0.10707 | 0.077755 | 0.2145 | 0.35113 | 0.37547
| 0.91613 | 0.18242 | 0.26721 | 0.31699 | 0.326 | 0.20133 | 0.15106 | 0.015147 | 0.24923 | 0.20991 | 0.045559 | 0.40973
| 1.1194 | 0.40075 | 0.40233 | 0.35339 | 0.22378 | 0.2094 | 0.018203 | 0.012959 | 0.10686 | 0.21323 | 0.3268 | 0.23846
| 0.62728 | 0.38719 | 0.24295 | 0.71929 | 0.31343 | 0.21942 | 0.083674 | 0.32941 | 0.025077 | 0.17807 | 0.16377 | 0.29507
| 0.416 | 0.30513 | 0.1819 | 0.4998 | 0.25313 | 0.3404 | 0.091307 | 0.026912 | 0.055106 | 0.099401 | 0.26992 | 0.40394
| 0.32584 | 0.36821 | 0.35907 | 0.29137 | 0.77287 | 0.25594 | 0.049373 | 0.29269 | 0.068101 | 0.27434 | 0.071846 | 0.54182
| 1.0023 | 0.31383 | 0.28248 | 0.31047 | 0.47966 | 0.39496 | 0.15965 | 0.2615 | 0.26799 | 0.25418 | 0.11401 | 0.14807
| 0.33986 | 0.16814 | 0.2017 | 0.17044 | 0.25504 | 0.60253 | 0.4309 | 0.40904 | 0.42659 | 0.39406 | 0.16762 | 0.43567
actual DNA conc: | 112.1381 | 39.5198 | 57.3972 | 114.5474 | 16.1123 | 39.8478 | 58.3252 | 21.4137 | 15.551 | 42.8991 | 70.2255 | 75.0947
| 183.2258 | 36.4841 | 53.4421 | 63.3985 | 65.2008 | 40.2664 | 30.2128 | 3.0293 | 49.8453 | 41.9818 | 9.1118 | 81.9467
| 223.8729 | 80.1499 | 80.4656 | 70.6782 | 44.7569 | 41.8807 | 3.6407 | 2.5918 | 21.3723 | 42.6465 | 65.3598 | 47.691
| 125.4556 | 77.4373 | 48.5897 | 143.8587 | 62.685 | 43.8838 | 16.7349 | 65.883 | 5.0153 | 35.6143 | 32.7534 | 59.0145
| 83.2008 | 61.027 | 36.3792 | 99.959 | 50.6265 | 68.0803 | 18.2614 | 5.3824 | 11.0213 | 19.8802 | 53.9832 | 80.789
| 65.1678 | 73.642 | 71.8143 | 58.2732 | 154.5738 | 51.1884 | 9.8746 | 58.5383 | 13.6201 | 54.8672 | 14.3692 | 108.3635
| 200.4683 | 62.7665 | 56.4966 | 62.0941 | 95.932 | 78.9919 | 31.93 | 52.3009 | 53.5972 | 50.8359 | 22.8026 | 29.6139
| 67.9724 | 33.6285 | 40.3409 | 34.0889 | 51.0078 | 120.505 | 86.1803 | 81.8078 | 85.3174 | 78.8112 | 33.5231 | 87.1336

## test
Load time: | 2007-08-24 15:17
Read time: | 2007-08-24 15:17
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | DNA-Tech
Plate ID: | #1321
Comment: | standard
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31.5 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f4
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 1 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 115729528 | cps
Min counts: | 8366 | counts
Well list: | r0(a1:h12) = (f4(a1:h12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 71167200 | 192740700 | 236305100 | 598807100 | 261864400 | 404263600 | 194309800 | 47305200 | 58449300 | 228578000 | 411196700 | 291857900
B | 183307400 | 90898400 | 33332600 | 567278900 | 220028000 | 122965100 | 302514300 | 356931500 | 204781100 | 117397000 | 242008600 | 1981896400
C | 11572952800 | 211298500 | 55319500 | 59336200 | 536479700 | 389908600 | 189999000 | 43821600 | 698224000 | 229439600 | 913244000 | 738245600
D | 1010049200 | 22196300 | 34931600 | 736165100 | 120756900 | 179083900 | 471738800 | 27878600 | 761248300 | 617175900 | 88737800 | 476440100
E | 146513000 | 90727100 | 58127400 | 976453800 | 121784800 | 655585900 | 380848200 | 429142100 | 1650549100 | 177284300 | 305549700 | 1134983100
F | 21215900 | 495238100 | 45001800 | 113256500 | 51455100 | 551447600 | 872285900 | 168637900 | 493807900 | 795888200 | 762059300 | 1270235400
G | 12611500 | 123050700 | 22405700 | 446266300 | 19474100 | 375022300 | 379520000 | 22443800 | 756077600 | 261089300 | 758921800 | 7424917600
H | 8366400 | 114769900 | 31219500 | 282415800 | 526359300 | 1243932000 | 226358700 | 27878600 | 870596100 | 347046100 | 121841900 | 2425054200
ng/ul
10 | 11572952800
1 | 1010049200
0.1 | 146513000
0.01 | 21215900
slope: | 8.6228e-10 | 8.6228e-10
| 0.061366 | 0.1662 | 0.20376 | 0.51634 | 0.2258 | 0.34859 | 0.16755 | 0.040791 | 0.0504 | 0.1971 | 0.35457 | 0.25166
| 0.15806 | 0.07838 | 0.028742 | 0.48916 | 0.18973 | 0.10603 | 0.26085 | 0.30778 | 0.17658 | 0.10123 | 0.20868 | 1.709
| 9.9792 | 0.1822 | 0.047701 | 0.051165 | 0.4626 | 0.33621 | 0.16383 | 0.037787 | 0.60207 | 0.19784 | 0.78748 | 0.63658
| 0.87095 | 0.01914 | 0.030121 | 0.63478 | 0.10413 | 0.15442 | 0.40677 | 0.024039 | 0.65641 | 0.53218 | 0.076517 | 0.41083
| 0.12634 | 0.078233 | 0.050122 | 0.84198 | 0.10501 | 0.5653 | 0.3284 | 0.37004 | 1.4232 | 0.15287 | 0.26347 | 0.97868
| 0.018294 | 0.42704 | 0.038804 | 0.097659 | 0.044369 | 0.4755 | 0.75216 | 0.14541 | 0.4258 | 0.68628 | 0.65711 | 1.0953
| 0.010875 | 0.1061 | 0.01932 | 0.38481 | 0.016792 | 0.32338 | 0.32725 | 0.019353 | 0.65195 | 0.22513 | 0.65441 | 6.4024
| 0.0072142 | 0.098964 | 0.02692 | 0.24352 | 0.45387 | 1.0726 | 0.19519 | 0.024039 | 0.7507 | 0.29925 | 0.10506 | 2.0911