## A - template 0.01-10ng per ul
Raw data: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2619110600 | 994293700 | 2053725000 | 6187862000 | 4548043600 | 12717360800 | 1344971400 | 2484187600 | 4359586800 | 3062893400 | 2081842000 | 2840308000
B | 8725280800 | 3514929200 | 2996062800 | 4264078800 | 5647650400 | 4625181600 | 3561640400 | 1598400400 | 7996269600 | 3080038800 | 15203219200 | 8359444800
C | 4189731200 | 5174338400 | 6107765200 | 3810478000 | 3700628800 | 6537001200 | 1807801400 | 4179385600 | 1708073200 | 1051074100 | 3170923400 | 4506710800
D | 5719425600 | 3418020800 | 3868509200 | 6298748400 | 12195439200 | 1787136000 | 4367290400 | 1585348700 | 1902794200 | 2140068200 | 2022199400 | 1146529900
E | 13587379200 | 10333910400 | 4238081600 | 2591690600 | 10776618400 | 3619679600 | 6489054400 | 3502280000 | 4183202800 | 2688294000 | 1545859800 | 2826541800
F | 15200249600 | 3347047800 | 11029279200 | 5194188000 | 5264966000 | 2386417800 | 3061989800 | 3807496400 | 1246887900 | 1217303400 | 772768700 | 5386445600
G | 12287828800 | 4858692400 | 9366660800 | 20264363200 | 2667158400 | 181607700 | 4537441200 | 2476010800 | 1175162400 | 857309300 | 2271798800 | 2928832200
H | 9099010400 | 2921962400 | 12650203200 | 11318700800 | 2979950800 | 9764304800 | 17006483200 | 10635296000 | 2001431400 | 1693232600 | 2164311200 | 4830806000
ng/ul
2 | 16800000000
0.2 | 2820000000
0.02 | 353000000
0.002 | 66800000
slope: | 1.2131e-10 | 1.2131e-10
DNA conc: | 0.31772 | 0.12062 | 0.24913 | 0.75063 | 0.55171 | 1.5427 | 0.16316 | 0.30135 | 0.52885 | 0.37155 | 0.25254 | 0.34455
| 1.0584 | 0.42639 | 0.36344 | 0.51726 | 0.6851 | 0.56107 | 0.43205 | 0.1939 | 0.97001 | 0.37363 | 1.8443 | 1.0141
| 0.50825 | 0.62769 | 0.74092 | 0.46224 | 0.44891 | 0.79299 | 0.2193 | 0.50699 | 0.2072 | 0.1275 | 0.38466 | 0.5467
| 0.69381 | 0.41463 | 0.46928 | 0.76409 | 1.4794 | 0.21679 | 0.52978 | 0.19231 | 0.23082 | 0.25961 | 0.24531 | 0.13908
| 1.6483 | 1.2536 | 0.51411 | 0.31439 | 1.3073 | 0.43909 | 0.78717 | 0.42485 | 0.50745 | 0.32611 | 0.18752 | 0.34288
| 1.8439 | 0.40602 | 1.3379 | 0.63009 | 0.63868 | 0.28949 | 0.37144 | 0.46188 | 0.15126 | 0.14767 | 0.093743 | 0.65342
| 1.4906 | 0.5894 | 1.1362 | 2.4582 | 0.32355 | 0.02203 | 0.55043 | 0.30036 | 0.14256 | 0.104 | 0.27559 | 0.35529
| 1.1038 | 0.35446 | 1.5346 | 1.373 | 0.36149 | 1.1845 | 2.063 | 1.2901 | 0.24279 | 0.2054 | 0.26255 | 0.58601
actual conc
given 1:100 dil | 31.7718 | 12.0615 | 24.9132 | 75.0634 | 55.1712 | 154.2711 | 16.3155 | 30.135 | 52.885 | 37.1552 | 25.2543 | 34.4551
| 105.8442 | 42.6387 | 36.3445 | 51.7265 | 68.5102 | 56.1069 | 43.2054 | 19.3898 | 97.0007 | 37.3632 | 184.4264 | 101.4063
| 50.8246 | 62.7686 | 74.0917 | 46.2239 | 44.8914 | 79.2987 | 21.93 | 50.6991 | 20.7202 | 12.7503 | 38.4657 | 54.6698
| 69.3809 | 41.4631 | 46.9279 | 76.4085 | 147.9398 | 21.6793 | 52.9785 | 19.2315 | 23.0823 | 25.9606 | 24.5308 | 13.9083
| 164.825 | 125.358 | 51.4111 | 31.4391 | 130.7284 | 43.9094 | 78.7171 | 42.4853 | 50.7454 | 32.611 | 18.7524 | 34.2881
| 184.3904 | 40.6022 | 133.7934 | 63.0094 | 63.868 | 28.949 | 37.1442 | 46.1878 | 15.1257 | 14.7668 | 9.3743 | 65.3416
| 149.0605 | 58.9396 | 113.6246 | 245.8218 | 32.3546 | 2.203 | 55.0425 | 30.0359 | 14.2556 | 10.3998 | 27.5586 | 35.5289
| 110.3778 | 35.4456 | 153.4564 | 137.3043 | 36.149 | 118.4483 | 206.3013 | 129.0141 | 24.2789 | 20.5402 | 26.2547 | 58.6013

## B - template 0.01-100ng per ul
Raw data: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
ng/ul | RFU
100
10
1
0.1
0.01
slope: | #VALUE! | #VALUE!
DNA conc: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## test
Load time: | 2007-08-24 15:17
Read time: | 2007-08-24 15:17
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | DNA-Tech
Plate ID: | #1321
Comment: | standard
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31.5 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f4
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 1 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 115729528 | cps
Min counts: | 8366 | counts
Well list: | r0(a1:h12) = (f4(a1:h12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 71167200 | 192740700 | 236305100 | 598807100 | 261864400 | 404263600 | 194309800 | 47305200 | 58449300 | 228578000 | 411196700 | 291857900
B | 183307400 | 90898400 | 33332600 | 567278900 | 220028000 | 122965100 | 302514300 | 356931500 | 204781100 | 117397000 | 242008600 | 1981896400
C | 11572952800 | 211298500 | 55319500 | 59336200 | 536479700 | 389908600 | 189999000 | 43821600 | 698224000 | 229439600 | 913244000 | 738245600
D | 1010049200 | 22196300 | 34931600 | 736165100 | 120756900 | 179083900 | 471738800 | 27878600 | 761248300 | 617175900 | 88737800 | 476440100
E | 146513000 | 90727100 | 58127400 | 976453800 | 121784800 | 655585900 | 380848200 | 429142100 | 1650549100 | 177284300 | 305549700 | 1134983100
F | 21215900 | 495238100 | 45001800 | 113256500 | 51455100 | 551447600 | 872285900 | 168637900 | 493807900 | 795888200 | 762059300 | 1270235400
G | 12611500 | 123050700 | 22405700 | 446266300 | 19474100 | 375022300 | 379520000 | 22443800 | 756077600 | 261089300 | 758921800 | 7424917600
H | 8366400 | 114769900 | 31219500 | 282415800 | 526359300 | 1243932000 | 226358700 | 27878600 | 870596100 | 347046100 | 121841900 | 2425054200
ng/ul
10 | 11572952800
1 | 1010049200
0.1 | 146513000
0.01 | 21215900
slope: | 8.6228e-10 | 8.6228e-10
| 0.061366 | 0.1662 | 0.20376 | 0.51634 | 0.2258 | 0.34859 | 0.16755 | 0.040791 | 0.0504 | 0.1971 | 0.35457 | 0.25166
| 0.15806 | 0.07838 | 0.028742 | 0.48916 | 0.18973 | 0.10603 | 0.26085 | 0.30778 | 0.17658 | 0.10123 | 0.20868 | 1.709
| 9.9792 | 0.1822 | 0.047701 | 0.051165 | 0.4626 | 0.33621 | 0.16383 | 0.037787 | 0.60207 | 0.19784 | 0.78748 | 0.63658
| 0.87095 | 0.01914 | 0.030121 | 0.63478 | 0.10413 | 0.15442 | 0.40677 | 0.024039 | 0.65641 | 0.53218 | 0.076517 | 0.41083
| 0.12634 | 0.078233 | 0.050122 | 0.84198 | 0.10501 | 0.5653 | 0.3284 | 0.37004 | 1.4232 | 0.15287 | 0.26347 | 0.97868
| 0.018294 | 0.42704 | 0.038804 | 0.097659 | 0.044369 | 0.4755 | 0.75216 | 0.14541 | 0.4258 | 0.68628 | 0.65711 | 1.0953
| 0.010875 | 0.1061 | 0.01932 | 0.38481 | 0.016792 | 0.32338 | 0.32725 | 0.019353 | 0.65195 | 0.22513 | 0.65441 | 6.4024
| 0.0072142 | 0.098964 | 0.02692 | 0.24352 | 0.45387 | 1.0726 | 0.19519 | 0.024039 | 0.7507 | 0.29925 | 0.10506 | 2.0911