## A - template 0.01-10ng per ul
Raw data: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2620000000 | 2220000000 | 1070000000 | 4120000000 | 2420000000 | 3630000000 | 2590000000 | 3630000000 | 2890000000 | 3730000000 | 3820000000 | 3600000000
B | 3930000000 | 1540000000 | 940000000 | 2780000000 | 3050000000 | 3190000000 | 1940000000 | 3300000000 | 2330000000 | 1830000000 | 2230000000 | 2560000000
C | 1600000000 | 1270000000 | 979000000 | 30000000 | 1720000000 | 3030000000 | 2730000000 | 2680000000 | 2350000000 | 1770000000 | 177000000 | 2880000000
D | 1710000000 | 1860000000 | 2310000000 | 4620000000 | 2000000000 | 3430000000 | 2020000000 | 2010000000 | 2240000000 | 1910000000 | 1470000000 | 5250000000
E | 2670000000 | 1820000000 | 955000000 | 2130000000 | 2930000000 | 2740000000 | 4670000000 | 347000000 | 2420000000 | 3390000000 | 1830000000 | 3820000000
F | 1540000000 | 482000000 | 1550000000 | 1310000000 | 3220000000 | 3300000000 | 2840000000 | 3020000000 | 1590000000 | 2250000000 | 1570000000 | 3920000000
G | 3420000000 | 1790000000 | 3740000000 | 4340000000 | 3440000000 | 358000000 | 3510000000 | 3970000000 | 3760000000 | 3140000000 | 1900000000 | 440000000
H | 4250000000 | 877000000 | 1360000000 | 6280000000 | 30600000 | 4370000000 | 2910000000 | 3250000000 | 2020000000 | 790000000 | 2380000000 | 7250000000
ng/ul
2 | 16800000000
0.2 | 2820000000
0.02 | 353000000
0.002 | 66800000
slope: | 1.2131e-10 | 1.2131e-10
DNA conc: | 0.31783 | 0.2693 | 0.1298 | 0.49979 | 0.29356 | 0.44035 | 0.31419 | 0.44035 | 0.35058 | 0.45248 | 0.46339 | 0.43671
| 0.47674 | 0.18681 | 0.11403 | 0.33723 | 0.36999 | 0.38697 | 0.23534 | 0.40031 | 0.28265 | 0.22199 | 0.27052 | 0.31055
| 0.19409 | 0.15406 | 0.11876 | 0.0036392 | 0.20865 | 0.36756 | 0.33117 | 0.3251 | 0.28507 | 0.21471 | 0.021471 | 0.34937
| 0.20744 | 0.22563 | 0.28022 | 0.56044 | 0.24261 | 0.41608 | 0.24504 | 0.24383 | 0.27173 | 0.2317 | 0.17832 | 0.63686
| 0.32389 | 0.22078 | 0.11585 | 0.25838 | 0.35543 | 0.33238 | 0.56651 | 0.042094 | 0.29356 | 0.41123 | 0.22199 | 0.46339
| 0.18681 | 0.05847 | 0.18803 | 0.15891 | 0.39061 | 0.40031 | 0.34451 | 0.36635 | 0.19288 | 0.27294 | 0.19045 | 0.47553
| 0.41487 | 0.21714 | 0.45369 | 0.52647 | 0.4173 | 0.043428 | 0.42579 | 0.48159 | 0.45612 | 0.38091 | 0.23048 | 0.053375
| 0.51556 | 0.10639 | 0.16498 | 0.76181 | 0.003712 | 0.53011 | 0.353 | 0.39425 | 0.24504 | 0.095833 | 0.28871 | 0.87948
actual conc
given 1:50 dil | 15.8913 | 13.4651 | 6.4899 | 24.9893 | 14.6782 | 22.0173 | 15.7093 | 22.0173 | 17.5289 | 22.6238 | 23.1697 | 21.8353
| 23.8369 | 9.3407 | 5.7015 | 16.8617 | 18.4994 | 19.3485 | 11.7668 | 20.0157 | 14.1323 | 11.0996 | 13.5258 | 15.5274
| 9.7046 | 7.703 | 5.938 | water | 10.4324 | 18.3781 | 16.5585 | 16.2552 | 14.2536 | 10.7357 | water | 17.4683
| 10.3718 | 11.2816 | 14.011 | 28.022 | 12.1307 | 20.8042 | 12.2521 | 12.1914 | 13.5864 | 11.5849 | 8.9161 | 31.8432
| 16.1945 | 11.039 | 5.7924 | 12.9192 | 17.7715 | 16.6191 | 28.3253 | 2.1047 | 14.6782 | 20.5616 | 11.0996 | 23.1697
| 9.3407 | 2.9235 | 9.4013 | 7.9456 | 19.5305 | 20.0157 | 17.2257 | 18.3174 | 9.6439 | 13.6471 | 9.5226 | 23.7763
| 20.7436 | 10.857 | 22.6845 | 26.3237 | 20.8649 | water | 21.2895 | 24.0795 | 22.8058 | 19.0453 | 11.5242 | 2.6688
| 25.7778 | 5.3193 | 8.2489 | 38.0905 | water | 26.5057 | 17.6502 | 19.7125 | 12.2521 | 4.7916 | 14.4356 | 43.974

## B - template 0.01-100ng per ul
Raw data: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
ng/ul | RFU
100
10
1
0.1
0.01
slope: | #VALUE! | #VALUE!
DNA conc: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## test
Load time: | 2007-08-24 15:17
Read time: | 2007-08-24 15:17
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | DNA-Tech
Plate ID: | #1321
Comment: | standard
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31.5 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f4
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 1 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 115729528 | cps
Min counts: | 8366 | counts
Well list: | r0(a1:h12) = (f4(a1:h12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 71167200 | 192740700 | 236305100 | 598807100 | 261864400 | 404263600 | 194309800 | 47305200 | 58449300 | 228578000 | 411196700 | 291857900
B | 183307400 | 90898400 | 33332600 | 567278900 | 220028000 | 122965100 | 302514300 | 356931500 | 204781100 | 117397000 | 242008600 | 1981896400
C | 11572952800 | 211298500 | 55319500 | 59336200 | 536479700 | 389908600 | 189999000 | 43821600 | 698224000 | 229439600 | 913244000 | 738245600
D | 1010049200 | 22196300 | 34931600 | 736165100 | 120756900 | 179083900 | 471738800 | 27878600 | 761248300 | 617175900 | 88737800 | 476440100
E | 146513000 | 90727100 | 58127400 | 976453800 | 121784800 | 655585900 | 380848200 | 429142100 | 1650549100 | 177284300 | 305549700 | 1134983100
F | 21215900 | 495238100 | 45001800 | 113256500 | 51455100 | 551447600 | 872285900 | 168637900 | 493807900 | 795888200 | 762059300 | 1270235400
G | 12611500 | 123050700 | 22405700 | 446266300 | 19474100 | 375022300 | 379520000 | 22443800 | 756077600 | 261089300 | 758921800 | 7424917600
H | 8366400 | 114769900 | 31219500 | 282415800 | 526359300 | 1243932000 | 226358700 | 27878600 | 870596100 | 347046100 | 121841900 | 2425054200
ng/ul
10 | 11572952800
1 | 1010049200
0.1 | 146513000
0.01 | 21215900
slope: | 8.6228e-10 | 8.6228e-10
| 0.061366 | 0.1662 | 0.20376 | 0.51634 | 0.2258 | 0.34859 | 0.16755 | 0.040791 | 0.0504 | 0.1971 | 0.35457 | 0.25166
| 0.15806 | 0.07838 | 0.028742 | 0.48916 | 0.18973 | 0.10603 | 0.26085 | 0.30778 | 0.17658 | 0.10123 | 0.20868 | 1.709
| 9.9792 | 0.1822 | 0.047701 | 0.051165 | 0.4626 | 0.33621 | 0.16383 | 0.037787 | 0.60207 | 0.19784 | 0.78748 | 0.63658
| 0.87095 | 0.01914 | 0.030121 | 0.63478 | 0.10413 | 0.15442 | 0.40677 | 0.024039 | 0.65641 | 0.53218 | 0.076517 | 0.41083
| 0.12634 | 0.078233 | 0.050122 | 0.84198 | 0.10501 | 0.5653 | 0.3284 | 0.37004 | 1.4232 | 0.15287 | 0.26347 | 0.97868
| 0.018294 | 0.42704 | 0.038804 | 0.097659 | 0.044369 | 0.4755 | 0.75216 | 0.14541 | 0.4258 | 0.68628 | 0.65711 | 1.0953
| 0.010875 | 0.1061 | 0.01932 | 0.38481 | 0.016792 | 0.32338 | 0.32725 | 0.019353 | 0.65195 | 0.22513 | 0.65441 | 6.4024
| 0.0072142 | 0.098964 | 0.02692 | 0.24352 | 0.45387 | 1.0726 | 0.19519 | 0.024039 | 0.7507 | 0.29925 | 0.10506 | 2.0911