## A - template 0.01-10ng per ul
Raw data: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 47966000 | 8570638400 | 6753616000 | 7950541600 | 6251459600 | 5019061200 | 6092470400 | 4434326400 | 2066672400 | 1088456800 | 2474712200 | 6829445600
B | 1896860400 | 2365176000 | 5293604400 | 4133783600 | 6601575600 | 3063917600 | 1900193800 | 4008014800 | 3232135800 | 3941162000 | 3279515200 | 6327158000
C | 4243741600 | 3201829000 | 4355562800 | 2075764000 | 3862368000 | 3325673600 | 3502280000 | 1452314700 | 2474751600 | 2043966000 | 2134435800 | 2654291600
D | 3065848000 | 5551603200 | 2789076600 | 4622984400 | 3231062600 | 2688990200 | 3625663600 | 3350504800 | 2908970200 | 398147100 | 2669490200 | 4097991200
E | 5605362400 | 3528949600 | 3656484000 | 2602519800 | 2845238400 | 2784289200 | 2380034400 | 3169890800 | 1989692800 | 2827363000 | 1944690600 | 1098152000
F | 4529785200 | 3007172200 | 3928236400 | 4089703200 | 2574167000 | 4089381200 | 1889265200 | 3744141600 | 1389994600 | 853152200 | 2084043000 | 1563210200
G | 6645244800 | 3664745200 | 2594929800 | 4733443600 | 5045080800 | 1873151800 | 2687505200 | 6270340800 | 1653566100 | 888033700 | 2942669600 | 6071092000
H | 4365330800 | 3621615600 | 7917795200 | 8666037600 | 6677159600 | 4614080400 | 7003300000 | 2519519800 | 9149804000 | 6093424000 | 9268533600 | 4999402000
ng/ul
2 | 16800000000
0.2 | 2820000000
0.02 | 353000000
0.002 | 66800000
slope: | 1.2131e-10 | 1.2131e-10
DNA conc: | 0.0058186 | 1.0397 | 0.81926 | 0.96446 | 0.75835 | 0.60885 | 0.73906 | 0.53792 | 0.2507 | 0.13204 | 0.3002 | 0.82846
| 0.2301 | 0.28691 | 0.64215 | 0.50146 | 0.80082 | 0.37168 | 0.23051 | 0.4862 | 0.39208 | 0.47809 | 0.39783 | 0.76753
| 0.5148 | 0.38841 | 0.52836 | 0.25181 | 0.46853 | 0.40343 | 0.42485 | 0.17618 | 0.30021 | 0.24795 | 0.25892 | 0.32199
| 0.37191 | 0.67345 | 0.33834 | 0.5608 | 0.39195 | 0.32619 | 0.43982 | 0.40644 | 0.35288 | 0.048298 | 0.32383 | 0.49712
| 0.67997 | 0.42809 | 0.44356 | 0.31571 | 0.34515 | 0.33776 | 0.28872 | 0.38453 | 0.24136 | 0.34298 | 0.23591 | 0.13321
| 0.5495 | 0.36479 | 0.47652 | 0.49611 | 0.31227 | 0.49607 | 0.22918 | 0.45419 | 0.16862 | 0.10349 | 0.25281 | 0.18963
| 0.80612 | 0.44456 | 0.31478 | 0.5742 | 0.61201 | 0.22723 | 0.32601 | 0.76064 | 0.20059 | 0.10773 | 0.35697 | 0.73647
| 0.52955 | 0.43933 | 0.96049 | 1.0513 | 0.80999 | 0.55972 | 0.84955 | 0.30564 | 1.1099 | 0.73918 | 1.1243 | 0.60646
actual conc | water | 51.9841 | 40.9632 | 48.223 | 37.9174 | 30.4425 | 36.9531 | 26.8958 | 12.5351 | 6.6019 | 15.0101 | 41.4231
given 1:50 dil | 11.5052 | 14.3457 | 32.1077 | 25.0729 | 40.041 | 18.5838 | 11.5254 | 24.3101 | 19.6041 | 23.9046 | 19.8915 | 38.3766
| 25.7399 | 19.4203 | 26.4181 | 12.5903 | 23.4267 | 20.1714 | 21.2426 | 8.8088 | 15.0103 | 12.3974 | 12.9461 | 16.0993
| 18.5955 | 33.6725 | 16.9168 | 28.0401 | 19.5976 | 16.3097 | 21.991 | 20.3221 | 17.644 | 2.4149 | 16.1915 | 24.8558
| 33.9986 | 21.4044 | 22.1779 | 15.7853 | 17.2574 | 16.8878 | 14.4358 | 19.2266 | 12.0682 | 17.149 | 11.7953 | 6.6607
| 27.4748 | 18.2396 | 23.8262 | 24.8056 | 15.6133 | 24.8036 | 11.4591 | 22.7096 | 8.4308 | 5.1747 | 12.6405 | 9.4815
| 40.3059 | 22.228 | 15.7392 | 28.7101 | 30.6003 | 11.3614 | 16.3007 | 38.032 | 10.0295 | 5.3863 | 17.8484 | 36.8234
| 26.4774 | 21.9664 | 48.0244 | 52.5627 | 40.4995 | 27.9861 | 42.4776 | 15.2818 | 55.497 | 36.9589 | 56.2171 | 30.3232

## B - template 0.01-100ng per ul
Raw data: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
ng/ul | RFU
100
10
1
0.1
0.01
slope: | #VALUE! | #VALUE!
DNA conc: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## test
Load time: | 2007-08-24 15:17
Read time: | 2007-08-24 15:17
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | DNA-Tech
Plate ID: | #1321
Comment: | standard
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31.5 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f4
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 1 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 115729528 | cps
Min counts: | 8366 | counts
Well list: | r0(a1:h12) = (f4(a1:h12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 71167200 | 192740700 | 236305100 | 598807100 | 261864400 | 404263600 | 194309800 | 47305200 | 58449300 | 228578000 | 411196700 | 291857900
B | 183307400 | 90898400 | 33332600 | 567278900 | 220028000 | 122965100 | 302514300 | 356931500 | 204781100 | 117397000 | 242008600 | 1981896400
C | 11572952800 | 211298500 | 55319500 | 59336200 | 536479700 | 389908600 | 189999000 | 43821600 | 698224000 | 229439600 | 913244000 | 738245600
D | 1010049200 | 22196300 | 34931600 | 736165100 | 120756900 | 179083900 | 471738800 | 27878600 | 761248300 | 617175900 | 88737800 | 476440100
E | 146513000 | 90727100 | 58127400 | 976453800 | 121784800 | 655585900 | 380848200 | 429142100 | 1650549100 | 177284300 | 305549700 | 1134983100
F | 21215900 | 495238100 | 45001800 | 113256500 | 51455100 | 551447600 | 872285900 | 168637900 | 493807900 | 795888200 | 762059300 | 1270235400
G | 12611500 | 123050700 | 22405700 | 446266300 | 19474100 | 375022300 | 379520000 | 22443800 | 756077600 | 261089300 | 758921800 | 7424917600
H | 8366400 | 114769900 | 31219500 | 282415800 | 526359300 | 1243932000 | 226358700 | 27878600 | 870596100 | 347046100 | 121841900 | 2425054200
ng/ul
10 | 11572952800
1 | 1010049200
0.1 | 146513000
0.01 | 21215900
slope: | 8.6228e-10 | 8.6228e-10
| 0.061366 | 0.1662 | 0.20376 | 0.51634 | 0.2258 | 0.34859 | 0.16755 | 0.040791 | 0.0504 | 0.1971 | 0.35457 | 0.25166
| 0.15806 | 0.07838 | 0.028742 | 0.48916 | 0.18973 | 0.10603 | 0.26085 | 0.30778 | 0.17658 | 0.10123 | 0.20868 | 1.709
| 9.9792 | 0.1822 | 0.047701 | 0.051165 | 0.4626 | 0.33621 | 0.16383 | 0.037787 | 0.60207 | 0.19784 | 0.78748 | 0.63658
| 0.87095 | 0.01914 | 0.030121 | 0.63478 | 0.10413 | 0.15442 | 0.40677 | 0.024039 | 0.65641 | 0.53218 | 0.076517 | 0.41083
| 0.12634 | 0.078233 | 0.050122 | 0.84198 | 0.10501 | 0.5653 | 0.3284 | 0.37004 | 1.4232 | 0.15287 | 0.26347 | 0.97868
| 0.018294 | 0.42704 | 0.038804 | 0.097659 | 0.044369 | 0.4755 | 0.75216 | 0.14541 | 0.4258 | 0.68628 | 0.65711 | 1.0953
| 0.010875 | 0.1061 | 0.01932 | 0.38481 | 0.016792 | 0.32338 | 0.32725 | 0.019353 | 0.65195 | 0.22513 | 0.65441 | 6.4024
| 0.0072142 | 0.098964 | 0.02692 | 0.24352 | 0.45387 | 1.0726 | 0.19519 | 0.024039 | 0.7507 | 0.29925 | 0.10506 | 2.0911