## A - template 0.01-10ng per ul
Raw data: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2194694400 | 3181419000 | 5234875600 | 8585761600 | 2038961000 | 3016142400 | 1041338600 | 1229539700 | 1228036700 | 1573144000 | 6968198400 | 5568080400
B | 6014576400 | 14264507200 | 8134114400 | 2016908400 | 2867612600 | 8793277600 | 1549351400 | 585896400 | 4057519200 | 5063454800 | 4769984400 | 9910346400
C | 2419606800 | 10478557600 | 4968613200 | 4447752800 | 4426384800 | 5191244000 | 367195200 | 2832300200 | 1005549600 | 1130046500 | 5249169600 | 11175724000
D | 6677159600 | 4939297600 | 5847435600 | 8487945600 | 2728140800 | 3827995600 | 3783810000 | 5188303600 | 2445946000 | 4919324400 | 8959742400 | 8152000800
E | 4897816000 | 2500503600 | 705332700 | 8073384000 | 7088099200 | 186361900 | 1441465000 | 4154408000 | 2731203400 | 2048699000 | 7995859200 | 8021200
F | 7573509600 | 8681498400 | 7892111200 | 2180098600 | 5739664800 | 4353736000 | 982759500 | 3786754800 | 223897600 | 4653100800 | 11680396000 | 9769900
G | 9207152000 | 6732591200 | 257759300 | 2750209600 | 4022925600 | 3627014800 | 1177579800 | 7515027200 | 1187865600 | 4004715600 | 6375603600 | 22904300
H | 9116057600 | 7917795200 | 4554695200 | 8729683200 | 8359892800 | 11003559200 | 1301934500 | 7108810400 | 4125132400 | 5722788800 | 5136276800 | 50608000
ng/ul
2 | 16800000000
0.2 | 2820000000
0.02 | 353000000
0.002 | 66800000
slope: | 1.2131e-10 | 1.2131e-10
DNA conc: | 0.26623 | 0.38593 | 0.63503 | 1.0415 | 0.24734 | 0.36588 | 0.12632 | 0.14915 | 0.14897 | 0.19083 | 0.84529 | 0.67545
| 0.72961 | 1.7304 | 0.98673 | 0.24467 | 0.34786 | 1.0667 | 0.18795 | 0.071074 | 0.49221 | 0.61423 | 0.57863 | 1.2022
| 0.29352 | 1.2711 | 0.60273 | 0.53955 | 0.53695 | 0.62974 | 0.044544 | 0.34358 | 0.12198 | 0.13708 | 0.63676 | 1.3557
| 0.80999 | 0.59917 | 0.70934 | 1.0297 | 0.33094 | 0.46436 | 0.459 | 0.62938 | 0.29671 | 0.59675 | 1.0869 | 0.9889
| 0.59414 | 0.30333 | 0.085562 | 0.97936 | 0.85984 | 0.022607 | 0.17486 | 0.50396 | 0.33132 | 0.24852 | 0.96996 | 0.00097303
| 0.91872 | 1.0531 | 0.95737 | 0.26446 | 0.69626 | 0.52814 | 0.11922 | 0.45936 | 0.02716 | 0.56446 | 1.4169 | 0.0011852
| 1.1169 | 0.81671 | 0.031268 | 0.33362 | 0.48801 | 0.43998 | 0.14285 | 0.91163 | 0.1441 | 0.4858 | 0.77341 | 0.0027785
| 1.1058 | 0.96049 | 0.55252 | 1.059 | 1.0141 | 1.3348 | 0.15793 | 0.86235 | 0.50041 | 0.69422 | 0.62307 | 0.0061391
actual conc | 13.3116 | 19.2965 | 31.7515 | 52.0758 | 12.3671 | 18.294 | 6.3161 | 7.4576 | 7.4485 | 9.5417 | 42.2647 | 33.7725
given 1:50 dil | 36.4806 | 86.5196 | 49.3364 | 12.2333 | 17.3931 | 53.3345 | 9.3974 | 3.5537 | 24.6104 | 30.7117 | 28.9317 | 60.1099
| 14.6758 | 63.5564 | 30.1365 | 26.9773 | 26.8477 | 31.4868 | 2.2272 | 17.179 | 6.099 | 6.8542 | 31.8382 | 67.7849
| 40.4995 | 29.9587 | 35.4669 | 51.4826 | 16.5472 | 23.2182 | 22.9502 | 31.469 | 14.8356 | 29.8375 | 54.3442 | 49.4449
| 29.7071 | 15.1665 | 4.2781 | 48.9681 | 42.992 | water | 8.743 | 25.198 | 16.5658 | 12.4261 | 48.4979 | water
| 45.9362 | 52.6565 | 47.8686 | 13.2231 | 34.8132 | 26.407 | 5.9608 | 22.9681 | 1.358 | 28.2228 | 70.846 | water
| 55.8448 | 40.8357 | water | 16.681 | 24.4005 | 21.9992 | 7.1425 | 45.5814 | 7.2048 | 24.2901 | 38.6704 | water
| 55.2923 | 48.0244 | 27.6259 | 52.9488 | 50.7059 | 66.7407 | 7.8967 | 43.1176 | 25.0205 | 34.7108 | 31.1534 | water

## B - template 0.01-100ng per ul
Raw data: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
ng/ul | RFU
100
10
1
0.1
0.01
slope: | #VALUE! | #VALUE!
DNA conc: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## test
Load time: | 2007-08-24 15:17
Read time: | 2007-08-24 15:17
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | DNA-Tech
Plate ID: | #1321
Comment: | standard
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31.5 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f4
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 1 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 115729528 | cps
Min counts: | 8366 | counts
Well list: | r0(a1:h12) = (f4(a1:h12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 71167200 | 192740700 | 236305100 | 598807100 | 261864400 | 404263600 | 194309800 | 47305200 | 58449300 | 228578000 | 411196700 | 291857900
B | 183307400 | 90898400 | 33332600 | 567278900 | 220028000 | 122965100 | 302514300 | 356931500 | 204781100 | 117397000 | 242008600 | 1981896400
C | 11572952800 | 211298500 | 55319500 | 59336200 | 536479700 | 389908600 | 189999000 | 43821600 | 698224000 | 229439600 | 913244000 | 738245600
D | 1010049200 | 22196300 | 34931600 | 736165100 | 120756900 | 179083900 | 471738800 | 27878600 | 761248300 | 617175900 | 88737800 | 476440100
E | 146513000 | 90727100 | 58127400 | 976453800 | 121784800 | 655585900 | 380848200 | 429142100 | 1650549100 | 177284300 | 305549700 | 1134983100
F | 21215900 | 495238100 | 45001800 | 113256500 | 51455100 | 551447600 | 872285900 | 168637900 | 493807900 | 795888200 | 762059300 | 1270235400
G | 12611500 | 123050700 | 22405700 | 446266300 | 19474100 | 375022300 | 379520000 | 22443800 | 756077600 | 261089300 | 758921800 | 7424917600
H | 8366400 | 114769900 | 31219500 | 282415800 | 526359300 | 1243932000 | 226358700 | 27878600 | 870596100 | 347046100 | 121841900 | 2425054200
ng/ul
10 | 11572952800
1 | 1010049200
0.1 | 146513000
0.01 | 21215900
slope: | 8.6228e-10 | 8.6228e-10
| 0.061366 | 0.1662 | 0.20376 | 0.51634 | 0.2258 | 0.34859 | 0.16755 | 0.040791 | 0.0504 | 0.1971 | 0.35457 | 0.25166
| 0.15806 | 0.07838 | 0.028742 | 0.48916 | 0.18973 | 0.10603 | 0.26085 | 0.30778 | 0.17658 | 0.10123 | 0.20868 | 1.709
| 9.9792 | 0.1822 | 0.047701 | 0.051165 | 0.4626 | 0.33621 | 0.16383 | 0.037787 | 0.60207 | 0.19784 | 0.78748 | 0.63658
| 0.87095 | 0.01914 | 0.030121 | 0.63478 | 0.10413 | 0.15442 | 0.40677 | 0.024039 | 0.65641 | 0.53218 | 0.076517 | 0.41083
| 0.12634 | 0.078233 | 0.050122 | 0.84198 | 0.10501 | 0.5653 | 0.3284 | 0.37004 | 1.4232 | 0.15287 | 0.26347 | 0.97868
| 0.018294 | 0.42704 | 0.038804 | 0.097659 | 0.044369 | 0.4755 | 0.75216 | 0.14541 | 0.4258 | 0.68628 | 0.65711 | 1.0953
| 0.010875 | 0.1061 | 0.01932 | 0.38481 | 0.016792 | 0.32338 | 0.32725 | 0.019353 | 0.65195 | 0.22513 | 0.65441 | 6.4024
| 0.0072142 | 0.098964 | 0.02692 | 0.24352 | 0.45387 | 1.0726 | 0.19519 | 0.024039 | 0.7507 | 0.29925 | 0.10506 | 2.0911