## 2007_3_29_kbio1b
Load time: | 2007-03-29 12:29
Read time: | 2007-03-29 12:29
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | <n/a>
Method ID: | DNA-Tech
Plate ID: | #1080
Comment: | standard
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 30.9 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f4
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 0 | mm | Bottom
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 124355880 | cps
Min counts: | 27976 | counts
Well list: | r0(a1:h1,a2:e2) = (f4(a1:h1,a2:e2))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 12435588000 | 4677922000 |  | 3.7344
B | 1212273700 | 1442067800 |  | 1.1458
C | 155624800 | 1062966600 |  | 0.84247
D | 36830500 | 804676800 |  | 0.63584
E | 27976700 | 3753528400 |  | 2.9949
F | 220237800 |  | 0.16829
G | 4306929200 |  | 3.4376
H | 6793113600 |  | 5.4266
y = 8E-10x - 0.0079
conc
10
1
0.1
0.01
0.001
0