## 06_27_07
Load time: | 2007-06-27 08:46
Read time: | 2007-06-27 08:46
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | Farnham
Plate ID: | #1253
Comment:
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31.1 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | column
Mode sequence: | plate
Detection mode: | f8
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 0 | mm | Bottom
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 15963194 | cps
Min counts: | 5223 | counts
Well list: | r0(a1:h1,a2:e2) = (f8(a1:h1,a2:e2))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
10 | 1596319400 | 31989300
1 | 76214900 | 230150100
0.1 | 10732800 | 28211900
0.01 | 5223700 | 130393200
0 | 16308600 | 23549500
F | 38069400
G | 9143800
H | 183954300