## 26-01-09
Load time: | 2009-01-26 14:26
Read time: | 2009-01-26 14:26
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | <n/a>
Method ID: | DNATech Fluorescence Int
Plate ID: | #1824
Comment: | new comment
Microplate format: | MatrixSquare384
Shake time: | 0 | s
Temperature: | 31.6 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f1
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 0 | mm | Bottom
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 4
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 48771640 | cps
Min counts: | 296 | counts
Well list: | r0(a1:e1,g1:h1,a2:h3,f1) = (f1(a1:e1,g1:h1,a2:h3,f1))
Data: | RAW DATA
Units: | rfu
Display format: | %.2f
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | 4877164000 | 1993153000 | 2789769400
B | 912451700 | 1504430700 | 3207585800
C | 113344100 | 1525732200 | 4047130000
D | 17806300 | 2240516400 | 3699736800
E | 6516500 | 2028326400 | 2902487400
F | 4851200 | 1807209200 | 3030013000
G | 296500 | 1443951000 | 4870275200
H | 314200 | 864632600 | 2194879000
I
J
K
L
M
N
O
P
Well list: | r1(a1:e1,g1:h1,a2:h3) = (f1(a1:e1,g1:h1,a2:h3) - avg(f1(f1)))
Data: | BACKGROUND SUBTRACTED DATA
Units: | rfu
Display format: | %.2f
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | 4872312800 | 1988301800 | 2784918200
B | 907600500 | 1499579500 | 3202734600
C | 108492900 | 1520881000 | 4042278800
D | 12955100 | 2235665200 | 3694885600
E | 1665300 | 2023475200 | 2897636200
F |  | 1802358000 | 3025161800
G | -4554700 | 1439099800 | 4865424000
H | -4537000 | 859781400 | 2190027800
I
J
K
L
M
N
O
P