## input
ÿþ##BLOCKS= 6
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
25.5 20809968 1782867 204327 31665 21067704 1856710 208891 34316 21204962 1784089 203329 35919
353510 516124 422808 393507 353932 281039 334737 386385 378421 323767 321541 311463
370916 337523 314018 340166 265249 280291 329508 396644 538021 355636 236750 484160
359482 85267 381748 241840 228763 432273 346649 344470 296104 386370 283496 374867
7713 9137 7491 6909 6930 10164 7022 7309 7953 7807 8741 8784
6623 6429 6667 6622 8600 5729 6060 7075 6025 5521 6440 5959
396017 320238 353371 574890 538013 474347 586186 309023 476625 240134 255588 198660
152162 489042 251042 546048 389524 533731 644595 1026322 1004722 1028192 857477 441127
~End
Group: Standards
Sample Conc BackCalcConc Wells Value MeanValue SD CV
standard 10.000 10.881 A1 20809968.000 19131557.778 2197169.499 11.5
11.016 A5 21067704.000
11.087 A9 21204962.000
9.077 A1 17353102.000
10.218 A5 19538752.000
10.501 A9 20081746.000
7.495 A1 14320874.000
10.081 A5 19275876.000
9.692 A12 18531036.000
standard01 1.000 0.952 A2 1782867.000 1767335.667 50675.923 2.9
0.990 A6 1856710.000
0.953 A10 1784089.000
0.921 A2 1722798.000
0.932 A6 1744071.000
0.907 A10 1697165.000
0.939 A2 1757959.000
0.974 A6 1825832.000
0.927 A11 1734530.000
standard02 0.100 0.128 A3 204327.000 193429.667 10677.982 5.5
0.131 A7 208891.000
0.128 A11 203329.000
0.119 A3 187434.000
0.118 A7 184898.000
0.116 A11 181269.000
0.124 A3 197176.000
0.115 A7 179806.000
0.123 A10 193737.000
standard03 0.010 0.038 A4 31665.000 32313.222 2680.362 8.3
0.039 A8 34316.000
0.040 A12 35919.000
0.040 A4 35028.000
0.038 A8 32178.000
0.036 A12 27883.000
0.039 A4 33669.000
0.037 A8 29300.000
0.038 A9 30861.000
Group Summaries
MinStd Smallest standard value: 32313.222 Min(MeanValue)
MaxStd Largest standard value: 19131557.778 Max(MeanValue)
~End
Plate: Plate3 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
26.5 14320874 1757959 197176 33669 19275876 1825832 179806 29300 30861 193737 1734530 18531036
258453 685152 439880 854160 278263 141729 212661 789743 463990 248043 669159 804028
338177 291553 348053 469395 943611 491304 705498 822714 807024 482311 568646 311871
470538 440498 1215757 794540 972599 541160 673144 248316 811873 572011 469338 433298
459068 256029 276663 284834 347103 300470 363753 388550 647489 593399 940752 5867
867 832 834 859 894 807 802 802 912 825 793 890
775 947 772 807 767 854 824 889 727 934 869 902
791 836 814 826 859 809 794 859 792 891 807 824
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 B1 353510.000 0.206 0.206 0.000 0.0
02 B2 516124.000 0.291 0.291 0.000 0.0
03 B3 422808.000 0.242 0.242 0.000 0.0
04 B4 393507.000 0.227 0.227 0.000 0.0
05 B5 353932.000 0.206 0.206 0.000 0.0
06 B6 281039.000 0.168 0.168 0.000 0.0
07 B7 334737.000 0.196 0.196 0.000 0.0
08 B8 386385.000 0.223 0.223 0.000 0.0
085 B1 383565.000 0.222 0.222 0.000 0.0
086 B2 423964.000 0.243 0.243 0.000 0.0
087 B3 579530.000 0.324 0.324 0.000 0.0
088 B4 568155.000 0.318 0.318 0.000 0.0
089 B5 512160.000 0.289 0.289 0.000 0.0
09 B9 378421.000 0.219 0.219 0.000 0.0
090 B6 322548.000 0.190 0.190 0.000 0.0
091 B7 265696.000 0.160 0.160 0.000 0.0
092 B8 2955829.000 1.564 1.564 0.000 0.0
093 B9 340309.000 0.199 0.199 0.000 0.0
094 B10 297172.000 0.177 0.177 0.000 0.0
095 B11 3429026.000 1.811 1.811 0.000 0.0
096 B12 397499.000 0.229 0.229 0.000 0.0
097 C1 520909.000 0.293 0.293 0.000 0.0
098 C2 506272.000 0.286 0.286 0.000 0.0
099 C3 332279.000 0.195 0.195 0.000 0.0
10 B10 323767.000 0.190 0.190 0.000 0.0
100 C4 275428.000 0.165 0.165 0.000 0.0
101 C5 258512.000 0.156 0.156 0.000 0.0
102 C6 384077.000 0.222 0.222 0.000 0.0
103 C7 456478.000 0.260 0.260 0.000 0.0
104 C8 470362.000 0.267 0.267 0.000 0.0
105 C9 391350.000 0.226 0.226 0.000 0.0
106 C10 388617.000 0.224 0.224 0.000 0.0
107 C11 425090.000 0.243 0.243 0.000 0.0
108 C12 712836.000 0.394 0.394 0.000 0.0
109 D1 304366.000 0.180 0.180 0.000 0.0
11 B11 321541.000 0.189 0.189 0.000 0.0
110 D2 389670.000 0.225 0.225 0.000 0.0
111 D3 261806.000 0.158 0.158 0.000 0.0
112 D4 312595.000 0.185 0.185 0.000 0.0
113 D5 185453.000 0.118 0.118 0.000 0.0
114 D6 1161877.000 0.628 0.628 0.000 0.0
115 D7 230279.000 0.142 0.142 0.000 0.0
116 D8 256810.000 0.156 0.156 0.000 0.0
117 D9 199487.000 0.126 0.126 0.000 0.0
118 D10 214793.000 0.134 0.134 0.000 0.0
119 D11 211383.000 0.132 0.132 0.000 0.0
12 B12 311463.000 0.184 0.184 0.000 0.0
120 D12 262265.000 0.158 0.158 0.000 0.0
121 E1 192490.000 0.122 0.122 0.000 0.0
122 E2 209377.000 0.131 0.131 0.000 0.0
123 E3 322623.000 0.190 0.190 0.000 0.0
124 E4 177087.000 0.114 0.114 0.000 0.0
125 E5 457022.000 0.260 0.260 0.000 0.0
126 E6 230925.000 0.142 0.142 0.000 0.0
127 E7 298845.000 0.177 0.177 0.000 0.0
128 E8 536593.000 0.302 0.302 0.000 0.0
129 E9 287195.000 0.171 0.171 0.000 0.0
13 C1 370916.000 0.215 0.215 0.000 0.0
130 E10 290905.000 0.173 0.173 0.000 0.0
131 E11 970216.000 0.528 0.528 0.000 0.0
132 E12 394495.000 0.227 0.227 0.000 0.0
133 F1 428982.000 0.245 0.245 0.000 0.0
134 F2 399736.000 0.230 0.230 0.000 0.0
135 F3 276492.000 0.166 0.166 0.000 0.0
136 F4 331093.000 0.194 0.194 0.000 0.0
137 F5 203748.000 0.128 0.128 0.000 0.0
138 F6 737268.000 0.406 0.406 0.000 0.0
139 F7 313999.000 0.185 0.185 0.000 0.0
14 C2 337523.000 0.198 0.198 0.000 0.0
140 F8 215165.000 0.134 0.134 0.000 0.0
141 F9 316454.000 0.187 0.187 0.000 0.0
142 F10 192066.000 0.122 0.122 0.000 0.0
143 F11 223828.000 0.138 0.138 0.000 0.0
144 F12 225596.000 0.139 0.139 0.000 0.0
145 G1 231956.000 0.143 0.143 0.000 0.0
146 G2 278070.000 0.167 0.167 0.000 0.0
147 G3 217329.000 0.135 0.135 0.000 0.0
148 G4 236760.000 0.145 0.145 0.000 0.0
149 G5 263671.000 0.159 0.159 0.000 0.0
15 C3 314018.000 0.185 0.185 0.000 0.0
150 G6 329780.000 0.194 0.194 0.000 0.0
151 G7 600442.000 0.335 0.335 0.000 0.0
152 G8 574457.000 0.321 0.321 0.000 0.0
153 G9 666579.000 0.369 0.369 0.000 0.0
154 G10 317876.000 0.187 0.187 0.000 0.0
155 G11 442094.000 0.252 0.252 0.000 0.0
156 G12 349282.000 0.204 0.204 0.000 0.0
157 H1 311773.000 0.184 0.184 0.000 0.0
158 H2 280553.000 0.168 0.168 0.000 0.0
159 H3 316215.000 0.187 0.187 0.000 0.0
16 C4 340166.000 0.199 0.199 0.000 0.0
160 H4 314038.000 0.185 0.185 0.000 0.0
161 H5 326883.000 0.192 0.192 0.000 0.0
162 H6 395971.000 0.228 0.228 0.000 0.0
163 H7 340310.000 0.199 0.199 0.000 0.0
164 H8 302770.000 0.180 0.180 0.000 0.0
165 H9 287904.000 0.172 0.172 0.000 0.0
166 H10 387078.000 0.224 0.224 0.000 0.0
167 H11 308659.000 0.183 0.183 0.000 0.0
168 H12 306044.000 0.181 0.181 0.000 0.0
169 B1 258453.000 0.156 0.156 0.000 0.0
17 C5 265249.000 0.160 0.160 0.000 0.0
170 B2 685152.000 0.379 0.379 0.000 0.0
171 B3 439880.000 0.251 0.251 0.000 0.0
172 B4 854160.000 0.467 0.467 0.000 0.0
173 B5 278263.000 0.167 0.167 0.000 0.0
174 B6 141729.000 0.095 0.095 0.000 0.0
175 B7 212661.000 0.132 0.132 0.000 0.0
176 B8 789743.000 0.434 0.434 0.000 0.0
177 B9 463990.000 0.264 0.264 0.000 0.0
178 B10 248043.000 0.151 0.151 0.000 0.0
179 B11 669159.000 0.371 0.371 0.000 0.0
18 C6 280291.000 0.168 0.168 0.000 0.0
180 B12 804028.000 0.441 0.441 0.000 0.0
181 C1 338177.000 0.198 0.198 0.000 0.0
182 C2 291553.000 0.174 0.174 0.000 0.0
183 C3 348053.000 0.203 0.203 0.000 0.0
184 C4 469395.000 0.266 0.266 0.000 0.0
185 C5 943611.000 0.514 0.514 0.000 0.0
186 C6 491304.000 0.278 0.278 0.000 0.0
187 C7 705498.000 0.390 0.390 0.000 0.0
188 C8 822714.000 0.451 0.451 0.000 0.0
189 C9 807024.000 0.443 0.443 0.000 0.0
19 C7 329508.000 0.193 0.193 0.000 0.0
190 C10 482311.000 0.273 0.273 0.000 0.0
191 C11 568646.000 0.318 0.318 0.000 0.0
192 C12 311871.000 0.184 0.184 0.000 0.0
193 D1 470538.000 0.267 0.267 0.000 0.0
194 D2 440498.000 0.251 0.251 0.000 0.0
195 D3 1215757.000 0.656 0.656 0.000 0.0
196 D4 794540.000 0.436 0.436 0.000 0.0
197 D5 972599.000 0.529 0.529 0.000 0.0
198 D6 541160.000 0.304 0.304 0.000 0.0
199 D7 673144.000 0.373 0.373 0.000 0.0
20 C8 396644.000 0.229 0.229 0.000 0.0
200 D8 248316.000 0.151 0.151 0.000 0.0
201 D9 811873.000 0.445 0.445 0.000 0.0
202 D10 572011.000 0.320 0.320 0.000 0.0
203 D11 469338.000 0.266 0.266 0.000 0.0
204 D12 433298.000 0.248 0.248 0.000 0.0
205 E1 459068.000 0.261 0.261 0.000 0.0
206 E2 256029.000 0.155 0.155 0.000 0.0
207 E3 276663.000 0.166 0.166 0.000 0.0
208 E4 284834.000 0.170 0.170 0.000 0.0
209 E5 347103.000 0.203 0.203 0.000 0.0
21 C9 538021.000 0.302 0.302 0.000 0.0
210 E6 300470.000 0.178 0.178 0.000 0.0
211 E7 363753.000 0.211 0.211 0.000 0.0
212 E8 388550.000 0.224 0.224 0.000 0.0
213 E9 647489.000 0.359 0.359 0.000 0.0
214 E10 593399.000 0.331 0.331 0.000 0.0
215 E11 940752.000 0.512 0.512 0.000 0.0
216 E12 5867.000 R 0.025 0.025 0.000 0.0
22 C10 355636.000 0.207 0.207 0.000 0.0
23 C11 236750.000 0.145 0.145 0.000 0.0
24 C12 484160.000 0.274 0.274 0.000 0.0
25 D1 359482.000 0.209 0.209 0.000 0.0
26 D2 85267.000 0.066 0.066 0.000 0.0
27 D3 381748.000 0.221 0.221 0.000 0.0
28 D4 241840.000 0.148 0.148 0.000 0.0
29 D5 228763.000 0.141 0.141 0.000 0.0
30 D6 432273.000 0.247 0.247 0.000 0.0
31 D7 346649.000 0.202 0.202 0.000 0.0
32 D8 344470.000 0.201 0.201 0.000 0.0
33 D9 296104.000 0.176 0.176 0.000 0.0
34 D10 386370.000 0.223 0.223 0.000 0.0
35 D11 283496.000 0.169 0.169 0.000 0.0
36 D12 374867.000 0.217 0.217 0.000 0.0
37 E1 7713.000 R 0.026 0.026 0.000 0.0
38 E2 9137.000 R 0.026 0.026 0.000 0.0
39 E3 7491.000 R 0.025 0.025 0.000 0.0
40 E4 6909.000 R 0.025 0.025 0.000 0.0
41 E5 6930.000 R 0.025 0.025 0.000 0.0
42 E6 10164.000 R 0.027 0.027 0.000 0.0
43 E7 7022.000 R 0.025 0.025 0.000 0.0
44 E8 7309.000 R 0.025 0.025 0.000 0.0
45 E9 7953.000 R 0.026 0.026 0.000 0.0
46 E10 7807.000 R 0.026 0.026 0.000 0.0
47 E11 8741.000 R 0.026 0.026 0.000 0.0
48 E12 8784.000 R 0.026 0.026 0.000 0.0
49 F1 6623.000 R 0.025 0.025 0.000 0.0
50 F2 6429.000 R 0.025 0.025 0.000 0.0
51 F3 6667.000 R 0.025 0.025 0.000 0.0
52 F4 6622.000 R 0.025 0.025 0.000 0.0
53 F5 8600.000 R 0.026 0.026 0.000 0.0
54 F6 5729.000 R 0.025 0.025 0.000 0.0
55 F7 6060.000 R 0.025 0.025 0.000 0.0
56 F8 7075.000 R 0.025 0.025 0.000 0.0
57 F9 6025.000 R 0.025 0.025 0.000 0.0
58 F10 5521.000 R 0.024 0.024 0.000 0.0
59 F11 6440.000 R 0.025 0.025 0.000 0.0
60 F12 5959.000 R 0.025 0.025 0.000 0.0
61 G1 396017.000 0.228 0.228 0.000 0.0
62 G2 320238.000 0.189 0.189 0.000 0.0
63 G3 353371.000 0.206 0.206 0.000 0.0
64 G4 574890.000 0.322 0.322 0.000 0.0
65 G5 538013.000 0.302 0.302 0.000 0.0
66 G6 474347.000 0.269 0.269 0.000 0.0
67 G7 586186.000 0.327 0.327 0.000 0.0
68 G8 309023.000 0.183 0.183 0.000 0.0
69 G9 476625.000 0.270 0.270 0.000 0.0
70 G10 240134.000 0.147 0.147 0.000 0.0
71 G11 255588.000 0.155 0.155 0.000 0.0
72 G12 198660.000 0.125 0.125 0.000 0.0
73 H1 152162.000 0.101 0.101 0.000 0.0
74 H2 489042.000 0.277 0.277 0.000 0.0
75 H3 251042.000 0.153 0.153 0.000 0.0
76 H4 546048.000 0.306 0.306 0.000 0.0
77 H5 389524.000 0.225 0.225 0.000 0.0
78 H6 533731.000 0.300 0.300 0.000 0.0
79 H7 644595.000 0.358 0.358 0.000 0.0
80 H8 1026322.000 0.557 0.557 0.000 0.0
81 H9 1004722.000 0.546 0.546 0.000 0.0
82 H10 1028192.000 0.558 0.558 0.000 0.0
83 H11 857477.000 0.469 0.469 0.000 0.0
84 H12 441127.000 0.252 0.252 0.000 0.0
Group Summaries
InRange R - Outside standard range
~End
Plate: Plate2 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
26 17353102 1722798 187434 35028 19538752 1744071 184898 32178 20081746 1697165 181269 27883
383565 423964 579530 568155 512160 322548 265696 2955829 340309 297172 3429026 397499
520909 506272 332279 275428 258512 384077 456478 470362 391350 388617 425090 712836
304366 389670 261806 312595 185453 1161877 230279 256810 199487 214793 211383 262265
192490 209377 322623 177087 457022 230925 298845 536593 287195 290905 970216 394495
428982 399736 276492 331093 203748 737268 313999 215165 316454 192066 223828 225596
231956 278070 217329 236760 263671 329780 600442 574457 666579 317876 442094 349282
311773 280553 316215 314038 326883 395971 340310 302770 287904 387078 308659 306044
~End
Original Filename: 121914-3; Date Last Saved: 12/19/2014 2:19:34 PM