## input
ÿþ##BLOCKS= 4
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
24.5 13766045 1817951 214253 41919 11529165 1875172 243531 39125 11637215 1753891 205107 32503
354105 287409 353011 345139 352091 443434 358146 406314 647643 395913 525188 363979
453983 339368 445963 356578 372625 404874 335099 349270 287999 357279 296041 305576
919 872 956 840 944 907 875 855 851 870 908 816
993 877 884 872 837 901 857 906 844 748 876 839
814 901 864 869 869 948 854 842 893 871 800 847
824 898 873 896 923 854 935 908 910 814 918 930
897 919 868 823 848 821 917 964 878 858 839 930
~End
Group: Standards
Sample Conc BackCalcConc Wells Value MeanValue SD CV
standard 10.000 11.172 A1 13766045.000 12310808.333 1261429.355 10.2
9.325 A5 11529165.000
9.414 A9 11637215.000
standard01 1.000 1.310 A2 1817951.000 1815671.333 60672.629 3.3
1.357 A6 1875172.000
1.257 A10 1753891.000
standard02 0.100 -0.014 A3 214253.000 220963.667 20071.764 9.1
0.010 A7 243531.000
-0.022 A11 205107.000
standard03 0.010 -0.156 A4 41919.000 37849.000 4835.948 12.8
-0.159 A8 39125.000
-0.164 A12 32503.000
Group Summaries
MinStd Smallest standard value: 37849.000 Min(MeanValue)
MaxStd Largest standard value: 12310808.333 Max(MeanValue)
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 B1 354105.000 0.101 0.101 0.000 0.0
02 B2 287409.000 0.046 0.046 0.000 0.0
03 B3 353011.000 0.100 0.100 0.000 0.0
04 B4 345139.000 0.094 0.094 0.000 0.0
05 B5 352091.000 0.100 0.100 0.000 0.0
06 B6 443434.000 0.175 0.175 0.000 0.0
07 B7 358146.000 0.105 0.105 0.000 0.0
08 B8 406314.000 0.144 0.144 0.000 0.0
09 B9 647643.000 0.344 0.344 0.000 0.0
10 B10 395913.000 0.136 0.136 0.000 0.0
11 B11 525188.000 0.243 0.243 0.000 0.0
12 B12 363979.000 0.110 0.110 0.000 0.0
13 C1 453983.000 0.184 0.184 0.000 0.0
14 C2 339368.000 0.089 0.089 0.000 0.0
15 C3 445963.000 0.177 0.177 0.000 0.0
16 C4 356578.000 0.103 0.103 0.000 0.0
17 C5 372625.000 0.117 0.117 0.000 0.0
18 C6 404874.000 0.143 0.143 0.000 0.0
19 C7 335099.000 0.086 0.086 0.000 0.0
20 C8 349270.000 0.097 0.097 0.000 0.0
21 C9 287999.000 0.047 0.047 0.000 0.0
22 C10 357279.000 0.104 0.104 0.000 0.0
23 C11 296041.000 0.053 0.053 0.000 0.0
24 C12 305576.000 0.061 0.061 0.000 0.0
Group Summaries
InRange R - Outside standard range
~End
Original Filename: 122314; Date Last Saved: 12/23/2014 11:10:57 AM