## input
ÿþ##BLOCKS= 2
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 TimeFormat Endpoint Luminescence Raw FALSE 1 1 0 2 22 384 0 2 14
Temperature(¡C) A1 A2 A3 A4 A5 A6 A7 A8 A9 A10 A11 A12 A13 A14 A15 A16 A17 A18 A19 A20 A21 A22 A23 A24 B1 B2 B3 B4 B5 B6 B7 B8 B9 B10 B11 B12 B13 B14 B15 B16 B17 B18 B19 B20 B21 B22 B23 B24 C1 C2 C3 C4 C5 C6 C7 C8 C9 C10 C11 C12 C13 C14 C15 C16 C17 C18 C19 C20 C21 C22 C23 C24 D1 D2 D3 D4 D5 D6 D7 D8 D9 D10 D11 D12 D13 D14 D15 D16 D17 D18 D19 D20 D21 D22 D23 D24 E1 E2 E3 E4 E5 E6 E7 E8 E9 E10 E11 E12 E13 E14 E15 E16 E17 E18 E19 E20 E21 E22 E23 E24 F1 F2 F3 F4 F5 F6 F7 F8 F9 F10 F11 F12 F13 F14 F15 F16 F17 F18 F19 F20 F21 F22 F23 F24 G1 G2 G3 G4 G5 G6 G7 G8 G9 G10 G11 G12 G13 G14 G15 G16 G17 G18 G19 G20 G21 G22 G23 G24 H1 H2 H3 H4 H5 H6 H7 H8 H9 H10 H11 H12 H13 H14 H15 H16 H17 H18 H19 H20 H21 H22 H23 H24 I1 I2 I3 I4 I5 I6 I7 I8 I9 I10 I11 I12 I13 I14 I15 I16 I17 I18 I19 I20 I21 I22 I23 I24 J1 J2 J3 J4 J5 J6 J7 J8 J9 J10 J11 J12 J13 J14 J15 J16 J17 J18 J19 J20 J21 J22 J23 J24 K1 K2 K3 K4 K5 K6 K7 K8 K9 K10 K11 K12 K13 K14 K15 K16 K17 K18 K19 K20 K21 K22 K23 K24 L1 L2 L3 L4 L5 L6 L7 L8 L9 L10 L11 L12 L13 L14 L15 L16 L17 L18 L19 L20 L21 L22 L23 L24 M1 M2 M3 M4 M5 M6 M7 M8 M9 M10 M11 M12 M13 M14 M15 M16 M17 M18 M19 M20 M21 M22 M23 M24 N1 N2 N3 N4 N5 N6 N7 N8 N9 N10 N11 N12 N13 N14 N15 N16 N17 N18 N19 N20 N21 N22 N23 N24 O1 O2 O3 O4 O5 O6 O7 O8 O9 O10 O11 O12 O13 O14 O15 O16 O17 O18 O19 O20 O21 O22 O23 O24 P1 P2 P3 P4 P5 P6 P7 P8 P9 P10 P11 P12 P13 P14 P15 P16 P17 P18 P19 P20 P21 P22 P23 P24
21.5 1068 6250 9787 23947 15299 25891 30157 26474 29049 5886 5130 4667 235 190 226 375 1072 1333 152372 142604 94425 80569 18123 17155 24555 49482 46157 39343 57874 45602 48225 7444 7200 6765 643 557 643 914 971 1586 206380 176877 206187 144124 31401 30520 30245 65371 61536 53678 78458 68187 98988 7437 5470 5015 712 1007 817 977 2188 2305 255251 249050 254370 150828 29406 38595 43376 117440 90742 131665 198037 122544 154160 10058 4986 5504 1278 803 930 1982 663 3508 255804 273693 319808 138425 35205 49561 51880 155876 154809 179222 217221 224737 197994 14097 12217 6320 1022 574 679 2773 4375 4594 284022 365999 367125 102061 42407 59516 70123 169182 214679 221834 298502 194171 246220 21637 15507 14515 998 962 694 5800 5449 6808 251278 285074 362749 181814 57824 106429 135920 228789 180939 215805 203068 310575 269314 26828 24582 21565 3232 1253 2362 9524 7319 7155 380647 336912 343120 183257 615 1133 1457 2552 2748 3597 12512 12505 12141 21832 748448 14838 739630 13993 604238 14175 696443 15788 515564 16463 341195 138191 217 348 484 12417 16775 11297 15435 14603 12733 32474 5628 1186 5357 1161 4282 961 4567 1299 3943 1445 3085 1617 158 160 305 22876 28783 23902 16839 12645 16728 109648 1445 858 599 695 572 681 516 590 529 608 520 409 127 206 346 27468 34180 35354 8853 7521 11686 96952 1588 357 215 208 161 190 194 172 172 168 183 143 131 387 830 49762 42148 38963 7659 6483 7068 122548 1228 289 149 124 140 149 90 134 118 149 116 115 401 1104 1946 35370 39716 53284 6772 4217 3977 82354 1229 271 143 97 125 125 140 115 118 109 91 86 93 195 1341 20995 35953 26862 4400 3092 4538 199031 11711 283 125 109 124 108 100 113 102 102 127 111
A1 A2 A3 A4 A5 A6 A7 A8 A9 A10 A11 A12 A13 A14 A15 A16 A17 A18 A19 A20 A21 A22 A23 A24 B1 B2 B3 B4 B5 B6 B7 B8 B9 B10 B11 B12 B13 B14 B15 B16 B17 B18 B19 B20 B21 B22 B23 B24 C1 C2 C3 C4 C5 C6 C7 C8 C9 C10 C11 C12 C13 C14 C15 C16 C17 C18 C19 C20 C21 C22 C23 C24 D1 D2 D3 D4 D5 D6 D7 D8 D9 D10 D11 D12 D13 D14 D15 D16 D17 D18 D19 D20 D21 D22 D23 D24 E1 E2 E3 E4 E5 E6 E7 E8 E9 E10 E11 E12 E13 E14 E15 E16 E17 E18 E19 E20 E21 E22 E23 E24 F1 F2 F3 F4 F5 F6 F7 F8 F9 F10 F11 F12 F13 F14 F15 F16 F17 F18 F19 F20 F21 F22 F23 F24 G1 G2 G3 G4 G5 G6 G7 G8 G9 G10 G11 G12 G13 G14 G15 G16 G17 G18 G19 G20 G21 G22 G23 G24 H1 H2 H3 H4 H5 H6 H7 H8 H9 H10 H11 H12 H13 H14 H15 H16 H17 H18 H19 H20 H21 H22 H23 H24 I1 I2 I3 I4 I5 I6 I7 I8 I9 I10 I11 I12 I13 I14 I15 I16 I17 I18 I19 I20 I21 I22 I23 I24 J1 J2 J3 J4 J5 J6 J7 J8 J9 J10 J11 J12 J13 J14 J15 J16 J17 J18 J19 J20 J21 J22 J23 J24 K1 K2 K3 K4 K5 K6 K7 K8 K9 K10 K11 K12 K13 K14 K15 K16 K17 K18 K19 K20 K21 K22 K23 K24 L1 L2 L3 L4 L5 L6 L7 L8 L9 L10 L11 L12 L13 L14 L15 L16 L17 L18 L19 L20 L21 L22 L23 L24 M1 M2 M3 M4 M5 M6 M7 M8 M9 M10 M11 M12 M13 M14 M15 M16 M17 M18 M19 M20 M21 M22 M23 M24 N1 N2 N3 N4 N5 N6 N7 N8 N9 N10 N11 N12 N13 N14 N15 N16 N17 N18 N19 N20 N21 N22 N23 N24 O1 O2 O3 O4 O5 O6 O7 O8 O9 O10 O11 O12 O13 O14 O15 O16 O17 O18 O19 O20 O21 O22 O23 O24 P1 P2 P3 P4 P5 P6 P7 P8 P9 P10 P11 P12 P13 P14 P15 P16 P17 P18 P19 P20 P21 P22 P23 P24
1068 6250 9787 23947 15299 25891 30157 26474 29049 5886 5130 4667 235 190 226 375 1072 1333 152372 142604 94425 80569 18123 17155 24555 49482 46157 39343 57874 45602 48225 7444 7200 6765 643 557 643 914 971 1586 206380 176877 206187 144124 31401 30520 30245 65371 61536 53678 78458 68187 98988 7437 5470 5015 712 1007 817 977 2188 2305 255251 249050 254370 150828 29406 38595 43376 117440 90742 131665 198037 122544 154160 10058 4986 5504 1278 803 930 1982 663 3508 255804 273693 319808 138425 35205 49561 51880 155876 154809 179222 217221 224737 197994 14097 12217 6320 1022 574 679 2773 4375 4594 284022 365999 367125 102061 42407 59516 70123 169182 214679 221834 298502 194171 246220 21637 15507 14515 998 962 694 5800 5449 6808 251278 285074 362749 181814 57824 106429 135920 228789 180939 215805 203068 310575 269314 26828 24582 21565 3232 1253 2362 9524 7319 7155 380647 336912 343120 183257 615 1133 1457 2552 2748 3597 12512 12505 12141 21832 748448 14838 739630 13993 604238 14175 696443 15788 515564 16463 341195 138191 217 348 484 12417 16775 11297 15435 14603 12733 32474 5628 1186 5357 1161 4282 961 4567 1299 3943 1445 3085 1617 158 160 305 22876 28783 23902 16839 12645 16728 109648 1445 858 599 695 572 681 516 590 529 608 520 409 127 206 346 27468 34180 35354 8853 7521 11686 96952 1588 357 215 208 161 190 194 172 172 168 183 143 131 387 830 49762 42148 38963 7659 6483 7068 122548 1228 289 149 124 140 149 90 134 118 149 116 115 401 1104 1946 35370 39716 53284 6772 4217 3977 82354 1229 271 143 97 125 125 140 115 118 109 91 86 93 195 1341 20995 35953 26862 4400 3092 4538 199031 11711 283 125 109 124 108 100 113 102 102 127 111
~End
Original Filename: #795 treated with drugs 20190611; Date Last Saved: 6/11/2019 11:33:45 AM