## input
ÿþ##BLOCKS= 8
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 TimeFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) A1 A2 A3 A4 A5 A6 A7 A8 A9 A10 A11 A12 B1 B2 B3 B4 B5 B6 B7 B8 B9 B10 B11 B12 C1 C2 C3 C4 C5 C6 C7 C8 C9 C10 C11 C12 D1 D2 D3 D4 D5 D6 D7 D8 D9 D10 D11 D12 E1 E2 E3 E4 E5 E6 E7 E8 E9 E10 E11 E12 F1 F2 F3 F4 F5 F6 F7 F8 F9 F10 F11 F12 G1 G2 G3 G4 G5 G6 G7 G8 G9 G10 G11 G12 H1 H2 H3 H4 H5 H6 H7 H8 H9 H10 H11 H12
26.5 -2598 25995952 27280258 18752404 9886 -2611 -2621 -2547 -2540 -2630 -2577 -2708 -2531 13468379 18260280 10915822 10256 -2552 -2623 -2584 -2515 -2529 -2620 -2760 -2616 7591983 9465809 6044174 9725 -2591 -2639 -2614 -2515 -2616 -2690 -2712 -2642 5146995 5087679 4097251 10221 -2667 -2681 -2525 -2552 -2687 -2566 -2690 -2624 2960887 3279797 2400583 99443 -2555 -2569 -2590 -2597 -2652 -2675 -2766 -2504 1879524 2047132 1522014 9726 -2584 -2648 -2543 -2554 -2632 -2524 -2700 -2598 1150603 1378215 1098897 9163 -2628 -2679 -2734 -2523 -2661 -2681 -2512 -2504 720878 668792 697951 8833 -2611 -2654 -2606 -2645 -2691 -2675 -2585
A1 A2 A3 A4 A5 A6 A7 A8 A9 A10 A11 A12 B1 B2 B3 B4 B5 B6 B7 B8 B9 B10 B11 B12 C1 C2 C3 C4 C5 C6 C7 C8 C9 C10 C11 C12 D1 D2 D3 D4 D5 D6 D7 D8 D9 D10 D11 D12 E1 E2 E3 E4 E5 E6 E7 E8 E9 E10 E11 E12 F1 F2 F3 F4 F5 F6 F7 F8 F9 F10 F11 F12 G1 G2 G3 G4 G5 G6 G7 G8 G9 G10 G11 G12 H1 H2 H3 H4 H5 H6 H7 H8 H9 H10 H11 H12
-2598 25995952 27280258 18752404 9886 -2611 -2621 -2547 -2540 -2630 -2577 -2708 -2531 13468379 18260280 10915822 10256 -2552 -2623 -2584 -2515 -2529 -2620 -2760 -2616 7591983 9465809 6044174 9725 -2591 -2639 -2614 -2515 -2616 -2690 -2712 -2642 5146995 5087679 4097251 10221 -2667 -2681 -2525 -2552 -2687 -2566 -2690 -2624 2960887 3279797 2400583 99443 -2555 -2569 -2590 -2597 -2652 -2675 -2766 -2504 1879524 2047132 1522014 9726 -2584 -2648 -2543 -2554 -2632 -2524 -2700 -2598 1150603 1378215 1098897 9163 -2628 -2679 -2734 -2523 -2661 -2681 -2512 -2504 720878 668792 697951 8833 -2611 -2654 -2606 -2645 -2691 -2675 -2585
~End
Plate: Plate2 1.3 TimeFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) A1 A2 A3 A4 A5 A6 A7 A8 A9 A10 A11 A12 B1 B2 B3 B4 B5 B6 B7 B8 B9 B10 B11 B12 C1 C2 C3 C4 C5 C6 C7 C8 C9 C10 C11 C12 D1 D2 D3 D4 D5 D6 D7 D8 D9 D10 D11 D12 E1 E2 E3 E4 E5 E6 E7 E8 E9 E10 E11 E12 F1 F2 F3 F4 F5 F6 F7 F8 F9 F10 F11 F12 G1 G2 G3 G4 G5 G6 G7 G8 G9 G10 G11 G12 H1 H2 H3 H4 H5 H6 H7 H8 H9 H10 H11 H12
26 14494556 2644425 2115155 1526909 5024029 3342340 5560630 2087501 2999579 21137903 -2700 -2684 2633829 4415659 1279679 1265279 4829905 3379674 6718122 1144454 6564522 15163977 -2629 -2702 7111231 2467315 1139461 1368045 2274224 2578967 2962347 2070342 5392426 10072845 -2699 -2683 4691694 4642173 2603420 1153566 1825077 563282 4064653 2572794 4691835 5856842 -2656 -2633 7454995 1421561 4076193 1223630 3402125 2688743 3079217 1716376 4303565 2909468 -2601 -2626 6906617 1854797 1457884 2941370 1657439 2308856 5096088 9787074 -2624 1692390 -2535 -2695 2675639 1201430 2945825 3375118 2008025 1531806 2154574 1538912 -2704 825341 -2593 -2638 1389369 1331935 4486773 5982517 3082390 3455050 7165163 4810202 -2655 634174 -2650 -2623
A1 A2 A3 A4 A5 A6 A7 A8 A9 A10 A11 A12 B1 B2 B3 B4 B5 B6 B7 B8 B9 B10 B11 B12 C1 C2 C3 C4 C5 C6 C7 C8 C9 C10 C11 C12 D1 D2 D3 D4 D5 D6 D7 D8 D9 D10 D11 D12 E1 E2 E3 E4 E5 E6 E7 E8 E9 E10 E11 E12 F1 F2 F3 F4 F5 F6 F7 F8 F9 F10 F11 F12 G1 G2 G3 G4 G5 G6 G7 G8 G9 G10 G11 G12 H1 H2 H3 H4 H5 H6 H7 H8 H9 H10 H11 H12
14494556 2644425 2115155 1526909 5024029 3342340 5560630 2087501 2999579 21137903 -2700 -2684 2633829 4415659 1279679 1265279 4829905 3379674 6718122 1144454 6564522 15163977 -2629 -2702 7111231 2467315 1139461 1368045 2274224 2578967 2962347 2070342 5392426 10072845 -2699 -2683 4691694 4642173 2603420 1153566 1825077 563282 4064653 2572794 4691835 5856842 -2656 -2633 7454995 1421561 4076193 1223630 3402125 2688743 3079217 1716376 4303565 2909468 -2601 -2626 6906617 1854797 1457884 2941370 1657439 2308856 5096088 9787074 -2624 1692390 -2535 -2695 2675639 1201430 2945825 3375118 2008025 1531806 2154574 1538912 -2704 825341 -2593 -2638 1389369 1331935 4486773 5982517 3082390 3455050 7165163 4810202 -2655 634174 -2650 -2623
~End
Plate: Plate3 1.3 TimeFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) A1 A2 A3 A4 A5 A6 A7 A8 A9 A10 A11 A12 B1 B2 B3 B4 B5 B6 B7 B8 B9 B10 B11 B12 C1 C2 C3 C4 C5 C6 C7 C8 C9 C10 C11 C12 D1 D2 D3 D4 D5 D6 D7 D8 D9 D10 D11 D12 E1 E2 E3 E4 E5 E6 E7 E8 E9 E10 E11 E12 F1 F2 F3 F4 F5 F6 F7 F8 F9 F10 F11 F12 G1 G2 G3 G4 G5 G6 G7 G8 G9 G10 G11 G12 H1 H2 H3 H4 H5 H6 H7 H8 H9 H10 H11 H12
26 21159545 7574401 10711567 7715668 7044954 17645491 8434505 10950195 32940 21085339 -2728 -2650 16337610 6570996 9863649 9780032 8498717 15909173 8253308 10779622 -2600 8881704 -2573 -2675 8049231 9484147 11736821 8365417 8651201 10863658 11891476 19015605 -2657 3879244 -2698 -2660 6687014 8402393 10516613 10486410 7974874 6365271 11359118 9471898 -2546 2605226 -2710 -2692 858869 15472538 5956625 8119560 7966814 10228770 8917520 10191780 -2685 1248363 -2637 -2710 8217662 6625803 7814120 14515353 9361636 15213867 15111376 10756596 -2544 425173 -2587 -2710 21277529 886814 8690080 13730013 5567851 7640364 6348292 12372948 -2642 278063 -2629 -2649 25106785 11004774 12506374 16963893 832752 21417583 676134 7399150 -2633 270112 -2636 -2638
A1 A2 A3 A4 A5 A6 A7 A8 A9 A10 A11 A12 B1 B2 B3 B4 B5 B6 B7 B8 B9 B10 B11 B12 C1 C2 C3 C4 C5 C6 C7 C8 C9 C10 C11 C12 D1 D2 D3 D4 D5 D6 D7 D8 D9 D10 D11 D12 E1 E2 E3 E4 E5 E6 E7 E8 E9 E10 E11 E12 F1 F2 F3 F4 F5 F6 F7 F8 F9 F10 F11 F12 G1 G2 G3 G4 G5 G6 G7 G8 G9 G10 G11 G12 H1 H2 H3 H4 H5 H6 H7 H8 H9 H10 H11 H12
21159545 7574401 10711567 7715668 7044954 17645491 8434505 10950195 32940 21085339 -2728 -2650 16337610 6570996 9863649 9780032 8498717 15909173 8253308 10779622 -2600 8881704 -2573 -2675 8049231 9484147 11736821 8365417 8651201 10863658 11891476 19015605 -2657 3879244 -2698 -2660 6687014 8402393 10516613 10486410 7974874 6365271 11359118 9471898 -2546 2605226 -2710 -2692 858869 15472538 5956625 8119560 7966814 10228770 8917520 10191780 -2685 1248363 -2637 -2710 8217662 6625803 7814120 14515353 9361636 15213867 15111376 10756596 -2544 425173 -2587 -2710 21277529 886814 8690080 13730013 5567851 7640364 6348292 12372948 -2642 278063 -2629 -2649 25106785 11004774 12506374 16963893 832752 21417583 676134 7399150 -2633 270112 -2636 -2638
~End
Plate: Plate4 1.3 TimeFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) A1 A2 A3 A4 A5 A6 A7 A8 A9 A10 A11 A12 B1 B2 B3 B4 B5 B6 B7 B8 B9 B10 B11 B12 C1 C2 C3 C4 C5 C6 C7 C8 C9 C10 C11 C12 D1 D2 D3 D4 D5 D6 D7 D8 D9 D10 D11 D12 E1 E2 E3 E4 E5 E6 E7 E8 E9 E10 E11 E12 F1 F2 F3 F4 F5 F6 F7 F8 F9 F10 F11 F12 G1 G2 G3 G4 G5 G6 G7 G8 G9 G10 G11 G12 H1 H2 H3 H4 H5 H6 H7 H8 H9 H10 H11 H12
26.5 6010078 2485765 3560201 665559 1771478 2569267 2035199 1538004 4850761 1562692 17276257 -2553 10064041 3192724 1213252 2163630 887225 366681 2273125 1372788 1933237 2929822 5860241 -2644 2012312 1557471 1521898 1126904 475169 447201 2425439 2420350 2986164 -2649 4499797 -2701 6414839 727805 893412 712825 324792 1038723 1734015 884923 2244054 -2644 1038025 -2690 6656437 1187166 3054007 420126 52008 1081265 693906 651556 1792222 -2615 1105815 -2542 5534592 1617375 2046805 2168296 652368 1723083 1011810 711867 908530 -2615 558988 -2683 6762735 1035929 1882694 671082 636349 1489657 849545 1241088 305139 -2604 839970 -2634 5742862 1222493 2600613 2637244 1373114 1180489 509008 571720 1558778 -2632 406435 -2596
A1 A2 A3 A4 A5 A6 A7 A8 A9 A10 A11 A12 B1 B2 B3 B4 B5 B6 B7 B8 B9 B10 B11 B12 C1 C2 C3 C4 C5 C6 C7 C8 C9 C10 C11 C12 D1 D2 D3 D4 D5 D6 D7 D8 D9 D10 D11 D12 E1 E2 E3 E4 E5 E6 E7 E8 E9 E10 E11 E12 F1 F2 F3 F4 F5 F6 F7 F8 F9 F10 F11 F12 G1 G2 G3 G4 G5 G6 G7 G8 G9 G10 G11 G12 H1 H2 H3 H4 H5 H6 H7 H8 H9 H10 H11 H12
6010078 2485765 3560201 665559 1771478 2569267 2035199 1538004 4850761 1562692 17276257 -2553 10064041 3192724 1213252 2163630 887225 366681 2273125 1372788 1933237 2929822 5860241 -2644 2012312 1557471 1521898 1126904 475169 447201 2425439 2420350 2986164 -2649 4499797 -2701 6414839 727805 893412 712825 324792 1038723 1734015 884923 2244054 -2644 1038025 -2690 6656437 1187166 3054007 420126 52008 1081265 693906 651556 1792222 -2615 1105815 -2542 5534592 1617375 2046805 2168296 652368 1723083 1011810 711867 908530 -2615 558988 -2683 6762735 1035929 1882694 671082 636349 1489657 849545 1241088 305139 -2604 839970 -2634 5742862 1222493 2600613 2637244 1373114 1180489 509008 571720 1558778 -2632 406435 -2596
~End
Plate: Plate5 1.3 TimeFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) A1 A2 A3 A4 A5 A6 A7 A8 A9 A10 A11 A12 B1 B2 B3 B4 B5 B6 B7 B8 B9 B10 B11 B12 C1 C2 C3 C4 C5 C6 C7 C8 C9 C10 C11 C12 D1 D2 D3 D4 D5 D6 D7 D8 D9 D10 D11 D12 E1 E2 E3 E4 E5 E6 E7 E8 E9 E10 E11 E12 F1 F2 F3 F4 F5 F6 F7 F8 F9 F10 F11 F12 G1 G2 G3 G4 G5 G6 G7 G8 G9 G10 G11 G12 H1 H2 H3 H4 H5 H6 H7 H8 H9 H10 H11 H12
26.5 1426515 2742140 4770601 956174 1543125 624600 3097679 1223546 12150942 715045 26347543 -2671 2597109 2643503 583320 2145852 506030 308038 1737355 661553 5417152 373906 7437758 -2541 2242796 1013903 2955831 804725 526257 594648 1208671 877570 5767593 5000895 7311889 -2650 2331903 1047128 994500 1312724 400216 1234148 2102703 2776586 696651 -2603 3510905 -2734 2972589 1681655 2299105 741891 484722 906645 722003 971597 829034 -2625 1432795 -2616 2825648 2686049 2150430 1459321 790984 2353290 1810368 1775601 290837 -2555 377206 -2637 2421677 2017823 1013240 1279155 1572640 922564 1429626 2302981 939358 -2657 1025861 -2646 2491532 524212 706224 886556 742683 732328 4380145 1949467 680657 -2644 550605 -2682
A1 A2 A3 A4 A5 A6 A7 A8 A9 A10 A11 A12 B1 B2 B3 B4 B5 B6 B7 B8 B9 B10 B11 B12 C1 C2 C3 C4 C5 C6 C7 C8 C9 C10 C11 C12 D1 D2 D3 D4 D5 D6 D7 D8 D9 D10 D11 D12 E1 E2 E3 E4 E5 E6 E7 E8 E9 E10 E11 E12 F1 F2 F3 F4 F5 F6 F7 F8 F9 F10 F11 F12 G1 G2 G3 G4 G5 G6 G7 G8 G9 G10 G11 G12 H1 H2 H3 H4 H5 H6 H7 H8 H9 H10 H11 H12
1426515 2742140 4770601 956174 1543125 624600 3097679 1223546 12150942 715045 26347543 -2671 2597109 2643503 583320 2145852 506030 308038 1737355 661553 5417152 373906 7437758 -2541 2242796 1013903 2955831 804725 526257 594648 1208671 877570 5767593 5000895 7311889 -2650 2331903 1047128 994500 1312724 400216 1234148 2102703 2776586 696651 -2603 3510905 -2734 2972589 1681655 2299105 741891 484722 906645 722003 971597 829034 -2625 1432795 -2616 2825648 2686049 2150430 1459321 790984 2353290 1810368 1775601 290837 -2555 377206 -2637 2421677 2017823 1013240 1279155 1572640 922564 1429626 2302981 939358 -2657 1025861 -2646 2491532 524212 706224 886556 742683 732328 4380145 1949467 680657 -2644 550605 -2682
~End
Group: Standards
Sample Conc BackCalcConc Wells Value MeanValue SD CV
01 100.000 109.350 A2 25995952.000 24009538.000 4597874.933 19.2
114.711 A3 27280258.000
79.109 A4 18752404.000
02 60.000 57.048 B2 13468379.000 14214827.000 3728693.376 26.2
77.054 B3 18260280.000
46.392 B4 10915822.000
03 36.000 32.515 C2 7591983.000 7700655.333 1713404.148 22.3
40.338 C3 9465809.000
26.053 C4 6044174.000
04 21.600 22.308 D2 5146995.000 4777308.333 589693.208 12.3
22.060 D3 5087679.000
17.925 D4 4097251.000
05 12.960 13.181 E2 2960887.000 2880422.333 445095.761 15.5
14.512 E3 3279797.000
10.842 E4 2400583.000
06 7.770 8.666 F2 1879524.000 1816223.333 268220.915 14.8
9.366 F3 2047132.000
7.174 F4 1522014.000
07 4.666 5.623 G2 1150603.000 1209238.333 148604.216 12.3
6.574 G3 1378215.000
5.407 G4 1098897.000
08 2.799 3.829 H2 720878.000 695873.667 26105.063 3.8
3.612 H3 668792.000
3.734 H4 697951.000
Group Summaries
MinStd Smallest standard value: 695873.667 Min(MeanValue)
MaxStd Largest standard value: 24009538.000 Max(MeanValue)
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 A1 14494556.000 61.333 61.333 0.000 0.0
02 B1 2633829.000 11.816 11.816 0.000 0.0
03 C1 7111231.000 30.508 30.508 0.000 0.0
04 D1 4691694.000 20.407 20.407 0.000 0.0
05 E1 7454995.000 31.943 31.943 0.000 0.0
06 F1 6906617.000 29.654 29.654 0.000 0.0
07 G1 2675639.000 11.990 11.990 0.000 0.0
08 H1 1389369.000 6.620 6.620 0.000 0.0
09 A2 2644425.000 11.860 11.860 0.000 0.0
097 A1 21159545.000 89.158 89.158 0.000 0.0
098 B1 16337610.000 69.027 69.027 0.000 0.0
099 C1 8049231.000 34.424 34.424 0.000 0.0
10 B2 4415659.000 19.255 19.255 0.000 0.0
100 D1 6687014.000 28.737 28.737 0.000 0.0
101 E1 858869.000 4.405 4.405 0.000 0.0
102 F1 8217662.000 35.127 35.127 0.000 0.0
103 G1 21277529.000 89.651 89.651 0.000 0.0
104 H1 25106785.000 R 105.637 105.637 0.000 0.0
105 A2 7574401.000 32.442 32.442 0.000 0.0
106 B2 6570996.000 28.253 28.253 0.000 0.0
107 C2 9484147.000 40.415 40.415 0.000 0.0
108 D2 8402393.000 35.899 35.899 0.000 0.0
109 E2 15472538.000 65.416 65.416 0.000 0.0
11 C2 2467315.000 11.120 11.120 0.000 0.0
110 F2 6625803.000 28.482 28.482 0.000 0.0
111 G2 886814.000 4.522 4.522 0.000 0.0
112 H2 11004774.000 46.763 46.763 0.000 0.0
113 A3 10711567.000 45.539 45.539 0.000 0.0
114 B3 9863649.000 41.999 41.999 0.000 0.0
115 C3 11736821.000 49.819 49.819 0.000 0.0
116 D3 10516613.000 44.725 44.725 0.000 0.0
117 E3 5956625.000 25.688 25.688 0.000 0.0
118 F3 7814120.000 33.443 33.443 0.000 0.0
119 G3 8690080.000 37.100 37.100 0.000 0.0
12 D2 4642173.000 20.200 20.200 0.000 0.0
120 H3 12506374.000 53.032 53.032 0.000 0.0
121 A4 7715668.000 33.032 33.032 0.000 0.0
122 B4 9780032.000 41.650 41.650 0.000 0.0
123 C4 8365417.000 35.744 35.744 0.000 0.0
124 D4 10486410.000 44.599 44.599 0.000 0.0
125 E4 8119560.000 34.718 34.718 0.000 0.0
126 F4 14515353.000 61.419 61.419 0.000 0.0
127 G4 13730013.000 58.141 58.141 0.000 0.0
128 H4 16963893.000 71.642 71.642 0.000 0.0
129 A5 7044954.000 30.231 30.231 0.000 0.0
13 E2 1421561.000 6.755 6.755 0.000 0.0
130 B5 8498717.000 36.301 36.301 0.000 0.0
131 C5 8651201.000 36.937 36.937 0.000 0.0
132 D5 7974874.000 34.114 34.114 0.000 0.0
133 E5 7966814.000 34.080 34.080 0.000 0.0
134 F5 9361636.000 39.903 39.903 0.000 0.0
135 G5 5567851.000 24.065 24.065 0.000 0.0
136 H5 832752.000 4.296 4.296 0.000 0.0
137 A6 17645491.000 74.487 74.487 0.000 0.0
138 B6 15909173.000 67.239 67.239 0.000 0.0
139 C6 10863658.000 46.174 46.174 0.000 0.0
14 F2 1854797.000 8.563 8.563 0.000 0.0
140 D6 6365271.000 27.394 27.394 0.000 0.0
141 E6 10228770.000 43.524 43.524 0.000 0.0
142 F6 15213867.000 64.336 64.336 0.000 0.0
143 G6 7640364.000 32.717 32.717 0.000 0.0
144 H6 21417583.000 90.235 90.235 0.000 0.0
145 A7 8434505.000 36.033 36.033 0.000 0.0
146 B7 8253308.000 35.276 35.276 0.000 0.0
147 C7 11891476.000 50.465 50.465 0.000 0.0
148 D7 11359118.000 48.243 48.243 0.000 0.0
149 E7 8917520.000 38.049 38.049 0.000 0.0
15 G2 1201430.000 5.835 5.835 0.000 0.0
150 F7 15111376.000 63.908 63.908 0.000 0.0
151 G7 6348292.000 27.323 27.323 0.000 0.0
152 H7 676134.000 R 3.642 3.642 0.000 0.0
153 A8 10950195.000 46.535 46.535 0.000 0.0
154 B8 10779622.000 45.823 45.823 0.000 0.0
155 C8 19015605.000 80.207 80.207 0.000 0.0
156 D8 9471898.000 40.364 40.364 0.000 0.0
157 E8 10191780.000 43.369 43.369 0.000 0.0
158 F8 10756596.000 45.727 45.727 0.000 0.0
159 G8 12372948.000 52.475 52.475 0.000 0.0
16 H2 1331935.000 6.380 6.380 0.000 0.0
160 H8 7399150.000 31.710 31.710 0.000 0.0
161 A9 32940.000 R 0.957 0.957 0.000 0.0
162 B9 -2600.000 R 0.809 0.809 0.000 0.0
163 C9 -2657.000 R 0.809 0.809 0.000 0.0
164 D9 -2546.000 R 0.809 0.809 0.000 0.0
165 E9 -2685.000 R 0.808 0.808 0.000 0.0
166 F9 -2544.000 R 0.809 0.809 0.000 0.0
167 G9 -2642.000 R 0.809 0.809 0.000 0.0
168 H9 -2633.000 R 0.809 0.809 0.000 0.0
169 A10 21085339.000 88.848 88.848 0.000 0.0
17 A3 2115155.000 9.650 9.650 0.000 0.0
170 B10 8881704.000 37.900 37.900 0.000 0.0
171 C10 3879244.000 17.015 17.015 0.000 0.0
172 D10 2605226.000 11.696 11.696 0.000 0.0
173 E10 1248363.000 6.031 6.031 0.000 0.0
174 F10 425173.000 R 2.595 2.595 0.000 0.0
175 G10 278063.000 R 1.981 1.981 0.000 0.0
176 H10 270112.000 R 1.947 1.947 0.000 0.0
177 A11 -2728.000 R 0.808 0.808 0.000 0.0
178 B11 -2573.000 R 0.809 0.809 0.000 0.0
179 C11 -2698.000 R 0.808 0.808 0.000 0.0
18 B3 1279679.000 6.162 6.162 0.000 0.0
180 D11 -2710.000 R 0.808 0.808 0.000 0.0
181 E11 -2637.000 R 0.809 0.809 0.000 0.0
182 F11 -2587.000 R 0.809 0.809 0.000 0.0
183 G11 -2629.000 R 0.809 0.809 0.000 0.0
184 H11 -2636.000 R 0.809 0.809 0.000 0.0
185 A12 -2650.000 R 0.809 0.809 0.000 0.0
186 B12 -2675.000 R 0.809 0.809 0.000 0.0
187 C12 -2660.000 R 0.809 0.809 0.000 0.0
188 D12 -2692.000 R 0.808 0.808 0.000 0.0
189 E12 -2710.000 R 0.808 0.808 0.000 0.0
19 C3 1139461.000 5.577 5.577 0.000 0.0
190 F12 -2710.000 R 0.808 0.808 0.000 0.0
191 G12 -2649.000 R 0.809 0.809 0.000 0.0
192 H12 -2638.000 R 0.809 0.809 0.000 0.0
193 A1 6010078.000 25.911 25.911 0.000 0.0
194 B1 10064041.000 42.836 42.836 0.000 0.0
195 C1 2012312.000 9.221 9.221 0.000 0.0
196 D1 6414839.000 27.601 27.601 0.000 0.0
197 E1 6656437.000 28.609 28.609 0.000 0.0
198 F1 5534592.000 23.926 23.926 0.000 0.0
199 G1 6762735.000 29.053 29.053 0.000 0.0
20 D3 2603420.000 11.689 11.689 0.000 0.0
200 H1 5742862.000 24.795 24.795 0.000 0.0
201 A2 2485765.000 11.197 11.197 0.000 0.0
202 B2 3192724.000 14.149 14.149 0.000 0.0
203 C2 1557471.000 7.322 7.322 0.000 0.0
204 D2 727805.000 3.858 3.858 0.000 0.0
205 E2 1187166.000 5.776 5.776 0.000 0.0
206 F2 1617375.000 7.572 7.572 0.000 0.0
207 G2 1035929.000 5.145 5.145 0.000 0.0
208 H2 1222493.000 5.923 5.923 0.000 0.0
209 A3 3560201.000 15.683 15.683 0.000 0.0
21 E3 4076193.000 17.837 17.837 0.000 0.0
210 B3 1213252.000 5.885 5.885 0.000 0.0
211 C3 1521898.000 7.173 7.173 0.000 0.0
212 D3 893412.000 4.550 4.550 0.000 0.0
213 E3 3054007.000 13.570 13.570 0.000 0.0
214 F3 2046805.000 9.365 9.365 0.000 0.0
215 G3 1882694.000 8.680 8.680 0.000 0.0
216 H3 2600613.000 11.677 11.677 0.000 0.0
217 A4 665559.000 R 3.598 3.598 0.000 0.0
218 B4 2163630.000 9.853 9.853 0.000 0.0
219 C4 1126904.000 5.524 5.524 0.000 0.0
22 F3 1457884.000 6.906 6.906 0.000 0.0
220 D4 712825.000 3.796 3.796 0.000 0.0
221 E4 420126.000 R 2.574 2.574 0.000 0.0
222 F4 2168296.000 9.872 9.872 0.000 0.0
223 G4 671082.000 R 3.621 3.621 0.000 0.0
224 H4 2637244.000 11.830 11.830 0.000 0.0
225 A5 1771478.000 8.215 8.215 0.000 0.0
226 B5 887225.000 4.524 4.524 0.000 0.0
227 C5 475169.000 R 2.803 2.803 0.000 0.0
228 D5 324792.000 R 2.176 2.176 0.000 0.0
229 E5 52008.000 R 1.037 1.037 0.000 0.0
23 G3 2945825.000 13.118 13.118 0.000 0.0
230 F5 652368.000 R 3.543 3.543 0.000 0.0
231 G5 636349.000 R 3.476 3.476 0.000 0.0
232 H5 1373114.000 6.552 6.552 0.000 0.0
233 A6 2569267.000 11.546 11.546 0.000 0.0
234 B6 366681.000 R 2.351 2.351 0.000 0.0
235 C6 447201.000 R 2.687 2.687 0.000 0.0
236 D6 1038723.000 5.156 5.156 0.000 0.0
237 E6 1081265.000 5.334 5.334 0.000 0.0
238 F6 1723083.000 8.013 8.013 0.000 0.0
239 G6 1489657.000 7.039 7.039 0.000 0.0
24 H3 4486773.000 19.551 19.551 0.000 0.0
240 H6 1180489.000 5.748 5.748 0.000 0.0
241 A7 2035199.000 9.316 9.316 0.000 0.0
242 B7 2273125.000 10.310 10.310 0.000 0.0
243 C7 2425439.000 10.946 10.946 0.000 0.0
244 D7 1734015.000 8.059 8.059 0.000 0.0
245 E7 693906.000 R 3.717 3.717 0.000 0.0
246 F7 1011810.000 5.044 5.044 0.000 0.0
247 G7 849545.000 4.366 4.366 0.000 0.0
248 H7 509008.000 R 2.945 2.945 0.000 0.0
249 A8 1538004.000 7.241 7.241 0.000 0.0
25 A4 1526909.000 7.194 7.194 0.000 0.0
250 B8 1372788.000 6.551 6.551 0.000 0.0
251 C8 2420350.000 10.924 10.924 0.000 0.0
252 D8 884923.000 4.514 4.514 0.000 0.0
253 E8 651556.000 R 3.540 3.540 0.000 0.0
254 F8 711867.000 3.792 3.792 0.000 0.0
255 G8 1241088.000 6.001 6.001 0.000 0.0
256 H8 571720.000 R 3.207 3.207 0.000 0.0
257 A9 4850761.000 21.071 21.071 0.000 0.0
258 B9 1933237.000 8.891 8.891 0.000 0.0
259 C9 2986164.000 13.287 13.287 0.000 0.0
26 B4 1265279.000 6.102 6.102 0.000 0.0
260 D9 2244054.000 10.188 10.188 0.000 0.0
261 E9 1792222.000 8.302 8.302 0.000 0.0
262 F9 908530.000 4.613 4.613 0.000 0.0
263 G9 305139.000 R 2.094 2.094 0.000 0.0
264 H9 1558778.000 7.327 7.327 0.000 0.0
265 A10 1562692.000 7.344 7.344 0.000 0.0
266 B10 2929822.000 13.051 13.051 0.000 0.0
267 C10 -2649.000 R 0.809 0.809 0.000 0.0
268 D10 -2644.000 R 0.809 0.809 0.000 0.0
269 E10 -2615.000 R 0.809 0.809 0.000 0.0
27 C4 1368045.000 6.531 6.531 0.000 0.0
270 F10 -2615.000 R 0.809 0.809 0.000 0.0
271 G10 -2604.000 R 0.809 0.809 0.000 0.0
272 H10 -2632.000 R 0.809 0.809 0.000 0.0
273 A11 17276257.000 72.946 72.946 0.000 0.0
274 B11 5860241.000 25.285 25.285 0.000 0.0
275 C11 4499797.000 19.606 19.606 0.000 0.0
276 D11 1038025.000 5.153 5.153 0.000 0.0
277 E11 1105815.000 5.436 5.436 0.000 0.0
278 F11 558988.000 R 3.153 3.153 0.000 0.0
279 G11 839970.000 4.326 4.326 0.000 0.0
28 D4 1153566.000 5.636 5.636 0.000 0.0
280 H11 406435.000 R 2.516 2.516 0.000 0.0
281 A12 -2553.000 R 0.809 0.809 0.000 0.0
282 B12 -2644.000 R 0.809 0.809 0.000 0.0
283 C12 -2701.000 R 0.808 0.808 0.000 0.0
284 D12 -2690.000 R 0.808 0.808 0.000 0.0
285 E12 -2542.000 R 0.809 0.809 0.000 0.0
286 F12 -2683.000 R 0.808 0.808 0.000 0.0
287 G12 -2634.000 R 0.809 0.809 0.000 0.0
288 H12 -2596.000 R 0.809 0.809 0.000 0.0
289 A1 1426515.000 6.775 6.775 0.000 0.0
29 E4 1223630.000 5.928 5.928 0.000 0.0
290 B1 2597109.000 11.662 11.662 0.000 0.0
291 C1 2242796.000 10.183 10.183 0.000 0.0
292 D1 2331903.000 10.555 10.555 0.000 0.0
293 E1 2972589.000 13.230 13.230 0.000 0.0
294 F1 2825648.000 12.616 12.616 0.000 0.0
295 G1 2421677.000 10.930 10.930 0.000 0.0
296 H1 2491532.000 11.222 11.222 0.000 0.0
297 A2 2742140.000 12.268 12.268 0.000 0.0
298 B2 2643503.000 11.856 11.856 0.000 0.0
299 C2 1013903.000 5.053 5.053 0.000 0.0
30 F4 2941370.000 13.100 13.100 0.000 0.0
300 D2 1047128.000 5.191 5.191 0.000 0.0
301 E2 1681655.000 7.840 7.840 0.000 0.0
302 F2 2686049.000 12.034 12.034 0.000 0.0
303 G2 2017823.000 9.244 9.244 0.000 0.0
304 H2 524212.000 R 3.008 3.008 0.000 0.0
305 A3 4770601.000 20.736 20.736 0.000 0.0
306 B3 583320.000 R 3.255 3.255 0.000 0.0
307 C3 2955831.000 13.160 13.160 0.000 0.0
308 D3 994500.000 4.972 4.972 0.000 0.0
309 E3 2299105.000 10.418 10.418 0.000 0.0
31 G4 3375118.000 14.910 14.910 0.000 0.0
310 F3 2150430.000 9.797 9.797 0.000 0.0
311 G3 1013240.000 5.050 5.050 0.000 0.0
312 H3 706224.000 3.768 3.768 0.000 0.0
313 A4 956174.000 4.812 4.812 0.000 0.0
314 B4 2145852.000 9.778 9.778 0.000 0.0
315 C4 804725.000 4.179 4.179 0.000 0.0
316 D4 1312724.000 6.300 6.300 0.000 0.0
317 E4 741891.000 3.917 3.917 0.000 0.0
318 F4 1459321.000 6.912 6.912 0.000 0.0
319 G4 1279155.000 6.160 6.160 0.000 0.0
32 H4 5982517.000 25.796 25.796 0.000 0.0
320 H4 886556.000 4.521 4.521 0.000 0.0
321 A5 1543125.000 7.262 7.262 0.000 0.0
322 B5 506030.000 R 2.932 2.932 0.000 0.0
323 C5 526257.000 R 3.017 3.017 0.000 0.0
324 D5 400216.000 R 2.491 2.491 0.000 0.0
325 E5 484722.000 R 2.843 2.843 0.000 0.0
326 F5 790984.000 4.122 4.122 0.000 0.0
327 G5 1572640.000 7.385 7.385 0.000 0.0
328 H5 742683.000 3.920 3.920 0.000 0.0
329 A6 624600.000 R 3.427 3.427 0.000 0.0
33 A5 5024029.000 21.794 21.794 0.000 0.0
330 B6 308038.000 R 2.106 2.106 0.000 0.0
331 C6 594648.000 R 3.302 3.302 0.000 0.0
332 D6 1234148.000 5.972 5.972 0.000 0.0
333 E6 906645.000 4.605 4.605 0.000 0.0
334 F6 2353290.000 10.644 10.644 0.000 0.0
335 G6 922564.000 4.671 4.671 0.000 0.0
336 H6 732328.000 3.877 3.877 0.000 0.0
337 A7 3097679.000 13.752 13.752 0.000 0.0
338 B7 1737355.000 8.073 8.073 0.000 0.0
339 C7 1208671.000 5.866 5.866 0.000 0.0
34 B5 4829905.000 20.984 20.984 0.000 0.0
340 D7 2102703.000 9.598 9.598 0.000 0.0
341 E7 722003.000 3.834 3.834 0.000 0.0
342 F7 1810368.000 8.378 8.378 0.000 0.0
343 G7 1429626.000 6.788 6.788 0.000 0.0
344 H7 4380145.000 19.106 19.106 0.000 0.0
345 A8 1223546.000 5.928 5.928 0.000 0.0
346 B8 661553.000 R 3.582 3.582 0.000 0.0
347 C8 877570.000 4.483 4.483 0.000 0.0
348 D8 2776586.000 12.412 12.412 0.000 0.0
349 E8 971597.000 4.876 4.876 0.000 0.0
35 C5 2274224.000 10.314 10.314 0.000 0.0
350 F8 1775601.000 8.233 8.233 0.000 0.0
351 G8 2302981.000 10.434 10.434 0.000 0.0
352 H8 1949467.000 8.958 8.958 0.000 0.0
353 A9 12150942.000 51.548 51.548 0.000 0.0
354 B9 5417152.000 23.436 23.436 0.000 0.0
355 C9 5767593.000 24.899 24.899 0.000 0.0
356 D9 696651.000 3.728 3.728 0.000 0.0
357 E9 829034.000 4.281 4.281 0.000 0.0
358 F9 290837.000 R 2.034 2.034 0.000 0.0
359 G9 939358.000 4.741 4.741 0.000 0.0
36 D5 1825077.000 8.439 8.439 0.000 0.0
360 H9 680657.000 R 3.661 3.661 0.000 0.0
361 A10 715045.000 3.805 3.805 0.000 0.0
362 B10 373906.000 R 2.381 2.381 0.000 0.0
363 C10 5000895.000 21.698 21.698 0.000 0.0
364 D10 -2603.000 R 0.809 0.809 0.000 0.0
365 E10 -2625.000 R 0.809 0.809 0.000 0.0
366 F10 -2555.000 R 0.809 0.809 0.000 0.0
367 G10 -2657.000 R 0.809 0.809 0.000 0.0
368 H10 -2644.000 R 0.809 0.809 0.000 0.0
369 A11 26347543.000 R 110.817 110.817 0.000 0.0
37 E5 3402125.000 15.023 15.023 0.000 0.0
370 B11 7437758.000 31.871 31.871 0.000 0.0
371 C11 7311889.000 31.346 31.346 0.000 0.0
372 D11 3510905.000 15.477 15.477 0.000 0.0
373 E11 1432795.000 6.801 6.801 0.000 0.0
374 F11 377206.000 R 2.394 2.394 0.000 0.0
375 G11 1025861.000 5.103 5.103 0.000 0.0
376 H11 550605.000 R 3.118 3.118 0.000 0.0
377 A12 -2671.000 R 0.809 0.809 0.000 0.0
378 B12 -2541.000 R 0.809 0.809 0.000 0.0
379 C12 -2650.000 R 0.809 0.809 0.000 0.0
38 F5 1657439.000 7.739 7.739 0.000 0.0
380 D12 -2734.000 R 0.808 0.808 0.000 0.0
381 E12 -2616.000 R 0.809 0.809 0.000 0.0
382 F12 -2637.000 R 0.809 0.809 0.000 0.0
383 G12 -2646.000 R 0.809 0.809 0.000 0.0
384 H12 -2682.000 R 0.808 0.808 0.000 0.0
39 G5 2008025.000 9.203 9.203 0.000 0.0
40 H5 3082390.000 13.688 13.688 0.000 0.0
41 A6 3342340.000 14.774 14.774 0.000 0.0
42 B6 3379674.000 14.929 14.929 0.000 0.0
43 C6 2578967.000 11.587 11.587 0.000 0.0
44 D6 563282.000 R 3.171 3.171 0.000 0.0
45 E6 2688743.000 12.045 12.045 0.000 0.0
46 F6 2308856.000 10.459 10.459 0.000 0.0
47 G6 1531806.000 7.215 7.215 0.000 0.0
48 H6 3455050.000 15.244 15.244 0.000 0.0
49 A7 5560630.000 24.035 24.035 0.000 0.0
50 B7 6718122.000 28.867 28.867 0.000 0.0
51 C7 2962347.000 13.187 13.187 0.000 0.0
52 D7 4064653.000 17.789 17.789 0.000 0.0
53 E7 3079217.000 13.675 13.675 0.000 0.0
54 F7 5096088.000 22.095 22.095 0.000 0.0
55 G7 2154574.000 9.815 9.815 0.000 0.0
56 H7 7165163.000 30.733 30.733 0.000 0.0
57 A8 2087501.000 9.535 9.535 0.000 0.0
58 B8 1144454.000 5.598 5.598 0.000 0.0
59 C8 2070342.000 9.463 9.463 0.000 0.0
60 D8 2572794.000 11.561 11.561 0.000 0.0
61 E8 1716376.000 7.985 7.985 0.000 0.0
62 F8 9787074.000 41.680 41.680 0.000 0.0
63 G8 1538912.000 7.244 7.244 0.000 0.0
64 H8 4810202.000 20.902 20.902 0.000 0.0
65 A9 2999579.000 13.343 13.343 0.000 0.0
66 B9 6564522.000 28.226 28.226 0.000 0.0
67 C9 5392426.000 23.332 23.332 0.000 0.0
68 D9 4691835.000 20.408 20.408 0.000 0.0
69 E9 4303565.000 18.787 18.787 0.000 0.0
70 F9 -2624.000 R 0.809 0.809 0.000 0.0
71 G9 -2704.000 R 0.808 0.808 0.000 0.0
72 H9 -2655.000 R 0.809 0.809 0.000 0.0
73 A10 21137903.000 89.068 89.068 0.000 0.0
74 B10 15163977.000 64.127 64.127 0.000 0.0
75 C10 10072845.000 42.873 42.873 0.000 0.0
76 D10 5856842.000 25.271 25.271 0.000 0.0
77 E10 2909468.000 12.966 12.966 0.000 0.0
78 F10 1692390.000 7.885 7.885 0.000 0.0
79 G10 825341.000 4.265 4.265 0.000 0.0
80 H10 634174.000 R 3.467 3.467 0.000 0.0
81 A11 -2700.000 R 0.808 0.808 0.000 0.0
82 B11 -2629.000 R 0.809 0.809 0.000 0.0
83 C11 -2699.000 R 0.808 0.808 0.000 0.0
84 D11 -2656.000 R 0.809 0.809 0.000 0.0
85 E11 -2601.000 R 0.809 0.809 0.000 0.0
86 F11 -2535.000 R 0.809 0.809 0.000 0.0
87 G11 -2593.000 R 0.809 0.809 0.000 0.0
88 H11 -2650.000 R 0.809 0.809 0.000 0.0
89 A12 -2684.000 R 0.808 0.808 0.000 0.0
90 B12 -2702.000 R 0.808 0.808 0.000 0.0
91 C12 -2683.000 R 0.808 0.808 0.000 0.0
92 D12 -2633.000 R 0.809 0.809 0.000 0.0
93 E12 -2626.000 R 0.809 0.809 0.000 0.0
94 F12 -2695.000 R 0.808 0.808 0.000 0.0
95 G12 -2638.000 R 0.809 0.809 0.000 0.0
96 H12 -2623.000 R 0.809 0.809 0.000 0.0
Group Summaries
InRange R - Outside standard range
~End
Original Filename: library_spec_050514c; Date Last Saved: 5/5/2014 4:28:01 PM