## 8_24_07trio
Load time: | 2007-08-24 15:17
Read time: | 2007-08-24 15:17
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | DNA-Tech
Plate ID: | #1321
Comment: | standard
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31.5 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f4
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 1 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 115729528 | cps
Min counts: | 8366 | counts
Well list: | r0(a1:h12) = (f4(a1:h12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 71167200 | 192740700 | 236305100 | 598807100 | 261864400 | 404263600 | 194309800 | 47305200 | 758449300 | 228578000 | 411196700 | 291857900
B | 183307400 | 90898400 | 33332600 | 567278900 | 220028000 | 122965100 | 302514300 | 356931500 | 204781100 | 117397000 | 242008600 | 1981896400
C | 11572952800 | 211298500 | 55319500 | 59336200 | 536479700 | 389908600 | 189999000 | 43821600 | 698224000 | 229439600 | 913244000 | 738245600
D | 1010049200 | 22196300 | 34931600 | 736165100 | 120756900 | 179083900 | 471738800 | 27878600 | 761248300 | 617175900 | 88737800 | 476440100
E | 146513000 | 90727100 | 58127400 | 976453800 | 121784800 | 655585900 | 380848200 | 429142100 | 1650549100 | 177284300 | 305549700 | 1134983100
F | 21215900 | 495238100 | 45001800 | 113256500 | 51455100 | 551447600 | 872285900 | 168637900 | 493807900 | 795888200 | 762059300 | 1270235400
G | 12611500 | 123050700 | 22405700 | 446266300 | 19474100 | 375022300 | 379520000 | 22443800 | 756077600 | 261089300 | 758921800 | 7424917600
H | 8366400 | 114769900 | 31219500 | 282415800 | 526359300 | 1243932000 | 226358700 | 27878600 | 870596100 | 347046100 | 121841900 | 2425054200
Load time: | 2007-08-24 15:53
Read time: | 2007-08-24 15:53
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | DNA-Tech
Plate ID: | #1322
Comment: | standard
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 32.2 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f4
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 1 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 104943160 | cps
Min counts: | 4606 | counts
Well list: | r0(a1:h12) = (f4(a1:h12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 4823704400 | 225180000 | 697571200 | 1385037700 | 39909600 | 305434700 | 2256156600 | 1017921300 | 394861800 | 34646100 | 128276200 | 4606700
B | 8850484000 | 1314443200 | 487828200 | 2054212400 | 34255800 | 1182722700 | 804004600 | 21549100 | 351281700 | 23900100 | 175288600 | 9499100
C | 4367977600 | 1330695500 | 1584377500 | 721849700 | 252956700 | 2489194400 | 851207800 | 102129800 | 135053100 | 56271300 | 628022500 | 19597800
D | 3659233200 | 485190400 | 427770700 | 1775659800 | 530616500 | 599603700 | 691110100 | 146179900 | 1224841000 | 79429000 | 125430300 | 124821100
E | 596683200 | 281788700 | 1712445400 | 1365416100 | 44430700 | 984535700 | 394941800 | 240560900 | 1233570600 | 50312900 | 26374800 | 1158481600
F | 1397799800 | 3463532000 | 414728900 | 907805400 | 51645500 | 298961500 | 769839100 | 644616100 | 60716300 | 53996500 | 228422300 | 10494316000
G | 3821726400 | 550256800 | 206300800 | 440643600 | 510141000 | 571561900 | 219696000 | 397910600 | 855457000 | 40223700 | 100169100 | 293162100
H | 837880800 | 1073768500 | 316861300 | 1127205700 | 67074400 | 404658100 | 842652700 | 385279900 | 965601100 | 365374600 | 250162800 | 78991200
Load time: | 2007-08-24 15:57
Read time: | 2007-08-24 15:57
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | DNA-Tech
Plate ID: | #1323
Comment: | standard
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 32.2 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f4
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 1 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 103935968 | cps
Min counts: | 8747 | counts
Well list: | r0(a1:h12) = (f4(a1:h12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 92069100 | 287224200 | 411933100 | 961481300 | 650244500 | 1015025900 | 421080600 | 67512300 | 1420657200 | 397780600 | 908461200 | 719538300
B | 359536000 | 134053700 | 48904300 | 1357559200 | 494475000 | 328244900 | 693374800 | 478300300 | 632883000 | 236469500 | 564627200 | 3276648800
C | 10393596800 | 306429200 | 72490300 | 77801400 | 861729900 | 734912700 | 371681100 | 52016700 | 826149000 | 465764900 | 4462599200 | 1353658700
D | 1216243600 | 29068400 | 64742500 | 1291495800 | 200594900 | 387181600 | 1288635700 | 41337300 | 1289264200 | 1730670600 | 231834100 | 626320000
E | 136452300 | 148169200 | 116511800 | 1911097400 | 196976500 | 988674100 | 864965800 | 540462300 | 2651774000 | 473186000 | 444007200 | 3667666800
F | 23757300 | 854004700 | 99588500 | 141392200 | 116292800 | 1269460000 | 2844527600 | 274636600 | 850414100 | 1664058000 | 1260716100 | 3613865600
G | 12021400 | 269956000 | 27983300 | 447112100 | 25423000 | 879017000 | 904719200 | 33113600 | 1756836000 | 539844800 | 1478184800 | 9317968800
H | 8747100 | 175161800 | 39843000 | 349607400 | 1085571000 | 2073633600 | 358936100 | 39014900 | 2070220000 | 676515100 | 294601500 | 5652863200
Load time: | 2007-08-24 16:03
Read time: | 2007-08-24 16:03
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | DNA-Tech
Plate ID: | #1324
Comment: | standard
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 32.3 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f4
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 1 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 108363240 | cps
Min counts: | 10222 | counts
Well list: | r0(a1:h12) = (f4(a1:h12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 88813900 | 319783900 | 475543700 | 929098800 | 566244800 | 1073886800 | 426872600 | 70691300 | 1233414500 | 306323300 | 1374114800 | 1015733300
B | 360834600 | 153566000 | 53206500 | 1334636000 | 546098500 | 291582300 | 698370900 | 646253600 | 458120300 | 206455700 | 747793100 | 3704521600
C | 10836324000 | 344729200 | 91793100 | 145875300 | 1219429600 | 1262941900 | 451763300 | 56318900 | 889836000 | 502865200 | 4887961600 | 1234918700
D | 1212263200 | 29544300 | 76725800 | 1397611900 | 282733800 | 550319000 | 1477022700 | 45915600 | 1516095000 | 1481879000 | 262442600 | 552027400
E | 142134700 | 142563000 | 276462900 | 1822134400 | 179054400 | 1399543500 | 982953300 | 606035000 | 2721752800 | 528077500 | 538582600 | 3689097600
F | 26336700 | 1043686400 | 142458300 | 220351700 | 115874000 | 1431704400 | 4720329600 | 369273100 | 1021937000 | 2428112600 | 1742622400 | 7346911200
G | 12411600 | 253884900 | 32599700 | 727676900 | 33951200 | 1394799300 | 1592922700 | 38434300 | 2383613600 | 782910200 | 1874548200 | 8310447200
H | 10222500 | 278095700 | 59117300 | 646940000 | 1494189200 | 3080770800 | 415040100 | 49522900 | 2472421600 | 800870600 | 322285400 | 7326545600
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 92069100 | 287224200 | 411933100 | 961481300 | 650244500 | 1015025900 | 421080600 | 67512300 | 1420657200 | 397780600 | 908461200 | 719538300
B | 359536000 | 134053700 | 48904300 | 1357559200 | 494475000 | 328244900 | 693374800 | 478300300 | 632883000 | 236469500 | 564627200 | 3276648800
C | 10393596800 | 306429200 | 72490300 | 77801400 | 861729900 | 734912700 | 371681100 | 52016700 | 826149000 | 465764900 | 4462599200 | 1353658700
D | 1216243600 | 29068400 | 64742500 | 1291495800 | 200594900 | 387181600 | 1288635700 | 41337300 | 1289264200 | 1730670600 | 231834100 | 626320000
E | 136452300 | 148169200 | 116511800 | 1911097400 | 196976500 | 988674100 | 864965800 | 540462300 | 2651774000 | 473186000 | 444007200 | 3667666800
F | 23757300 | 854004700 | 99588500 | 141392200 | 116292800 | 1269460000 | 2844527600 | 274636600 | 850414100 | 1664058000 | 1260716100 | 3613865600
G | 12021400 | 269956000 | 27983300 | 447112100 | 25423000 | 879017000 | 904719200 | 33113600 | 1756836000 | 539844800 | 1478184800 | 9317968800
H | 8747100 | 175161800 | 39843000 | 349607400 | 1085571000 | 2073633600 | 358936100 | 39014900 | 2070220000 | 676515100 | 294601500 | 5652863200
10 | 9.6773e-10
1
0.1 | 9.6773e-10
0.01
| 0.089098 | 0.27795 | 0.39864 | 0.93045 | 0.62926 | 0.98227 | 0.40749 | 0.065333 | 1.3748 | 0.38494 | 0.87914 | 0.6963
| 0.34793 | 0.12973 | 0.047326 | 1.3137 | 0.47852 | 0.31765 | 0.671 | 0.46286 | 0.61246 | 0.22884 | 0.5464 | 3.1708
| 10.0582 | 0.29654 | 0.070151 | 0.075291 | 0.83392 | 0.71119 | 0.35969 | 0.050338 | 0.79949 | 0.45073 | 4.3186 | 1.3099
| 1.177 | 0.02813 | 0.062653 | 1.2498 | 0.19412 | 0.37469 | 1.247 | 0.040003 | 1.2477 | 1.6748 | 0.22435 | 0.60609
| 0.13205 | 0.14339 | 0.11275 | 1.8494 | 0.19062 | 0.95677 | 0.83705 | 0.52302 | 2.5662 | 0.45791 | 0.42968 | 3.5492
| 0.022991 | 0.82644 | 0.096374 | 0.13683 | 0.11254 | 1.2285 | 2.7527 | 0.26577 | 0.82297 | 1.6104 | 1.22 | 3.4971
| 0.011633 | 0.26124 | 0.02708 | 0.43268 | 0.024603 | 0.85065 | 0.87552 | 0.032045 | 1.7001 | 0.52242 | 1.4305 | 9.017
| 0.0084648 | 0.16951 | 0.038557 | 0.33832 | 1.0505 | 2.0067 | 0.34735 | 0.037756 | 2.0034 | 0.65468 | 0.28509 | 5.4703