## input
ÿþ##BLOCKS= 4
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
24.5 20875528 19552224 19549940 1521585 2737647 1866601 1767977 1314771 1294990 2762366 1905700 1269645
10844909 10671773 10548440 1257950 1366364 2765230 1149000 2947242 2831756 2885632 4243139 2529811
5473015 5001733 4907118 986038 2283666 2036097 3478184 1687727 2302717 2228962 779493 1920664
2623557 2561778 2529870 1834482 1842123 1330890 1229866 2898521 3250194 1922412 2477454 3041663
1275606 1180016 1126121 1379581 3196600 687491 1799570 1444704 2402302 1740081 1567666 2387581
395358 386217 377170 5016422 2078235 2046292 3089227 2335669 2041775 5415188 4138439 3430959
319886 300062 298238 2916996 2224767 2462809 1942464 1955693 1545649 1388174 582435 2567251
23174 20500 19726 8784133 1863501 2234887 1960131 1464666 1602155 2450696 2699194 13086
1 2 3 4 5 6 7 8 9 10 11 12
20875528 19552224 19549940 1521585 2737647 1866601 1767977 1314771 1294990 2762366 1905700 1269645
10844909 10671773 10548440 1257950 1366364 2765230 1149000 2947242 2831756 2885632 4243139 2529811
5473015 5001733 4907118 986038 2283666 2036097 3478184 1687727 2302717 2228962 779493 1920664
2623557 2561778 2529870 1834482 1842123 1330890 1229866 2898521 3250194 1922412 2477454 3041663
1275606 1180016 1126121 1379581 3196600 687491 1799570 1444704 2402302 1740081 1567666 2387581
395358 386217 377170 5016422 2078235 2046292 3089227 2335669 2041775 5415188 4138439 3430959
319886 300062 298238 2916996 2224767 2462809 1942464 1955693 1545649 1388174 582435 2567251
23174 20500 19726 8784133 1863501 2234887 1960131 1464666 1602155 2450696 2699194 13086
~End
Group: Standards
Sample Conc BackCalcConc Wells Value MeanValue SD CV
01 100.000 102.991 A1 20875528.000 19992564.000 764670.107 3.8
96.459 A2 19552224.000
96.448 A3 19549940.000
02 50.000 53.479 B1 10844909.000 10688374.000 148930.057 1.4
52.624 B2 10671773.000
52.015 B3 10548440.000
03 25.000 26.962 C1 5473015.000 5127288.667 303122.125 5.9
24.636 C2 5001733.000
24.169 C3 4907118.000
04 12.500 12.897 D1 2623557.000 2571735.000 47630.556 1.9
12.592 D2 2561778.000
12.435 D3 2529870.000
05 6.250 6.243 E1 1275606.000 1193914.333 75705.443 6.3
5.772 E2 1180016.000
5.505 E3 1126121.000
06 3.125 1.898 F1 395358.000 386248.333 9094.040 2.4
1.853 F2 386217.000
1.809 F3 377170.000
07 1.563 1.526 G1 319886.000 306062.000 12006.622 3.9
1.428 G2 300062.000
1.419 G3 298238.000
08 0.000 0.061 H1 23174.000 21133.333 1809.146 8.6
0.048 H2 20500.000
0.044 H3 19726.000
Group Summaries
MinStd Smallest standard value: 21133.333 Min(MeanValue)
MaxStd Largest standard value: 19992564.000 Max(MeanValue)
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 A4 1521585.000 7.458 7.458 0.000 0.0
02 B4 1257950.000 6.156 6.156 0.000 0.0
03 C4 986038.000 4.814 4.814 0.000 0.0
04 D4 1834482.000 9.002 9.002 0.000 0.0
05 E4 1379581.000 6.757 6.757 0.000 0.0
06 F4 5016422.000 24.708 24.708 0.000 0.0
07 G4 2916996.000 14.345 14.345 0.000 0.0
073 A1 R
074 B1 R
075 C1 R
076 D1 R
077 E1 R
078 F1 R
079 G1 R
08 H4 8784133.000 43.306 43.306 0.000 0.0
080 H1 R
081 A2 R
082 B2 R
083 C2 R
084 D2 R
085 E2 R
086 F2 R
087 G2 R
088 H2 R
089 A3 R
09 A5 2737647.000 13.460 13.460 0.000 0.0
090 B3 R
091 C3 R
092 D3 R
093 E3 R
094 F3 R
095 G3 R
096 H3 R
097 A4 R
098 B4 R
099 C4 R
10 B5 1366364.000 6.691 6.691 0.000 0.0
100 D4 R
101 E4 R
102 F4 R
103 G4 R
104 H4 R
105 A5 R
106 B5 R
107 C5 R
108 D5 R
109 E5 R
11 C5 2283666.000 11.219 11.219 0.000 0.0
110 F5 R
111 G5 R
112 H5 R
113 A6 R
114 B6 R
115 C6 R
116 D6 R
117 E6 R
118 F6 R
119 G6 R
12 D5 1842123.000 9.040 9.040 0.000 0.0
120 H6 R
121 A7 R
122 B7 R
123 C7 R
124 D7 R
125 E7 R
126 F7 R
127 G7 R
128 H7 R
129 A8 R
13 E5 3196600.000 15.726 15.726 0.000 0.0
130 B8 R
131 C8 R
132 D8 R
133 E8 R
134 F8 R
135 G8 R
136 H8 R
137 A9 R
138 B9 R
139 C9 R
14 F5 2078235.000 10.205 10.205 0.000 0.0
140 D9 R
141 E9 R
142 F9 R
143 G9 R
144 H9 R
145 A10 R
146 B10 R
147 C10 R
148 D10 R
149 E10 R
15 G5 2224767.000 10.929 10.929 0.000 0.0
150 F10 R
151 G10 R
152 H10 R
153 A11 R
154 B11 R
155 C11 R
156 D11 R
157 E11 R
158 F11 R
159 G11 R
16 H5 1863501.000 9.145 9.145 0.000 0.0
160 H11 R
161 A12 R
162 B12 R
163 C12 R
164 D12 R
165 E12 R
166 F12 R
167 G12 R
168 H12 R
17 A6 1866601.000 9.161 9.161 0.000 0.0
18 B6 2765230.000 13.596 13.596 0.000 0.0
19 C6 2036097.000 9.997 9.997 0.000 0.0
20 D6 1330890.000 6.516 6.516 0.000 0.0
21 E6 687491.000 3.340 3.340 0.000 0.0
22 F6 2046292.000 10.048 10.048 0.000 0.0
23 G6 2462809.000 12.104 12.104 0.000 0.0
24 H6 2234887.000 10.978 10.978 0.000 0.0
25 A7 1767977.000 8.674 8.674 0.000 0.0
26 B7 1149000.000 5.618 5.618 0.000 0.0
27 C7 3478184.000 17.116 17.116 0.000 0.0
28 D7 1229866.000 6.018 6.018 0.000 0.0
29 E7 1799570.000 8.830 8.830 0.000 0.0
30 F7 3089227.000 15.196 15.196 0.000 0.0
31 G7 1942464.000 9.535 9.535 0.000 0.0
32 H7 1960131.000 9.622 9.622 0.000 0.0
33 A8 1314771.000 6.437 6.437 0.000 0.0
34 B8 2947242.000 14.495 14.495 0.000 0.0
35 C8 1687727.000 8.278 8.278 0.000 0.0
36 D8 2898521.000 14.254 14.254 0.000 0.0
37 E8 1444704.000 7.078 7.078 0.000 0.0
38 F8 2335669.000 11.476 11.476 0.000 0.0
39 G8 1955693.000 9.600 9.600 0.000 0.0
40 H8 1464666.000 7.177 7.177 0.000 0.0
41 A9 1294990.000 6.339 6.339 0.000 0.0
42 B9 2831756.000 13.925 13.925 0.000 0.0
43 C9 2302717.000 11.313 11.313 0.000 0.0
44 D9 3250194.000 15.990 15.990 0.000 0.0
45 E9 2402302.000 11.805 11.805 0.000 0.0
46 F9 2041775.000 10.025 10.025 0.000 0.0
47 G9 1545649.000 7.576 7.576 0.000 0.0
48 H9 1602155.000 7.855 7.855 0.000 0.0
49 A10 2762366.000 13.582 13.582 0.000 0.0
50 B10 2885632.000 14.191 14.191 0.000 0.0
51 C10 2228962.000 10.949 10.949 0.000 0.0
52 D10 1922412.000 9.436 9.436 0.000 0.0
53 E10 1740081.000 8.536 8.536 0.000 0.0
54 F10 5415188.000 26.677 26.677 0.000 0.0
55 G10 1388174.000 6.799 6.799 0.000 0.0
56 H10 2450696.000 12.044 12.044 0.000 0.0
57 A11 1905700.000 9.354 9.354 0.000 0.0
58 B11 4243139.000 20.891 20.891 0.000 0.0
59 C11 779493.000 3.794 3.794 0.000 0.0
60 D11 2477454.000 12.176 12.176 0.000 0.0
61 E11 1567666.000 7.685 7.685 0.000 0.0
62 F11 4138439.000 20.375 20.375 0.000 0.0
63 G11 582435.000 2.822 2.822 0.000 0.0
64 H11 2699194.000 13.270 13.270 0.000 0.0
65 A12 1269645.000 6.214 6.214 0.000 0.0
66 B12 2529811.000 12.434 12.434 0.000 0.0
67 C12 1920664.000 9.427 9.427 0.000 0.0
68 D12 3041663.000 14.961 14.961 0.000 0.0
69 E12 2387581.000 11.732 11.732 0.000 0.0
70 F12 3430959.000 16.882 16.882 0.000 0.0
71 G12 2567251.000 12.619 12.619 0.000 0.0
72 H12 13086.000 R 0.011 0.011 0.000 0.0
Group Summaries
InRange R - Outside standard range
~End
Original Filename: 2015_07_17_Liens_Lorenas_Samples; Date Last Saved: 7/17/2015 3:37:28 PM