## input
ÿþ##BLOCKS= 5
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
24 26654872 26997904 28873748 1140 1200 1137 1050 1183 1129 1077 1072 1123
14646383 14571258 14662562 1182 1152 1128 1239 1128 1163 1180 1128 1240
7202669 7251181 7287601 1175 1139 1099 1145 1104 1169 1109 1269 1062
3209876 3256292 3471944 1188 1091 1186 1167 1165 1054 1159 1165 1173
1556362 1550057 1668854 1209 1138 1143 1167 1116 1151 1221 1124 1183
520513 530251 489767 1246 1197 1214 1106 1236 1117 1069 1064 1134
391962 411247 408090 1094 1188 1298 1230 1255 1104 1033 1087 3333
29360 29995 28954 1227 1146 1190 1184 1005 1142 1250 1156 1135
1 2 3 4 5 6 7 8 9 10 11 12
26654872 26997904 28873748 1140 1200 1137 1050 1183 1129 1077 1072 1123
14646383 14571258 14662562 1182 1152 1128 1239 1128 1163 1180 1128 1240
7202669 7251181 7287601 1175 1139 1099 1145 1104 1169 1109 1269 1062
3209876 3256292 3471944 1188 1091 1186 1167 1165 1054 1159 1165 1173
1556362 1550057 1668854 1209 1138 1143 1167 1116 1151 1221 1124 1183
520513 530251 489767 1246 1197 1214 1106 1236 1117 1069 1064 1134
391962 411247 408090 1094 1188 1298 1230 1255 1104 1033 1087 3333
29360 29995 28954 1227 1146 1190 1184 1005 1142 1250 1156 1135
~End
Plate: Plate2 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
24 3002447 2648010 3848475 3796425 3557833 3599611 4080736 8848714 5389686 6472707 5042951 6318964
2539202 4458506 5141618 8710010 3495598 3780907 4972169 7872217 5155835 6536355 6658677 3872519
3008791 4954727 2676455 5810407 2358451 2925545 3532463 5546909 4499966 4466995 4585518 4223886
6315928 5188182 6714931 4049109 2093435 2398861 7347645 4728396 2598304 3140166 3991638 3892940
5931753 2661949 3277610 1954498 1796454 1673218 3270297 5553622 3615338 5341776 4622792 2137689
5673792 7074038 3548588 5562774 4227717 3047999 4486179 6387394 5645911 7070283 4639655 7310224
2044681 3542537 3516646 5388808 1513173 5419342 4001864 7847971 4355075 4360816 3780062 5507036
3554905 2172076 3859552 1503722 4338120 2962942 4838837 7657157 4352536 5745377 4374297 4650242
1 2 3 4 5 6 7 8 9 10 11 12
3002447 2648010 3848475 3796425 3557833 3599611 4080736 8848714 5389686 6472707 5042951 6318964
2539202 4458506 5141618 8710010 3495598 3780907 4972169 7872217 5155835 6536355 6658677 3872519
3008791 4954727 2676455 5810407 2358451 2925545 3532463 5546909 4499966 4466995 4585518 4223886
6315928 5188182 6714931 4049109 2093435 2398861 7347645 4728396 2598304 3140166 3991638 3892940
5931753 2661949 3277610 1954498 1796454 1673218 3270297 5553622 3615338 5341776 4622792 2137689
5673792 7074038 3548588 5562774 4227717 3047999 4486179 6387394 5645911 7070283 4639655 7310224
2044681 3542537 3516646 5388808 1513173 5419342 4001864 7847971 4355075 4360816 3780062 5507036
3554905 2172076 3859552 1503722 4338120 2962942 4838837 7657157 4352536 5745377 4374297 4650242
~End
Group: Standards
Sample Conc BackCalcConc Wells Value MeanValue SD CV
01 100.000 95.582 A1 26654872.000 27508841.333 1194422.620 4.3
96.811 A2 26997904.000
103.533 A3 28873748.000
02 50.000 52.549 B1 14646383.000 14626734.333 48720.198 0.3
52.280 B2 14571258.000
52.607 B3 14662562.000
03 25.000 25.874 C1 7202669.000 7247150.333 42609.223 0.6
26.048 C2 7251181.000
26.178 C3 7287601.000
04 12.500 11.566 D1 3209876.000 3312704.000 139845.073 4.2
11.732 D2 3256292.000
12.505 D3 3471944.000
05 6.250 5.640 E1 1556362.000 1591757.667 66841.766 4.2
5.618 E2 1550057.000
6.043 E3 1668854.000
06 3.125 1.928 F1 520513.000 513510.333 21130.939 4.1
1.963 F2 530251.000
1.818 F3 489767.000
07 1.563 1.468 G1 391962.000 403766.333 10344.002 2.6
1.537 G2 411247.000
1.525 G3 408090.000
08 0.000 0.168 H1 29360.000 29436.333 524.681 1.8
0.171 H2 29995.000
0.167 H3 28954.000
Group Summaries
MinStd Smallest standard value: 29436.333 Min(MeanValue)
MaxStd Largest standard value: 27508841.333 Max(MeanValue)
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 A1 3002447.000 10.822 10.822 0.000 0.0
02 B1 2539202.000 9.162 9.162 0.000 0.0
03 C1 3008791.000 10.845 10.845 0.000 0.0
04 D1 6315928.000 22.696 22.696 0.000 0.0
05 E1 5931753.000 21.320 21.320 0.000 0.0
06 F1 5673792.000 20.395 20.395 0.000 0.0
07 G1 2044681.000 7.390 7.390 0.000 0.0
08 H1 3554905.000 12.802 12.802 0.000 0.0
09 A2 2648010.000 9.552 9.552 0.000 0.0
097 A1 R
098 B1 R
099 C1 R
10 B2 4458506.000 16.040 16.040 0.000 0.0
100 D1 R
101 E1 R
102 F1 R
103 G1 R
104 H1 R
105 A2 R
106 B2 R
107 C2 R
108 D2 R
109 E2 R
11 C2 4954727.000 17.819 17.819 0.000 0.0
110 F2 R
111 G2 R
112 H2 R
113 A3 R
114 B3 R
115 C3 R
116 D3 R
117 E3 R
118 F3 R
119 G3 R
12 D2 5188182.000 18.655 18.655 0.000 0.0
120 H3 R
121 A4 R
122 B4 R
123 C4 R
124 D4 R
125 E4 R
126 F4 R
127 G4 R
128 H4 R
129 A5 R
13 E2 2661949.000 9.602 9.602 0.000 0.0
130 B5 R
131 C5 R
132 D5 R
133 E5 R
134 F5 R
135 G5 R
136 H5 R
137 A6 R
138 B6 R
139 C6 R
14 F2 7074038.000 25.413 25.413 0.000 0.0
140 D6 R
141 E6 R
142 F6 R
143 G6 R
144 H6 R
145 A7 R
146 B7 R
147 C7 R
148 D7 R
149 E7 R
15 G2 3542537.000 12.758 12.758 0.000 0.0
150 F7 R
151 G7 R
152 H7 R
153 A8 R
154 B8 R
155 C8 R
156 D8 R
157 E8 R
158 F8 R
159 G8 R
16 H2 2172076.000 7.847 7.847 0.000 0.0
160 H8 R
161 A9 R
162 B9 R
163 C9 R
164 D9 R
165 E9 R
166 F9 R
167 G9 R
168 H9 R
169 A10 R
17 A3 3848475.000 13.854 13.854 0.000 0.0
170 B10 R
171 C10 R
172 D10 R
173 E10 R
174 F10 R
175 G10 R
176 H10 R
177 A11 R
178 B11 R
179 C11 R
18 B3 5141618.000 18.488 18.488 0.000 0.0
180 D11 R
181 E11 R
182 F11 R
183 G11 R
184 H11 R
185 A12 R
186 B12 R
187 C12 R
188 D12 R
189 E12 R
19 C3 2676455.000 9.654 9.654 0.000 0.0
190 F12 R
191 G12 R
192 H12 R
193 A1 R
194 B1 R
195 C1 R
196 D1 R
197 E1 R
198 F1 R
199 G1 R
20 D3 6714931.000 24.126 24.126 0.000 0.0
200 H1 R
201 A2 R
202 B2 R
203 C2 R
204 D2 R
205 E2 R
206 F2 R
207 G2 R
208 H2 R
209 A3 R
21 E3 3277610.000 11.809 11.809 0.000 0.0
210 B3 R
211 C3 R
212 D3 R
213 E3 R
214 F3 R
215 G3 R
216 H3 R
217 A4 R
218 B4 R
219 C4 R
22 F3 3548588.000 12.780 12.780 0.000 0.0
220 D4 R
221 E4 R
222 F4 R
223 G4 R
224 H4 R
225 A5 R
226 B5 R
227 C5 R
228 D5 R
229 E5 R
23 G3 3516646.000 12.665 12.665 0.000 0.0
230 F5 R
231 G5 R
232 H5 R
233 A6 R
234 B6 R
235 C6 R
236 D6 R
237 E6 R
238 F6 R
239 G6 R
24 H3 3859552.000 13.894 13.894 0.000 0.0
240 H6 R
241 A7 R
242 B7 R
243 C7 R
244 D7 R
245 E7 R
246 F7 R
247 G7 R
248 H7 R
249 A8 R
25 A4 3796425.000 13.668 13.668 0.000 0.0
250 B8 R
251 C8 R
252 D8 R
253 E8 R
254 F8 R
255 G8 R
256 H8 R
257 A9 R
258 B9 R
259 C9 R
26 B4 8710010.000 31.276 31.276 0.000 0.0
260 D9 R
261 E9 R
262 F9 R
263 G9 R
264 H9 R
265 A10 R
266 B10 R
267 C10 R
268 D10 R
269 E10 R
27 C4 5810407.000 20.885 20.885 0.000 0.0
270 F10 R
271 G10 R
272 H10 R
273 A11 R
274 B11 R
275 C11 R
276 D11 R
277 E11 R
278 F11 R
279 G11 R
28 D4 4049109.000 14.573 14.573 0.000 0.0
280 H11 R
281 A12 R
282 B12 R
283 C12 R
284 D12 R
285 E12 R
286 F12 R
287 G12 R
288 H12 R
289 A1 R
29 E4 1954498.000 7.067 7.067 0.000 0.0
290 B1 R
291 C1 R
292 D1 R
293 E1 R
294 F1 R
295 G1 R
296 H1 R
297 A2 R
298 B2 R
299 C2 R
30 F4 5562774.000 19.997 19.997 0.000 0.0
300 D2 R
301 E2 R
302 F2 R
303 G2 R
304 H2 R
305 A3 R
306 B3 R
307 C3 R
308 D3 R
309 E3 R
31 G4 5388808.000 19.374 19.374 0.000 0.0
310 F3 R
311 G3 R
312 H3 R
313 A4 R
314 B4 R
315 C4 R
316 D4 R
317 E4 R
318 F4 R
319 G4 R
32 H4 1503722.000 5.452 5.452 0.000 0.0
320 H4 R
321 A5 R
322 B5 R
323 C5 R
324 D5 R
325 E5 R
326 F5 R
327 G5 R
328 H5 R
329 A6 R
33 A5 3557833.000 12.813 12.813 0.000 0.0
330 B6 R
331 C6 R
332 D6 R
333 E6 R
334 F6 R
335 G6 R
336 H6 R
337 A7 R
338 B7 R
339 C7 R
34 B5 3495598.000 12.590 12.590 0.000 0.0
340 D7 R
341 E7 R
342 F7 R
343 G7 R
344 H7 R
345 A8 R
346 B8 R
347 C8 R
348 D8 R
349 E8 R
35 C5 2358451.000 8.515 8.515 0.000 0.0
350 F8 R
351 G8 R
352 H8 R
353 A9 R
354 B9 R
355 C9 R
356 D9 R
357 E9 R
358 F9 R
359 G9 R
36 D5 2093435.000 7.565 7.565 0.000 0.0
360 H9 R
361 A10 R
362 B10 R
363 C10 R
364 D10 R
365 E10 R
366 F10 R
367 G10 R
368 H10 R
369 A11 R
37 E5 1796454.000 6.501 6.501 0.000 0.0
370 B11 R
371 C11 R
372 D11 R
373 E11 R
374 F11 R
375 G11 R
376 H11 R
377 A12 R
378 B12 R
379 C12 R
38 F5 4227717.000 15.213 15.213 0.000 0.0
380 D12 R
381 E12 R
382 F12 R
383 G12 R
384 H12 R
385 A1 R
386 B1 R
387 C1 R
388 D1 R
389 E1 R
39 G5 1513173.000 5.486 5.486 0.000 0.0
390 F1 R
391 G1 R
392 H1 R
393 A2 R
394 B2 R
395 C2 R
396 D2 R
397 E2 R
398 F2 R
399 G2 R
40 H5 4338120.000 15.609 15.609 0.000 0.0
400 H2 R
401 A3 R
402 B3 R
403 C3 R
404 D3 R
405 E3 R
406 F3 R
407 G3 R
408 H3 R
409 A4 R
41 A6 3599611.000 12.962 12.962 0.000 0.0
410 B4 R
411 C4 R
412 D4 R
413 E4 R
414 F4 R
415 G4 R
416 H4 R
417 A5 R
418 B5 R
419 C5 R
42 B6 3780907.000 13.612 13.612 0.000 0.0
420 D5 R
421 E5 R
422 F5 R
423 G5 R
424 H5 R
425 A6 R
426 B6 R
427 C6 R
428 D6 R
429 E6 R
43 C6 2925545.000 10.547 10.547 0.000 0.0
430 F6 R
431 G6 R
432 H6 R
433 A7 R
434 B7 R
435 C7 R
436 D7 R
437 E7 R
438 F7 R
439 G7 R
44 D6 2398861.000 8.659 8.659 0.000 0.0
440 H7 R
441 A8 R
442 B8 R
443 C8 R
444 D8 R
445 E8 R
446 F8 R
447 G8 R
448 H8 R
449 A9 R
45 E6 1673218.000 6.059 6.059 0.000 0.0
450 B9 R
451 C9 R
452 D9 R
453 E9 R
454 F9 R
455 G9 R
456 H9 R
457 A10 R
458 B10 R
459 C10 R
46 F6 3047999.000 10.986 10.986 0.000 0.0
460 D10 R
461 E10 R
462 F10 R
463 G10 R
464 H10 R
465 A11 R
466 B11 R
467 C11 R
468 D11 R
469 E11 R
47 G6 5419342.000 19.483 19.483 0.000 0.0
470 F11 R
471 G11 R
472 H11 R
473 A12 R
474 B12 R
475 C12 R
476 D12 R
477 E12 R
478 F12 R
479 G12 R
48 H6 2962942.000 10.681 10.681 0.000 0.0
480 H12 R
49 A7 4080736.000 14.687 14.687 0.000 0.0
50 B7 4972169.000 17.881 17.881 0.000 0.0
51 C7 3532463.000 12.722 12.722 0.000 0.0
52 D7 7347645.000 26.394 26.394 0.000 0.0
53 E7 3270297.000 11.782 11.782 0.000 0.0
54 F7 4486179.000 16.139 16.139 0.000 0.0
55 G7 4001864.000 14.404 14.404 0.000 0.0
56 H7 4838837.000 17.403 17.403 0.000 0.0
57 A8 8848714.000 31.773 31.773 0.000 0.0
58 B8 7872217.000 28.273 28.273 0.000 0.0
59 C8 5546909.000 19.941 19.941 0.000 0.0
60 D8 4728396.000 17.007 17.007 0.000 0.0
61 E8 5553622.000 19.965 19.965 0.000 0.0
62 F8 6387394.000 22.953 22.953 0.000 0.0
63 G8 7847971.000 28.187 28.187 0.000 0.0
64 H8 7657157.000 27.503 27.503 0.000 0.0
65 A9 5389686.000 19.377 19.377 0.000 0.0
66 B9 5155835.000 18.539 18.539 0.000 0.0
67 C9 4499966.000 16.189 16.189 0.000 0.0
68 D9 2598304.000 9.374 9.374 0.000 0.0
69 E9 3615338.000 13.019 13.019 0.000 0.0
70 F9 5645911.000 20.295 20.295 0.000 0.0
71 G9 4355075.000 15.670 15.670 0.000 0.0
72 H9 4352536.000 15.661 15.661 0.000 0.0
73 A10 6472707.000 23.258 23.258 0.000 0.0
74 B10 6536355.000 23.486 23.486 0.000 0.0
75 C10 4466995.000 16.071 16.071 0.000 0.0
76 D10 3140166.000 11.316 11.316 0.000 0.0
77 E10 5341776.000 19.206 19.206 0.000 0.0
78 F10 7070283.000 25.400 25.400 0.000 0.0
79 G10 4360816.000 15.690 15.690 0.000 0.0
80 H10 5745377.000 20.652 20.652 0.000 0.0
81 A11 5042951.000 18.135 18.135 0.000 0.0
82 B11 6658677.000 23.925 23.925 0.000 0.0
83 C11 4585518.000 16.495 16.495 0.000 0.0
84 D11 3991638.000 14.367 14.367 0.000 0.0
85 E11 4622792.000 16.629 16.629 0.000 0.0
86 F11 4639655.000 16.689 16.689 0.000 0.0
87 G11 3780062.000 13.609 13.609 0.000 0.0
88 H11 4374297.000 15.739 15.739 0.000 0.0
89 A12 6318964.000 22.707 22.707 0.000 0.0
90 B12 3872519.000 13.940 13.940 0.000 0.0
91 C12 4223886.000 15.200 15.200 0.000 0.0
92 D12 3892940.000 14.014 14.014 0.000 0.0
93 E12 2137689.000 7.724 7.724 0.000 0.0
94 F12 7310224.000 26.260 26.260 0.000 0.0
95 G12 5507036.000 19.798 19.798 0.000 0.0
96 H12 4650242.000 16.727 16.727 0.000 0.0
Group Summaries
InRange R - Outside standard range
~End
Original Filename: 2015_07_21_Lorenas_Samples; Date Last Saved: 7/21/2015 10:58:37 AM