## input
ÿþ##BLOCKS= 4
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 PlateFormat Endpoint Fluorescence FALSE Reduced FALSE 1 1 535 1 12 96 485 Manual 0 1 8
1 2 3 4 5 6 7 8 9 10 11 12
21755832 20830722 20427018 9140098 4400362 24557910 8885812 1619024 2220628 1211 976 1200
11144841 11666809 10726499 6381823 4888008 25137382 656250 1710661 655584 1210 1044 1039
5434406 5101984 4930463 5036457 6830924 3206718 13082211 7310750 1613836 1121 1066 1229
2633384 2613712 2506573 996093 5370244 9145637 14845723 12731892 185486 1046 1133 1169
1303514 1259248 1177364 20423 2792276 9019803 905175 1486723 16834 1200 1348 1270
414413 388022 381867 4873085 5924171 17916316 16290078 2103603 18297 1080 1175 1159
310457 279582 276660 592467 6449400 7155136 1459087 7702679 18496 1088 1066 1090
23510 23487 23096 2251664 6691019 6029283 1196188 2052891 25607 1063 1149 1117
~End
Group: Standards
Sample Conc BackCalcConc Wells Value MeanValue SD CV
01 100.000 102.372 A1 21755832.000 21004524.000 681242.991 3.2
98.028 A2 20830722.000
96.133 A3 20427018.000
02 50.000 52.553 B1 11144841.000 11179383.000 471105.706 4.2
55.003 B2 11666809.000
50.589 B3 10726499.000
03 25.000 25.742 C1 5434406.000 5155617.667 256216.831 5.0
24.181 C2 5101984.000
23.376 C3 4930463.000
04 12.500 12.591 D1 2633384.000 2584556.333 68248.056 2.6
12.499 D2 2613712.000
11.996 D3 2506573.000
05 6.250 6.348 E1 1303514.000 1246708.667 64002.983 5.1
6.140 E2 1259248.000
5.755 E3 1177364.000
06 3.125 2.173 F1 414413.000 394767.333 17289.742 4.4
2.049 F2 388022.000
2.020 F3 381867.000
07 1.563 1.685 G1 310457.000 288899.667 18726.278 6.5
1.540 G2 279582.000
1.526 G3 276660.000
08 0.000 0.338 H1 23510.000 23364.333 232.668 1.0
0.338 H2 23487.000
0.336 H3 23096.000
Group Summaries
MinStd Smallest standard value: 23364.333 Min(MeanValue)
MaxStd Largest standard value: 21004524.000 Max(MeanValue)
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 A4 9140098.000 43.141 43.141 0.000 0.0
02 B4 6381823.000 30.190 30.190 0.000 0.0
03 C4 5036457.000 23.874 23.874 0.000 0.0
04 D4 996093.000 4.904 4.904 0.000 0.0
05 E4 20423.000 R 0.323 0.323 0.000 0.0
06 F4 4873085.000 23.107 23.107 0.000 0.0
07 G4 592467.000 3.009 3.009 0.000 0.0
073 A1 R
074 B1 R
075 C1 R
076 D1 R
077 E1 R
078 F1 R
079 G1 R
08 H4 2251664.000 10.799 10.799 0.000 0.0
080 H1 R
081 A2 R
082 B2 R
083 C2 R
084 D2 R
085 E2 R
086 F2 R
087 G2 R
088 H2 R
089 A3 R
09 A5 4400362.000 20.887 20.887 0.000 0.0
090 B3 R
091 C3 R
092 D3 R
093 E3 R
094 F3 R
095 G3 R
096 H3 R
097 A4 R
098 B4 R
099 C4 R
10 B5 4888008.000 23.177 23.177 0.000 0.0
100 D4 R
101 E4 R
102 F4 R
103 G4 R
104 H4 R
105 A5 R
106 B5 R
107 C5 R
108 D5 R
109 E5 R
11 C5 6830924.000 32.299 32.299 0.000 0.0
110 F5 R
111 G5 R
112 H5 R
113 A6 R
114 B6 R
115 C6 R
116 D6 R
117 E6 R
118 F6 R
119 G6 R
12 D5 5370244.000 25.441 25.441 0.000 0.0
120 H6 R
121 A7 R
122 B7 R
123 C7 R
124 D7 R
125 E7 R
126 F7 R
127 G7 R
128 H7 R
129 A8 R
13 E5 2792276.000 13.337 13.337 0.000 0.0
130 B8 R
131 C8 R
132 D8 R
133 E8 R
134 F8 R
135 G8 R
136 H8 R
137 A9 R
138 B9 R
139 C9 R
14 F5 5924171.000 28.042 28.042 0.000 0.0
140 D9 R
141 E9 R
142 F9 R
143 G9 R
144 H9 R
145 A10 R
146 B10 R
147 C10 R
148 D10 R
149 E10 R
15 G5 6449400.000 30.508 30.508 0.000 0.0
150 F10 R
151 G10 R
152 H10 R
153 A11 R
154 B11 R
155 C11 R
156 D11 R
157 E11 R
158 F11 R
159 G11 R
16 H5 6691019.000 31.642 31.642 0.000 0.0
160 H11 R
161 A12 R
162 B12 R
163 C12 R
164 D12 R
165 E12 R
166 F12 R
167 G12 R
168 H12 R
17 A6 24557910.000 R 115.528 115.528 0.000 0.0
18 B6 25137382.000 R 118.248 118.248 0.000 0.0
19 C6 3206718.000 15.283 15.283 0.000 0.0
20 D6 9145637.000 43.167 43.167 0.000 0.0
21 E6 9019803.000 42.576 42.576 0.000 0.0
22 F6 17916316.000 84.345 84.345 0.000 0.0
23 G6 7155136.000 33.821 33.821 0.000 0.0
24 H6 6029283.000 28.535 28.535 0.000 0.0
25 A7 8885812.000 41.947 41.947 0.000 0.0
26 B7 656250.000 3.309 3.309 0.000 0.0
27 C7 13082211.000 61.649 61.649 0.000 0.0
28 D7 14845723.000 69.929 69.929 0.000 0.0
29 E7 905175.000 4.477 4.477 0.000 0.0
30 F7 16290078.000 76.710 76.710 0.000 0.0
31 G7 1459087.000 7.078 7.078 0.000 0.0
32 H7 1196188.000 5.844 5.844 0.000 0.0
33 A8 1619024.000 7.829 7.829 0.000 0.0
34 B8 1710661.000 8.259 8.259 0.000 0.0
35 C8 7310750.000 34.552 34.552 0.000 0.0
36 D8 12731892.000 60.004 60.004 0.000 0.0
37 E8 1486723.000 7.208 7.208 0.000 0.0
38 F8 2103603.000 10.104 10.104 0.000 0.0
39 G8 7702679.000 36.392 36.392 0.000 0.0
40 H8 2052891.000 9.866 9.866 0.000 0.0
41 A9 2220628.000 10.653 10.653 0.000 0.0
42 B9 655584.000 3.305 3.305 0.000 0.0
43 C9 1613836.000 7.805 7.805 0.000 0.0
44 D9 185486.000 1.098 1.098 0.000 0.0
45 E9 16834.000 R 0.307 0.307 0.000 0.0
46 F9 18297.000 R 0.313 0.313 0.000 0.0
47 G9 18496.000 R 0.314 0.314 0.000 0.0
48 H9 25607.000 0.348 0.348 0.000 0.0
49 A10 1211.000 R 0.233 0.233 0.000 0.0
50 B10 1210.000 R 0.233 0.233 0.000 0.0
51 C10 1121.000 R 0.233 0.233 0.000 0.0
52 D10 1046.000 R 0.232 0.232 0.000 0.0
53 E10 1200.000 R 0.233 0.233 0.000 0.0
54 F10 1080.000 R 0.233 0.233 0.000 0.0
55 G10 1088.000 R 0.233 0.233 0.000 0.0
56 H10 1063.000 R 0.232 0.232 0.000 0.0
57 A11 976.000 R 0.232 0.232 0.000 0.0
58 B11 1044.000 R 0.232 0.232 0.000 0.0
59 C11 1066.000 R 0.233 0.233 0.000 0.0
60 D11 1133.000 R 0.233 0.233 0.000 0.0
61 E11 1348.000 R 0.234 0.234 0.000 0.0
62 F11 1175.000 R 0.233 0.233 0.000 0.0
63 G11 1066.000 R 0.233 0.233 0.000 0.0
64 H11 1149.000 R 0.233 0.233 0.000 0.0
65 A12 1200.000 R 0.233 0.233 0.000 0.0
66 B12 1039.000 R 0.232 0.232 0.000 0.0
67 C12 1229.000 R 0.233 0.233 0.000 0.0
68 D12 1169.000 R 0.233 0.233 0.000 0.0
69 E12 1270.000 R 0.233 0.233 0.000 0.0
70 F12 1159.000 R 0.233 0.233 0.000 0.0
71 G12 1090.000 R 0.233 0.233 0.000 0.0
72 H12 1117.000 R 0.233 0.233 0.000 0.0
Group Summaries
InRange R - Outside standard range
~End
Original Filename: 2015_07_31_Lettuce_and_Pistachio_test; Date Last Saved: 7/31/2015 2:11:58 PM