## input
ÿþ##BLOCKS= 4
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
23.5 23945978 20962674 20184864 8908855 7264052 3988926 8102209 14574716 8940994 7861234 1186 1128
12032688 11770217 11548137 17416378 11558478 11063368 3391367 12483746 3498880 9055411 1064 1246
5889943 5511720 5313186 14758153 11111844 10472844 10607354 15376893 6407286 18116 1146 1127
2590181 2540779 2497299 14340370 12134396 9609044 8612294 10627972 10113068 18832 1173 1124
1250149 1165013 1120073 11196024 8159855 9044139 7126205 11111326 10148580 17386 1145 1191
394373 386891 382827 10545083 6711578 9544863 610648 9554293 6637880 19603 1275 1133
305582 285897 276369 15003142 8387388 9366101 9436702 712076 12038671 18772 1108 1146
26294 26837 24303 14045263 8499587 4117208 9230122 7922235 6376461 18668 1099 1097
~End
Group: Standards
Sample Conc BackCalcConc Wells Value MeanValue SD CV
01 100.000 108.479 A1 23945978.000 21697838.667 1985408.005 9.2
94.994 A2 20962674.000
91.478 A3 20184864.000
02 50.000 54.629 B1 12032688.000 11783680.667 242555.912 2.1
53.442 B2 11770217.000
52.439 B3 11548137.000
03 25.000 26.863 C1 5889943.000 5571616.333 293006.548 5.3
25.153 C2 5511720.000
24.256 C3 5313186.000
04 12.500 11.947 D1 2590181.000 2542753.000 46472.454 1.8
11.724 D2 2540779.000
11.527 D3 2497299.000
05 6.250 5.890 E1 1250149.000 1178411.667 66065.003 5.6
5.505 E2 1165013.000
5.302 E3 1120073.000
06 3.125 2.022 F1 394373.000 388030.333 5856.713 1.5
1.988 F2 386891.000
1.970 F3 382827.000
07 1.563 1.620 G1 305582.000 289282.667 14897.882 5.1
1.531 G2 285897.000
1.488 G3 276369.000
08 0.000 0.358 H1 26294.000 25811.333 1334.172 5.2
0.360 H2 26837.000
0.349 H3 24303.000
Group Summaries
MinStd Smallest standard value: 25811.333 Min(MeanValue)
MaxStd Largest standard value: 21697838.667 Max(MeanValue)
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 A4 8908855.000 40.509 40.509 0.000 0.0
02 B4 17416378.000 78.964 78.964 0.000 0.0
03 C4 14758153.000 66.948 66.948 0.000 0.0
04 D4 14340370.000 65.060 65.060 0.000 0.0
05 E4 11196024.000 50.847 50.847 0.000 0.0
06 F4 10545083.000 47.905 47.905 0.000 0.0
07 G4 15003142.000 68.056 68.056 0.000 0.0
073 A1 R
074 B1 R
075 C1 R
076 D1 R
077 E1 R
078 F1 R
079 G1 R
08 H4 14045263.000 63.726 63.726 0.000 0.0
080 H1 R
081 A2 R
082 B2 R
083 C2 R
084 D2 R
085 E2 R
086 F2 R
087 G2 R
088 H2 R
089 A3 R
09 A5 7264052.000 33.074 33.074 0.000 0.0
090 B3 R
091 C3 R
092 D3 R
093 E3 R
094 F3 R
095 G3 R
096 H3 R
097 A4 R
098 B4 R
099 C4 R
10 B5 11558478.000 52.485 52.485 0.000 0.0
100 D4 R
101 E4 R
102 F4 R
103 G4 R
104 H4 R
105 A5 R
106 B5 R
107 C5 R
108 D5 R
109 E5 R
11 C5 11111844.000 50.466 50.466 0.000 0.0
110 F5 R
111 G5 R
112 H5 R
113 A6 R
114 B6 R
115 C6 R
116 D6 R
117 E6 R
118 F6 R
119 G6 R
12 D5 12134396.000 55.088 55.088 0.000 0.0
120 H6 R
121 A7 R
122 B7 R
123 C7 R
124 D7 R
125 E7 R
126 F7 R
127 G7 R
128 H7 R
129 A8 R
13 E5 8159855.000 37.123 37.123 0.000 0.0
130 B8 R
131 C8 R
132 D8 R
133 E8 R
134 F8 R
135 G8 R
136 H8 R
137 A9 R
138 B9 R
139 C9 R
14 F5 6711578.000 30.576 30.576 0.000 0.0
140 D9 R
141 E9 R
142 F9 R
143 G9 R
144 H9 R
145 A10 R
146 B10 R
147 C10 R
148 D10 R
149 E10 R
15 G5 8387388.000 38.151 38.151 0.000 0.0
150 F10 R
151 G10 R
152 H10 R
153 A11 R
154 B11 R
155 C11 R
156 D11 R
157 E11 R
158 F11 R
159 G11 R
16 H5 8499587.000 38.659 38.659 0.000 0.0
160 H11 R
161 A12 R
162 B12 R
163 C12 R
164 D12 R
165 E12 R
166 F12 R
167 G12 R
168 H12 R
17 A6 3988926.000 18.270 18.270 0.000 0.0
18 B6 11063368.000 50.247 50.247 0.000 0.0
19 C6 10472844.000 47.578 47.578 0.000 0.0
20 D6 9609044.000 43.673 43.673 0.000 0.0
21 E6 9044139.000 41.120 41.120 0.000 0.0
22 F6 9544863.000 43.383 43.383 0.000 0.0
23 G6 9366101.000 42.575 42.575 0.000 0.0
24 H6 4117208.000 18.850 18.850 0.000 0.0
25 A7 8102209.000 36.862 36.862 0.000 0.0
26 B7 3391367.000 15.569 15.569 0.000 0.0
27 C7 10607354.000 48.186 48.186 0.000 0.0
28 D7 8612294.000 39.168 39.168 0.000 0.0
29 E7 7126205.000 32.451 32.451 0.000 0.0
30 F7 610648.000 2.999 2.999 0.000 0.0
31 G7 9436702.000 42.894 42.894 0.000 0.0
32 H7 9230122.000 41.961 41.961 0.000 0.0
33 A8 14574716.000 66.119 66.119 0.000 0.0
34 B8 12483746.000 56.668 56.668 0.000 0.0
35 C8 15376893.000 69.745 69.745 0.000 0.0
36 D8 10627972.000 48.279 48.279 0.000 0.0
37 E8 11111326.000 50.464 50.464 0.000 0.0
38 F8 9554293.000 43.426 43.426 0.000 0.0
39 G8 712076.000 3.458 3.458 0.000 0.0
40 H8 7922235.000 36.049 36.049 0.000 0.0
41 A9 8940994.000 40.654 40.654 0.000 0.0
42 B9 3498880.000 16.055 16.055 0.000 0.0
43 C9 6407286.000 29.201 29.201 0.000 0.0
44 D9 10113068.000 45.952 45.952 0.000 0.0
45 E9 10148580.000 46.112 46.112 0.000 0.0
46 F9 6637880.000 30.243 30.243 0.000 0.0
47 G9 12038671.000 54.656 54.656 0.000 0.0
48 H9 6376461.000 29.062 29.062 0.000 0.0
49 A10 7861234.000 35.773 35.773 0.000 0.0
50 B10 9055411.000 41.171 41.171 0.000 0.0
51 C10 18116.000 R 0.321 0.321 0.000 0.0
52 D10 18832.000 R 0.324 0.324 0.000 0.0
53 E10 17386.000 R 0.318 0.318 0.000 0.0
54 F10 19603.000 R 0.328 0.328 0.000 0.0
55 G10 18772.000 R 0.324 0.324 0.000 0.0
56 H10 18668.000 R 0.323 0.323 0.000 0.0
57 A11 1186.000 R 0.244 0.244 0.000 0.0
58 B11 1064.000 R 0.244 0.244 0.000 0.0
59 C11 1146.000 R 0.244 0.244 0.000 0.0
60 D11 1173.000 R 0.244 0.244 0.000 0.0
61 E11 1145.000 R 0.244 0.244 0.000 0.0
62 F11 1275.000 R 0.245 0.245 0.000 0.0
63 G11 1108.000 R 0.244 0.244 0.000 0.0
64 H11 1099.000 R 0.244 0.244 0.000 0.0
65 A12 1128.000 R 0.244 0.244 0.000 0.0
66 B12 1246.000 R 0.245 0.245 0.000 0.0
67 C12 1127.000 R 0.244 0.244 0.000 0.0
68 D12 1124.000 R 0.244 0.244 0.000 0.0
69 E12 1191.000 R 0.244 0.244 0.000 0.0
70 F12 1133.000 R 0.244 0.244 0.000 0.0
71 G12 1146.000 R 0.244 0.244 0.000 0.0
72 H12 1097.000 R 0.244 0.244 0.000 0.0
Group Summaries
InRange R - Outside standard range
~End
Original Filename: 2015_08_10_Carols_DNA; Date Last Saved: 8/10/2015 4:22:59 PM