## input
ÿþ##BLOCKS= 5
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
23.5 21500142 20736438 20502562 27615114 1184 1165 1139 1156 1105 1166 1057 1085
12223295 11815856 11664250 25914280 1171 1160 1072 1114 1189 1092 1120 1121
6308269 5469198 5370666 10026797 1226 1134 1239 1101 1286 1166 1213 1221
2545150 2553445 2525514 22680 1270 1168 1191 1153 1189 1090 1115 1071
1243471 1163989 1128518 20267 1250 1261 1271 1123 1131 1180 1051 1157
388244 394088 388789 22156 1198 1149 1153 1205 1071 1189 1165 1138
299385 280565 282611 20534 1190 1230 1304 1172 1145 1139 1294 1082
23765 22019 22495 21602 1139 1096 1123 1279 1181 1225 1016 1106
1 2 3 4 5 6 7 8 9 10 11 12
21500142 20736438 20502562 27615114 1184 1165 1139 1156 1105 1166 1057 1085
12223295 11815856 11664250 25914280 1171 1160 1072 1114 1189 1092 1120 1121
6308269 5469198 5370666 10026797 1226 1134 1239 1101 1286 1166 1213 1221
2545150 2553445 2525514 22680 1270 1168 1191 1153 1189 1090 1115 1071
1243471 1163989 1128518 20267 1250 1261 1271 1123 1131 1180 1051 1157
388244 394088 388789 22156 1198 1149 1153 1205 1071 1189 1165 1138
299385 280565 282611 20534 1190 1230 1304 1172 1145 1139 1294 1082
23765 22019 22495 21602 1139 1096 1123 1279 1181 1225 1016 1106
~End
Plate: Plate2 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
23.5 14341242 11407924 11709392 13851225 16839740 11413062 13066641 15703824 14985474 11448923 9223189 12901153
15129199 11281373 17837522 13256853 18085440 17893060 16014419 10380479 13050856 14392472 10092851 11524620
16741154 14210091 17080180 29556200 11129150 31809316 14698622 10140110 27088626 14979132 11675975 8026102
15576532 16401306 13560217 14529808 16541750 10677294 15124704 10254707 15952954 16041117 11578130 11120563
20548062 34075412 36971384 16605529 12021805 14293859 28882630 11698578 13026321 13078783 11883656 10594115
12268546 29823516 12242345 34824916 11295061 15697147 31019502 13835911 14870254 10354100 12717664 11239268
11778279 15805957 15633036 20780320 21557788 12825535 17757008 9626235 12375839 11267327 10951753 10889553
14845743 12613634 12131245 16542612 9229913 13978076 16996068 15720811 11411544 10632235 12290513 8202658
1 2 3 4 5 6 7 8 9 10 11 12
14341242 11407924 11709392 13851225 16839740 11413062 13066641 15703824 14985474 11448923 9223189 12901153
15129199 11281373 17837522 13256853 18085440 17893060 16014419 10380479 13050856 14392472 10092851 11524620
16741154 14210091 17080180 29556200 11129150 31809316 14698622 10140110 27088626 14979132 11675975 8026102
15576532 16401306 13560217 14529808 16541750 10677294 15124704 10254707 15952954 16041117 11578130 11120563
20548062 34075412 36971384 16605529 12021805 14293859 28882630 11698578 13026321 13078783 11883656 10594115
12268546 29823516 12242345 34824916 11295061 15697147 31019502 13835911 14870254 10354100 12717664 11239268
11778279 15805957 15633036 20780320 21557788 12825535 17757008 9626235 12375839 11267327 10951753 10889553
14845743 12613634 12131245 16542612 9229913 13978076 16996068 15720811 11411544 10632235 12290513 8202658
~End
Group: Standards
Sample Conc BackCalcConc Wells Value MeanValue SD CV
01 100.000 99.981 A1 21500142.000 20913047.333 521713.146 2.5
96.422 A2 20736438.000
95.332 A3 20502562.000
02 50.000 56.748 B1 12223295.000 11901133.667 289114.231 2.4
54.850 B2 11815856.000
54.143 B3 11664250.000
03 25.000 29.183 C1 6308269.000 5716044.333 515242.351 9.0
25.272 C2 5469198.000
24.813 C3 5370666.000
04 12.500 11.645 D1 2545150.000 2541369.667 14344.106 0.6
11.684 D2 2553445.000
11.554 D3 2525514.000
05 6.250 5.579 E1 1243471.000 1178659.333 58863.928 5.0
5.209 E2 1163989.000
5.043 E3 1128518.000
06 3.125 1.594 F1 388244.000 390373.667 3228.229 0.8
1.621 F2 394088.000
1.596 F3 388789.000
07 1.563 1.179 G1 299385.000 287520.333 10325.903 3.6
1.092 G2 280565.000
1.101 G3 282611.000
08 0.000 -0.105 H1 23765.000 22759.667 902.588 4.0
-0.113 H2 22019.000
-0.111 H3 22495.000
Group Summaries
MinStd Smallest standard value: 22759.667 Min(MeanValue)
MaxStd Largest standard value: 20913047.333 Max(MeanValue)
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 A4 27615114.000 R 128.479 128.479 0.000 0.0
02 B4 25914280.000 R 120.552 120.552 0.000 0.0
03 C4 10026797.000 46.512 46.512 0.000 0.0
04 D4 22680.000 R -0.110 -0.110 0.000 0.0
05 E4 20267.000 R -0.121 -0.121 0.000 0.0
06 F4 22156.000 R -0.113 -0.113 0.000 0.0
07 G4 20534.000 R -0.120 -0.120 0.000 0.0
073 A1 14341242.000 66.619 66.619 0.000 0.0
074 B1 15129199.000 70.291 70.291 0.000 0.0
075 C1 16741154.000 77.803 77.803 0.000 0.0
076 D1 15576532.000 72.375 72.375 0.000 0.0
077 E1 20548062.000 95.544 95.544 0.000 0.0
078 F1 12268546.000 56.959 56.959 0.000 0.0
079 G1 11778279.000 54.674 54.674 0.000 0.0
08 H4 21602.000 R -0.115 -0.115 0.000 0.0
080 H1 14845743.000 68.970 68.970 0.000 0.0
081 A2 11407924.000 52.948 52.948 0.000 0.0
082 B2 11281373.000 52.359 52.359 0.000 0.0
083 C2 14210091.000 66.007 66.007 0.000 0.0
084 D2 16401306.000 76.219 76.219 0.000 0.0
085 E2 34075412.000 R 158.586 158.586 0.000 0.0
086 F2 29823516.000 R 138.770 138.770 0.000 0.0
087 G2 15805957.000 73.445 73.445 0.000 0.0
088 H2 12613634.000 58.567 58.567 0.000 0.0
089 A3 11709392.000 54.353 54.353 0.000 0.0
09 A5 1184.000 R -0.210 -0.210 0.000 0.0
090 B3 17837522.000 82.912 82.912 0.000 0.0
091 C3 17080180.000 79.383 79.383 0.000 0.0
092 D3 13560217.000 62.979 62.979 0.000 0.0
093 E3 36971384.000 R 172.082 172.082 0.000 0.0
094 F3 12242345.000 56.837 56.837 0.000 0.0
095 G3 15633036.000 72.639 72.639 0.000 0.0
096 H3 12131245.000 56.319 56.319 0.000 0.0
097 A4 13851225.000 64.335 64.335 0.000 0.0
098 B4 13256853.000 61.565 61.565 0.000 0.0
099 C4 29556200.000 R 137.525 137.525 0.000 0.0
10 B5 1171.000 R -0.210 -0.210 0.000 0.0
100 D4 14529808.000 67.497 67.497 0.000 0.0
101 E4 16605529.000 77.171 77.171 0.000 0.0
102 F4 34824916.000 R 162.078 162.078 0.000 0.0
103 G4 20780320.000 96.627 96.627 0.000 0.0
104 H4 16542612.000 76.878 76.878 0.000 0.0
105 A5 16839740.000 78.262 78.262 0.000 0.0
106 B5 18085440.000 84.068 84.068 0.000 0.0
107 C5 11129150.000 51.649 51.649 0.000 0.0
108 D5 16541750.000 76.874 76.874 0.000 0.0
109 E5 12021805.000 55.809 55.809 0.000 0.0
11 C5 1226.000 R -0.210 -0.210 0.000 0.0
110 F5 11295061.000 52.422 52.422 0.000 0.0
111 G5 21557788.000 R 100.250 100.250 0.000 0.0
112 H5 9229913.000 42.798 42.798 0.000 0.0
113 A6 11413062.000 52.972 52.972 0.000 0.0
114 B6 17893060.000 83.171 83.171 0.000 0.0
115 C6 31809316.000 R 148.025 148.025 0.000 0.0
116 D6 10677294.000 49.544 49.544 0.000 0.0
117 E6 14293859.000 66.398 66.398 0.000 0.0
118 F6 15697147.000 72.937 72.937 0.000 0.0
119 G6 12825535.000 59.555 59.555 0.000 0.0
12 D5 1270.000 R -0.210 -0.210 0.000 0.0
120 H6 13978076.000 64.926 64.926 0.000 0.0
121 A7 13066641.000 60.679 60.679 0.000 0.0
122 B7 16014419.000 74.416 74.416 0.000 0.0
123 C7 14698622.000 68.284 68.284 0.000 0.0
124 D7 15124704.000 70.270 70.270 0.000 0.0
125 E7 28882630.000 R 134.386 134.386 0.000 0.0
126 F7 31019502.000 R 144.344 144.344 0.000 0.0
127 G7 17757008.000 82.537 82.537 0.000 0.0
128 H7 16996068.000 78.991 78.991 0.000 0.0
129 A8 15703824.000 72.969 72.969 0.000 0.0
13 E5 1250.000 R -0.210 -0.210 0.000 0.0
130 B8 10380479.000 48.160 48.160 0.000 0.0
131 C8 10140110.000 47.040 47.040 0.000 0.0
132 D8 10254707.000 47.574 47.574 0.000 0.0
133 E8 11698578.000 54.303 54.303 0.000 0.0
134 F8 13835911.000 64.264 64.264 0.000 0.0
135 G8 9626235.000 44.645 44.645 0.000 0.0
136 H8 15720811.000 73.048 73.048 0.000 0.0
137 A9 14985474.000 69.621 69.621 0.000 0.0
138 B9 13050856.000 60.605 60.605 0.000 0.0
139 C9 27088626.000 R 126.025 126.025 0.000 0.0
14 F5 1198.000 R -0.210 -0.210 0.000 0.0
140 D9 15952954.000 74.130 74.130 0.000 0.0
141 E9 13026321.000 60.491 60.491 0.000 0.0
142 F9 14870254.000 69.084 69.084 0.000 0.0
143 G9 12375839.000 57.459 57.459 0.000 0.0
144 H9 11411544.000 52.965 52.965 0.000 0.0
145 A10 11448923.000 53.140 53.140 0.000 0.0
146 B10 14392472.000 66.857 66.857 0.000 0.0
147 C10 14979132.000 69.591 69.591 0.000 0.0
148 D10 16041117.000 74.540 74.540 0.000 0.0
149 E10 13078783.000 60.735 60.735 0.000 0.0
15 G5 1190.000 R -0.210 -0.210 0.000 0.0
150 F10 10354100.000 48.037 48.037 0.000 0.0
151 G10 11267327.000 52.293 52.293 0.000 0.0
152 H10 10632235.000 49.334 49.334 0.000 0.0
153 A11 9223189.000 42.767 42.767 0.000 0.0
154 B11 10092851.000 46.820 46.820 0.000 0.0
155 C11 11675975.000 54.198 54.198 0.000 0.0
156 D11 11578130.000 53.742 53.742 0.000 0.0
157 E11 11883656.000 55.166 55.166 0.000 0.0
158 F11 12717664.000 59.052 59.052 0.000 0.0
159 G11 10951753.000 50.823 50.823 0.000 0.0
16 H5 1139.000 R -0.210 -0.210 0.000 0.0
160 H11 12290513.000 57.062 57.062 0.000 0.0
161 A12 12901153.000 59.907 59.907 0.000 0.0
162 B12 11524620.000 53.492 53.492 0.000 0.0
163 C12 8026102.000 37.188 37.188 0.000 0.0
164 D12 11120563.000 51.609 51.609 0.000 0.0
165 E12 10594115.000 49.156 49.156 0.000 0.0
166 F12 11239268.000 52.162 52.162 0.000 0.0
167 G12 10889553.000 50.533 50.533 0.000 0.0
168 H12 8202658.000 38.011 38.011 0.000 0.0
17 A6 1165.000 R -0.210 -0.210 0.000 0.0
18 B6 1160.000 R -0.210 -0.210 0.000 0.0
19 C6 1134.000 R -0.210 -0.210 0.000 0.0
20 D6 1168.000 R -0.210 -0.210 0.000 0.0
21 E6 1261.000 R -0.210 -0.210 0.000 0.0
22 F6 1149.000 R -0.210 -0.210 0.000 0.0
23 G6 1230.000 R -0.210 -0.210 0.000 0.0
24 H6 1096.000 R -0.211 -0.211 0.000 0.0
25 A7 1139.000 R -0.210 -0.210 0.000 0.0
26 B7 1072.000 R -0.211 -0.211 0.000 0.0
27 C7 1239.000 R -0.210 -0.210 0.000 0.0
28 D7 1191.000 R -0.210 -0.210 0.000 0.0
29 E7 1271.000 R -0.210 -0.210 0.000 0.0
30 F7 1153.000 R -0.210 -0.210 0.000 0.0
31 G7 1304.000 R -0.210 -0.210 0.000 0.0
32 H7 1123.000 R -0.211 -0.211 0.000 0.0
33 A8 1156.000 R -0.210 -0.210 0.000 0.0
34 B8 1114.000 R -0.211 -0.211 0.000 0.0
35 C8 1101.000 R -0.211 -0.211 0.000 0.0
36 D8 1153.000 R -0.210 -0.210 0.000 0.0
37 E8 1123.000 R -0.211 -0.211 0.000 0.0
38 F8 1205.000 R -0.210 -0.210 0.000 0.0
39 G8 1172.000 R -0.210 -0.210 0.000 0.0
40 H8 1279.000 R -0.210 -0.210 0.000 0.0
41 A9 1105.000 R -0.211 -0.211 0.000 0.0
42 B9 1189.000 R -0.210 -0.210 0.000 0.0
43 C9 1286.000 R -0.210 -0.210 0.000 0.0
44 D9 1189.000 R -0.210 -0.210 0.000 0.0
45 E9 1131.000 R -0.211 -0.211 0.000 0.0
46 F9 1071.000 R -0.211 -0.211 0.000 0.0
47 G9 1145.000 R -0.210 -0.210 0.000 0.0
48 H9 1181.000 R -0.210 -0.210 0.000 0.0
49 A10 1166.000 R -0.210 -0.210 0.000 0.0
50 B10 1092.000 R -0.211 -0.211 0.000 0.0
51 C10 1166.000 R -0.210 -0.210 0.000 0.0
52 D10 1090.000 R -0.211 -0.211 0.000 0.0
53 E10 1180.000 R -0.210 -0.210 0.000 0.0
54 F10 1189.000 R -0.210 -0.210 0.000 0.0
55 G10 1139.000 R -0.210 -0.210 0.000 0.0
56 H10 1225.000 R -0.210 -0.210 0.000 0.0
57 A11 1057.000 R -0.211 -0.211 0.000 0.0
58 B11 1120.000 R -0.211 -0.211 0.000 0.0
59 C11 1213.000 R -0.210 -0.210 0.000 0.0
60 D11 1115.000 R -0.211 -0.211 0.000 0.0
61 E11 1051.000 R -0.211 -0.211 0.000 0.0
62 F11 1165.000 R -0.210 -0.210 0.000 0.0
63 G11 1294.000 R -0.210 -0.210 0.000 0.0
64 H11 1016.000 R -0.211 -0.211 0.000 0.0
65 A12 1085.000 R -0.211 -0.211 0.000 0.0
66 B12 1121.000 R -0.211 -0.211 0.000 0.0
67 C12 1221.000 R -0.210 -0.210 0.000 0.0
68 D12 1071.000 R -0.211 -0.211 0.000 0.0
69 E12 1157.000 R -0.210 -0.210 0.000 0.0
70 F12 1138.000 R -0.210 -0.210 0.000 0.0
71 G12 1082.000 R -0.211 -0.211 0.000 0.0
72 H12 1106.000 R -0.211 -0.211 0.000 0.0
Group Summaries
InRange R - Outside standard range
~End
Original Filename: 2015_08_21_Adaptor_Dilutions; Date Last Saved: 8/21/2015 10:02:49 AM