## input
ÿþ##BLOCKS= 5
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
25 28897158 28191094 28127054 1412 1382 1320 1385 1325 1285 1328 1282 1290
13707178 13477224 13311987 1295 1365 1276 1436 1368 1246 1433 1366 1274
6667997 6895083 6828063 1351 1337 1251 1308 1335 1281 1313 1356 1332
3173638 3033845 3009789 1377 1358 1366 1328 1320 1310 1242 1412 1318
1445746 1445161 1451274 1387 1435 1219 1278 1464 1405 1335 1364 1383
416061 418766 349326 1228 1433 1258 1298 1307 1331 1372 1283 1334
140456 138973 138513 1378 1412 1307 1347 1261 1336 1522 1462 1395
31105 30370 30142 1321 1324 1326 1281 1308 1276 1314 1314 1376
1 2 3 4 5 6 7 8 9 10 11 12
28897158 28191094 28127054 1412 1382 1320 1385 1325 1285 1328 1282 1290
13707178 13477224 13311987 1295 1365 1276 1436 1368 1246 1433 1366 1274
6667997 6895083 6828063 1351 1337 1251 1308 1335 1281 1313 1356 1332
3173638 3033845 3009789 1377 1358 1366 1328 1320 1310 1242 1412 1318
1445746 1445161 1451274 1387 1435 1219 1278 1464 1405 1335 1364 1383
416061 418766 349326 1228 1433 1258 1298 1307 1331 1372 1283 1334
140456 138973 138513 1378 1412 1307 1347 1261 1336 1522 1462 1395
31105 30370 30142 1321 1324 1326 1281 1308 1276 1314 1314 1376
~End
Plate: Plate2 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
25 13865940 28797730 32024464 22720676 29167500 30950528 30101616 29693556 38623672 25503240 22996428 21794588
23651760 31474534 12182286 20822822 4934613 8710648 15971593 18998600 4089573 17591842 24304562 25989250
27321858 13221294 12723557 15420689 16252549 19180696 15682065 16783100 12734566 16569250 38199848 20070808
27161032 17794332 27193576 18400798 16321426 17468190 34509880 3996148 13151149 34520748 29270736 30250248
11948322 28869436 29887548 11160186 23282452 16291396 11916523 38752500 18581344 30382928 33234546 39503080
13937152 15801242 14326208 12020189 29570048 25916114 14067240 16127130 17794038 39172512 37246592 30965012
12131854 14042771 21834870 16187750 16823086 13051969 19156372 2718695 5855312 19307418 39066040 35334456
10621302 29561338 13837199 14925706 32845722 17969176 12292209 31823738 36823920 35461332 28900624 24083724
1 2 3 4 5 6 7 8 9 10 11 12
13865940 28797730 32024464 22720676 29167500 30950528 30101616 29693556 38623672 25503240 22996428 21794588
23651760 31474534 12182286 20822822 4934613 8710648 15971593 18998600 4089573 17591842 24304562 25989250
27321858 13221294 12723557 15420689 16252549 19180696 15682065 16783100 12734566 16569250 38199848 20070808
27161032 17794332 27193576 18400798 16321426 17468190 34509880 3996148 13151149 34520748 29270736 30250248
11948322 28869436 29887548 11160186 23282452 16291396 11916523 38752500 18581344 30382928 33234546 39503080
13937152 15801242 14326208 12020189 29570048 25916114 14067240 16127130 17794038 39172512 37246592 30965012
12131854 14042771 21834870 16187750 16823086 13051969 19156372 2718695 5855312 19307418 39066040 35334456
10621302 29561338 13837199 14925706 32845722 17969176 12292209 31823738 36823920 35461332 28900624 24083724
~End
Group: Standards
Sample Conc BackCalcConc Wells Value MeanValue SD CV
01 100.000 102.504 A1 28897158.000 28405102.000 427334.308 1.5
100.030 A2 28191094.000
99.806 A3 28127054.000
02 50.000 49.277 B1 13707178.000 13498796.333 198476.713 1.5
48.472 B2 13477224.000
47.892 B3 13311987.000
03 25.000 24.611 C1 6667997.000 6797047.667 116676.802 1.7
25.407 C2 6895083.000
25.172 C3 6828063.000
04 12.500 12.367 D1 3173638.000 3072424.000 88475.297 2.9
11.877 D2 3033845.000
11.793 D3 3009789.000
05 6.250 6.312 E1 1445746.000 1447393.667 3373.173 0.2
6.310 E2 1445161.000
6.332 E3 1451274.000
06 3.125 2.704 F1 416061.000 394717.667 39333.596 10.0
2.714 F2 418766.000
2.470 F3 349326.000
07 1.563 1.738 G1 140456.000 139314.000 1015.393 0.7
1.733 G2 138973.000
1.731 G3 138513.000
08 0.000 1.355 H1 31105.000 30539.000 503.252 1.6
1.353 H2 30370.000
1.352 H3 30142.000
Group Summaries
MinStd Smallest standard value: 30539.000 Min(MeanValue)
MaxStd Largest standard value: 28405102.000 Max(MeanValue)
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 A1 13865940.000 49.834 49.834 0.000 0.0
02 B1 23651760.000 84.124 84.124 0.000 0.0
03 C1 27321858.000 96.984 96.984 0.000 0.0
04 D1 27161032.000 96.421 96.421 0.000 0.0
05 E1 11948322.000 43.114 43.114 0.000 0.0
06 F1 13937152.000 50.083 50.083 0.000 0.0
07 G1 12131854.000 43.757 43.757 0.000 0.0
08 H1 10621302.000 38.464 38.464 0.000 0.0
09 A2 28797730.000 R 102.156 102.156 0.000 0.0
097 A1 R
098 B1 R
099 C1 R
10 B2 31474534.000 R 111.536 111.536 0.000 0.0
100 D1 R
101 E1 R
102 F1 R
103 G1 R
104 H1 R
105 A2 R
106 B2 R
107 C2 R
108 D2 R
109 E2 R
11 C2 13221294.000 47.575 47.575 0.000 0.0
110 F2 R
111 G2 R
112 H2 R
113 A3 R
114 B3 R
115 C3 R
116 D3 R
117 E3 R
118 F3 R
119 G3 R
12 D2 17794332.000 63.599 63.599 0.000 0.0
120 H3 R
121 A4 R
122 B4 R
123 C4 R
124 D4 R
125 E4 R
126 F4 R
127 G4 R
128 H4 R
129 A5 R
13 E2 28869436.000 R 102.407 102.407 0.000 0.0
130 B5 R
131 C5 R
132 D5 R
133 E5 R
134 F5 R
135 G5 R
136 H5 R
137 A6 R
138 B6 R
139 C6 R
14 F2 15801242.000 56.615 56.615 0.000 0.0
140 D6 R
141 E6 R
142 F6 R
143 G6 R
144 H6 R
145 A7 R
146 B7 R
147 C7 R
148 D7 R
149 E7 R
15 G2 14042771.000 50.453 50.453 0.000 0.0
150 F7 R
151 G7 R
152 H7 R
153 A8 R
154 B8 R
155 C8 R
156 D8 R
157 E8 R
158 F8 R
159 G8 R
16 H2 29561338.000 R 104.832 104.832 0.000 0.0
160 H8 R
161 A9 R
162 B9 R
163 C9 R
164 D9 R
165 E9 R
166 F9 R
167 G9 R
168 H9 R
169 A10 R
17 A3 32024464.000 R 113.463 113.463 0.000 0.0
170 B10 R
171 C10 R
172 D10 R
173 E10 R
174 F10 R
175 G10 R
176 H10 R
177 A11 R
178 B11 R
179 C11 R
18 B3 12182286.000 43.934 43.934 0.000 0.0
180 D11 R
181 E11 R
182 F11 R
183 G11 R
184 H11 R
185 A12 R
186 B12 R
187 C12 R
188 D12 R
189 E12 R
19 C3 12723557.000 45.831 45.831 0.000 0.0
190 F12 R
191 G12 R
192 H12 R
193 A1 R
194 B1 R
195 C1 R
196 D1 R
197 E1 R
198 F1 R
199 G1 R
20 D3 27193576.000 96.535 96.535 0.000 0.0
200 H1 R
201 A2 R
202 B2 R
203 C2 R
204 D2 R
205 E2 R
206 F2 R
207 G2 R
208 H2 R
209 A3 R
21 E3 29887548.000 R 105.975 105.975 0.000 0.0
210 B3 R
211 C3 R
212 D3 R
213 E3 R
214 F3 R
215 G3 R
216 H3 R
217 A4 R
218 B4 R
219 C4 R
22 F3 14326208.000 51.446 51.446 0.000 0.0
220 D4 R
221 E4 R
222 F4 R
223 G4 R
224 H4 R
225 A5 R
226 B5 R
227 C5 R
228 D5 R
229 E5 R
23 G3 21834870.000 77.757 77.757 0.000 0.0
230 F5 R
231 G5 R
232 H5 R
233 A6 R
234 B6 R
235 C6 R
236 D6 R
237 E6 R
238 F6 R
239 G6 R
24 H3 13837199.000 49.733 49.733 0.000 0.0
240 H6 R
241 A7 R
242 B7 R
243 C7 R
244 D7 R
245 E7 R
246 F7 R
247 G7 R
248 H7 R
249 A8 R
25 A4 22720676.000 80.861 80.861 0.000 0.0
250 B8 R
251 C8 R
252 D8 R
253 E8 R
254 F8 R
255 G8 R
256 H8 R
257 A9 R
258 B9 R
259 C9 R
26 B4 20822822.000 74.211 74.211 0.000 0.0
260 D9 R
261 E9 R
262 F9 R
263 G9 R
264 H9 R
265 A10 R
266 B10 R
267 C10 R
268 D10 R
269 E10 R
27 C4 15420689.000 55.282 55.282 0.000 0.0
270 F10 R
271 G10 R
272 H10 R
273 A11 R
274 B11 R
275 C11 R
276 D11 R
277 E11 R
278 F11 R
279 G11 R
28 D4 18400798.000 65.724 65.724 0.000 0.0
280 H11 R
281 A12 R
282 B12 R
283 C12 R
284 D12 R
285 E12 R
286 F12 R
287 G12 R
288 H12 R
289 A1 R
29 E4 11160186.000 40.352 40.352 0.000 0.0
290 B1 R
291 C1 R
292 D1 R
293 E1 R
294 F1 R
295 G1 R
296 H1 R
297 A2 R
298 B2 R
299 C2 R
30 F4 12020189.000 43.366 43.366 0.000 0.0
300 D2 R
301 E2 R
302 F2 R
303 G2 R
304 H2 R
305 A3 R
306 B3 R
307 C3 R
308 D3 R
309 E3 R
31 G4 16187750.000 57.969 57.969 0.000 0.0
310 F3 R
311 G3 R
312 H3 R
313 A4 R
314 B4 R
315 C4 R
316 D4 R
317 E4 R
318 F4 R
319 G4 R
32 H4 14925706.000 53.547 53.547 0.000 0.0
320 H4 R
321 A5 R
322 B5 R
323 C5 R
324 D5 R
325 E5 R
326 F5 R
327 G5 R
328 H5 R
329 A6 R
33 A5 29167500.000 R 103.452 103.452 0.000 0.0
330 B6 R
331 C6 R
332 D6 R
333 E6 R
334 F6 R
335 G6 R
336 H6 R
337 A7 R
338 B7 R
339 C7 R
34 B5 4934613.000 18.537 18.537 0.000 0.0
340 D7 R
341 E7 R
342 F7 R
343 G7 R
344 H7 R
345 A8 R
346 B8 R
347 C8 R
348 D8 R
349 E8 R
35 C5 16252549.000 58.196 58.196 0.000 0.0
350 F8 R
351 G8 R
352 H8 R
353 A9 R
354 B9 R
355 C9 R
356 D9 R
357 E9 R
358 F9 R
359 G9 R
36 D5 16321426.000 58.438 58.438 0.000 0.0
360 H9 R
361 A10 R
362 B10 R
363 C10 R
364 D10 R
365 E10 R
366 F10 R
367 G10 R
368 H10 R
369 A11 R
37 E5 23282452.000 82.830 82.830 0.000 0.0
370 B11 R
371 C11 R
372 D11 R
373 E11 R
374 F11 R
375 G11 R
376 H11 R
377 A12 R
378 B12 R
379 C12 R
38 F5 29570048.000 R 104.862 104.862 0.000 0.0
380 D12 R
381 E12 R
382 F12 R
383 G12 R
384 H12 R
385 A1 R
386 B1 R
387 C1 R
388 D1 R
389 E1 R
39 G5 16823086.000 60.196 60.196 0.000 0.0
390 F1 R
391 G1 R
392 H1 R
393 A2 R
394 B2 R
395 C2 R
396 D2 R
397 E2 R
398 F2 R
399 G2 R
40 H5 32845722.000 R 116.340 116.340 0.000 0.0
400 H2 R
401 A3 R
402 B3 R
403 C3 R
404 D3 R
405 E3 R
406 F3 R
407 G3 R
408 H3 R
409 A4 R
41 A6 30950528.000 R 109.700 109.700 0.000 0.0
410 B4 R
411 C4 R
412 D4 R
413 E4 R
414 F4 R
415 G4 R
416 H4 R
417 A5 R
418 B5 R
419 C5 R
42 B6 8710648.000 31.769 31.769 0.000 0.0
420 D5 R
421 E5 R
422 F5 R
423 G5 R
424 H5 R
425 A6 R
426 B6 R
427 C6 R
428 D6 R
429 E6 R
43 C6 19180696.000 68.457 68.457 0.000 0.0
430 F6 R
431 G6 R
432 H6 R
433 A7 R
434 B7 R
435 C7 R
436 D7 R
437 E7 R
438 F7 R
439 G7 R
44 D6 17468190.000 62.456 62.456 0.000 0.0
440 H7 R
441 A8 R
442 B8 R
443 C8 R
444 D8 R
445 E8 R
446 F8 R
447 G8 R
448 H8 R
449 A9 R
45 E6 16291396.000 58.333 58.333 0.000 0.0
450 B9 R
451 C9 R
452 D9 R
453 E9 R
454 F9 R
455 G9 R
456 H9 R
457 A10 R
458 B10 R
459 C10 R
46 F6 25916114.000 92.058 92.058 0.000 0.0
460 D10 R
461 E10 R
462 F10 R
463 G10 R
464 H10 R
465 A11 R
466 B11 R
467 C11 R
468 D11 R
469 E11 R
47 G6 13051969.000 46.981 46.981 0.000 0.0
470 F11 R
471 G11 R
472 H11 R
473 A12 R
474 B12 R
475 C12 R
476 D12 R
477 E12 R
478 F12 R
479 G12 R
48 H6 17969176.000 64.212 64.212 0.000 0.0
480 H12 R
49 A7 30101616.000 R 106.725 106.725 0.000 0.0
50 B7 15971593.000 57.212 57.212 0.000 0.0
51 C7 15682065.000 56.197 56.197 0.000 0.0
52 D7 34509880.000 R 122.172 122.172 0.000 0.0
53 E7 11916523.000 43.003 43.003 0.000 0.0
54 F7 14067240.000 50.539 50.539 0.000 0.0
55 G7 19156372.000 68.372 68.372 0.000 0.0
56 H7 12292209.000 44.319 44.319 0.000 0.0
57 A8 29693556.000 R 105.295 105.295 0.000 0.0
58 B8 18998600.000 67.819 67.819 0.000 0.0
59 C8 16783100.000 60.056 60.056 0.000 0.0
60 D8 3996148.000 15.249 15.249 0.000 0.0
61 E8 38752500.000 R 137.038 137.038 0.000 0.0
62 F8 16127130.000 57.757 57.757 0.000 0.0
63 G8 2718695.000 10.773 10.773 0.000 0.0
64 H8 31823738.000 R 112.759 112.759 0.000 0.0
65 A9 38623672.000 R 136.587 136.587 0.000 0.0
66 B9 4089573.000 15.576 15.576 0.000 0.0
67 C9 12734566.000 45.869 45.869 0.000 0.0
68 D9 13151149.000 47.329 47.329 0.000 0.0
69 E9 18581344.000 66.357 66.357 0.000 0.0
70 F9 17794038.000 63.598 63.598 0.000 0.0
71 G9 5855312.000 21.764 21.764 0.000 0.0
72 H9 36823920.000 R 130.280 130.280 0.000 0.0
73 A10 25503240.000 90.612 90.612 0.000 0.0
74 B10 17591842.000 62.889 62.889 0.000 0.0
75 C10 16569250.000 59.306 59.306 0.000 0.0
76 D10 34520748.000 R 122.210 122.210 0.000 0.0
77 E10 30382928.000 R 107.711 107.711 0.000 0.0
78 F10 39172512.000 R 138.510 138.510 0.000 0.0
79 G10 19307418.000 68.901 68.901 0.000 0.0
80 H10 35461332.000 R 125.506 125.506 0.000 0.0
81 A11 22996428.000 81.828 81.828 0.000 0.0
82 B11 24304562.000 86.411 86.411 0.000 0.0
83 C11 38199848.000 R 135.102 135.102 0.000 0.0
84 D11 29270736.000 R 103.813 103.813 0.000 0.0
85 E11 33234546.000 R 117.703 117.703 0.000 0.0
86 F11 37246592.000 R 131.761 131.761 0.000 0.0
87 G11 39066040.000 R 138.137 138.137 0.000 0.0
88 H11 28900624.000 R 102.516 102.516 0.000 0.0
89 A12 21794588.000 77.616 77.616 0.000 0.0
90 B12 25989250.000 92.315 92.315 0.000 0.0
91 C12 20070808.000 71.576 71.576 0.000 0.0
92 D12 30250248.000 R 107.246 107.246 0.000 0.0
93 E12 39503080.000 R 139.668 139.668 0.000 0.0
94 F12 30965012.000 R 109.750 109.750 0.000 0.0
95 G12 35334456.000 R 125.061 125.061 0.000 0.0
96 H12 24083724.000 85.638 85.638 0.000 0.0
Group Summaries
InRange R - Outside standard range
~End
Original Filename: 2015_10_29_Ivans_Samples; Date Last Saved: 10/29/2015 11:30:29 AM