## input
ÿþ##BLOCKS= 5
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
25.5 26961792 26429616 30645702 1405 69132016 1442 1523 1462 1352 1384 1261 1376
13123648 12063084 14887035 1404 69394632 1460 1524 1476 1355 1425 1355 1304
6449534 7181503 7460108 1425 57581276 1487 1377 1241 1414 1382 1356 1310
3071120 3093041 3155628 1404 55931708 1465 1412 1345 1471 1449 1406 1423
1009396 997047 1030231 1997 40012068 1446 1361 1369 1537 1502 1323 1317
507312 477082 488805 1397 30310 1435 1413 1403 1368 1320 1358 1344
272941 244651 257706 1405 29503 1439 1436 1370 1527 1340 1343 1465
25227 27756 49323 1355 27341 1390 1385 1481 1219 1356 1390 1276
1 2 3 4 5 6 7 8 9 10 11 12
26961792 26429616 30645702 1405 69132016 1442 1523 1462 1352 1384 1261 1376
13123648 12063084 14887035 1404 69394632 1460 1524 1476 1355 1425 1355 1304
6449534 7181503 7460108 1425 57581276 1487 1377 1241 1414 1382 1356 1310
3071120 3093041 3155628 1404 55931708 1465 1412 1345 1471 1449 1406 1423
1009396 997047 1030231 1997 40012068 1446 1361 1369 1537 1502 1323 1317
507312 477082 488805 1397 30310 1435 1413 1403 1368 1320 1358 1344
272941 244651 257706 1405 29503 1439 1436 1370 1527 1340 1343 1465
25227 27756 49323 1355 27341 1390 1385 1481 1219 1356 1390 1276
~End
Plate: Plate2 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
25.5 11089923 30303564 13631117 34142056 20880884 26059978 18383408 22614306 26814108 55243596 29897608 19974702
6905007 20434038 20543976 35892468 21198256 22565688 23147090 25050972 43021336 42449928 34984964 16703182
17734050 29362560 23092426 30703142 40844504 64797612 36835164 20338146 15099862 31823532 22465678 21267634
12297295 19555860 31229398 23289518 52918648 29946618 30743 45796572 65046476 34722096 49448620 17583346
9483930 14118016 38616752 17217308 41319376 33351672 53776932 46470144 61623664 40304124 28419344 28695722
13573479 19581428 43959868 22556398 29699664 21955390 62040612 58774776 26768094 27465126 33853944 15859335
10547487 22986146 35475772 23999406 27311030 39831952 42617648 65800104 35792380 15245249 15990379 14824350
11539341 30012606 28415 35602120 27252920 65411072 18138662 40633676 21422710 25358206 14990165 24180018
1 2 3 4 5 6 7 8 9 10 11 12
11089923 30303564 13631117 34142056 20880884 26059978 18383408 22614306 26814108 55243596 29897608 19974702
6905007 20434038 20543976 35892468 21198256 22565688 23147090 25050972 43021336 42449928 34984964 16703182
17734050 29362560 23092426 30703142 40844504 64797612 36835164 20338146 15099862 31823532 22465678 21267634
12297295 19555860 31229398 23289518 52918648 29946618 30743 45796572 65046476 34722096 49448620 17583346
9483930 14118016 38616752 17217308 41319376 33351672 53776932 46470144 61623664 40304124 28419344 28695722
13573479 19581428 43959868 22556398 29699664 21955390 62040612 58774776 26768094 27465126 33853944 15859335
10547487 22986146 35475772 23999406 27311030 39831952 42617648 65800104 35792380 15245249 15990379 14824350
11539341 30012606 28415 35602120 27252920 65411072 18138662 40633676 21422710 25358206 14990165 24180018
~End
Group: Standards
Sample Conc BackCalcConc Wells Value MeanValue SD CV
01 100.000 96.844 A1 26961792.000 28012370.000 2296003.243 8.2
94.955 A2 26429616.000
109.918 A3 30645702.000
02 50.000 47.733 B1 13123648.000 13357922.333 1426477.536 10.7
43.970 B2 12063084.000
53.992 B3 14887035.000
03 25.000 24.048 C1 6449534.000 7030381.667 521960.914 7.4
26.645 C2 7181503.000
27.634 C3 7460108.000
04 12.500 12.058 D1 3071120.000 3106596.333 43854.428 1.4
12.136 D2 3093041.000
12.358 D3 3155628.000
05 6.250 4.741 E1 1009396.000 1012224.667 16771.866 1.7
4.697 E2 997047.000
4.815 E3 1030231.000
06 3.125 2.959 F1 507312.000 491066.333 15241.340 3.1
2.852 F2 477082.000
2.893 F3 488805.000
07 1.563 2.127 G1 272941.000 258432.667 14158.992 5.5
2.027 G2 244651.000
2.073 G3 257706.000
08 0.000 1.248 H1 25227.000 34102.000 13242.284 38.8
1.257 H2 27756.000
1.334 H3 49323.000
Group Summaries
MinStd Smallest standard value: 34102.000 Min(MeanValue)
MaxStd Largest standard value: 28012370.000 Max(MeanValue)
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 A1 11089923.000 40.516 40.516 0.000 0.0
02 B1 6905007.000 25.664 25.664 0.000 0.0
03 C1 17734050.000 64.095 64.095 0.000 0.0
04 D1 12297295.000 44.801 44.801 0.000 0.0
05 E1 9483930.000 34.816 34.816 0.000 0.0
06 F1 13573479.000 49.330 49.330 0.000 0.0
07 G1 10547487.000 38.591 38.591 0.000 0.0
08 H1 11539341.000 42.111 42.111 0.000 0.0
09 A2 30303564.000 R 108.704 108.704 0.000 0.0
097 A5 69132016.000 R 246.503 246.503 0.000 0.0
098 B5 69394632.000 R 247.435 247.435 0.000 0.0
099 C5 57581276.000 R 205.511 205.511 0.000 0.0
10 B2 20434038.000 73.678 73.678 0.000 0.0
100 D5 55931708.000 R 199.656 199.656 0.000 0.0
101 E5 40012068.000 R 143.159 143.159 0.000 0.0
102 F5 30310.000 R 1.266 1.266 0.000 0.0
103 G5 29503.000 R 1.263 1.263 0.000 0.0
104 H5 27341.000 R 1.256 1.256 0.000 0.0
11 C2 29362560.000 R 105.364 105.364 0.000 0.0
12 D2 19555860.000 70.561 70.561 0.000 0.0
13 E2 14118016.000 51.262 51.262 0.000 0.0
14 F2 19581428.000 70.652 70.652 0.000 0.0
15 G2 22986146.000 82.735 82.735 0.000 0.0
16 H2 30012606.000 R 107.671 107.671 0.000 0.0
17 A3 13631117.000 49.534 49.534 0.000 0.0
18 B3 20543976.000 74.068 74.068 0.000 0.0
19 C3 23092426.000 83.112 83.112 0.000 0.0
20 D3 31229398.000 R 111.990 111.990 0.000 0.0
21 E3 38616752.000 R 138.207 138.207 0.000 0.0
22 F3 43959868.000 R 157.169 157.169 0.000 0.0
23 G3 35475772.000 R 127.060 127.060 0.000 0.0
24 H3 28415.000 R 1.259 1.259 0.000 0.0
25 A4 34142056.000 R 122.326 122.326 0.000 0.0
26 B4 35892468.000 R 128.538 128.538 0.000 0.0
27 C4 30703142.000 R 110.122 110.122 0.000 0.0
28 D4 23289518.000 83.811 83.811 0.000 0.0
29 E4 17217308.000 62.262 62.262 0.000 0.0
30 F4 22556398.000 81.210 81.210 0.000 0.0
31 G4 23999406.000 86.331 86.331 0.000 0.0
32 H4 35602120.000 R 127.508 127.508 0.000 0.0
33 A5 20880884.000 75.263 75.263 0.000 0.0
34 B5 21198256.000 76.390 76.390 0.000 0.0
35 C5 40844504.000 R 146.113 146.113 0.000 0.0
36 D5 52918648.000 R 188.963 188.963 0.000 0.0
37 E5 41319376.000 R 147.798 147.798 0.000 0.0
38 F5 29699664.000 R 106.561 106.561 0.000 0.0
39 G5 27311030.000 98.084 98.084 0.000 0.0
40 H5 27252920.000 97.877 97.877 0.000 0.0
41 A6 26059978.000 93.644 93.644 0.000 0.0
42 B6 22565688.000 81.243 81.243 0.000 0.0
43 C6 64797612.000 R 231.121 231.121 0.000 0.0
44 D6 29946618.000 R 107.437 107.437 0.000 0.0
45 E6 33351672.000 R 119.521 119.521 0.000 0.0
46 F6 21955390.000 79.077 79.077 0.000 0.0
47 G6 39831952.000 R 142.519 142.519 0.000 0.0
48 H6 65411072.000 R 233.298 233.298 0.000 0.0
49 A7 18383408.000 66.400 66.400 0.000 0.0
50 B7 23147090.000 83.306 83.306 0.000 0.0
51 C7 36835164.000 R 131.884 131.884 0.000 0.0
52 D7 30743.000 R 1.268 1.268 0.000 0.0
53 E7 53776932.000 R 192.009 192.009 0.000 0.0
54 F7 62040612.000 R 221.336 221.336 0.000 0.0
55 G7 42617648.000 R 152.406 152.406 0.000 0.0
56 H7 18138662.000 65.531 65.531 0.000 0.0
57 A8 22614306.000 81.415 81.415 0.000 0.0
58 B8 25050972.000 90.063 90.063 0.000 0.0
59 C8 20338146.000 73.337 73.337 0.000 0.0
60 D8 45796572.000 R 163.687 163.687 0.000 0.0
61 E8 46470144.000 R 166.078 166.078 0.000 0.0
62 F8 58774776.000 R 209.746 209.746 0.000 0.0
63 G8 65800104.000 R 234.679 234.679 0.000 0.0
64 H8 40633676.000 R 145.365 145.365 0.000 0.0
65 A9 26814108.000 96.320 96.320 0.000 0.0
66 B9 43021336.000 R 153.838 153.838 0.000 0.0
67 C9 15099862.000 54.747 54.747 0.000 0.0
68 D9 65046476.000 R 232.004 232.004 0.000 0.0
69 E9 61623664.000 R 219.857 219.857 0.000 0.0
70 F9 26768094.000 96.157 96.157 0.000 0.0
71 G9 35792380.000 R 128.183 128.183 0.000 0.0
72 H9 21422710.000 77.186 77.186 0.000 0.0
73 A10 55243596.000 R 197.214 197.214 0.000 0.0
74 B10 42449928.000 R 151.810 151.810 0.000 0.0
75 C10 31823532.000 R 114.098 114.098 0.000 0.0
76 D10 34722096.000 R 124.385 124.385 0.000 0.0
77 E10 40304124.000 R 144.195 144.195 0.000 0.0
78 F10 27465126.000 98.630 98.630 0.000 0.0
79 G10 15245249.000 55.263 55.263 0.000 0.0
80 H10 25358206.000 91.153 91.153 0.000 0.0
81 A11 29897608.000 R 107.263 107.263 0.000 0.0
82 B11 34984964.000 R 125.318 125.318 0.000 0.0
83 C11 22465678.000 80.888 80.888 0.000 0.0
84 D11 49448620.000 R 176.648 176.648 0.000 0.0
85 E11 28419344.000 R 102.017 102.017 0.000 0.0
86 F11 33853944.000 R 121.304 121.304 0.000 0.0
87 G11 15990379.000 57.907 57.907 0.000 0.0
88 H11 14990165.000 54.358 54.358 0.000 0.0
89 A12 19974702.000 72.047 72.047 0.000 0.0
90 B12 16703182.000 60.437 60.437 0.000 0.0
91 C12 21267634.000 76.636 76.636 0.000 0.0
92 D12 17583346.000 63.561 63.561 0.000 0.0
93 E12 28695722.000 R 102.998 102.998 0.000 0.0
94 F12 15859335.000 57.442 57.442 0.000 0.0
95 G12 14824350.000 53.769 53.769 0.000 0.0
96 H12 24180018.000 86.972 86.972 0.000 0.0
Group Summaries
InRange R - Outside standard range
~End
Original Filename: 2016_02_25_P12_DNA_Extractions; Date Last Saved: 2/25/2016 2:35:42 PM