## input
ÿþ##BLOCKS= 5
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
23.5 28430300 30077448 30038224 1446 71445104 42999712 51148432 22529094 9493496 1359 1328 1393
13794617 14379264 13881893 1413 39508564 96304448 14126751 24728216 36317700 1332 1318 1387
6744288 7094932 6928592 1354 95688320 76428648 49059800 48094648 36160 1222 1287 1321
2925761 2915998 3045367 1493 32551346 31719086 41270552 10989013 39968 1356 1289 1343
947668 1001425 1062615 1392 74139184 45174132 30848120 33109798 37014 1300 1325 1381
457934 464699 477831 58976 60427184 80043064 44272612 46312044 37627 1402 1298 1533
257299 198651 259960 1323 51090832 60357424 19415522 50004496 36382 1310 1341 1363
36781 603292 35564 1273 83932456 24817998 18459592 18463810 36199 1252 1819 1214
1 2 3 4 5 6 7 8 9 10 11 12
28430300 30077448 30038224 1446 71445104 42999712 51148432 22529094 9493496 1359 1328 1393
13794617 14379264 13881893 1413 39508564 96304448 14126751 24728216 36317700 1332 1318 1387
6744288 7094932 6928592 1354 95688320 76428648 49059800 48094648 36160 1222 1287 1321
2925761 2915998 3045367 1493 32551346 31719086 41270552 10989013 39968 1356 1289 1343
947668 1001425 1062615 1392 74139184 45174132 30848120 33109798 37014 1300 1325 1381
457934 464699 477831 58976 60427184 80043064 44272612 46312044 37627 1402 1298 1533
257299 198651 259960 1323 51090832 60357424 19415522 50004496 36382 1310 1341 1363
36781 603292 35564 1273 83932456 24817998 18459592 18463810 36199 1252 1819 1214
~End
Plate: Plate2 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
23.5 9786487 17728282 39350544 21946018 39507 44431776 28711924 23054648 16643258 13172116 44889388 21055778
70326424 49472960 28977746 32355700 55679352 21939988 64102596 16231377 25626496 15288430 45084228 17614580
66577400 40325920 53679896 83247920 41037276 31095380 28255664 33810052 21172888 13996819 24001326 37346808
86245488 88460584 83140976 19713278 27917890 26577048 22345382 22667752 31062950 31638652 60521724 20723070
83192272 102503064 76851144 24889824 29907536 18966542 33711528 68722896 13592107 31044948 21139560 40515440
87681136 65419220 49470888 66563436 59635096 14682095 18576624 31041198 9789634 12809718 30166256 22896506
74985592 20946746 68601936 34066016 35616980 17802616 14784237 22849296 43842820 17806396 36794736 17862480
51751328 84256872 20162518 58809100 29193520 12733768 7261987 18952280 6618747 50742888 60459528 20524418
1 2 3 4 5 6 7 8 9 10 11 12
9786487 17728282 39350544 21946018 39507 44431776 28711924 23054648 16643258 13172116 44889388 21055778
70326424 49472960 28977746 32355700 55679352 21939988 64102596 16231377 25626496 15288430 45084228 17614580
66577400 40325920 53679896 83247920 41037276 31095380 28255664 33810052 21172888 13996819 24001326 37346808
86245488 88460584 83140976 19713278 27917890 26577048 22345382 22667752 31062950 31638652 60521724 20723070
83192272 102503064 76851144 24889824 29907536 18966542 33711528 68722896 13592107 31044948 21139560 40515440
87681136 65419220 49470888 66563436 59635096 14682095 18576624 31041198 9789634 12809718 30166256 22896506
74985592 20946746 68601936 34066016 35616980 17802616 14784237 22849296 43842820 17806396 36794736 17862480
51751328 84256872 20162518 58809100 29193520 12733768 7261987 18952280 6618747 50742888 60459528 20524418
~End
Group: Standards
Sample Conc BackCalcConc Wells Value MeanValue SD CV
01 100.000 97.239 A1 28430300.000 29515324.000 939862.991 3.2
102.786 A2 30077448.000
102.654 A3 30038224.000
02 50.000 47.956 B1 13794617.000 14018591.333 315385.248 2.2
49.925 B2 14379264.000
48.250 B3 13881893.000
03 25.000 24.216 C1 6744288.000 6922604.000 175398.677 2.5
25.396 C2 7094932.000
24.836 C3 6928592.000
04 12.500 11.358 D1 2925761.000 2962375.333 72038.473 2.4
11.325 D2 2915998.000
11.760 D3 3045367.000
05 6.250 4.697 E1 947668.000 1003902.667 57513.540 5.7
4.878 E2 1001425.000
5.084 E3 1062615.000
06 3.125 3.048 F1 457934.000 466821.333 10116.861 2.2
3.070 F2 464699.000
3.115 F3 477831.000
07 1.563 2.372 G1 257299.000 238636.667 34654.154 14.5
2.175 G2 198651.000
2.381 G3 259960.000
08 0.000 1.629 H1 36781.000 225212.333 327427.161 145.4
3.537 H2 603292.000
1.625 H3 35564.000
Group Summaries
MinStd Smallest standard value: 225212.333 Min(MeanValue)
MaxStd Largest standard value: 29515324.000 Max(MeanValue)
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 A1 9786487.000 34.460 34.460 0.000 0.0
02 B1 70326424.000 R 238.317 238.317 0.000 0.0
03 C1 66577400.000 R 225.693 225.693 0.000 0.0
04 D1 86245488.000 R 291.922 291.922 0.000 0.0
05 E1 83192272.000 R 281.640 281.640 0.000 0.0
06 F1 87681136.000 R 296.756 296.756 0.000 0.0
07 G1 74985592.000 R 254.006 254.006 0.000 0.0
08 H1 51751328.000 R 175.769 175.769 0.000 0.0
09 A2 17728282.000 61.202 61.202 0.000 0.0
097 A5 71445104.000 R 242.084 242.084 0.000 0.0
098 B5 39508564.000 R 134.543 134.543 0.000 0.0
099 C5 95688320.000 R 323.719 323.719 0.000 0.0
10 B2 49472960.000 R 168.097 168.097 0.000 0.0
100 D5 32551346.000 R 111.116 111.116 0.000 0.0
101 E5 74139184.000 R 251.156 251.156 0.000 0.0
102 F5 60427184.000 R 204.983 204.983 0.000 0.0
103 G5 51090832.000 R 173.545 173.545 0.000 0.0
104 H5 83932456.000 R 284.133 284.133 0.000 0.0
105 A6 42999712.000 R 146.299 146.299 0.000 0.0
106 B6 96304448.000 R 325.793 325.793 0.000 0.0
107 C6 76428648.000 R 258.865 258.865 0.000 0.0
108 D6 31719086.000 R 108.314 108.314 0.000 0.0
109 E6 45174132.000 R 153.621 153.621 0.000 0.0
11 C2 40325920.000 R 137.296 137.296 0.000 0.0
110 F6 80043064.000 R 271.036 271.036 0.000 0.0
111 G6 60357424.000 R 204.748 204.748 0.000 0.0
112 H6 24817998.000 85.076 85.076 0.000 0.0
113 A7 51148432.000 R 173.739 173.739 0.000 0.0
114 B7 14126751.000 49.075 49.075 0.000 0.0
115 C7 49059800.000 R 166.706 166.706 0.000 0.0
116 D7 41270552.000 R 140.477 140.477 0.000 0.0
117 E7 30848120.000 R 105.381 105.381 0.000 0.0
118 F7 44272612.000 R 150.586 150.586 0.000 0.0
119 G7 19415522.000 66.884 66.884 0.000 0.0
12 D2 88460584.000 R 299.381 299.381 0.000 0.0
120 H7 18459592.000 63.665 63.665 0.000 0.0
121 A8 22529094.000 77.368 77.368 0.000 0.0
122 B8 24728216.000 84.773 84.773 0.000 0.0
123 C8 48094648.000 R 163.456 163.456 0.000 0.0
124 D8 10989013.000 38.509 38.509 0.000 0.0
125 E8 33109798.000 R 112.997 112.997 0.000 0.0
126 F8 46312044.000 R 157.453 157.453 0.000 0.0
127 G8 50004496.000 R 169.887 169.887 0.000 0.0
128 H8 18463810.000 63.679 63.679 0.000 0.0
129 A9 9493496.000 33.473 33.473 0.000 0.0
13 E2 102503064.000 R 346.666 346.666 0.000 0.0
130 B9 36317700.000 R 123.799 123.799 0.000 0.0
131 C9 36160.000 R 1.627 1.627 0.000 0.0
132 D9 39968.000 R 1.640 1.640 0.000 0.0
133 E9 37014.000 R 1.630 1.630 0.000 0.0
134 F9 37627.000 R 1.632 1.632 0.000 0.0
135 G9 36382.000 R 1.628 1.628 0.000 0.0
136 H9 36199.000 R 1.627 1.627 0.000 0.0
14 F2 65419220.000 R 221.793 221.793 0.000 0.0
15 G2 20946746.000 72.040 72.040 0.000 0.0
16 H2 84256872.000 R 285.225 285.225 0.000 0.0
17 A3 39350544.000 R 134.011 134.011 0.000 0.0
18 B3 28977746.000 99.083 99.083 0.000 0.0
19 C3 53679896.000 R 182.263 182.263 0.000 0.0
20 D3 83140976.000 R 281.468 281.468 0.000 0.0
21 E3 76851144.000 R 260.288 260.288 0.000 0.0
22 F3 49470888.000 R 168.090 168.090 0.000 0.0
23 G3 68601936.000 R 232.510 232.510 0.000 0.0
24 H3 20162518.000 69.399 69.399 0.000 0.0
25 A4 21946018.000 75.405 75.405 0.000 0.0
26 B4 32355700.000 R 110.458 110.458 0.000 0.0
27 C4 83247920.000 R 281.828 281.828 0.000 0.0
28 D4 19713278.000 67.886 67.886 0.000 0.0
29 E4 24889824.000 85.318 85.318 0.000 0.0
30 F4 66563436.000 R 225.646 225.646 0.000 0.0
31 G4 34066016.000 R 116.217 116.217 0.000 0.0
32 H4 58809100.000 R 199.535 199.535 0.000 0.0
33 A5 39507.000 R 1.639 1.639 0.000 0.0
34 B5 55679352.000 R 188.996 188.996 0.000 0.0
35 C5 41037276.000 R 139.691 139.691 0.000 0.0
36 D5 27917890.000 95.514 95.514 0.000 0.0
37 E5 29907536.000 R 102.214 102.214 0.000 0.0
38 F5 59635096.000 R 202.316 202.316 0.000 0.0
39 G5 35616980.000 R 121.439 121.439 0.000 0.0
40 H5 29193520.000 99.809 99.809 0.000 0.0
41 A6 44431776.000 R 151.122 151.122 0.000 0.0
42 B6 21939988.000 75.385 75.385 0.000 0.0
43 C6 31095380.000 R 106.214 106.214 0.000 0.0
44 D6 26577048.000 90.999 90.999 0.000 0.0
45 E6 18966542.000 65.372 65.372 0.000 0.0
46 F6 14682095.000 50.945 50.945 0.000 0.0
47 G6 17802616.000 61.453 61.453 0.000 0.0
48 H6 12733768.000 44.384 44.384 0.000 0.0
49 A7 28711924.000 98.188 98.188 0.000 0.0
50 B7 64102596.000 R 217.359 217.359 0.000 0.0
51 C7 28255664.000 96.651 96.651 0.000 0.0
52 D7 22345382.000 76.750 76.750 0.000 0.0
53 E7 33711528.000 R 115.023 115.023 0.000 0.0
54 F7 18576624.000 64.059 64.059 0.000 0.0
55 G7 14784237.000 51.289 51.289 0.000 0.0
56 H7 7261987.000 25.959 25.959 0.000 0.0
57 A8 23054648.000 79.138 79.138 0.000 0.0
58 B8 16231377.000 56.162 56.162 0.000 0.0
59 C8 33810052.000 R 115.355 115.355 0.000 0.0
60 D8 22667752.000 77.835 77.835 0.000 0.0
61 E8 68722896.000 R 232.917 232.917 0.000 0.0
62 F8 31041198.000 R 106.031 106.031 0.000 0.0
63 G8 22849296.000 78.446 78.446 0.000 0.0
64 H8 18952280.000 65.324 65.324 0.000 0.0
65 A9 16643258.000 57.549 57.549 0.000 0.0
66 B9 25626496.000 87.798 87.798 0.000 0.0
67 C9 21172888.000 72.801 72.801 0.000 0.0
68 D9 31062950.000 R 106.104 106.104 0.000 0.0
69 E9 13592107.000 47.275 47.275 0.000 0.0
70 F9 9789634.000 34.470 34.470 0.000 0.0
71 G9 43842820.000 R 149.138 149.138 0.000 0.0
72 H9 6618747.000 23.793 23.793 0.000 0.0
73 A10 13172116.000 45.860 45.860 0.000 0.0
74 B10 15288430.000 52.987 52.987 0.000 0.0
75 C10 13996819.000 48.637 48.637 0.000 0.0
76 D10 31638652.000 R 108.043 108.043 0.000 0.0
77 E10 31044948.000 R 106.044 106.044 0.000 0.0
78 F10 12809718.000 44.640 44.640 0.000 0.0
79 G10 17806396.000 61.465 61.465 0.000 0.0
80 H10 50742888.000 R 172.373 172.373 0.000 0.0
81 A11 44889388.000 R 152.662 152.662 0.000 0.0
82 B11 45084228.000 R 153.319 153.319 0.000 0.0
83 C11 24001326.000 82.326 82.326 0.000 0.0
84 D11 60521724.000 R 205.301 205.301 0.000 0.0
85 E11 21139560.000 72.689 72.689 0.000 0.0
86 F11 30166256.000 R 103.085 103.085 0.000 0.0
87 G11 36794736.000 R 125.405 125.405 0.000 0.0
88 H11 60459528.000 R 205.092 205.092 0.000 0.0
89 A12 21055778.000 72.407 72.407 0.000 0.0
90 B12 17614580.000 60.819 60.819 0.000 0.0
91 C12 37346808.000 R 127.264 127.264 0.000 0.0
92 D12 20723070.000 71.287 71.287 0.000 0.0
93 E12 40515440.000 R 137.934 137.934 0.000 0.0
94 F12 22896506.000 78.605 78.605 0.000 0.0
95 G12 17862480.000 61.654 61.654 0.000 0.0
96 H12 20524418.000 70.618 70.618 0.000 0.0
Group Summaries
InRange R - Outside standard range
~End
Original Filename: 2016_03_16_P22_UK_Samples; Date Last Saved: 3/16/2016 11:03:55 AM