## input
ÿþ##BLOCKS= 8
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
23 32041974 32648608 32139802 1413 1456 1456 1583 1380 1395 1443 1469 1330
15404189 15607705 15399102 1493 1519 1519 1407 1488 1549 1350 1246 1425
8360812 7417068 7681053 1577 1531 1554 1369 1476 1544 1429 1446 1457
3413604 3476517 3550099 1486 1352 1484 1358 1427 1419 1439 1445 1423
1164164 1168427 1161397 1536 1619 1472 1369 1369 1517 1403 1451 1394
409506 407743 412395 1425 1300 1426 1492 1515 1567 1384 1419 1388
833160 278507 278890 1534 1514 1477 1479 1359 1448 1393 1347 1447
33857 34150 33838 1478 1285 1379 1528 1459 1386 1432 1295 1310
1 2 3 4 5 6 7 8 9 10 11 12
32041974 32648608 32139802 1413 1456 1456 1583 1380 1395 1443 1469 1330
15404189 15607705 15399102 1493 1519 1519 1407 1488 1549 1350 1246 1425
8360812 7417068 7681053 1577 1531 1554 1369 1476 1544 1429 1446 1457
3413604 3476517 3550099 1486 1352 1484 1358 1427 1419 1439 1445 1423
1164164 1168427 1161397 1536 1619 1472 1369 1369 1517 1403 1451 1394
409506 407743 412395 1425 1300 1426 1492 1515 1567 1384 1419 1388
833160 278507 278890 1534 1514 1477 1479 1359 1448 1393 1347 1447
33857 34150 33838 1478 1285 1379 1528 1459 1386 1432 1295 1310
~End
Plate: Plate2 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
23 8244599 26053948 8766623 8596607 10408346 17403520 32381652 22550062 43183012 17069578 23869358 26690430
7542170 8279845 26273220 10629770 7691203 40667820 53293000 22749952 30115346 26780580 23384786 33279904
6812792 11270046 10381952 14002914 10463609 28558320 65087732 31405246 15129484 15597332 56839432 36604304
29750176 7327489 5753142 16344137 15005032 32778004 40808296 25217778 20733182 22748442 14614485 25328140
7452630 19746854 9369931 30556944 11011666 33766980 30988944 27891492 30182694 13866506 19614594 10875990
55053740 19902898 17687576 8836764 7606064 50309116 34957168 8727910 13028967 29711012 25443316 9420103
15604512 14079075 18475326 15513339 26665264 40019756 39951208 16355066 19101730 33439 31221784 30246586
23077710 35832 14757160 19545576 44272612 46148108 35714580 47861648 37278052 20428496 25160088 10167192
1 2 3 4 5 6 7 8 9 10 11 12
8244599 26053948 8766623 8596607 10408346 17403520 32381652 22550062 43183012 17069578 23869358 26690430
7542170 8279845 26273220 10629770 7691203 40667820 53293000 22749952 30115346 26780580 23384786 33279904
6812792 11270046 10381952 14002914 10463609 28558320 65087732 31405246 15129484 15597332 56839432 36604304
29750176 7327489 5753142 16344137 15005032 32778004 40808296 25217778 20733182 22748442 14614485 25328140
7452630 19746854 9369931 30556944 11011666 33766980 30988944 27891492 30182694 13866506 19614594 10875990
55053740 19902898 17687576 8836764 7606064 50309116 34957168 8727910 13028967 29711012 25443316 9420103
15604512 14079075 18475326 15513339 26665264 40019756 39951208 16355066 19101730 33439 31221784 30246586
23077710 35832 14757160 19545576 44272612 46148108 35714580 47861648 37278052 20428496 25160088 10167192
~End
Plate: Plate3 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
23.5 11512195 27406186 10985631 9630276 19856282 47194576 8852635 21350772 15324340 21506616 20432346 27798428
19640410 22483488 18964220 21180076 36264444 18804140 27739280 126001 20328888 17921978 56158196 22475102
20247690 37445880 21118986 57384308 29160610 34427320 15504873 8333079 20573204 21081652 12637966 28165726
13611597 30001924 227483 11325226 20876030 45349116 9343014 55885468 15662009 14948270 15891469 48783452
42915128 12319906 14417807 13100629 38505116 18201684 22943674 26740390 16954734 21488836 16597739 25797882
39595664 23469194 10277463 19629012 12698282 7183749 16088907 12819558 19651218 31007316 15720231 28581618
32411834 10535871 33303928 35335184 9398511 15869246 9230351 26361208 23165100 45824924 28781396 13553876
26342040 15730069 33811884 41382276 31536884 11498080 13076632 17764410 12726212 25320718 49777820 16449373
1 2 3 4 5 6 7 8 9 10 11 12
11512195 27406186 10985631 9630276 19856282 47194576 8852635 21350772 15324340 21506616 20432346 27798428
19640410 22483488 18964220 21180076 36264444 18804140 27739280 126001 20328888 17921978 56158196 22475102
20247690 37445880 21118986 57384308 29160610 34427320 15504873 8333079 20573204 21081652 12637966 28165726
13611597 30001924 227483 11325226 20876030 45349116 9343014 55885468 15662009 14948270 15891469 48783452
42915128 12319906 14417807 13100629 38505116 18201684 22943674 26740390 16954734 21488836 16597739 25797882
39595664 23469194 10277463 19629012 12698282 7183749 16088907 12819558 19651218 31007316 15720231 28581618
32411834 10535871 33303928 35335184 9398511 15869246 9230351 26361208 23165100 45824924 28781396 13553876
26342040 15730069 33811884 41382276 31536884 11498080 13076632 17764410 12726212 25320718 49777820 16449373
~End
Plate: Plate4 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
23.5 4945346 31063172 57105312 24157104 75644976 7797934 23136976 33736 26258782 21526404 18518284 21667974
16151602 11679828 68180544 13387292 58128712 5490787 21887654 21066922 18266444 13355417 26752298 46105832
30404514 28700000 43332108 68178560 14894335 14823624 6544424 39055024 22302210 18172384 19689704 14033802
25302540 22512494 16145184 68676904 62914304 19476192 13559885 14763823 29751336 19209998 16193149 21664330
8569050 48044984 69818152 45479412 65393808 17110784 31542566 28708374 62160480 8568594 12249009 16524209
5657230 18265856 46622732 42467480 60631388 7357109 28075616 15462546 13312711 11054798 37273332 14233386
4087608 9251931 37005728 29200208 48342316 7493237 20808978 10008183 10983960 25105604 45200816 13272544
16446344 28703450 70017176 45067804 15527024 9587271 6288472 42282456 23260724 11479745 28520514 18478088
1 2 3 4 5 6 7 8 9 10 11 12
4945346 31063172 57105312 24157104 75644976 7797934 23136976 33736 26258782 21526404 18518284 21667974
16151602 11679828 68180544 13387292 58128712 5490787 21887654 21066922 18266444 13355417 26752298 46105832
30404514 28700000 43332108 68178560 14894335 14823624 6544424 39055024 22302210 18172384 19689704 14033802
25302540 22512494 16145184 68676904 62914304 19476192 13559885 14763823 29751336 19209998 16193149 21664330
8569050 48044984 69818152 45479412 65393808 17110784 31542566 28708374 62160480 8568594 12249009 16524209
5657230 18265856 46622732 42467480 60631388 7357109 28075616 15462546 13312711 11054798 37273332 14233386
4087608 9251931 37005728 29200208 48342316 7493237 20808978 10008183 10983960 25105604 45200816 13272544
16446344 28703450 70017176 45067804 15527024 9587271 6288472 42282456 23260724 11479745 28520514 18478088
~End
Plate: Plate5 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
23.5 23799568 30906176 36633764 56234572 78370984 73465568 67467240 48039276 17860344 42468016 16933650 69910960
46854348 31527 29298354 42386248 65089048 71817400 72446016 64101036 15357045 72533104 30303486 69491688
18446422 15666572 36626396 20583570 51622680 28263920 47137104 32497620 25939298 73240600 17981708 71153840
28193132 27017256 68051064 38557372 34135076 18403082 34357196 56583196 38189608 63057060 26371052 39583048
25192334 23248416 49398268 62024512 24812330 69210912 61385472 31260380 29592812 77077424 70946088 23406106
27364366 38823584 64469240 59412172 40656228 51300272 43323420 26141012 26757370 35799 51042208 61146060
23477790 56548272 37113144 28496050 19682290 57583576 58216288 17268146 12275405 67413952 67127384 60457032
25924440 16801600 48688844 54750032 69092536 39661548 43535068 53332924 29595074 17477168 58996036 34919
1 2 3 4 5 6 7 8 9 10 11 12
23799568 30906176 36633764 56234572 78370984 73465568 67467240 48039276 17860344 42468016 16933650 69910960
46854348 31527 29298354 42386248 65089048 71817400 72446016 64101036 15357045 72533104 30303486 69491688
18446422 15666572 36626396 20583570 51622680 28263920 47137104 32497620 25939298 73240600 17981708 71153840
28193132 27017256 68051064 38557372 34135076 18403082 34357196 56583196 38189608 63057060 26371052 39583048
25192334 23248416 49398268 62024512 24812330 69210912 61385472 31260380 29592812 77077424 70946088 23406106
27364366 38823584 64469240 59412172 40656228 51300272 43323420 26141012 26757370 35799 51042208 61146060
23477790 56548272 37113144 28496050 19682290 57583576 58216288 17268146 12275405 67413952 67127384 60457032
25924440 16801600 48688844 54750032 69092536 39661548 43535068 53332924 29595074 17477168 58996036 34919
~End
Group: Standards
Sample Conc BackCalcConc Wells Value MeanValue SD CV
01 100.000 99.886 A1 32041974.000 32276794.667 325693.791 1.0
101.752 A2 32648608.000
100.187 A3 32139802.000
02 50.000 48.694 B1 15404189.000 15470332.000 118995.694 0.8
49.320 B2 15607705.000
48.679 B3 15399102.000
03 25.000 27.023 C1 8360812.000 7819644.333 486897.168 6.2
24.119 C2 7417068.000
24.931 C3 7681053.000
04 12.500 11.801 D1 3413604.000 3480073.333 68316.959 2.0
11.995 D2 3476517.000
12.221 D3 3550099.000
05 6.250 4.880 E1 1164164.000 1164662.667 3541.430 0.3
4.893 E2 1168427.000
4.872 E3 1161397.000
06 3.125 2.558 F1 409506.000 409881.333 2348.602 0.6
2.553 F2 407743.000
2.567 F3 412395.000
07 1.563 3.862 G1 833160.000 463519.000 320118.554 69.1
2.155 G2 278507.000
2.156 G3 278890.000
08 0.000 1.402 H1 33857.000 33948.333 174.907 0.5
1.403 H2 34150.000
1.402 H3 33838.000
Group Summaries
MinStd Smallest standard value: 33948.333 Min(MeanValue)
MaxStd Largest standard value: 32276794.667 Max(MeanValue)
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 A1 8244599.000 26.665 26.665 0.000 0.0
02 B1 7542170.000 24.504 24.504 0.000 0.0
03 C1 6812792.000 22.260 22.260 0.000 0.0
04 D1 29750176.000 92.834 92.834 0.000 0.0
05 E1 7452630.000 24.229 24.229 0.000 0.0
06 F1 55053740.000 R 170.689 170.689 0.000 0.0
07 G1 15604512.000 49.311 49.311 0.000 0.0
08 H1 23077710.000 72.304 72.304 0.000 0.0
09 A2 26053948.000 81.462 81.462 0.000 0.0
097 A1 11512195.000 36.719 36.719 0.000 0.0
098 B1 19640410.000 61.728 61.728 0.000 0.0
099 C1 20247690.000 63.597 63.597 0.000 0.0
10 B2 8279845.000 26.774 26.774 0.000 0.0
100 D1 13611597.000 43.179 43.179 0.000 0.0
101 E1 42915128.000 R 133.341 133.341 0.000 0.0
102 F1 39595664.000 R 123.127 123.127 0.000 0.0
103 G1 32411834.000 R 101.024 101.024 0.000 0.0
104 H1 26342040.000 82.348 82.348 0.000 0.0
105 A2 27406186.000 85.622 85.622 0.000 0.0
106 B2 22483488.000 70.476 70.476 0.000 0.0
107 C2 37445880.000 R 116.513 116.513 0.000 0.0
108 D2 30001924.000 93.609 93.609 0.000 0.0
109 E2 12319906.000 39.204 39.204 0.000 0.0
11 C2 11270046.000 35.974 35.974 0.000 0.0
110 F2 23469194.000 73.509 73.509 0.000 0.0
111 G2 10535871.000 33.715 33.715 0.000 0.0
112 H2 15730069.000 49.697 49.697 0.000 0.0
113 A3 10985631.000 35.099 35.099 0.000 0.0
114 B3 18964220.000 59.648 59.648 0.000 0.0
115 C3 21118986.000 66.278 66.278 0.000 0.0
116 D3 227483.000 1.998 1.998 0.000 0.0
117 E3 14417807.000 45.659 45.659 0.000 0.0
118 F3 10277463.000 32.920 32.920 0.000 0.0
119 G3 33303928.000 R 103.769 103.769 0.000 0.0
12 D2 7327489.000 23.844 23.844 0.000 0.0
120 H3 33811884.000 R 105.332 105.332 0.000 0.0
121 A4 9630276.000 30.929 30.929 0.000 0.0
122 B4 21180076.000 66.466 66.466 0.000 0.0
123 C4 57384308.000 R 177.860 177.860 0.000 0.0
124 D4 11325226.000 36.144 36.144 0.000 0.0
125 E4 13100629.000 41.607 41.607 0.000 0.0
126 F4 19629012.000 61.693 61.693 0.000 0.0
127 G4 35335184.000 R 110.019 110.019 0.000 0.0
128 H4 41382276.000 R 128.625 128.625 0.000 0.0
129 A5 19856282.000 62.393 62.393 0.000 0.0
13 E2 19746854.000 62.056 62.056 0.000 0.0
130 B5 36264444.000 R 112.878 112.878 0.000 0.0
131 C5 29160610.000 91.021 91.021 0.000 0.0
132 D5 20876030.000 65.530 65.530 0.000 0.0
133 E5 38505116.000 R 119.772 119.772 0.000 0.0
134 F5 12698282.000 40.369 40.369 0.000 0.0
135 G5 9398511.000 30.216 30.216 0.000 0.0
136 H5 31536884.000 98.332 98.332 0.000 0.0
137 A6 47194576.000 R 146.508 146.508 0.000 0.0
138 B6 18804140.000 59.155 59.155 0.000 0.0
139 C6 34427320.000 R 107.225 107.225 0.000 0.0
14 F2 19902898.000 62.536 62.536 0.000 0.0
140 D6 45349116.000 R 140.830 140.830 0.000 0.0
141 E6 18201684.000 57.302 57.302 0.000 0.0
142 F6 7183749.000 23.401 23.401 0.000 0.0
143 G6 15869246.000 50.125 50.125 0.000 0.0
144 H6 11498080.000 36.676 36.676 0.000 0.0
145 A7 8852635.000 28.536 28.536 0.000 0.0
146 B7 27739280.000 86.647 86.647 0.000 0.0
147 C7 15504873.000 49.004 49.004 0.000 0.0
148 D7 9343014.000 30.045 30.045 0.000 0.0
149 E7 22943674.000 71.892 71.892 0.000 0.0
15 G2 14079075.000 44.617 44.617 0.000 0.0
150 F7 16088907.000 50.801 50.801 0.000 0.0
151 G7 9230351.000 29.698 29.698 0.000 0.0
152 H7 13076632.000 41.533 41.533 0.000 0.0
153 A8 21350772.000 66.991 66.991 0.000 0.0
154 B8 126001.000 1.686 1.686 0.000 0.0
155 C8 8333079.000 26.938 26.938 0.000 0.0
156 D8 55885468.000 R 173.248 173.248 0.000 0.0
157 E8 26740390.000 83.574 83.574 0.000 0.0
158 F8 12819558.000 40.742 40.742 0.000 0.0
159 G8 26361208.000 82.407 82.407 0.000 0.0
16 H2 35832.000 1.408 1.408 0.000 0.0
160 H8 17764410.000 55.956 55.956 0.000 0.0
161 A9 15324340.000 48.449 48.449 0.000 0.0
162 B9 20328888.000 63.847 63.847 0.000 0.0
163 C9 20573204.000 64.598 64.598 0.000 0.0
164 D9 15662009.000 49.488 49.488 0.000 0.0
165 E9 16954734.000 53.465 53.465 0.000 0.0
166 F9 19651218.000 61.762 61.762 0.000 0.0
167 G9 23165100.000 72.573 72.573 0.000 0.0
168 H9 12726212.000 40.455 40.455 0.000 0.0
169 A10 21506616.000 67.470 67.470 0.000 0.0
17 A3 8766623.000 28.272 28.272 0.000 0.0
170 B10 17921978.000 56.441 56.441 0.000 0.0
171 C10 21081652.000 66.163 66.163 0.000 0.0
172 D10 14948270.000 47.291 47.291 0.000 0.0
173 E10 21488836.000 67.416 67.416 0.000 0.0
174 F10 31007316.000 96.703 96.703 0.000 0.0
175 G10 45824924.000 R 142.294 142.294 0.000 0.0
176 H10 25320718.000 79.206 79.206 0.000 0.0
177 A11 20432346.000 64.165 64.165 0.000 0.0
178 B11 56158196.000 R 174.088 174.088 0.000 0.0
179 C11 12637966.000 40.183 40.183 0.000 0.0
18 B3 26273220.000 82.136 82.136 0.000 0.0
180 D11 15891469.000 50.194 50.194 0.000 0.0
181 E11 16597739.000 52.367 52.367 0.000 0.0
182 F11 15720231.000 49.667 49.667 0.000 0.0
183 G11 28781396.000 89.854 89.854 0.000 0.0
184 H11 49777820.000 R 154.456 154.456 0.000 0.0
185 A12 27798428.000 86.829 86.829 0.000 0.0
186 B12 22475102.000 70.450 70.450 0.000 0.0
187 C12 28165726.000 87.959 87.959 0.000 0.0
188 D12 48783452.000 R 151.397 151.397 0.000 0.0
189 E12 25797882.000 80.674 80.674 0.000 0.0
19 C3 10381952.000 33.242 33.242 0.000 0.0
190 F12 28581618.000 89.239 89.239 0.000 0.0
191 G12 13553876.000 43.001 43.001 0.000 0.0
192 H12 16449373.000 51.910 51.910 0.000 0.0
193 A1 4945346.000 16.514 16.514 0.000 0.0
194 B1 16151602.000 50.994 50.994 0.000 0.0
195 C1 30404514.000 94.848 94.848 0.000 0.0
196 D1 25302540.000 79.150 79.150 0.000 0.0
197 E1 8569050.000 27.664 27.664 0.000 0.0
198 F1 5657230.000 18.704 18.704 0.000 0.0
199 G1 4087608.000 13.875 13.875 0.000 0.0
20 D3 5753142.000 19.000 19.000 0.000 0.0
200 H1 16446344.000 51.901 51.901 0.000 0.0
201 A2 31063172.000 96.874 96.874 0.000 0.0
202 B2 11679828.000 37.235 37.235 0.000 0.0
203 C2 28700000.000 89.603 89.603 0.000 0.0
204 D2 22512494.000 70.565 70.565 0.000 0.0
205 E2 48044984.000 R 149.125 149.125 0.000 0.0
206 F2 18265856.000 57.499 57.499 0.000 0.0
207 G2 9251931.000 29.765 29.765 0.000 0.0
208 H2 28703450.000 89.614 89.614 0.000 0.0
209 A3 57105312.000 R 177.002 177.002 0.000 0.0
21 E3 9369931.000 30.128 30.128 0.000 0.0
210 B3 68180544.000 R 211.078 211.078 0.000 0.0
211 C3 43332108.000 R 134.624 134.624 0.000 0.0
212 D3 16145184.000 50.974 50.974 0.000 0.0
213 E3 69818152.000 R 216.117 216.117 0.000 0.0
214 F3 46622732.000 R 144.749 144.749 0.000 0.0
215 G3 37005728.000 R 115.159 115.159 0.000 0.0
216 H3 70017176.000 R 216.729 216.729 0.000 0.0
217 A4 24157104.000 75.626 75.626 0.000 0.0
218 B4 13387292.000 42.489 42.489 0.000 0.0
219 C4 68178560.000 R 211.072 211.072 0.000 0.0
22 F3 17687576.000 55.720 55.720 0.000 0.0
220 D4 68676904.000 R 212.606 212.606 0.000 0.0
221 E4 45479412.000 R 141.231 141.231 0.000 0.0
222 F4 42467480.000 R 131.964 131.964 0.000 0.0
223 G4 29200208.000 91.142 91.142 0.000 0.0
224 H4 45067804.000 R 139.964 139.964 0.000 0.0
225 A5 75644976.000 R 234.045 234.045 0.000 0.0
226 B5 58128712.000 R 180.151 180.151 0.000 0.0
227 C5 14894335.000 47.126 47.126 0.000 0.0
228 D5 62914304.000 R 194.875 194.875 0.000 0.0
229 E5 65393808.000 R 202.504 202.504 0.000 0.0
23 G3 18475326.000 58.144 58.144 0.000 0.0
230 F5 60631388.000 R 187.851 187.851 0.000 0.0
231 G5 48342316.000 R 150.039 150.039 0.000 0.0
232 H5 15527024.000 49.072 49.072 0.000 0.0
233 A6 7797934.000 25.291 25.291 0.000 0.0
234 B6 5490787.000 18.192 18.192 0.000 0.0
235 C6 14823624.000 46.908 46.908 0.000 0.0
236 D6 19476192.000 61.223 61.223 0.000 0.0
237 E6 17110784.000 53.945 53.945 0.000 0.0
238 F6 7357109.000 23.935 23.935 0.000 0.0
239 G6 7493237.000 24.354 24.354 0.000 0.0
24 H3 14757160.000 46.703 46.703 0.000 0.0
240 H6 9587271.000 30.797 30.797 0.000 0.0
241 A7 23136976.000 72.487 72.487 0.000 0.0
242 B7 21887654.000 68.643 68.643 0.000 0.0
243 C7 6544424.000 21.434 21.434 0.000 0.0
244 D7 13559885.000 43.020 43.020 0.000 0.0
245 E7 31542566.000 98.349 98.349 0.000 0.0
246 F7 28075616.000 87.682 87.682 0.000 0.0
247 G7 20808978.000 65.324 65.324 0.000 0.0
248 H7 6288472.000 20.647 20.647 0.000 0.0
249 A8 33736.000 R 1.402 1.402 0.000 0.0
25 A4 8596607.000 27.748 27.748 0.000 0.0
250 B8 21066922.000 66.118 66.118 0.000 0.0
251 C8 39055024.000 R 121.464 121.464 0.000 0.0
252 D8 14763823.000 46.724 46.724 0.000 0.0
253 E8 28708374.000 89.629 89.629 0.000 0.0
254 F8 15462546.000 48.874 48.874 0.000 0.0
255 G8 10008183.000 32.092 32.092 0.000 0.0
256 H8 42282456.000 R 131.394 131.394 0.000 0.0
257 A9 26258782.000 82.092 82.092 0.000 0.0
258 B9 18266444.000 57.501 57.501 0.000 0.0
259 C9 22302210.000 69.918 69.918 0.000 0.0
26 B4 10629770.000 34.004 34.004 0.000 0.0
260 D9 29751336.000 92.838 92.838 0.000 0.0
261 E9 62160480.000 R 192.556 192.556 0.000 0.0
262 F9 13312711.000 42.259 42.259 0.000 0.0
263 G9 10983960.000 35.094 35.094 0.000 0.0
264 H9 23260724.000 72.868 72.868 0.000 0.0
265 A10 21526404.000 67.531 67.531 0.000 0.0
266 B10 13355417.000 42.391 42.391 0.000 0.0
267 C10 18172384.000 57.212 57.212 0.000 0.0
268 D10 19209998.000 60.404 60.404 0.000 0.0
269 E10 8568594.000 27.662 27.662 0.000 0.0
27 C4 14002914.000 44.383 44.383 0.000 0.0
270 F10 11054798.000 35.312 35.312 0.000 0.0
271 G10 25105604.000 78.544 78.544 0.000 0.0
272 H10 11479745.000 36.619 36.619 0.000 0.0
273 A11 18518284.000 58.276 58.276 0.000 0.0
274 B11 26752298.000 83.611 83.611 0.000 0.0
275 C11 19689704.000 61.880 61.880 0.000 0.0
276 D11 16193149.000 51.122 51.122 0.000 0.0
277 E11 12249009.000 38.986 38.986 0.000 0.0
278 F11 37273332.000 R 115.982 115.982 0.000 0.0
279 G11 45200816.000 R 140.374 140.374 0.000 0.0
28 D4 16344137.000 51.586 51.586 0.000 0.0
280 H11 28520514.000 89.051 89.051 0.000 0.0
281 A12 21667974.000 67.967 67.967 0.000 0.0
282 B12 46105832.000 R 143.158 143.158 0.000 0.0
283 C12 14033802.000 44.478 44.478 0.000 0.0
284 D12 21664330.000 67.956 67.956 0.000 0.0
285 E12 16524209.000 52.140 52.140 0.000 0.0
286 F12 14233386.000 45.092 45.092 0.000 0.0
287 G12 13272544.000 42.136 42.136 0.000 0.0
288 H12 18478088.000 58.152 58.152 0.000 0.0
289 A1 23799568.000 74.525 74.525 0.000 0.0
29 E4 30556944.000 95.317 95.317 0.000 0.0
290 B1 46854348.000 R 145.461 145.461 0.000 0.0
291 C1 18446422.000 58.055 58.055 0.000 0.0
292 D1 28193132.000 88.044 88.044 0.000 0.0
293 E1 25192334.000 78.811 78.811 0.000 0.0
294 F1 27364366.000 85.494 85.494 0.000 0.0
295 G1 23477790.000 73.535 73.535 0.000 0.0
296 H1 25924440.000 81.063 81.063 0.000 0.0
297 A2 30906176.000 96.391 96.391 0.000 0.0
298 B2 31527.000 R 1.395 1.395 0.000 0.0
299 C2 15666572.000 49.502 49.502 0.000 0.0
30 F4 8836764.000 28.487 28.487 0.000 0.0
300 D2 27017256.000 84.426 84.426 0.000 0.0
301 E2 23248416.000 72.830 72.830 0.000 0.0
302 F2 38823584.000 R 120.752 120.752 0.000 0.0
303 G2 56548272.000 R 175.288 175.288 0.000 0.0
304 H2 16801600.000 52.994 52.994 0.000 0.0
305 A3 36633764.000 R 114.014 114.014 0.000 0.0
306 B3 29298354.000 91.444 91.444 0.000 0.0
307 C3 36626396.000 R 113.991 113.991 0.000 0.0
308 D3 68051064.000 R 210.680 210.680 0.000 0.0
309 E3 49398268.000 R 153.288 153.288 0.000 0.0
31 G4 15513339.000 49.030 49.030 0.000 0.0
310 F3 64469240.000 R 199.659 199.659 0.000 0.0
311 G3 37113144.000 R 115.489 115.489 0.000 0.0
312 H3 48688844.000 R 151.106 151.106 0.000 0.0
313 A4 56234572.000 R 174.323 174.323 0.000 0.0
314 B4 42386248.000 R 131.714 131.714 0.000 0.0
315 C4 20583570.000 64.630 64.630 0.000 0.0
316 D4 38557372.000 R 119.933 119.933 0.000 0.0
317 E4 62024512.000 R 192.137 192.137 0.000 0.0
318 F4 59412172.000 R 184.100 184.100 0.000 0.0
319 G4 28496050.000 88.976 88.976 0.000 0.0
32 H4 19545576.000 61.437 61.437 0.000 0.0
320 H4 54750032.000 R 169.755 169.755 0.000 0.0
321 A5 78370984.000 R 242.433 242.433 0.000 0.0
322 B5 65089048.000 R 201.566 201.566 0.000 0.0
323 C5 51622680.000 R 160.133 160.133 0.000 0.0
324 D5 34135076.000 R 106.326 106.326 0.000 0.0
325 E5 24812330.000 77.642 77.642 0.000 0.0
326 F5 40656228.000 R 126.391 126.391 0.000 0.0
327 G5 19682290.000 61.857 61.857 0.000 0.0
328 H5 69092536.000 R 213.884 213.884 0.000 0.0
329 A6 73465568.000 R 227.340 227.340 0.000 0.0
33 A5 10408346.000 33.323 33.323 0.000 0.0
330 B6 71817400.000 R 222.268 222.268 0.000 0.0
331 C6 28263920.000 88.262 88.262 0.000 0.0
332 D6 18403082.000 57.921 57.921 0.000 0.0
333 E6 69210912.000 R 214.249 214.249 0.000 0.0
334 F6 51300272.000 R 159.141 159.141 0.000 0.0
335 G6 57583576.000 R 178.473 178.473 0.000 0.0
336 H6 39661548.000 R 123.330 123.330 0.000 0.0
337 A7 67467240.000 R 208.884 208.884 0.000 0.0
338 B7 72446016.000 R 224.203 224.203 0.000 0.0
339 C7 47137104.000 R 146.331 146.331 0.000 0.0
34 B5 7691203.000 24.963 24.963 0.000 0.0
340 D7 34357196.000 R 107.010 107.010 0.000 0.0
341 E7 61385472.000 R 190.171 190.171 0.000 0.0
342 F7 43323420.000 R 134.597 134.597 0.000 0.0
343 G7 58216288.000 R 180.420 180.420 0.000 0.0
344 H7 43535068.000 R 135.248 135.248 0.000 0.0
345 A8 48039276.000 R 149.107 149.107 0.000 0.0
346 B8 64101036.000 R 198.526 198.526 0.000 0.0
347 C8 32497620.000 R 101.288 101.288 0.000 0.0
348 D8 56583196.000 R 175.395 175.395 0.000 0.0
349 E8 31260380.000 97.481 97.481 0.000 0.0
35 C5 10463609.000 33.493 33.493 0.000 0.0
350 F8 26141012.000 81.730 81.730 0.000 0.0
351 G8 17268146.000 54.429 54.429 0.000 0.0
352 H8 53332924.000 R 165.395 165.395 0.000 0.0
353 A9 17860344.000 56.251 56.251 0.000 0.0
354 B9 15357045.000 48.549 48.549 0.000 0.0
355 C9 25939298.000 81.109 81.109 0.000 0.0
356 D9 38189608.000 R 118.801 118.801 0.000 0.0
357 E9 29592812.000 92.350 92.350 0.000 0.0
358 F9 26757370.000 83.626 83.626 0.000 0.0
359 G9 12275405.000 39.068 39.068 0.000 0.0
36 D5 15005032.000 47.466 47.466 0.000 0.0
360 H9 29595074.000 92.357 92.357 0.000 0.0
361 A10 42468016.000 R 131.965 131.965 0.000 0.0
362 B10 72533104.000 R 224.471 224.471 0.000 0.0
363 C10 73240600.000 R 226.647 226.647 0.000 0.0
364 D10 63057060.000 R 195.314 195.314 0.000 0.0
365 E10 77077424.000 R 238.453 238.453 0.000 0.0
366 F10 35799.000 1.408 1.408 0.000 0.0
367 G10 67413952.000 R 208.720 208.720 0.000 0.0
368 H10 17477168.000 55.072 55.072 0.000 0.0
369 A11 16933650.000 53.400 53.400 0.000 0.0
37 E5 11011666.000 35.179 35.179 0.000 0.0
370 B11 30303486.000 94.537 94.537 0.000 0.0
371 C11 17981708.000 56.625 56.625 0.000 0.0
372 D11 26371052.000 82.437 82.437 0.000 0.0
373 E11 70946088.000 R 219.588 219.588 0.000 0.0
374 F11 51042208.000 R 158.347 158.347 0.000 0.0
375 G11 67127384.000 R 207.838 207.838 0.000 0.0
376 H11 58996036.000 R 182.819 182.819 0.000 0.0
377 A12 69910960.000 R 216.403 216.403 0.000 0.0
378 B12 69491688.000 R 215.113 215.113 0.000 0.0
379 C12 71153840.000 R 220.227 220.227 0.000 0.0
38 F5 7606064.000 24.701 24.701 0.000 0.0
380 D12 39583048.000 R 123.089 123.089 0.000 0.0
381 E12 23406106.000 73.315 73.315 0.000 0.0
382 F12 61146060.000 R 189.434 189.434 0.000 0.0
383 G12 60457032.000 R 187.314 187.314 0.000 0.0
384 H12 34919.000 1.406 1.406 0.000 0.0
39 G5 26665264.000 83.343 83.343 0.000 0.0
40 H5 44272612.000 R 137.518 137.518 0.000 0.0
41 A6 17403520.000 54.846 54.846 0.000 0.0
42 B6 40667820.000 R 126.426 126.426 0.000 0.0
43 C6 28558320.000 89.167 89.167 0.000 0.0
44 D6 32778004.000 R 102.151 102.151 0.000 0.0
45 E6 33766980.000 R 105.194 105.194 0.000 0.0
46 F6 50309116.000 R 156.091 156.091 0.000 0.0
47 G6 40019756.000 R 124.432 124.432 0.000 0.0
48 H6 46148108.000 R 143.288 143.288 0.000 0.0
49 A7 32381652.000 R 100.931 100.931 0.000 0.0
50 B7 53293000.000 R 165.272 165.272 0.000 0.0
51 C7 65087732.000 R 201.562 201.562 0.000 0.0
52 D7 40808296.000 R 126.859 126.859 0.000 0.0
53 E7 30988944.000 96.646 96.646 0.000 0.0
54 F7 34957168.000 R 108.856 108.856 0.000 0.0
55 G7 39951208.000 R 124.221 124.221 0.000 0.0
56 H7 35714580.000 R 111.186 111.186 0.000 0.0
57 A8 22550062.000 70.681 70.681 0.000 0.0
58 B8 22749952.000 71.296 71.296 0.000 0.0
59 C8 31405246.000 97.927 97.927 0.000 0.0
60 D8 25217778.000 78.889 78.889 0.000 0.0
61 E8 27891492.000 87.116 87.116 0.000 0.0
62 F8 8727910.000 28.152 28.152 0.000 0.0
63 G8 16355066.000 51.620 51.620 0.000 0.0
64 H8 47861648.000 R 148.561 148.561 0.000 0.0
65 A9 43183012.000 R 134.165 134.165 0.000 0.0
66 B9 30115346.000 93.958 93.958 0.000 0.0
67 C9 15129484.000 47.849 47.849 0.000 0.0
68 D9 20733182.000 65.091 65.091 0.000 0.0
69 E9 30182694.000 94.165 94.165 0.000 0.0
70 F9 13028967.000 41.386 41.386 0.000 0.0
71 G9 19101730.000 60.071 60.071 0.000 0.0
72 H9 37278052.000 R 115.997 115.997 0.000 0.0
73 A10 17069578.000 53.818 53.818 0.000 0.0
74 B10 26780580.000 83.698 83.698 0.000 0.0
75 C10 15597332.000 49.289 49.289 0.000 0.0
76 D10 22748442.000 71.291 71.291 0.000 0.0
77 E10 13866506.000 43.963 43.963 0.000 0.0
78 F10 29711012.000 92.714 92.714 0.000 0.0
79 G10 33439.000 R 1.401 1.401 0.000 0.0
80 H10 20428496.000 64.153 64.153 0.000 0.0
81 A11 23869358.000 74.740 74.740 0.000 0.0
82 B11 23384786.000 73.249 73.249 0.000 0.0
83 C11 56839432.000 R 176.184 176.184 0.000 0.0
84 D11 14614485.000 46.264 46.264 0.000 0.0
85 E11 19614594.000 61.649 61.649 0.000 0.0
86 F11 25443316.000 79.583 79.583 0.000 0.0
87 G11 31221784.000 97.362 97.362 0.000 0.0
88 H11 25160088.000 78.712 78.712 0.000 0.0
89 A12 26690430.000 83.420 83.420 0.000 0.0
90 B12 33279904.000 R 103.695 103.695 0.000 0.0
91 C12 36604304.000 R 113.924 113.924 0.000 0.0
92 D12 25328140.000 79.229 79.229 0.000 0.0
93 E12 10875990.000 34.762 34.762 0.000 0.0
94 F12 9420103.000 30.282 30.282 0.000 0.0
95 G12 30246586.000 94.362 94.362 0.000 0.0
96 H12 10167192.000 32.581 32.581 0.000 0.0
Group Summaries
InRange R - Outside standard range
~End
Original Filename: 2016_06_13_SalxSer_GBS; Date Last Saved: 6/13/2016 11:57:03 AM