## input
ÿþ##BLOCKS= 6
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
24 33883729 31204237 259 139 161 35513537 72123125 71 43 -11 68 -17
17578997 16966261 200 29 135 8875570 28266379 97 84 116 206 -22
9053280 8878805 265 191 110 421183 22417797 87 104 109 -13 -35
3818289 3742176 333 113 99 13544078 35017721 94 92 225 -14 -24
1672435 1648884 348 109 115 7477689 14241673 -40 109 8 -136 -14
675934 692070 323 12 20 13032374 28279453 50 26 64 -49 -60
370333 369272 189 151 70 51175333 8167629 929 131 91 4 -107
30854 31964 161 -57 -46 -84 84 -48 25 1 -118 -88
1 2 3 4 5 6 7 8 9 10 11 12
33883729 31204237 259 139 161 35513537 72123125 71 43 -11 68 -17
17578997 16966261 200 29 135 8875570 28266379 97 84 116 206 -22
9053280 8878805 265 191 110 421183 22417797 87 104 109 -13 -35
3818289 3742176 333 113 99 13544078 35017721 94 92 225 -14 -24
1672435 1648884 348 109 115 7477689 14241673 -40 109 8 -136 -14
675934 692070 323 12 20 13032374 28279453 50 26 64 -49 -60
370333 369272 189 151 70 51175333 8167629 929 131 91 4 -107
30854 31964 161 -57 -46 -84 84 -48 25 1 -118 -88
~End
Plate: Plate2 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
24.5 170654 7004209 4654599 15488282 12905137 4307989 4934145 6615371 597084 2782931 5557354 6039301
1496251 8259305 13725708 13054111 5909311 2612763 6657206 2021314 2000445 4280391 1877168 2047947
28856 4011211 14674105 3664856 7130566 5522347 1789429 1811119 2272681 6357932 2723066 11451539
12685159 3960384 10481490 4048686 9490818 7241893 3716716 3189330 3259815 3051653 4811122 4792313
5599211 2089548 9718649 2345106 2066746 28646 2557128 2185748 3193664 2513837 689613 1199067
3556547 5254923 14065597 10718356 10611166 3244603 3061374 1909243 3481906 2861164 1596213 5830533
7482841 2288417 11603287 12476642 1198412 2546609 1490769 2000082 1736685 14943637 3158341 5264583
10026879 1719897 12687423 1384511 27488 3516114 4983215 3818733 3152141 2185708 3406801 3308038
1 2 3 4 5 6 7 8 9 10 11 12
170654 7004209 4654599 15488282 12905137 4307989 4934145 6615371 597084 2782931 5557354 6039301
1496251 8259305 13725708 13054111 5909311 2612763 6657206 2021314 2000445 4280391 1877168 2047947
28856 4011211 14674105 3664856 7130566 5522347 1789429 1811119 2272681 6357932 2723066 11451539
12685159 3960384 10481490 4048686 9490818 7241893 3716716 3189330 3259815 3051653 4811122 4792313
5599211 2089548 9718649 2345106 2066746 28646 2557128 2185748 3193664 2513837 689613 1199067
3556547 5254923 14065597 10718356 10611166 3244603 3061374 1909243 3481906 2861164 1596213 5830533
7482841 2288417 11603287 12476642 1198412 2546609 1490769 2000082 1736685 14943637 3158341 5264583
10026879 1719897 12687423 1384511 27488 3516114 4983215 3818733 3152141 2185708 3406801 3308038
~End
Plate: Plate3 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
24.5 289184 155839 1805500 3509101 10536879 9680586 6491468 12903538 3701828 7186616 3651662 4769949
30284246 639449 10509963 6463801 2522913 5734175 13535258 6214776 439401 6117881 9927129 5138974
39431660 829627 3516815 18654450 8854410 248613 5675365 5388543 13698555 2864898 6548985 592484
22870312 1101178 5246732 23942474 2793567 7360984 2025813 3435297 12236308 13391172 4934552 5467482
25264984 6222341 281100 9193481 5550226 13297881 12894732 6310056 13192503 1461068 2518095 3417296
11675536 2410851 12276249 5851571 552768 9482916 4280801 5854024 26231870 13455315 975484 5653943
5986733 3332051 12156476 2518928 8561300 2348825 338849 2518199 9054158 2865599 5454439 6182096
5728822 16049497 2634393 2037609 22079416 17265104 16406496 14929663 3534373 2442485 4375294 2440214
1 2 3 4 5 6 7 8 9 10 11 12
289184 155839 1805500 3509101 10536879 9680586 6491468 12903538 3701828 7186616 3651662 4769949
30284246 639449 10509963 6463801 2522913 5734175 13535258 6214776 439401 6117881 9927129 5138974
39431660 829627 3516815 18654450 8854410 248613 5675365 5388543 13698555 2864898 6548985 592484
22870312 1101178 5246732 23942474 2793567 7360984 2025813 3435297 12236308 13391172 4934552 5467482
25264984 6222341 281100 9193481 5550226 13297881 12894732 6310056 13192503 1461068 2518095 3417296
11675536 2410851 12276249 5851571 552768 9482916 4280801 5854024 26231870 13455315 975484 5653943
5986733 3332051 12156476 2518928 8561300 2348825 338849 2518199 9054158 2865599 5454439 6182096
5728822 16049497 2634393 2037609 22079416 17265104 16406496 14929663 3534373 2442485 4375294 2440214
~End
Group: Standards
Sample Concentration ng BackCalcConc Wells Value MeanValue SD CV
01 100.000 153.751 A1 33883729.000 21696075.000 18836832.092 86.8
141.603 A2 31204237.000
0.131 A3 259.000
02 50.000 79.829 B1 17578997.000 11515152.667 9976946.554 86.6
77.051 B2 16966261.000
0.131 B3 200.000
03 25.000 41.175 C1 9053280.000 5977450.000 5177129.105 86.6
40.384 C2 8878805.000
0.131 C3 265.000
04 12.500 17.441 D1 3818289.000 2520266.000 2182657.793 86.6
17.096 D2 3742176.000
0.131 D3 333.000
05 6.250 7.712 E1 1672435.000 1107222.333 958653.616 86.6
7.605 E2 1648884.000
0.131 E3 348.000
06 3.125 3.194 F1 675934.000 456109.000 394804.700 86.6
3.267 F2 692070.000
0.131 F3 323.000
07 1.563 1.809 G1 370333.000 246598.000 213397.113 86.5
1.804 G2 369272.000
0.131 G3 189.000
08 0.000 0.270 H1 30854.000 20993.000 18049.576 86.0
0.275 H2 31964.000
0.130 H3 161.000
Group Summaries
MinStd Smallest standard value: 20993.000 Min(MeanValue)
MaxStd Largest standard value: 21696075.000 Max(MeanValue)
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 A1 170654.000 0.903 0.903 0.000 0.0
02 B1 1496251.000 6.913 6.913 0.000 0.0
03 C1 28856.000 0.261 0.261 0.000 0.0
04 D1 12685159.000 57.641 57.641 0.000 0.0
05 E1 5599211.000 25.515 25.515 0.000 0.0
06 F1 3556547.000 16.254 16.254 0.000 0.0
07 G1 7482841.000 34.055 34.055 0.000 0.0
08 H1 10026879.000 45.589 45.589 0.000 0.0
09 A2 7004209.000 31.885 31.885 0.000 0.0
097 A1 289184.000 1.441 1.441 0.000 0.0
098 B1 30284246.000 R 137.432 137.432 0.000 0.0
099 C1 39431660.000 R 178.904 178.904 0.000 0.0
10 B2 8259305.000 37.576 37.576 0.000 0.0
100 D1 22870312.000 R 103.818 103.818 0.000 0.0
101 E1 25264984.000 R 114.675 114.675 0.000 0.0
102 F1 11675536.000 53.064 53.064 0.000 0.0
103 G1 5986733.000 27.272 27.272 0.000 0.0
104 H1 5728822.000 26.103 26.103 0.000 0.0
105 A2 155839.000 0.836 0.836 0.000 0.0
106 B2 639449.000 3.029 3.029 0.000 0.0
107 C2 829627.000 3.891 3.891 0.000 0.0
108 D2 1101178.000 5.122 5.122 0.000 0.0
109 E2 6222341.000 28.340 28.340 0.000 0.0
11 C2 4011211.000 18.316 18.316 0.000 0.0
110 F2 2410851.000 11.060 11.060 0.000 0.0
111 G2 3332051.000 15.236 15.236 0.000 0.0
112 H2 16049497.000 72.894 72.894 0.000 0.0
113 A3 1805500.000 8.315 8.315 0.000 0.0
114 B3 10509963.000 47.779 47.779 0.000 0.0
115 C3 3516815.000 16.074 16.074 0.000 0.0
116 D3 5246732.000 23.917 23.917 0.000 0.0
117 E3 281100.000 1.404 1.404 0.000 0.0
118 F3 12276249.000 55.787 55.787 0.000 0.0
119 G3 12156476.000 55.244 55.244 0.000 0.0
12 D2 3960384.000 18.085 18.085 0.000 0.0
120 H3 2634393.000 12.073 12.073 0.000 0.0
121 A4 3509101.000 16.039 16.039 0.000 0.0
122 B4 6463801.000 29.435 29.435 0.000 0.0
123 C4 18654450.000 84.705 84.705 0.000 0.0
124 D4 23942474.000 R 108.679 108.679 0.000 0.0
125 E4 9193481.000 41.811 41.811 0.000 0.0
126 F4 5851571.000 26.659 26.659 0.000 0.0
127 G4 2518928.000 11.550 11.550 0.000 0.0
128 H4 2037609.000 9.368 9.368 0.000 0.0
129 A5 10536879.000 47.902 47.902 0.000 0.0
13 E2 2089548.000 9.603 9.603 0.000 0.0
130 B5 2522913.000 11.568 11.568 0.000 0.0
131 C5 8854410.000 40.274 40.274 0.000 0.0
132 D5 2793567.000 12.795 12.795 0.000 0.0
133 E5 5550226.000 25.293 25.293 0.000 0.0
134 F5 552768.000 2.636 2.636 0.000 0.0
135 G5 8561300.000 38.945 38.945 0.000 0.0
136 H5 22079416.000 R 100.233 100.233 0.000 0.0
137 A6 9680586.000 44.019 44.019 0.000 0.0
138 B6 5734175.000 26.127 26.127 0.000 0.0
139 C6 248613.000 1.257 1.257 0.000 0.0
14 F2 5254923.000 23.954 23.954 0.000 0.0
140 D6 7360984.000 33.503 33.503 0.000 0.0
141 E6 13297881.000 60.419 60.419 0.000 0.0
142 F6 9482916.000 43.123 43.123 0.000 0.0
143 G6 2348825.000 10.779 10.779 0.000 0.0
144 H6 17265104.000 78.406 78.406 0.000 0.0
145 A7 6491468.000 29.561 29.561 0.000 0.0
146 B7 13535258.000 61.495 61.495 0.000 0.0
147 C7 5675365.000 25.861 25.861 0.000 0.0
148 D7 2025813.000 9.314 9.314 0.000 0.0
149 E7 12894732.000 58.591 58.591 0.000 0.0
15 G2 2288417.000 10.505 10.505 0.000 0.0
150 F7 4280801.000 19.538 19.538 0.000 0.0
151 G7 338849.000 1.666 1.666 0.000 0.0
152 H7 16406496.000 74.513 74.513 0.000 0.0
153 A8 12903538.000 58.631 58.631 0.000 0.0
154 B8 6214776.000 28.306 28.306 0.000 0.0
155 C8 5388543.000 24.560 24.560 0.000 0.0
156 D8 3435297.000 15.705 15.705 0.000 0.0
157 E8 6310056.000 28.738 28.738 0.000 0.0
158 F8 5854024.000 26.671 26.671 0.000 0.0
159 G8 2518199.000 11.547 11.547 0.000 0.0
16 H2 1719897.000 7.927 7.927 0.000 0.0
160 H8 14929663.000 67.817 67.817 0.000 0.0
161 A9 3701828.000 16.913 16.913 0.000 0.0
162 B9 439401.000 2.122 2.122 0.000 0.0
163 C9 13698555.000 62.236 62.236 0.000 0.0
164 D9 12236308.000 55.606 55.606 0.000 0.0
165 E9 13192503.000 59.942 59.942 0.000 0.0
166 F9 26231870.000 R 119.059 119.059 0.000 0.0
167 G9 9054158.000 41.179 41.179 0.000 0.0
168 H9 3534373.000 16.154 16.154 0.000 0.0
169 A10 7186616.000 32.712 32.712 0.000 0.0
17 A3 4654599.000 21.233 21.233 0.000 0.0
170 B10 6117881.000 27.867 27.867 0.000 0.0
171 C10 2864898.000 13.119 13.119 0.000 0.0
172 D10 13391172.000 60.842 60.842 0.000 0.0
173 E10 1461068.000 6.754 6.754 0.000 0.0
174 F10 13455315.000 61.133 61.133 0.000 0.0
175 G10 2865599.000 13.122 13.122 0.000 0.0
176 H10 2442485.000 11.203 11.203 0.000 0.0
177 A11 3651662.000 16.686 16.686 0.000 0.0
178 B11 9927129.000 45.137 45.137 0.000 0.0
179 C11 6548985.000 29.821 29.821 0.000 0.0
18 B3 13725708.000 62.359 62.359 0.000 0.0
180 D11 4934552.000 22.502 22.502 0.000 0.0
181 E11 2518095.000 11.546 11.546 0.000 0.0
182 F11 975484.000 4.552 4.552 0.000 0.0
183 G11 5454439.000 24.859 24.859 0.000 0.0
184 H11 4375294.000 19.966 19.966 0.000 0.0
185 A12 4769949.000 21.756 21.756 0.000 0.0
186 B12 5138974.000 23.429 23.429 0.000 0.0
187 C12 592484.000 2.816 2.816 0.000 0.0
188 D12 5467482.000 24.918 24.918 0.000 0.0
189 E12 3417296.000 15.623 15.623 0.000 0.0
19 C3 14674105.000 66.659 66.659 0.000 0.0
190 F12 5653943.000 25.763 25.763 0.000 0.0
191 G12 6182096.000 28.158 28.158 0.000 0.0
192 H12 2440214.000 11.193 11.193 0.000 0.0
193 A6 35513537.000 R 161.140 161.140 0.000 0.0
194 B6 8875570.000 40.370 40.370 0.000 0.0
195 C6 421183.000 2.039 2.039 0.000 0.0
196 D6 13544078.000 61.535 61.535 0.000 0.0
197 E6 7477689.000 34.032 34.032 0.000 0.0
198 F6 13032374.000 59.216 59.216 0.000 0.0
199 G6 51175333.000 R 232.147 232.147 0.000 0.0
20 D3 10481490.000 47.650 47.650 0.000 0.0
200 A7 72123125.000 R 327.119 327.119 0.000 0.0
201 B7 28266379.000 R 128.283 128.283 0.000 0.0
202 C7 22417797.000 R 101.767 101.767 0.000 0.0
203 D7 35017721.000 R 158.892 158.892 0.000 0.0
204 E7 14241673.000 64.698 64.698 0.000 0.0
205 F7 28279453.000 R 128.342 128.342 0.000 0.0
206 G7 8167629.000 37.160 37.160 0.000 0.0
21 E3 9718649.000 44.192 44.192 0.000 0.0
22 F3 14065597.000 63.900 63.900 0.000 0.0
23 G3 11603287.000 52.736 52.736 0.000 0.0
24 H3 12687423.000 57.652 57.652 0.000 0.0
25 A4 15488282.000 70.350 70.350 0.000 0.0
26 B4 13054111.000 59.314 59.314 0.000 0.0
27 C4 3664856.000 16.745 16.745 0.000 0.0
28 D4 4048686.000 18.486 18.486 0.000 0.0
29 E4 2345106.000 10.762 10.762 0.000 0.0
30 F4 10718356.000 48.724 48.724 0.000 0.0
31 G4 12476642.000 56.696 56.696 0.000 0.0
32 H4 1384511.000 6.407 6.407 0.000 0.0
33 A5 12905137.000 58.639 58.639 0.000 0.0
34 B5 5909311.000 26.921 26.921 0.000 0.0
35 C5 7130566.000 32.458 32.458 0.000 0.0
36 D5 9490818.000 43.159 43.159 0.000 0.0
37 E5 2066746.000 9.500 9.500 0.000 0.0
38 F5 10611166.000 48.238 48.238 0.000 0.0
39 G5 1198412.000 5.563 5.563 0.000 0.0
40 H5 27488.000 0.254 0.254 0.000 0.0
41 A6 4307989.000 19.661 19.661 0.000 0.0
42 B6 2612763.000 11.975 11.975 0.000 0.0
43 C6 5522347.000 25.167 25.167 0.000 0.0
44 D6 7241893.000 32.963 32.963 0.000 0.0
45 E6 28646.000 0.260 0.260 0.000 0.0
46 F6 3244603.000 14.840 14.840 0.000 0.0
47 G6 2546609.000 11.675 11.675 0.000 0.0
48 H6 3516114.000 16.071 16.071 0.000 0.0
49 A7 4934145.000 22.500 22.500 0.000 0.0
50 B7 6657206.000 30.312 30.312 0.000 0.0
51 C7 1789429.000 8.243 8.243 0.000 0.0
52 D7 3716716.000 16.980 16.980 0.000 0.0
53 E7 2557128.000 11.723 11.723 0.000 0.0
54 F7 3061374.000 14.009 14.009 0.000 0.0
55 G7 1490769.000 6.889 6.889 0.000 0.0
56 H7 4983215.000 22.722 22.722 0.000 0.0
57 A8 6615371.000 30.122 30.122 0.000 0.0
58 B8 2021314.000 9.294 9.294 0.000 0.0
59 C8 1811119.000 8.341 8.341 0.000 0.0
60 D8 3189330.000 14.589 14.589 0.000 0.0
61 E8 2185748.000 10.039 10.039 0.000 0.0
62 F8 1909243.000 8.786 8.786 0.000 0.0
63 G8 2000082.000 9.198 9.198 0.000 0.0
64 H8 3818733.000 17.443 17.443 0.000 0.0
65 A9 597084.000 2.837 2.837 0.000 0.0
66 B9 2000445.000 9.199 9.199 0.000 0.0
67 C9 2272681.000 10.434 10.434 0.000 0.0
68 D9 3259815.000 14.909 14.909 0.000 0.0
69 E9 3193664.000 14.609 14.609 0.000 0.0
70 F9 3481906.000 15.916 15.916 0.000 0.0
71 G9 1736685.000 8.003 8.003 0.000 0.0
72 H9 3152141.000 14.421 14.421 0.000 0.0
73 A10 2782931.000 12.747 12.747 0.000 0.0
74 B10 4280391.000 19.536 19.536 0.000 0.0
75 C10 6357932.000 28.955 28.955 0.000 0.0
76 D10 3051653.000 13.965 13.965 0.000 0.0
77 E10 2513837.000 11.527 11.527 0.000 0.0
78 F10 2861164.000 13.102 13.102 0.000 0.0
79 G10 14943637.000 67.881 67.881 0.000 0.0
80 H10 2185708.000 10.039 10.039 0.000 0.0
81 A11 5557354.000 25.325 25.325 0.000 0.0
82 B11 1877168.000 8.640 8.640 0.000 0.0
83 C11 2723066.000 12.475 12.475 0.000 0.0
84 D11 4811122.000 21.942 21.942 0.000 0.0
85 E11 689613.000 3.256 3.256 0.000 0.0
86 F11 1596213.000 7.367 7.367 0.000 0.0
87 G11 3158341.000 14.449 14.449 0.000 0.0
88 H11 3406801.000 15.575 15.575 0.000 0.0
89 A12 6039301.000 27.511 27.511 0.000 0.0
90 B12 2047947.000 9.415 9.415 0.000 0.0
91 C12 11451539.000 52.048 52.048 0.000 0.0
92 D12 4792313.000 21.857 21.857 0.000 0.0
93 E12 1199067.000 5.566 5.566 0.000 0.0
94 F12 5830533.000 26.564 26.564 0.000 0.0
95 G12 5264583.000 23.998 23.998 0.000 0.0
96 H12 3308038.000 15.128 15.128 0.000 0.0
Group Summaries
InRange R - Outside standard range
~End
Original Filename: 3_Plates 9_19_2016_excel; Date Last Saved: 9/19/2016 3:23:46 PM