## input
ÿþ##BLOCKS= 7
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
24.5 11264985 73621032 6543473 1201 1214 1210 1173 1105 1018 1242 1205 1182
22750340 10500940 7980997 1214 1239 1095 1157 1139 1251 1100 1196 1132
5356178 5977622 5223299 1150 1161 1225 1154 1207 1115 1282 1204 1259
2511402 2580522 2559743 1206 1041 1183 1144 1206 1144 1176 1135 1135
1121472 1135697 1087036 1210 1168 1234 1111 1170 1152 1179 1054 1118
402930 373446 519428 1217 1151 1156 1169 1236 1133 1170 1165 1049
150599 154923 153905 1219 1143 1275 1198 1139 1138 1191 1179 1143
23761 26834 24801 1101 1146 1037 1110 1158 1215 1120 1124 1143
1 2 3 4 5 6 7 8 9 10 11 12
11264985 73621032 6543473 1201 1214 1210 1173 1105 1018 1242 1205 1182
22750340 10500940 7980997 1214 1239 1095 1157 1139 1251 1100 1196 1132
5356178 5977622 5223299 1150 1161 1225 1154 1207 1115 1282 1204 1259
2511402 2580522 2559743 1206 1041 1183 1144 1206 1144 1176 1135 1135
1121472 1135697 1087036 1210 1168 1234 1111 1170 1152 1179 1054 1118
402930 373446 519428 1217 1151 1156 1169 1236 1133 1170 1165 1049
150599 154923 153905 1219 1143 1275 1198 1139 1138 1191 1179 1143
23761 26834 24801 1101 1146 1037 1110 1158 1215 1120 1124 1143
~End
Plate: Plate2 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
24.5 4604115 3744716 4992630 5248005 5748645 5818387 7544015 7193022 5566090 4983618 6999369 8829513
7088898 6746380 8061547 8493793 8341100 9416221 9077122 8520470 7654685 7188968 6242890 9019523
7879637 8482062 8824949 7620262 8479562 8335068 8013288 7919193 9348488 7537330 6106835 9069375
12029763 7894150 12752695 8374756 8258534 11025731 10068427 11105485 11163018 8864100 8978457 11751452
8349479 7533422 10408055 10386476 9355256 9019607 7762475 6929832 9146662 6035550 6745502 10233625
7174505 3691341 111713 6250248 7720069 5728513 10275428 7466308 98781 3553061 5931715 5705343
7936573 5064399 38872 6456413 6082564 4901735 5974742 7854199 32165 5769808 5153362 6160117
5901821 5356725 38641 5683819 5260724 4913502 6961202 6278114 55213 3345011 4546632 4448077
1 2 3 4 5 6 7 8 9 10 11 12
4604115 3744716 4992630 5248005 5748645 5818387 7544015 7193022 5566090 4983618 6999369 8829513
7088898 6746380 8061547 8493793 8341100 9416221 9077122 8520470 7654685 7188968 6242890 9019523
7879637 8482062 8824949 7620262 8479562 8335068 8013288 7919193 9348488 7537330 6106835 9069375
12029763 7894150 12752695 8374756 8258534 11025731 10068427 11105485 11163018 8864100 8978457 11751452
8349479 7533422 10408055 10386476 9355256 9019607 7762475 6929832 9146662 6035550 6745502 10233625
7174505 3691341 111713 6250248 7720069 5728513 10275428 7466308 98781 3553061 5931715 5705343
7936573 5064399 38872 6456413 6082564 4901735 5974742 7854199 32165 5769808 5153362 6160117
5901821 5356725 38641 5683819 5260724 4913502 6961202 6278114 55213 3345011 4546632 4448077
~End
Plate: Plate3 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
24.5 7290128 5005064 8561514 3541692 7040306 3961743 460017 7869780 7173140 4999790 6458592 7261327
7839765 6443865 8184937 6621859 8559040 7205366 7127258 7834058 7039638 6928847 7041149 7324400
10202123 10129880 10367397 7184986 7546353 8064205 7859379 74733 7726947 7311425 7447528 8676729
9249350 9767965 10050626 7424454 901957 9859497 10542942 10181269 9920599 9751308 8094941 10071761
9684819 9238963 7327178 11318816 10847454 9918753 9231723 10661858 7874779 10394590 4936065 9266065
5531455 7301495 125792 7541688 7680952 12293675 7379888 9060699 65589 8492471 6786389 8089443
11298813 8175010 367318 12644756 10091717 6464896 8135965 7909408 34684 8442801 7671174 1963505
8074464 7521125 1591961 9754514 10780622 10188061 7748160 7317353 33053 7562532 6677885 8603368
1 2 3 4 5 6 7 8 9 10 11 12
7290128 5005064 8561514 3541692 7040306 3961743 460017 7869780 7173140 4999790 6458592 7261327
7839765 6443865 8184937 6621859 8559040 7205366 7127258 7834058 7039638 6928847 7041149 7324400
10202123 10129880 10367397 7184986 7546353 8064205 7859379 74733 7726947 7311425 7447528 8676729
9249350 9767965 10050626 7424454 901957 9859497 10542942 10181269 9920599 9751308 8094941 10071761
9684819 9238963 7327178 11318816 10847454 9918753 9231723 10661858 7874779 10394590 4936065 9266065
5531455 7301495 125792 7541688 7680952 12293675 7379888 9060699 65589 8492471 6786389 8089443
11298813 8175010 367318 12644756 10091717 6464896 8135965 7909408 34684 8442801 7671174 1963505
8074464 7521125 1591961 9754514 10780622 10188061 7748160 7317353 33053 7562532 6677885 8603368
~End
Plate: Plate4 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
24.5 10378369 6894553 9016387 9128847 9024557 7548994 7456554 8057744 9025465 7648006 7366315 6374508
11625882 7963664 10497199 9006063 10074320 10196771 9074990 9349273 11114137 11135189 8789445 10261253
12012937 6490069 11740264 10866018 10126309 8743557 10194941 10710872 11145501 8757588 9147182 11637500
12596397 8303102 10681983 10480875 10273799 9728189 11013057 11397247 11054974 10302943 9331823 10902113
10819761 6989641 9847873 8967273 10051374 8549255 9615666 10196777 9007351 10295506 8259570 10466050
9257921 6265286 163996 8537924 8182933 8356204 5468478 8143957 127696 7835934 5197563 7442430
10576073 7389119 136150 9810312 9667103 8420903 7985503 8888800 40097 8816702 7607518 9633589
7804196 6229894 141602 7235231 7808142 6119454 7892615 8814352 42144 7613380 5867964 7664564
1 2 3 4 5 6 7 8 9 10 11 12
10378369 6894553 9016387 9128847 9024557 7548994 7456554 8057744 9025465 7648006 7366315 6374508
11625882 7963664 10497199 9006063 10074320 10196771 9074990 9349273 11114137 11135189 8789445 10261253
12012937 6490069 11740264 10866018 10126309 8743557 10194941 10710872 11145501 8757588 9147182 11637500
12596397 8303102 10681983 10480875 10273799 9728189 11013057 11397247 11054974 10302943 9331823 10902113
10819761 6989641 9847873 8967273 10051374 8549255 9615666 10196777 9007351 10295506 8259570 10466050
9257921 6265286 163996 8537924 8182933 8356204 5468478 8143957 127696 7835934 5197563 7442430
10576073 7389119 136150 9810312 9667103 8420903 7985503 8888800 40097 8816702 7607518 9633589
7804196 6229894 141602 7235231 7808142 6119454 7892615 8814352 42144 7613380 5867964 7664564
~End
Group: Standards
Sample Concentration ng BackCalcConc Wells Value MeanValue SD CV
01 100.000 39.554 A1 11264985.000 30476496.667 37438768.219 122.8
243.342 A2 73621032.000
24.124 A3 6543473.000
02 50.000 77.090 B1 22750340.000 13744092.333 7900753.189 57.5
37.057 B2 10500940.000
28.822 B3 7980997.000
03 25.000 20.243 C1 5356178.000 5519033.000 402668.735 7.3
22.274 C2 5977622.000
19.809 C3 5223299.000
04 12.500 10.946 D1 2511402.000 2550555.667 35464.051 1.4
11.172 D2 2580522.000
11.104 D3 2559743.000
05 6.250 6.404 E1 1121472.000 1114735.000 25020.264 2.2
6.450 E2 1135697.000
6.291 E3 1087036.000
06 3.125 4.055 F1 402930.000 431934.667 77192.222 17.9
3.959 F2 373446.000
4.436 F3 519428.000
07 1.563 3.231 G1 150599.000 153142.333 2260.639 1.5
3.245 G2 154923.000
3.242 G3 153905.000
08 0.000 2.816 H1 23761.000 25132.000 1563.011 6.2
2.826 H2 26834.000
2.820 H3 24801.000
Group Summaries
MinStd Smallest standard value: 25132.000 Min(MeanValue)
MaxStd Largest standard value: 30476496.667 Max(MeanValue)
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 A1 4604115.000 17.785 17.785 0.000 0.0
02 B1 7088898.000 25.906 25.906 0.000 0.0
03 C1 7879637.000 28.490 28.490 0.000 0.0
04 D1 12029763.000 42.053 42.053 0.000 0.0
05 E1 8349479.000 30.026 30.026 0.000 0.0
06 F1 7174505.000 26.186 26.186 0.000 0.0
07 G1 7936573.000 28.676 28.676 0.000 0.0
08 H1 5901821.000 22.027 22.027 0.000 0.0
09 A2 3744716.000 14.977 14.977 0.000 0.0
097 A1 7290128.000 26.564 26.564 0.000 0.0
098 B1 7839765.000 28.360 28.360 0.000 0.0
099 C1 10202123.000 36.081 36.081 0.000 0.0
10 B2 6746380.000 24.787 24.787 0.000 0.0
100 D1 9249350.000 32.967 32.967 0.000 0.0
101 E1 9684819.000 34.390 34.390 0.000 0.0
102 F1 5531455.000 20.816 20.816 0.000 0.0
103 G1 11298813.000 39.665 39.665 0.000 0.0
104 H1 8074464.000 29.127 29.127 0.000 0.0
105 A2 5005064.000 19.096 19.096 0.000 0.0
106 B2 6443865.000 23.798 23.798 0.000 0.0
107 C2 10129880.000 35.844 35.844 0.000 0.0
108 D2 9767965.000 34.662 34.662 0.000 0.0
109 E2 9238963.000 32.933 32.933 0.000 0.0
11 C2 8482062.000 30.459 30.459 0.000 0.0
110 F2 7301495.000 26.601 26.601 0.000 0.0
111 G2 8175010.000 29.456 29.456 0.000 0.0
112 H2 7521125.000 27.319 27.319 0.000 0.0
113 A3 8561514.000 30.719 30.719 0.000 0.0
114 B3 8184937.000 29.488 29.488 0.000 0.0
115 C3 10367397.000 36.621 36.621 0.000 0.0
116 D3 10050626.000 35.585 35.585 0.000 0.0
117 E3 7327178.000 26.685 26.685 0.000 0.0
118 F3 125792.000 3.150 3.150 0.000 0.0
119 G3 367318.000 3.939 3.939 0.000 0.0
12 D2 7894150.000 28.538 28.538 0.000 0.0
120 H3 1591961.000 7.941 7.941 0.000 0.0
121 A4 3541692.000 14.313 14.313 0.000 0.0
122 B4 6621859.000 24.380 24.380 0.000 0.0
123 C4 7184986.000 26.220 26.220 0.000 0.0
124 D4 7424454.000 27.003 27.003 0.000 0.0
125 E4 11318816.000 39.730 39.730 0.000 0.0
126 F4 7541688.000 27.386 27.386 0.000 0.0
127 G4 12644756.000 44.063 44.063 0.000 0.0
128 H4 9754514.000 34.618 34.618 0.000 0.0
129 A5 7040306.000 25.747 25.747 0.000 0.0
13 E2 7533422.000 27.359 27.359 0.000 0.0
130 B5 8559040.000 30.711 30.711 0.000 0.0
131 C5 7546353.000 27.401 27.401 0.000 0.0
132 D5 901957.000 5.686 5.686 0.000 0.0
133 E5 10847454.000 38.190 38.190 0.000 0.0
134 F5 7680952.000 27.841 27.841 0.000 0.0
135 G5 10091717.000 35.720 35.720 0.000 0.0
136 H5 10780622.000 37.971 37.971 0.000 0.0
137 A6 3961743.000 15.686 15.686 0.000 0.0
138 B6 7205366.000 26.287 26.287 0.000 0.0
139 C6 8064205.000 29.094 29.094 0.000 0.0
14 F2 3691341.000 14.802 14.802 0.000 0.0
140 D6 9859497.000 34.961 34.961 0.000 0.0
141 E6 9918753.000 35.154 35.154 0.000 0.0
142 F6 12293675.000 42.916 42.916 0.000 0.0
143 G6 6464896.000 23.867 23.867 0.000 0.0
144 H6 10188061.000 36.035 36.035 0.000 0.0
145 A7 460017.000 4.242 4.242 0.000 0.0
146 B7 7127258.000 26.031 26.031 0.000 0.0
147 C7 7859379.000 28.424 28.424 0.000 0.0
148 D7 10542942.000 37.194 37.194 0.000 0.0
149 E7 9231723.000 32.909 32.909 0.000 0.0
15 G2 5064399.000 19.290 19.290 0.000 0.0
150 F7 7379888.000 26.857 26.857 0.000 0.0
151 G7 8135965.000 29.328 29.328 0.000 0.0
152 H7 7748160.000 28.061 28.061 0.000 0.0
153 A8 7869780.000 28.458 28.458 0.000 0.0
154 B8 7834058.000 28.341 28.341 0.000 0.0
155 C8 74733.000 2.983 2.983 0.000 0.0
156 D8 10181269.000 36.012 36.012 0.000 0.0
157 E8 10661858.000 37.583 37.583 0.000 0.0
158 F8 9060699.000 32.350 32.350 0.000 0.0
159 G8 7909408.000 28.588 28.588 0.000 0.0
16 H2 5356725.000 20.245 20.245 0.000 0.0
160 H8 7317353.000 26.653 26.653 0.000 0.0
161 A9 7173140.000 26.181 26.181 0.000 0.0
162 B9 7039638.000 25.745 25.745 0.000 0.0
163 C9 7726947.000 27.991 27.991 0.000 0.0
164 D9 9920599.000 35.160 35.160 0.000 0.0
165 E9 7874779.000 28.474 28.474 0.000 0.0
166 F9 65589.000 2.953 2.953 0.000 0.0
167 G9 34684.000 2.852 2.852 0.000 0.0
168 H9 33053.000 2.847 2.847 0.000 0.0
169 A10 4999790.000 19.079 19.079 0.000 0.0
17 A3 4992630.000 19.055 19.055 0.000 0.0
170 B10 6928847.000 25.383 25.383 0.000 0.0
171 C10 7311425.000 26.633 26.633 0.000 0.0
172 D10 9751308.000 34.607 34.607 0.000 0.0
173 E10 10394590.000 36.710 36.710 0.000 0.0
174 F10 8492471.000 30.493 30.493 0.000 0.0
175 G10 8442801.000 30.331 30.331 0.000 0.0
176 H10 7562532.000 27.454 27.454 0.000 0.0
177 A11 6458592.000 23.846 23.846 0.000 0.0
178 B11 7041149.000 25.750 25.750 0.000 0.0
179 C11 7447528.000 27.078 27.078 0.000 0.0
18 B3 8061547.000 29.085 29.085 0.000 0.0
180 D11 8094941.000 29.194 29.194 0.000 0.0
181 E11 4936065.000 18.870 18.870 0.000 0.0
182 F11 6786389.000 24.917 24.917 0.000 0.0
183 G11 7671174.000 27.809 27.809 0.000 0.0
184 H11 6677885.000 24.563 24.563 0.000 0.0
185 A12 7261327.000 26.470 26.470 0.000 0.0
186 B12 7324400.000 26.676 26.676 0.000 0.0
187 C12 8676729.000 31.095 31.095 0.000 0.0
188 D12 10071761.000 35.654 35.654 0.000 0.0
189 E12 9266065.000 33.021 33.021 0.000 0.0
19 C3 8824949.000 31.580 31.580 0.000 0.0
190 F12 8089443.000 29.176 29.176 0.000 0.0
191 G12 1963505.000 9.156 9.156 0.000 0.0
192 H12 8603368.000 30.856 30.856 0.000 0.0
193 A1 10378369.000 36.656 36.656 0.000 0.0
194 B1 11625882.000 40.734 40.734 0.000 0.0
195 C1 12012937.000 41.998 41.998 0.000 0.0
196 D1 12596397.000 43.905 43.905 0.000 0.0
197 E1 10819761.000 38.099 38.099 0.000 0.0
198 F1 9257921.000 32.995 32.995 0.000 0.0
199 G1 10576073.000 37.303 37.303 0.000 0.0
20 D3 12752695.000 44.416 44.416 0.000 0.0
200 H1 7804196.000 28.244 28.244 0.000 0.0
201 A2 6894553.000 25.271 25.271 0.000 0.0
202 B2 7963664.000 28.765 28.765 0.000 0.0
203 C2 6490069.000 23.949 23.949 0.000 0.0
204 D2 8303102.000 29.874 29.874 0.000 0.0
205 E2 6989641.000 25.582 25.582 0.000 0.0
206 F2 6265286.000 23.214 23.214 0.000 0.0
207 G2 7389119.000 26.887 26.887 0.000 0.0
208 H2 6229894.000 23.099 23.099 0.000 0.0
209 A3 9016387.000 32.205 32.205 0.000 0.0
21 E3 10408055.000 36.754 36.754 0.000 0.0
210 B3 10497199.000 37.045 37.045 0.000 0.0
211 C3 11740264.000 41.107 41.107 0.000 0.0
212 D3 10681983.000 37.649 37.649 0.000 0.0
213 E3 9847873.000 34.923 34.923 0.000 0.0
214 F3 163996.000 3.275 3.275 0.000 0.0
215 G3 136150.000 3.184 3.184 0.000 0.0
216 H3 141602.000 3.201 3.201 0.000 0.0
217 A4 9128847.000 32.573 32.573 0.000 0.0
218 B4 9006063.000 32.172 32.172 0.000 0.0
219 C4 10866018.000 38.250 38.250 0.000 0.0
22 F3 111713.000 3.104 3.104 0.000 0.0
220 D4 10480875.000 36.991 36.991 0.000 0.0
221 E4 8967273.000 32.045 32.045 0.000 0.0
222 F4 8537924.000 30.642 30.642 0.000 0.0
223 G4 9810312.000 34.800 34.800 0.000 0.0
224 H4 7235231.000 26.384 26.384 0.000 0.0
225 A5 9024557.000 32.232 32.232 0.000 0.0
226 B5 10074320.000 35.663 35.663 0.000 0.0
227 C5 10126309.000 35.833 35.833 0.000 0.0
228 D5 10273799.000 36.315 36.315 0.000 0.0
229 E5 10051374.000 35.588 35.588 0.000 0.0
23 G3 38872.000 2.866 2.866 0.000 0.0
230 F5 8182933.000 29.482 29.482 0.000 0.0
231 G5 9667103.000 34.332 34.332 0.000 0.0
232 H5 7808142.000 28.257 28.257 0.000 0.0
233 A6 7548994.000 27.410 27.410 0.000 0.0
234 B6 10196771.000 36.063 36.063 0.000 0.0
235 C6 8743557.000 31.314 31.314 0.000 0.0
236 D6 9728189.000 34.532 34.532 0.000 0.0
237 E6 8549255.000 30.679 30.679 0.000 0.0
238 F6 8356204.000 30.048 30.048 0.000 0.0
239 G6 8420903.000 30.259 30.259 0.000 0.0
24 H3 38641.000 2.865 2.865 0.000 0.0
240 H6 6119454.000 22.738 22.738 0.000 0.0
241 A7 7456554.000 27.108 27.108 0.000 0.0
242 B7 9074990.000 32.397 32.397 0.000 0.0
243 C7 10194941.000 36.057 36.057 0.000 0.0
244 D7 11013057.000 38.731 38.731 0.000 0.0
245 E7 9615666.000 34.164 34.164 0.000 0.0
246 F7 5468478.000 20.610 20.610 0.000 0.0
247 G7 7985503.000 28.836 28.836 0.000 0.0
248 H7 7892615.000 28.533 28.533 0.000 0.0
249 A8 8057744.000 29.072 29.072 0.000 0.0
25 A4 5248005.000 19.890 19.890 0.000 0.0
250 B8 9349273.000 33.293 33.293 0.000 0.0
251 C8 10710872.000 37.743 37.743 0.000 0.0
252 D8 11397247.000 39.986 39.986 0.000 0.0
253 E8 10196777.000 36.063 36.063 0.000 0.0
254 F8 8143957.000 29.354 29.354 0.000 0.0
255 G8 8888800.000 31.788 31.788 0.000 0.0
256 H8 8814352.000 31.545 31.545 0.000 0.0
257 A9 9025465.000 32.235 32.235 0.000 0.0
258 B9 11114137.000 39.061 39.061 0.000 0.0
259 C9 11145501.000 39.164 39.164 0.000 0.0
26 B4 8493793.000 30.497 30.497 0.000 0.0
260 D9 11054974.000 38.868 38.868 0.000 0.0
261 E9 9007351.000 32.176 32.176 0.000 0.0
262 F9 127696.000 3.156 3.156 0.000 0.0
263 G9 40097.000 2.870 2.870 0.000 0.0
264 H9 42144.000 2.876 2.876 0.000 0.0
265 A10 7648006.000 27.733 27.733 0.000 0.0
266 B10 11135189.000 39.130 39.130 0.000 0.0
267 C10 8757588.000 31.360 31.360 0.000 0.0
268 D10 10302943.000 36.410 36.410 0.000 0.0
269 E10 10295506.000 36.386 36.386 0.000 0.0
27 C4 7620262.000 27.643 27.643 0.000 0.0
270 F10 7835934.000 28.347 28.347 0.000 0.0
271 G10 8816702.000 31.553 31.553 0.000 0.0
272 H10 7613380.000 27.620 27.620 0.000 0.0
273 A11 7366315.000 26.813 26.813 0.000 0.0
274 B11 8789445.000 31.464 31.464 0.000 0.0
275 C11 9147182.000 32.633 32.633 0.000 0.0
276 D11 9331823.000 33.236 33.236 0.000 0.0
277 E11 8259570.000 29.732 29.732 0.000 0.0
278 F11 5197563.000 19.725 19.725 0.000 0.0
279 G11 7607518.000 27.601 27.601 0.000 0.0
28 D4 8374756.000 30.108 30.108 0.000 0.0
280 H11 5867964.000 21.916 21.916 0.000 0.0
281 A12 6374508.000 23.571 23.571 0.000 0.0
282 B12 10261253.000 36.274 36.274 0.000 0.0
283 C12 11637500.000 40.772 40.772 0.000 0.0
284 D12 10902113.000 38.368 38.368 0.000 0.0
285 E12 10466050.000 36.943 36.943 0.000 0.0
286 F12 7442430.000 27.061 27.061 0.000 0.0
287 G12 9633589.000 34.222 34.222 0.000 0.0
288 H12 7664564.000 27.787 27.787 0.000 0.0
289 A1 824243.000 5.432 5.432 0.000 0.0
29 E4 10386476.000 36.683 36.683 0.000 0.0
290 B1 659027.000 4.892 4.892 0.000 0.0
291 C1 1324939.000 7.069 7.069 0.000 0.0
292 D1 4039226.000 15.939 15.939 0.000 0.0
293 E1 3512222.000 14.217 14.217 0.000 0.0
294 F1 1478609.000 7.571 7.571 0.000 0.0
295 G1 121606.000 3.136 3.136 0.000 0.0
296 H1 2129485.000 9.698 9.698 0.000 0.0
297 A2 1246.000 R 2.743 2.743 0.000 0.0
298 B2 1327.000 R 2.743 2.743 0.000 0.0
299 C2 1423.000 R 2.743 2.743 0.000 0.0
30 F4 6250248.000 23.165 23.165 0.000 0.0
300 D2 1292.000 R 2.743 2.743 0.000 0.0
301 E2 1349.000 R 2.743 2.743 0.000 0.0
302 F2 1252.000 R 2.743 2.743 0.000 0.0
303 G2 1423.000 R 2.743 2.743 0.000 0.0
304 H2 1276.000 R 2.743 2.743 0.000 0.0
305 A3 864842.000 5.565 5.565 0.000 0.0
306 B3 3230659.000 13.297 13.297 0.000 0.0
307 C3 866620.000 5.571 5.571 0.000 0.0
308 D3 1419185.000 7.377 7.377 0.000 0.0
309 E3 1087213.000 6.292 6.292 0.000 0.0
31 G4 6456413.000 23.839 23.839 0.000 0.0
310 F3 2828068.000 11.981 11.981 0.000 0.0
311 G3 2806050.000 11.909 11.909 0.000 0.0
312 H3 1295025.000 6.971 6.971 0.000 0.0
313 A4 76382.000 2.988 2.988 0.000 0.0
314 B4 1003617.000 6.019 6.019 0.000 0.0
315 C4 1232341.000 6.766 6.766 0.000 0.0
316 D4 1246840.000 6.813 6.813 0.000 0.0
317 E4 376258.000 3.968 3.968 0.000 0.0
318 F4 1454.000 R 2.743 2.743 0.000 0.0
319 G4 1456.000 R 2.743 2.743 0.000 0.0
32 H4 5683819.000 21.314 21.314 0.000 0.0
320 H4 1500.000 R 2.744 2.744 0.000 0.0
321 A5 243362.000 3.534 3.534 0.000 0.0
322 B5 507199.000 4.396 4.396 0.000 0.0
323 C5 227119.000 3.481 3.481 0.000 0.0
324 D5 976583.000 5.930 5.930 0.000 0.0
325 E5 16396.000 R 2.792 2.792 0.000 0.0
326 F5 1310224.000 7.021 7.021 0.000 0.0
327 G5 1112808.000 6.375 6.375 0.000 0.0
328 H5 282945.000 3.663 3.663 0.000 0.0
329 A6 300913.000 3.722 3.722 0.000 0.0
33 A5 5748645.000 21.526 21.526 0.000 0.0
330 B6 902539.000 5.688 5.688 0.000 0.0
331 C6 1719624.000 8.359 8.359 0.000 0.0
332 D6 1253.000 R 2.743 2.743 0.000 0.0
333 E6 1240.000 R 2.743 2.743 0.000 0.0
334 F6 1332.000 R 2.743 2.743 0.000 0.0
335 G6 1243.000 R 2.743 2.743 0.000 0.0
336 H6 1274.000 R 2.743 2.743 0.000 0.0
337 A7 1143549.000 6.476 6.476 0.000 0.0
338 B7 1286935.000 6.944 6.944 0.000 0.0
339 C7 23382.000 R 2.815 2.815 0.000 0.0
34 B5 8341100.000 29.998 29.998 0.000 0.0
340 D7 771464.000 5.260 5.260 0.000 0.0
341 E7 1600806.000 7.970 7.970 0.000 0.0
342 F7 1340.000 R 2.743 2.743 0.000 0.0
343 G7 1396.000 R 2.743 2.743 0.000 0.0
344 H7 1323.000 R 2.743 2.743 0.000 0.0
345 A8 394917.000 4.029 4.029 0.000 0.0
346 B8 358198.000 3.909 3.909 0.000 0.0
347 C8 842847.000 5.493 5.493 0.000 0.0
348 D8 418921.000 4.108 4.108 0.000 0.0
349 E8 1023689.000 6.084 6.084 0.000 0.0
35 C5 8479562.000 30.451 30.451 0.000 0.0
350 F8 1138274.000 6.459 6.459 0.000 0.0
351 G8 1143296.000 6.475 6.475 0.000 0.0
352 H8 796980.000 5.343 5.343 0.000 0.0
353 A9 22068.000 R 2.811 2.811 0.000 0.0
354 B9 1942452.000 9.087 9.087 0.000 0.0
355 C9 1363160.000 7.194 7.194 0.000 0.0
356 D9 330708.000 3.819 3.819 0.000 0.0
357 E9 365910.000 3.934 3.934 0.000 0.0
358 F9 22305.000 R 2.812 2.812 0.000 0.0
359 G9 1360.000 R 2.743 2.743 0.000 0.0
36 D5 8258534.000 29.729 29.729 0.000 0.0
360 H9 1378.000 R 2.743 2.743 0.000 0.0
361 A10 161546.000 3.267 3.267 0.000 0.0
362 B10 315746.000 3.771 3.771 0.000 0.0
363 C10 2935659.000 12.333 12.333 0.000 0.0
364 D10 3174875.000 13.115 13.115 0.000 0.0
365 E10 2892552.000 12.192 12.192 0.000 0.0
366 F10 3083483.000 12.816 12.816 0.000 0.0
367 G10 2094602.000 9.584 9.584 0.000 0.0
368 H10 548837.000 4.532 4.532 0.000 0.0
369 A11 1921075.000 9.017 9.017 0.000 0.0
37 E5 9355256.000 33.313 33.313 0.000 0.0
370 B11 897169.000 5.671 5.671 0.000 0.0
371 C11 1363.000 R 2.743 2.743 0.000 0.0
372 D11 1238.000 R 2.743 2.743 0.000 0.0
373 E11 1380.000 R 2.743 2.743 0.000 0.0
374 F11 1348.000 R 2.743 2.743 0.000 0.0
375 G11 1349.000 R 2.743 2.743 0.000 0.0
376 H11 1329.000 R 2.743 2.743 0.000 0.0
377 A12 1787424.000 8.580 8.580 0.000 0.0
378 B12 748977.000 5.186 5.186 0.000 0.0
379 C12 323734.000 3.797 3.797 0.000 0.0
38 F5 7720069.000 27.969 27.969 0.000 0.0
380 D12 1534571.000 7.754 7.754 0.000 0.0
381 E12 725815.000 5.111 5.111 0.000 0.0
382 F12 1493663.000 7.620 7.620 0.000 0.0
383 G12 2452059.000 10.752 10.752 0.000 0.0
384 H12 1419.000 R 2.743 2.743 0.000 0.0
385 A1 R
386 B1 R
387 C1 R
388 D1 R
389 E1 R
39 G5 6082564.000 22.617 22.617 0.000 0.0
390 F1 R
391 G1 R
392 H1 R
393 A2 R
394 B2 R
395 C2 R
396 D2 R
397 E2 R
398 F2 R
399 G2 R
40 H5 5260724.000 19.931 19.931 0.000 0.0
400 H2 R
401 A3 R
402 B3 R
403 C3 R
404 D3 R
405 E3 R
406 F3 R
407 G3 R
408 H3 R
409 A4 R
41 A6 5818387.000 21.754 21.754 0.000 0.0
410 B4 R
411 C4 R
412 D4 R
413 E4 R
414 F4 R
415 G4 R
416 H4 R
417 A5 R
418 B5 R
419 C5 R
42 B6 9416221.000 33.512 33.512 0.000 0.0
420 D5 R
421 E5 R
422 F5 R
423 G5 R
424 H5 R
425 A6 R
426 B6 R
427 C6 R
428 D6 R
429 E6 R
43 C6 8335068.000 29.979 29.979 0.000 0.0
430 F6 R
431 G6 R
432 H6 R
433 A7 R
434 B7 R
435 C7 R
436 D7 R
437 E7 R
438 F7 R
439 G7 R
44 D6 11025731.000 38.772 38.772 0.000 0.0
440 H7 R
441 A8 R
442 B8 R
443 C8 R
444 D8 R
445 E8 R
446 F8 R
447 G8 R
448 H8 R
449 A9 R
45 E6 9019607.000 32.216 32.216 0.000 0.0
450 B9 R
451 C9 R
452 D9 R
453 E9 R
454 F9 R
455 G9 R
456 H9 R
457 A10 R
458 B10 R
459 C10 R
46 F6 5728513.000 21.460 21.460 0.000 0.0
460 D10 R
461 E10 R
462 F10 R
463 G10 R
464 H10 R
465 A11 R
466 B11 R
467 C11 R
468 D11 R
469 E11 R
47 G6 4901735.000 18.758 18.758 0.000 0.0
470 F11 R
471 G11 R
472 H11 R
473 A12 R
474 B12 R
475 C12 R
476 D12 R
477 E12 R
478 F12 R
479 G12 R
48 H6 4913502.000 18.797 18.797 0.000 0.0
480 H12 R
49 A7 7544015.000 27.393 27.393 0.000 0.0
50 B7 9077122.000 32.404 32.404 0.000 0.0
51 C7 8013288.000 28.927 28.927 0.000 0.0
52 D7 10068427.000 35.644 35.644 0.000 0.0
53 E7 7762475.000 28.107 28.107 0.000 0.0
54 F7 10275428.000 36.320 36.320 0.000 0.0
55 G7 5974742.000 22.265 22.265 0.000 0.0
56 H7 6961202.000 25.489 25.489 0.000 0.0
57 A8 7193022.000 26.246 26.246 0.000 0.0
58 B8 8520470.000 30.585 30.585 0.000 0.0
59 C8 7919193.000 28.620 28.620 0.000 0.0
60 D8 11105485.000 39.033 39.033 0.000 0.0
61 E8 6929832.000 25.386 25.386 0.000 0.0
62 F8 7466308.000 27.139 27.139 0.000 0.0
63 G8 7854199.000 28.407 28.407 0.000 0.0
64 H8 6278114.000 23.256 23.256 0.000 0.0
65 A9 5566090.000 20.929 20.929 0.000 0.0
66 B9 7654685.000 27.755 27.755 0.000 0.0
67 C9 9348488.000 33.291 33.291 0.000 0.0
68 D9 11163018.000 39.221 39.221 0.000 0.0
69 E9 9146662.000 32.631 32.631 0.000 0.0
70 F9 98781.000 3.061 3.061 0.000 0.0
71 G9 32165.000 2.844 2.844 0.000 0.0
72 H9 55213.000 2.919 2.919 0.000 0.0
73 A10 4983618.000 19.026 19.026 0.000 0.0
74 B10 7188968.000 26.233 26.233 0.000 0.0
75 C10 7537330.000 27.372 27.372 0.000 0.0
76 D10 8864100.000 31.708 31.708 0.000 0.0
77 E10 6035550.000 22.464 22.464 0.000 0.0
78 F10 3553061.000 14.350 14.350 0.000 0.0
79 G10 5769808.000 21.595 21.595 0.000 0.0
80 H10 3345011.000 13.671 13.671 0.000 0.0
81 A11 6999369.000 25.613 25.613 0.000 0.0
82 B11 6242890.000 23.141 23.141 0.000 0.0
83 C11 6106835.000 22.697 22.697 0.000 0.0
84 D11 8978457.000 32.081 32.081 0.000 0.0
85 E11 6745502.000 24.784 24.784 0.000 0.0
86 F11 5931715.000 22.124 22.124 0.000 0.0
87 G11 5153362.000 19.580 19.580 0.000 0.0
88 H11 4546632.000 17.598 17.598 0.000 0.0
89 A12 8829513.000 31.595 31.595 0.000 0.0
90 B12 9019523.000 32.216 32.216 0.000 0.0
91 C12 9069375.000 32.379 32.379 0.000 0.0
92 D12 11751452.000 41.144 41.144 0.000 0.0
93 E12 10233625.000 36.183 36.183 0.000 0.0
94 F12 5705343.000 21.384 21.384 0.000 0.0
95 G12 6160117.000 22.871 22.871 0.000 0.0
96 H12 4448077.000 17.276 17.276 0.000 0.0
Group Summaries
InRange R - Outside standard range
~End
Original Filename: 05-18-18; Date Last Saved: 5/18/2018 3:07:11 PM