## input
ÿþ##BLOCKS= 6
Note:
Basic Endpoint Protocol
Use this protocol for endpoint assays that have unknowns that will have concentrations interpolated from a standard curve. Modify the instrument setup for the wavelength(s) of interest for your assay. You may also modify the template to include additional standards | unknowns | and controls. To make modifications | click the plate section to make it active.
READER SUITABILITY:
SpectraMax M2 | M2e | M3 | M4 | M5 | and M5e.
SpectraMax Plus 384 | 190 | SpectraMax 190 | 340PC 384 and VersaMax
Emax and Vmax
PROTOCOL REVISION HISTORY:
03/02/11 - Imported from 5.4 and edited. (ELM)
10/11/11 - Updated with the additional instruments supported in SMP 6.1
~End
Plate: Plate1 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
25.5 17135216 15287601 16627519 1360 1381 1357 1379 1333 1470 1363 1344 1282
9687630 10084995 8522147 1402 1319 1306 1499 1236 1338 1341 1236 1355
5099268 5053488 3925861 1396 1447 1356 1324 1423 1350 1396 1382 1245
2189013 1955060 1981499 1381 1322 1403 1271 1411 1430 1304 1288 1253
1127161 1050203 970616 1450 1286 1332 1286 1206 1548 1385 1307 1277
578661 564552 537226 1343 1303 1338 1295 1210 1314 1258 1312 1349
190936 185389 178948 1361 1401 1331 1264 1269 1283 1290 1306 1314
23303 21234 22489 1275 1321 1268 1329 1300 1290 1212 1300 1319
1 2 3 4 5 6 7 8 9 10 11 12
17135216 15287601 16627519 1360 1381 1357 1379 1333 1470 1363 1344 1282
9687630 10084995 8522147 1402 1319 1306 1499 1236 1338 1341 1236 1355
5099268 5053488 3925861 1396 1447 1356 1324 1423 1350 1396 1382 1245
2189013 1955060 1981499 1381 1322 1403 1271 1411 1430 1304 1288 1253
1127161 1050203 970616 1450 1286 1332 1286 1206 1548 1385 1307 1277
578661 564552 537226 1343 1303 1338 1295 1210 1314 1258 1312 1349
190936 185389 178948 1361 1401 1331 1264 1269 1283 1290 1306 1314
23303 21234 22489 1275 1321 1268 1329 1300 1290 1212 1300 1319
~End
Plate: Plate2 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
25.5 368773 388802 1160505 505475 325111 356286 483563 337741 317370 285134 207544 108808
501004 496782 625621 443948 934463 368682 573375 138710 191013 316674 495686 374782
1976136 2654122 2116200 2261230 1820227 658951 2951567 1327691 367433 1873519 1029606 1066262
613101 343769 600559 360559 329123 64540 163023 38345 19009 18389 497134 176436
746403 403114 633184 294574 103014 19067 27981 39004 20628 315587 417171 106863
617156 582237 853422 198482 70222 455016 23565 17910 27627 18953 16574 13609
658232 306780 124021 258597 678851 20260 37384 18950 248041 22207 16255 143029
264081 372400 383523 299015 163820 39541 20678 19184 446859 49673 351605 10614
1 2 3 4 5 6 7 8 9 10 11 12
368773 388802 1160505 505475 325111 356286 483563 337741 317370 285134 207544 108808
501004 496782 625621 443948 934463 368682 573375 138710 191013 316674 495686 374782
1976136 2654122 2116200 2261230 1820227 658951 2951567 1327691 367433 1873519 1029606 1066262
613101 343769 600559 360559 329123 64540 163023 38345 19009 18389 497134 176436
746403 403114 633184 294574 103014 19067 27981 39004 20628 315587 417171 106863
617156 582237 853422 198482 70222 455016 23565 17910 27627 18953 16574 13609
658232 306780 124021 258597 678851 20260 37384 18950 248041 22207 16255 143029
264081 372400 383523 299015 163820 39541 20678 19184 446859 49673 351605 10614
~End
Plate: Plate3 1.3 PlateFormat Endpoint Fluorescence FALSE Raw FALSE 1 1 535 1 12 96 485 Manual 0 1 8
Temperature(¡C) 1 2 3 4 5 6 7 8 9 10 11 12
25.5 22501 321749 547200 344427 19851 19593 18887 322214 262690 349463 26780 263128
523122 698175 720855 609095 272183 318878 370418 531361 343990 444110 320534 408890
523173 591964 639741 556690 641944 531820 239375 324261 201331 382739 153970 123109
593743 657608 665090 507361 676137 571123 410457 395832 530017 303691 487457 667473
691213 657616 626148 534395 268667 603221 298667 607558 470379 408834 23340 138036
608905 638059 617362 641892 663535 650993 431187 530735 621791 371382 401022 186670
779538 439832 709860 443383 250885 457353 387712 428640 324828 245661 188297 197633
457175 317816 716528 725666 714428 484909 533193 462123 350614 187807 525830 241901
1 2 3 4 5 6 7 8 9 10 11 12
22501 321749 547200 344427 19851 19593 18887 322214 262690 349463 26780 263128
523122 698175 720855 609095 272183 318878 370418 531361 343990 444110 320534 408890
523173 591964 639741 556690 641944 531820 239375 324261 201331 382739 153970 123109
593743 657608 665090 507361 676137 571123 410457 395832 530017 303691 487457 667473
691213 657616 626148 534395 268667 603221 298667 607558 470379 408834 23340 138036
608905 638059 617362 641892 663535 650993 431187 530735 621791 371382 401022 186670
779538 439832 709860 443383 250885 457353 387712 428640 324828 245661 188297 197633
457175 317816 716528 725666 714428 484909 533193 462123 350614 187807 525830 241901
~End
Group: Standards
Sample Concentration ng BackCalcConc Wells Value MeanValue SD CV
01 20.000 20.322 A1 17135216.000 16350112.000 954534.588 5.8
18.112 A2 15287601.000
19.715 A3 16627519.000
02 10.000 11.415 B1 9687630.000 9431590.667 812274.937 8.6
11.890 B2 10084995.000
10.021 B3 8522147.000
03 5.000 5.927 C1 5099268.000 4692872.333 664645.576 14.2
5.872 C2 5053488.000
4.523 C3 3925861.000
04 2.500 2.446 D1 2189013.000 2041857.333 128124.345 6.3
2.166 D2 1955060.000
2.198 D3 1981499.000
05 1.250 1.176 E1 1127161.000 1049326.667 78276.179 7.5
1.084 E2 1050203.000
0.989 E3 970616.000
06 0.625 0.520 F1 578661.000 560146.333 21065.902 3.8
0.503 F2 564552.000
0.471 F3 537226.000
07 0.313 0.057 G1 190936.000 185091.000 5999.553 3.2
0.050 G2 185389.000
0.042 G3 178948.000
08 0.000 -0.144 H1 23303.000 22342.000 1042.304 4.7
-0.146 H2 21234.000
-0.145 H3 22489.000
Group Summaries
MinStd Smallest standard value: 22342.000 Min(MeanValue)
MaxStd Largest standard value: 16350112.000 Max(MeanValue)
~End
Group: Unknowns
Sample Wells Value R Result MeanResult SD CV
01 A1 368773.000 0.269 0.269 0.000 0.0
02 B1 501004.000 0.427 0.427 0.000 0.0
03 C1 1976136.000 2.192 2.192 0.000 0.0
04 D1 613101.000 0.561 0.561 0.000 0.0
05 E1 746403.000 0.721 0.721 0.000 0.0
06 F1 617156.000 0.566 0.566 0.000 0.0
07 G1 658232.000 0.615 0.615 0.000 0.0
08 H1 264081.000 0.144 0.144 0.000 0.0
09 A2 388802.000 0.293 0.293 0.000 0.0
097 A1 22501.000 -0.145 -0.145 0.000 0.0
098 B1 523122.000 0.454 0.454 0.000 0.0
099 C1 523173.000 0.454 0.454 0.000 0.0
10 B2 496782.000 0.422 0.422 0.000 0.0
100 D1 593743.000 0.538 0.538 0.000 0.0
101 E1 691213.000 0.655 0.655 0.000 0.0
102 F1 608905.000 0.556 0.556 0.000 0.0
103 G1 779538.000 0.761 0.761 0.000 0.0
104 H1 457175.000 0.375 0.375 0.000 0.0
105 A2 321749.000 0.213 0.213 0.000 0.0
106 B2 698175.000 0.663 0.663 0.000 0.0
107 C2 591964.000 0.536 0.536 0.000 0.0
108 D2 657608.000 0.615 0.615 0.000 0.0
109 E2 657616.000 0.615 0.615 0.000 0.0
11 C2 2654122.000 3.003 3.003 0.000 0.0
110 F2 638059.000 0.591 0.591 0.000 0.0
111 G2 439832.000 0.354 0.354 0.000 0.0
112 H2 317816.000 0.208 0.208 0.000 0.0
113 A3 547200.000 0.483 0.483 0.000 0.0
114 B3 720855.000 0.690 0.690 0.000 0.0
115 C3 639741.000 0.593 0.593 0.000 0.0
116 D3 665090.000 0.624 0.624 0.000 0.0
117 E3 626148.000 0.577 0.577 0.000 0.0
118 F3 617362.000 0.567 0.567 0.000 0.0
119 G3 709860.000 0.677 0.677 0.000 0.0
12 D2 343769.000 0.239 0.239 0.000 0.0
120 H3 716528.000 0.685 0.685 0.000 0.0
121 A4 344427.000 0.240 0.240 0.000 0.0
122 B4 609095.000 0.557 0.557 0.000 0.0
123 C4 556690.000 0.494 0.494 0.000 0.0
124 D4 507361.000 0.435 0.435 0.000 0.0
125 E4 534395.000 0.467 0.467 0.000 0.0
126 F4 641892.000 0.596 0.596 0.000 0.0
127 G4 443383.000 0.358 0.358 0.000 0.0
128 H4 725666.000 0.696 0.696 0.000 0.0
129 A5 19851.000 R -0.148 -0.148 0.000 0.0
13 E2 403114.000 0.310 0.310 0.000 0.0
130 B5 272183.000 0.154 0.154 0.000 0.0
131 C5 641944.000 0.596 0.596 0.000 0.0
132 D5 676137.000 0.637 0.637 0.000 0.0
133 E5 268667.000 0.150 0.150 0.000 0.0
134 F5 663535.000 0.622 0.622 0.000 0.0
135 G5 250885.000 0.128 0.128 0.000 0.0
136 H5 714428.000 0.683 0.683 0.000 0.0
137 A6 19593.000 R -0.148 -0.148 0.000 0.0
138 B6 318878.000 0.210 0.210 0.000 0.0
139 C6 531820.000 0.464 0.464 0.000 0.0
14 F2 582237.000 0.525 0.525 0.000 0.0
140 D6 571123.000 0.511 0.511 0.000 0.0
141 E6 603221.000 0.550 0.550 0.000 0.0
142 F6 650993.000 0.607 0.607 0.000 0.0
143 G6 457353.000 0.375 0.375 0.000 0.0
144 H6 484909.000 0.408 0.408 0.000 0.0
145 A7 18887.000 R -0.149 -0.149 0.000 0.0
146 B7 370418.000 0.271 0.271 0.000 0.0
147 C7 239375.000 0.114 0.114 0.000 0.0
148 D7 410457.000 0.319 0.319 0.000 0.0
149 E7 298667.000 0.185 0.185 0.000 0.0
15 G2 306780.000 0.195 0.195 0.000 0.0
150 F7 431187.000 0.344 0.344 0.000 0.0
151 G7 387712.000 0.292 0.292 0.000 0.0
152 H7 533193.000 0.466 0.466 0.000 0.0
153 A8 322214.000 0.214 0.214 0.000 0.0
154 B8 531361.000 0.464 0.464 0.000 0.0
155 C8 324261.000 0.216 0.216 0.000 0.0
156 D8 395832.000 0.302 0.302 0.000 0.0
157 E8 607558.000 0.555 0.555 0.000 0.0
158 F8 530735.000 0.463 0.463 0.000 0.0
159 G8 428640.000 0.341 0.341 0.000 0.0
16 H2 372400.000 0.274 0.274 0.000 0.0
160 H8 462123.000 0.381 0.381 0.000 0.0
161 A9 262690.000 0.142 0.142 0.000 0.0
162 B9 343990.000 0.240 0.240 0.000 0.0
163 C9 201331.000 0.069 0.069 0.000 0.0
164 D9 530017.000 0.462 0.462 0.000 0.0
165 E9 470379.000 0.391 0.391 0.000 0.0
166 F9 621791.000 0.572 0.572 0.000 0.0
167 G9 324828.000 0.217 0.217 0.000 0.0
168 H9 350614.000 0.248 0.248 0.000 0.0
169 A10 349463.000 0.246 0.246 0.000 0.0
17 A3 1160505.000 1.216 1.216 0.000 0.0
170 B10 444110.000 0.359 0.359 0.000 0.0
171 C10 382739.000 0.286 0.286 0.000 0.0
172 D10 303691.000 0.191 0.191 0.000 0.0
173 E10 408834.000 0.317 0.317 0.000 0.0
174 F10 371382.000 0.272 0.272 0.000 0.0
175 G10 245661.000 0.122 0.122 0.000 0.0
176 H10 187807.000 0.053 0.053 0.000 0.0
177 A11 26780.000 -0.140 -0.140 0.000 0.0
178 B11 320534.000 0.212 0.212 0.000 0.0
179 C11 153970.000 0.012 0.012 0.000 0.0
18 B3 625621.000 0.576 0.576 0.000 0.0
180 D11 487457.000 0.411 0.411 0.000 0.0
181 E11 23340.000 -0.144 -0.144 0.000 0.0
182 F11 401022.000 0.308 0.308 0.000 0.0
183 G11 188297.000 0.053 0.053 0.000 0.0
184 H11 525830.000 0.457 0.457 0.000 0.0
185 A12 263128.000 0.143 0.143 0.000 0.0
186 B12 408890.000 0.317 0.317 0.000 0.0
187 C12 123109.000 -0.025 -0.025 0.000 0.0
188 D12 667473.000 0.626 0.626 0.000 0.0
189 E12 138036.000 -0.007 -0.007 0.000 0.0
19 C3 2116200.000 2.359 2.359 0.000 0.0
190 F12 186670.000 0.051 0.051 0.000 0.0
191 G12 197633.000 0.065 0.065 0.000 0.0
192 H12 241901.000 0.117 0.117 0.000 0.0
20 D3 600559.000 0.546 0.546 0.000 0.0
21 E3 633184.000 0.585 0.585 0.000 0.0
22 F3 853422.000 0.849 0.849 0.000 0.0
23 G3 124021.000 -0.023 -0.023 0.000 0.0
24 H3 383523.000 0.287 0.287 0.000 0.0
25 A4 505475.000 0.433 0.433 0.000 0.0
26 B4 443948.000 0.359 0.359 0.000 0.0
27 C4 2261230.000 2.533 2.533 0.000 0.0
28 D4 360559.000 0.259 0.259 0.000 0.0
29 E4 294574.000 0.180 0.180 0.000 0.0
30 F4 198482.000 0.066 0.066 0.000 0.0
31 G4 258597.000 0.137 0.137 0.000 0.0
32 H4 299015.000 0.186 0.186 0.000 0.0
33 A5 325111.000 0.217 0.217 0.000 0.0
34 B5 934463.000 0.946 0.946 0.000 0.0
35 C5 1820227.000 2.005 2.005 0.000 0.0
36 D5 329123.000 0.222 0.222 0.000 0.0
37 E5 103014.000 -0.049 -0.049 0.000 0.0
38 F5 70222.000 -0.088 -0.088 0.000 0.0
39 G5 678851.000 0.640 0.640 0.000 0.0
40 H5 163820.000 0.024 0.024 0.000 0.0
41 A6 356286.000 0.254 0.254 0.000 0.0
42 B6 368682.000 0.269 0.269 0.000 0.0
43 C6 658951.000 0.616 0.616 0.000 0.0
44 D6 64540.000 -0.095 -0.095 0.000 0.0
45 E6 19067.000 R -0.149 -0.149 0.000 0.0
46 F6 455016.000 0.372 0.372 0.000 0.0
47 G6 20260.000 R -0.148 -0.148 0.000 0.0
48 H6 39541.000 -0.125 -0.125 0.000 0.0
49 A7 483563.000 0.407 0.407 0.000 0.0
50 B7 573375.000 0.514 0.514 0.000 0.0
51 C7 2951567.000 3.358 3.358 0.000 0.0
52 D7 163023.000 0.023 0.023 0.000 0.0
53 E7 27981.000 -0.138 -0.138 0.000 0.0
54 F7 23565.000 -0.144 -0.144 0.000 0.0
55 G7 37384.000 -0.127 -0.127 0.000 0.0
56 H7 20678.000 R -0.147 -0.147 0.000 0.0
57 A8 337741.000 0.232 0.232 0.000 0.0
58 B8 138710.000 -0.006 -0.006 0.000 0.0
59 C8 1327691.000 1.416 1.416 0.000 0.0
60 D8 38345.000 -0.126 -0.126 0.000 0.0
61 E8 39004.000 -0.125 -0.125 0.000 0.0
62 F8 17910.000 R -0.150 -0.150 0.000 0.0
63 G8 18950.000 R -0.149 -0.149 0.000 0.0
64 H8 19184.000 R -0.149 -0.149 0.000 0.0
65 A9 317370.000 0.208 0.208 0.000 0.0
66 B9 191013.000 0.057 0.057 0.000 0.0
67 C9 367433.000 0.268 0.268 0.000 0.0
68 D9 19009.000 R -0.149 -0.149 0.000 0.0
69 E9 20628.000 R -0.147 -0.147 0.000 0.0
70 F9 27627.000 -0.139 -0.139 0.000 0.0
71 G9 248041.000 0.125 0.125 0.000 0.0
72 H9 446859.000 0.363 0.363 0.000 0.0
73 A10 285134.000 0.169 0.169 0.000 0.0
74 B10 316674.000 0.207 0.207 0.000 0.0
75 C10 1873519.000 2.069 2.069 0.000 0.0
76 D10 18389.000 R -0.150 -0.150 0.000 0.0
77 E10 315587.000 0.206 0.206 0.000 0.0
78 F10 18953.000 R -0.149 -0.149 0.000 0.0
79 G10 22207.000 R -0.145 -0.145 0.000 0.0
80 H10 49673.000 -0.112 -0.112 0.000 0.0
81 A11 207544.000 0.076 0.076 0.000 0.0
82 B11 495686.000 0.421 0.421 0.000 0.0
83 C11 1029606.000 1.060 1.060 0.000 0.0
84 D11 497134.000 0.423 0.423 0.000 0.0
85 E11 417171.000 0.327 0.327 0.000 0.0
86 F11 16574.000 R -0.152 -0.152 0.000 0.0
87 G11 16255.000 R -0.152 -0.152 0.000 0.0
88 H11 351605.000 0.249 0.249 0.000 0.0
89 A12 108808.000 -0.042 -0.042 0.000 0.0
90 B12 374782.000 0.276 0.276 0.000 0.0
91 C12 1066262.000 1.103 1.103 0.000 0.0
92 D12 176436.000 0.039 0.039 0.000 0.0
93 E12 106863.000 -0.044 -0.044 0.000 0.0
94 F12 13609.000 R -0.156 -0.156 0.000 0.0
95 G12 143029.000 -0.001 -0.001 0.000 0.0
96 H12 10614.000 R -0.159 -0.159 0.000 0.0
Group Summaries
InRange R - Outside standard range
~End
Original Filename: NCED4T2library07252016(run2); Date Last Saved: 7/25/2016 4:31:20 PM