## 2012_March16plate1
Load time: | 2012-03-16 20:23
Read time: | 2012-03-16 20:23
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | DNATech Fluorescence Int
Plate ID: | #2331
Comment: | read 2
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 30.9 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f1
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 3 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 4
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 58063244 | cps
Min counts: | 3333 | counts
Well list: | r0(a1:a12,b1:b12,c1:c12,d1:d12,e1:e12,f1:f12,g1:g12,h1:h12) = (f1(a1:a12,b1:b12,c1:c12,d1:d12,e1:e12,f1:f12,g1:g12,h1:h12))
Data: | RAW DATA
Units: | rfu
Display format: | %.2f
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 3942700 | 3333700 | 4011400 | 3904300 | 3734700 | 4034000 | 3755300 | 3872900 | 3581800 | 3772900 | 3770100 | 3686200
B | 5645037600 | 604402200 | 67328500 | 8515800 | 5645037600 | 601037400 | 70745000 | 9215500 | 5806324400 | 653815900 | 67454700 | 8468400
C | 2419302200 | 2200486000 | 2503451400 | 2392495000 | 2757193000 | 2536536800 | 2293999400 | 2220284800 | 2474758600 | 2132569800 | 2032213800 | 2071200800
D | 2505266800 | 2114298000 | 2091260800 | 2266905000 | 2093795800 | 2446716200 | 2290957200 | 2340625600 | 2175543600 | 3210746200 | 2197686400 | 2366276000
E | 2419302200 | 2290957200 | 2593666200 | 2503451400 | 2474758600 | 2394153000 | 2446716200 | 2197686400 | 2266905000 | 2132569800 | 2013265200 | 2244810200
F | 2446716200 | 2724576600 | 2132569800 | 2315524800 | 2419302200 | 2175543600 | 2266905000 | 2366276000 | 2153842400 | 2419302200 | 2474758600 | 2908049800
G | 2290957200 | 2625200000 | 2657510200 | 2419302200 | 2093795800 | 2051522000 | 2340625600 | 2392495000 | 2132569800 | 2340625600 | 2446716200 | 3706827200
H | 2420997400 | 2153842400 | 2340625600 | 2243352600 | 2266905000 | 2071200800 | 2419302200 | 2243352600 | 2474758600 | 2532817600 | 2366276000 | 2392495000