## 2012_March16plate2
Load time: | 2012-03-16 20:29
Read time: | 2012-03-16 20:29
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | DNATech Fluorescence Int
Plate ID: | #2332
Comment: | read 2
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f1
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 3 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 4
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 69095256 | cps
Min counts: | 3439 | counts
Well list: | r0(a1:a12,b1:b12,c1:c12,d1:d12,e1:e12,f1:f12,g1:g12,h1:h12) = (f1(a1:a12,b1:b12,c1:c12,d1:d12,e1:e12,f1:f12,g1:g12,h1:h12))
Data: | RAW DATA
Units: | rfu
Display format: | %.2f
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 3439100 | 3925400 | 3982500 | 4713700 | 6377300 | 4812700 | 4877000 | 4622400 | 3585500 | 4533500 | 4664900 | 5075800
B | 6909525600 | 712028700 | 77760900 | 11679000 | 5796582400 | 636353500 | 82626100 | 10595000 | 6315837200 | 4505000 | 723965400 | 9858700
C | 2446716200 | 2908049800 | 2831773000 | 2562880400 | 2593666200 | 2831773000 | 2795115800 | 2503451400 | 2945237200 | 2869404600 | 2657510200 | 2657510200
D | 2690625400 | 2532817600 | 2910499800 | 2908049800 | 2657510200 | 2831773000 | 3030494000 | 2795115800 | 3210746200 | 2419302200 | 2419302200 | 3420557600
E | 2564783200 | 2446716200 | 2593666200 | 3528300 | 2659556000 | 2831773000 | 2593666200 | 2724576600 | 2392495000 | 2690625400 | 2831773000 | 3262288400
F | 2625200000 | 2340625600 | 2597566200 | 2625200000 | 2340625600 | 2562880400 | 2625200000 | 2266905000 | 2530962000 | 3033154600 | 2690625400 | 2908049800
G | 2476532600 | 2562880400 | 2394153000 | 2690625400 | 2657510200 | 2661604800 | 2532817600 | 2659556000 | 2627196600 | 2593666200 | 2912953800 | 2562880400
H | 2501638800 | 2562880400 | 2474758600 | 3501200 | 2450186600 | 2564783200 | 2318633000 | 2366276000 | 2869404600 | 2474758600 | 2792856400 | 3771575600