## 2012_March16plate3
Load time: | 2012-03-16 20:35
Read time: | 2012-03-16 20:35
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | DNATech Fluorescence Int
Plate ID: | #2333
Comment: | read 2
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31.1 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f1
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 3 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 4
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 64939156 | cps
Min counts: | 2691 | counts
Well list: | r0(a1:a12,b1:b12,c1:c12,d1:d12,e1:e12,f1:f12,g1:g12,h1:h12) = (f1(a1:a12,b1:b12,c1:c12,d1:d12,e1:e12,f1:f12,g1:g12,h1:h12))
Data: | RAW DATA
Units: | rfu
Display format: | %.2f
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 4512300 | 4243500 | 4337200 | 4335100 | 4409000 | 4601600 | 4363400 | 4535800 | 3574000 | 4635600 | 4528600 | 4483200
B | 6304312400 | 680607400 | 79770000 | 9603700 | 6125466800 | 687104900 | 76333100 | 9397500 | 6493915600 | 731321500 | 78399700 | 9517300
C | 2657510200 | 2593666200 | 2503451400 | 2315524800 | 2562880400 | 2831773000 | 2908049800 | 2395813400 | 2562880400 | 2419302200 | 2908049800 | 2446716200
D | 2625200000 | 2690625400 | 2724576600 | 2795115800 | 2657510200 | 2690625400 | 2988549400 | 2369522000 | 2728880800 | 2474758600 | 2947750000 | 3118017400
E | 2869404600 | 2728880800 | 2912953800 | 2593666200 | 2908049800 | 3118017400 | 2947750000 | 3079111400 | 2625200000 | 3030494000 | 2625200000 | 2503451400
F | 2795115800 | 3169507400 | 2657510200 | 2912953800 | 2829454000 | 2869404600 | 2562880400 | 2625200000 | 2724576600 | 2869404600 | 2947750000 | 2690625400
G | 2947750000 | 2627196600 | 2988549400 | 2869404600 | 2759395400 | 2266905000 | 2869404600 | 2947750000 | 2597566200 | 2724576600 | 3210746200 | 2591720400
H | 2831773000 | 3210746200 | 2392495000 | 3259210600 | 3118017400 | 2947750000 | 2908049800 | 2593666200 | 2625200000 | 2962600 | 2691600 | 3214100