## 20-11-08
Load time: | 2008-11-20 13:33
Read time: | 2008-11-20 13:33
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | <n/a>
Method ID: | Daves Method
Plate ID: | #1748
Comment:
Microplate format: | Corning 96 Flat Opaque PS
Shake time: | 0 | s
Temperature: | 31.7 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | l2
Light sensor: | HC-124
Excitation side: | Top
Emission side: | Top
Lamp: | None
Readings per well: | 10
Time between readings: | 100 | ms
Integration time: | 1600000 | us
Attenuator mode: | o
Motion settling time: | 0 | ms
Luminescence height: | 2 | mm | Numeric
Luminescence aperture: | 96
Max cps: | 380629 | cps
Min counts: | 831 | counts
Dark Count reading: | 597 | counts
Well list: | r0(c1:d12) = counts(l2(c1:d12))
Data: | RAW DATA
Units: | counts
Display format: | %.2f
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C | 2226942 | 34773 | 4241 | 112100 | 8259 | 361341 | 992 | 831 | 96646 | 5164 | 6090066 | 4563
D | 2099122 | 32645 | 4435 | 58586 | 7455 | 625126 | 44994 | 4285 | 69886 | 4327 | 3632 | 1729
E
F
G
H