## 09_15_08 wo blank
Load time: | 2008-09-15 11:09
Read time: | 2008-09-15 11:09
Kinetic read cycle: | 1 of 10
Read start delay time: | 0 | s
Time delay between kinetic reads: | 0 | s
Barcode: | <n/a>
Method ID: | Luc
Plate ID: | #1640
Comment: | 33
Microplate format: | Corning 96 Flat Opaque PS
Shake time: | 0 | s
Temperature: | 31.6 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | l0
Light sensor: | HC-124
Excitation side: | Top
Emission side: | Top
Lamp: | None
Readings per well: | 10
Time between readings: | 100 | ms
Integration time: | 1600000 | us
Attenuator mode: | o
Motion settling time: | 0 | ms
Luminescence height: | 2 | mm | Numeric
Luminescence aperture: | 96
Max cps: | 46987 | cps
Min counts: | 757 | counts
Dark Count reading: | 746 | counts
Well list: | r0(e2:f7) = counts(l0(e2:f7))
Data: | RAW DATA
Units: | counts
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E |  | 751803 | 5203 | 865 | 818 | 836 | 805
F |  | 406459 | 4224 | 775 | 805 | 766 | 757
G
H