## input
Load time: 9/15/2008 10:53
Read time: 9/15/2008 10:53
Kinetic read cycle: 1 of 10
Read start delay time: 0 s
Time delay between kinetic reads: 0 s
Barcode: <n/a>
Method ID: Luc
Plate ID: #1639
Comment: 33
Microplate format: Corning 96 Flat Opaque PS
Shake time: 0 s
Temperature: 31.5 C
Instrument tag:
Serial number: AD2123
Read sequence: row
Mode sequence: plate
Detection mode: l0
Light sensor: HC-124
Excitation side: Top
Emission side: Top
Lamp: None
Readings per well: 10
Time between readings: 100 ms
Integration time: 1600000 us
Attenuator mode: o
Motion settling time: 0 ms
Luminescence height: 2 mm Numeric
Luminescence aperture: 96
Max cps: 62921 cps
Min counts: 692 counts
Dark Count reading: 649 counts
Well list: "r0(e1:f1 | e2:f7) = counts(l0(e1:f1 | e2:f7))"
Data: RAW DATA
Units: counts
Display format: %.9e
1 2 3 4 5 6 7 8 9 10 11 12
A
B
C
D
E 1.74E+03 1.01E+06 6.65E+03 8.21E+02 7.10E+02 8.08E+02 7.22E+02
F 1.08E+03 5.42E+05 5.24E+03 7.52E+02 6.92E+02 6.99E+02 7.45E+02
G
H
Well list: r1(e1:f1) = counts(l0(e1:f1) - avg(l0(e2:f7)))
Data: BACKGROUND SUBTRACTED DATA
Units: counts
Display format: %.9e
1 2 3 4 5 6 7 8 9 10 11 12
A
B
C
D
E -1.29E+05
F -1.29E+05
G
H