## 09.08.08
Load time: | 2008-09-08 10:05
Read time: | 2008-09-08 10:05
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | <n/a>
Method ID: | Farnham
Plate ID: | #1634
Comment:
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31.5 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | column
Mode sequence: | plate
Detection mode: | f8
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 0 | mm | Bottom
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 74397160 | cps
Min counts: | 5823 | counts
Well list: | r0(a1:h1,a2:h2,a3:h3) = (f8(a1:h1,a2:h2,a3:h3))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 190345900 | 6574700 | 6996625600
B | 74187500 | 9200800 | 7434394400
C | 151733800 | 12245600 | 1116159800
D | 55471700 | 18820400 | 1354626800
E | 750717800 | 104644600 | 918344900
F | 27850000 | 839210900 | 3462338800
G | 121314700 | 5823100 | 5121618000
H | 73825900 | 87974500 | 7439716000
Load time: | 2008-09-08 13:00
Read time: | 2008-09-08 13:00
Kinetic read cycle: | 1 of 10
Read start delay time: | 0 | s
Time delay between kinetic reads: | 0 | s
Barcode: | <n/a>
Method ID: | Luc
Plate ID: | #1635
Comment:
Microplate format: | Corning 96 Flat Opaque PS
Shake time: | 0 | s
Temperature: | 31.9 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | l0
Light sensor: | HC-124
Excitation side: | Top
Emission side: | Top
Lamp: | None
Readings per well: | 10
Time between readings: | 100 | ms
Integration time: | 1600000 | us
Attenuator mode: | o
Motion settling time: | 0 | ms
Luminescence height: | 2 | mm | Numeric
Luminescence aperture: | 96
Max cps: | 565 | cps
Min counts: | 663 | counts
Dark Count reading: | 709 | counts
Well list: | r0(a2:e6,b1:e1,a1) = counts(l0(a2:e6,b1:e1,a1))
Data: | RAW DATA
Units: | counts
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1140 | 6257 | 1014 | 922 | 963 | 902
B | 5366 | 776 | 754 | 771 | 787 | 802
C | 9042 | 718 | 754 | 743 | 764 | 746
D | 5480 | 692 | 723 | 663 | 775 | 786
E | 705 | 719 | 718 | 717 | 716 | 721
F
G
H
Well list: | r1(a2:e6,b1:e1) = counts(l0(a2:e6,b1:e1) - avg(l0(a1)))
Data: | BACKGROUND SUBTRACTED DATA
Units: | counts
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A |  | 5117 | -126 | -218 | -177 | -238
B | 4226 | -364 | -386 | -369 | -353 | -338
C | 7902 | -422 | -386 | -397 | -376 | -394
D | 4340 | -448 | -417 | -477 | -365 | -354
E | -435 | -421 | -422 | -423 | -424 | -419
F
G
H
Load time: | 2008-09-08 13:00
Read time: | 2008-09-08 13:08
Kinetic read cycle: | 2 of 10
Read start delay time: | 0 | s
Time delay between kinetic reads: | 0 | s
Barcode: | <n/a>
Method ID: | Luc
Plate ID: | #1635
Comment:
Microplate format: | Corning 96 Flat Opaque PS
Shake time: | 0 | s
Temperature: | 31.9 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | l0
Light sensor: | HC-124
Excitation side: | Top
Emission side: | Top
Lamp: | None
Readings per well: | 10
Time between readings: | 100 | ms
Integration time: | 1600000 | us
Attenuator mode: | o
Motion settling time: | 0 | ms
Luminescence height: | 2 | mm | Numeric
Luminescence aperture: | 96
Max cps: | 554 | cps
Min counts: | 668 | counts
Dark Count reading: | 676 | counts
Well list: | r0(a2:e6,b1:e1,a1) = counts(l0(a2:e6,b1:e1,a1))
Data: | RAW DATA
Units: | counts
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 683 | 6235 | 755 | 716 | 696 | 677
B | 5183 | 743 | 712 | 678 | 731 | 758
C | 8876 | 717 | 677 | 693 | 727 | 668
D | 4757 | 675 | 785 | 688 | 677 | 733
E | 700 | 722 | 728 | 731 | 693 | 683
F
G
H
Well list: | r1(a2:e6,b1:e1) = counts(l0(a2:e6,b1:e1) - avg(l0(a1)))
Data: | BACKGROUND SUBTRACTED DATA
Units: | counts
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A |  | 5552 | 72 | 33 | 13 | -6
B | 4500 | 60 | 29 | -5 | 48 | 75
C | 8193 | 34 | -6 | 10 | 44 | -15
D | 4074 | -8 | 102 | 5 | -6 | 50
E | 17 | 39 | 45 | 48 | 10 | 0
F
G
H