## Sheet1
Load time: | 2006-03-15 13:54
Read time: | 2006-03-15 13:54
Kinetic read cycle: | 1 of 1
Read start delay time: | 2 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | Luc
Plate ID: | #388
Comment:
Microplate format: | Corning 96 Flat Opaque PS
Shake time: | 0 | s
Temperature: | 31.3 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | l0
Light sensor: | HC-124
Excitation side: | Top
Emission side: | Top
Lamp: | None
Readings per well: | 10
Time between readings: | 100 | ms
Integration time: | 1600000 | us
Attenuator mode: | o
Motion settling time: | 0 | ms
Luminescence height: | 2 | mm | Numeric
Luminescence aperture: | 96
Max cps: | 338 | cps
Min counts: | 1944 | counts
Dark Count reading: | 860 | counts
Well list: | r0(b7:g9) = counts(l0(b7:g9))
Data: | RAW DATA
Units: | counts
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B | [6 empty] | 2689 | 2511 | 1944
C | [6 empty] | 3036 | 2379 | 2439
D | [6 empty] | 3212 | 2676 | 2347
E | [6 empty] | 3744 | 3625 | 2880
F | [6 empty] | 4949 | 4133 | 3708
G | [6 empty] | 5422 | 5026 | 4395