## input
Load time: 12/20/2006 05:50:07 PM
Read time: 12/20/2006 05:50:07 PM
Kinetic read cycle: 1 of 1
Read start delay time: 0 s
Time delay between kinetic reads: <n/a>
Barcode: <n/a>
Method ID: DavesMethod
Plate ID: #847
Comment:
Microplate format: Corning 96 Flat Opaque PS
Shake time: 0 s
Temperature: 30.7 C
Instrument tag:
Serial number: AD2123
Read sequence: row
Mode sequence: plate
Detection mode: l1
Light sensor: HC-124
Excitation side: Top
Emission side: Top
Lamp: None
Readings per well: 10
Time between readings: 100 ms
Integration time: 1600000 us
Attenuator mode: o
Motion settling time: 0 ms
Luminescence height: 2 mm Numeric
Luminescence aperture: 96
Max cps: 910996 cps
Min counts: 576 counts
Dark Count reading: 505 counts
Well list: r0(a1:a10) = counts(l1(a1:a10))
Data: RAW DATA
Units: counts
Display format: %.9e
1 2 3 4 5 6 7 8 9 10 11 12
A 1.457593700e+007 2.342150000e+005 1.880740000e+005 2.974600000e+004 6.741000000e+003 1.367107800e+007 3.108410000e+005 1.799900000e+005 9.101500000e+004 5.760000000e+002
B
C
D
E
F
G
H