## A -standard curve 1 - 0.001
Raw data: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 7914007200 | 387784500
B | 775220600 | 483264300
C | 105808000 | 276040500
D | 21963000 | 385617700
E | 13351200 | 314712400
F | 12798300 | 396975000
G
H
ng/ul
1 | 775220600
0.1 | 105808000
0.01 | 21963000
0.001 | 13351200
slope: | 1.3192e-09 | 1.3192e-09
DNA conc: | 10.4404 | 0.51158 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1.0227 | 0.63754 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.13959 | 0.36416 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.028974 | 0.50872 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.017613 | 0.41518 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.016884 | 0.5237 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1 | 204.6307
| 2 | 255.0146
| 3 | 145.6643
| 4 | 203.4873
| 5 | 166.0712
| 6 | 209.4805

## B - template 0.01-100ng per ul
Raw data: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
ng/ul | RFU
100
10
1
0.1
0.01
slope: | #VALUE! | #VALUE!
DNA conc: | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## test
Load time: | 2007-08-24 15:17
Read time: | 2007-08-24 15:17
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | DNA-Tech
Plate ID: | #1321
Comment: | standard
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31.5 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f4
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 1 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 115729528 | cps
Min counts: | 8366 | counts
Well list: | r0(a1:h12) = (f4(a1:h12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 71167200 | 192740700 | 236305100 | 598807100 | 261864400 | 404263600 | 194309800 | 47305200 | 58449300 | 228578000 | 411196700 | 291857900
B | 183307400 | 90898400 | 33332600 | 567278900 | 220028000 | 122965100 | 302514300 | 356931500 | 204781100 | 117397000 | 242008600 | 1981896400
C | 11572952800 | 211298500 | 55319500 | 59336200 | 536479700 | 389908600 | 189999000 | 43821600 | 698224000 | 229439600 | 913244000 | 738245600
D | 1010049200 | 22196300 | 34931600 | 736165100 | 120756900 | 179083900 | 471738800 | 27878600 | 761248300 | 617175900 | 88737800 | 476440100
E | 146513000 | 90727100 | 58127400 | 976453800 | 121784800 | 655585900 | 380848200 | 429142100 | 1650549100 | 177284300 | 305549700 | 1134983100
F | 21215900 | 495238100 | 45001800 | 113256500 | 51455100 | 551447600 | 872285900 | 168637900 | 493807900 | 795888200 | 762059300 | 1270235400
G | 12611500 | 123050700 | 22405700 | 446266300 | 19474100 | 375022300 | 379520000 | 22443800 | 756077600 | 261089300 | 758921800 | 7424917600
H | 8366400 | 114769900 | 31219500 | 282415800 | 526359300 | 1243932000 | 226358700 | 27878600 | 870596100 | 347046100 | 121841900 | 2425054200
ng/ul
10 | 11572952800
1 | 1010049200
0.1 | 146513000
0.01 | 21215900
slope: | 8.6228e-10 | 8.6228e-10
| 0.061366 | 0.1662 | 0.20376 | 0.51634 | 0.2258 | 0.34859 | 0.16755 | 0.040791 | 0.0504 | 0.1971 | 0.35457 | 0.25166
| 0.15806 | 0.07838 | 0.028742 | 0.48916 | 0.18973 | 0.10603 | 0.26085 | 0.30778 | 0.17658 | 0.10123 | 0.20868 | 1.709
| 9.9792 | 0.1822 | 0.047701 | 0.051165 | 0.4626 | 0.33621 | 0.16383 | 0.037787 | 0.60207 | 0.19784 | 0.78748 | 0.63658
| 0.87095 | 0.01914 | 0.030121 | 0.63478 | 0.10413 | 0.15442 | 0.40677 | 0.024039 | 0.65641 | 0.53218 | 0.076517 | 0.41083
| 0.12634 | 0.078233 | 0.050122 | 0.84198 | 0.10501 | 0.5653 | 0.3284 | 0.37004 | 1.4232 | 0.15287 | 0.26347 | 0.97868
| 0.018294 | 0.42704 | 0.038804 | 0.097659 | 0.044369 | 0.4755 | 0.75216 | 0.14541 | 0.4258 | 0.68628 | 0.65711 | 1.0953
| 0.010875 | 0.1061 | 0.01932 | 0.38481 | 0.016792 | 0.32338 | 0.32725 | 0.019353 | 0.65195 | 0.22513 | 0.65441 | 6.4024
| 0.0072142 | 0.098964 | 0.02692 | 0.24352 | 0.45387 | 1.0726 | 0.19519 | 0.024039 | 0.7507 | 0.29925 | 0.10506 | 2.0911