## Sheet1
| 512 | 256 | 128 | 64 | 32 | 16 | 8 | 4 | 2 | 1 | 0 | 0
7mm | 256966500 | 110716500 | 50124100 | 27931300 | 6918500 | 4444200 | 3559200 | 2103100 | 2093600 | 1408400 | 723200 | 970600 | I
7mm | 343750100 | 118815200 | 40883400 | 30186700 | 17767500 | 8584000 | 6100100 | 4035000 | 2103100 | 1417900 | 675600 | 1141900 | K
7mm | 267183100 | 56452700 | 24990600 | 27503000 | 13342300 | 7813100 | 5500600 | 2912000 | 1827100 | 1532100 | 923100 | 2645600 | M
6mm | 316918800 | 136906300 | 61601200 | 34364500 | 8498300 | 5262700 | 4082600 | 2483800 | 2360100 | 1693900 | 866000 | 1084800 | I
6mm | 427189000 | 149373100 | 50866400 | 36334500 | 22183200 | 10658600 | 7422900 | 4824900 | 2474300 | 1836700 | 713700 | 1427400 | K
6mm | 333422300 | 69614200 | 30634000 | 33841100 | 16121100 | 9925800 | 6633000 | 3625800 | 2160200 | 1855700 | 923100 | 3159500 | M
5mm | 387792700 | 165202500 | 74943500 | 40683600 | 10287400 | 6509300 | 5196000 | 2854900 | 2731200 | 1950900 | 999200 | 1389400 | I
5mm | 511248600 | 179895200 | 61191900 | 44842400 | 26827400 | 12885500 | 9040800 | 5881200 | 3140400 | 2093600 | 932600 | 1693900 | K
5mm | 405856100 | 85706800 | 37352800 | 40778800 | 20032500 | 11781500 | 7622800 | 4482300 | 2559900 | 2274400 | 1265700 | 3644800 | M
4mm | 441970600 | 189059900 | 86582300 | 47221500 | 11990900 | 7308700 | 6119100 | 3530600 | 3007200 | 2293500 | 1141900 | 1636800 | I
4mm | 587010600 | 207643500 | 70984600 | 50999600 | 31528600 | 15207500 | 10687100 | 6633000 | 3568700 | 2550400 | 1122900 | 1884200 | K
4mm | 455600400 | 98915900 | 42691600 | 47069200 | 23049300 | 13922800 | 9116900 | 5243600 | 3007200 | 2559900 | 1360800 | 4320500 | M
3mm | 478366200 | 204049800 | 93824500 | 51304100 | 13370800 | 8070100 | 6832900 | 3797100 | 3349800 | 2521900 | 1256100 | 1817600 | I
3mm | 628509300 | 221576000 | 76875400 | 55919700 | 33089300 | 15835600 | 11334300 | 7232600 | 3854200 | 2712200 | 1275200 | 1998400 | K
3mm | 489552800 | 109203400 | 46983600 | 50561900 | 24257900 | 14474800 | 9430900 | 5548200 | 3150000 | 2759800 | 1560700 | 4777300 | M
| 64 | 32 | 16 | 8 | 4 | 2 | 1 | 0 | 0
7mm | 27931300 | 6918500 | 4444200 | 3559200 | 2103100 | 2093600 | 1408400 | 723200 | 970600
7mm | 30186700 | 17767500 | 8584000 | 6100100 | 4035000 | 2103100 | 1417900 | 675600 | 1141900
7mm | 27503000 | 13342300 | 7813100 | 5500600 | 2912000 | 1827100 | 1532100 | 923100 | 2645600
6mm | 34364500 | 8498300 | 5262700 | 4082600 | 2483800 | 2360100 | 1693900 | 866000 | 1084800
6mm | 36334500 | 22183200 | 10658600 | 7422900 | 4824900 | 2474300 | 1836700 | 713700 | 1427400
6mm | 33841100 | 16121100 | 9925800 | 6633000 | 3625800 | 2160200 | 1855700 | 923100 | 3159500
5mm | 40683600 | 10287400 | 6509300 | 5196000 | 2854900 | 2731200 | 1950900 | 999200 | 1389400
5mm | 44842400 | 26827400 | 12885500 | 9040800 | 5881200 | 3140400 | 2093600 | 932600 | 1693900
5mm | 40778800 | 20032500 | 11781500 | 7622800 | 4482300 | 2559900 | 2274400 | 1265700 | 3644800
4mm | 47221500 | 11990900 | 7308700 | 6119100 | 3530600 | 3007200 | 2293500 | 1141900 | 1636800
4mm | 50999600 | 31528600 | 15207500 | 10687100 | 6633000 | 3568700 | 2550400 | 1122900 | 1884200
4mm | 47069200 | 23049300 | 13922800 | 9116900 | 5243600 | 3007200 | 2559900 | 1360800 | 4320500
3mm | 51304100 | 13370800 | 8070100 | 6832900 | 3797100 | 3349800 | 2521900 | 1256100 | 1817600
3mm | 55919700 | 33089300 | 15835600 | 11334300 | 7232600 | 3854200 | 2712200 | 1275200 | 1998400
3mm | 50561900 | 24257900 | 14474800 | 9430900 | 5548200 | 3150000 | 2759800 | 1560700 | 4777300
| 8 | 4 | 2 | 1 | 0 | 0
7mm | 3559200 | 2103100 | 2093600 | 1408400 | 723200 | 970600
7mm | 6100100 | 4035000 | 2103100 | 1417900 | 675600 | 1141900
7mm | 5500600 | 2912000 | 1827100 | 1532100 | 923100 | 2645600
6mm | 4082600 | 2483800 | 2360100 | 1693900 | 866000 | 1084800
6mm | 7422900 | 4824900 | 2474300 | 1836700 | 713700 | 1427400
6mm | 6633000 | 3625800 | 2160200 | 1855700 | 923100 | 3159500
5mm | 5196000 | 2854900 | 2731200 | 1950900 | 999200 | 1389400
5mm | 9040800 | 5881200 | 3140400 | 2093600 | 932600 | 1693900
5mm | 7622800 | 4482300 | 2559900 | 2274400 | 1265700 | 3644800
4mm | 6119100 | 3530600 | 3007200 | 2293500 | 1141900 | 1636800
4mm | 10687100 | 6633000 | 3568700 | 2550400 | 1122900 | 1884200
4mm | 9116900 | 5243600 | 3007200 | 2559900 | 1360800 | 4320500
3mm | 6832900 | 3797100 | 3349800 | 2521900 | 1256100 | 1817600
3mm | 11334300 | 7232600 | 3854200 | 2712200 | 1275200 | 1998400
3mm | 9430900 | 5548200 | 3150000 | 2759800 | 1560700 | 4777300
| 8 | 4 | 2 | 1 | 0 | 0
7mm | 3559200 | 2103100 | 2093600 | 1408400 | 723200 | 970600
7mm | 6100100 | 4035000 | 2103100 | 1417900 | 675600 | 1141900
7mm | 5500600 | 2912000 | 1827100 | 1532100 | 923100 | 2645600
6mm | 4082600 | 2483800 | 2360100 | 1693900 | 866000 | 1084800
6mm | 7422900 | 4824900 | 2474300 | 1836700 | 713700 | 1427400
6mm | 6633000 | 3625800 | 2160200 | 1855700 | 923100 | 3159500
5mm | 5196000 | 2854900 | 2731200 | 1950900 | 999200 | 1389400
5mm | 9040800 | 5881200 | 3140400 | 2093600 | 932600 | 1693900
5mm | 7622800 | 4482300 | 2559900 | 2274400 | 1265700 | 3644800
4mm | 6119100 | 3530600 | 3007200 | 2293500 | 1141900 | 1636800
4mm | 10687100 | 6633000 | 3568700 | 2550400 | 1122900 | 1884200
4mm | 9116900 | 5243600 | 3007200 | 2559900 | 1360800 | 4320500
3mm | 6832900 | 3797100 | 3349800 | 2521900 | 1256100 | 1817600
3mm | 11334300 | 7232600 | 3854200 | 2712200 | 1275200 | 1998400
3mm | 9430900 | 5548200 | 3150000 | 2759800 | 1560700 | 4777300

## 384 test 48plus3stds
Load time: | 2005-07-22 11:40
Read time: | 2005-07-22 11:40
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | Seldin
Plate ID: | #123
Comment: | new comment
Microplate format: | Corning 384 Square Opaque PS
Shake time: | 0 | s
Temperature: | 31.1 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f2
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 7 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 3437501 | cps
Min counts: | 675 | counts
Well list: | r0(a1,a3,a5,a7,a9,a11,a13,a15,a17,a19,a21,a23,c23,c21,c19,c17,c15,c13,c11,c9,c7,c5,c3,c1,e1,e3,e5,e7,e9,e11,e13,e15,e17,e19,e21,e23,g23,g21,g19,g17,g15,g13,g11,g9,g7,g5,g3,g1,i1,i3,i5,i7,i9,i11,i13,i15,i17,i19,i21,i23,k23,k21,k19,k17,k15,k13,k11,k9,k7,k5,k3,k1,m1,m3,m5,m7,m9,m11,m13,m15,m17,m19,m21,m23) = (f2(a1,a3,a5,a7,a9,a11,a13,a15,a17,a19,a21,a23,c23,c21,c19,c17,c15,c13,c11,c9,c7,c5,c3,c1,e1,e3,e5,e7,e9,e11,e13,e15,e17,e19,e21,e23,g23,g21,g19,g17,g15,g13,g11,g9,g7,g5,g3,g1,i1,i3,i5,i7,i9,i11,i13,i15,i17,i19,i21,i23,k23,k21,k19,k17,k15,k13,k11,k9,k7,k5,k3,k1,m1,m3,m5,m7,m9,m11,m13,m15,m17,m19,m21,m23))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | 92768200 |  | 158608500 |  | 178734400 |  | 84574300 |  | 68434100 |  | 90741100 |  | 81224500 |  | 92577800 |  | 251401700 |  | 88609400 |  | 97926200 |  | 153056100
B
C | 76818300 |  | 73811000 |  | 127884600 |  | 78293300 |  | 73135300 |  | 69538000 |  | 61924700 |  | 76713600 |  | 210500400 |  | 81262500 |  | 100800200 |  | 248923300
D
E | 77303600 |  | 70032900 |  | 107566500 |  | 44528300 |  | 66026400 |  | 87048700 |  | 87362700 |  | 65626700 |  | 231976700 |  | 104597300 |  | 138933400 |  | 126675900
F
G | 73287600 |  | 138352900 |  | 59126800 |  | 48220800 |  | 132005300 |  | 83146800 |  | 85802000 |  | 100942900 |  | 241667600 |  | 93605600 |  | 57451900 |  | 223949500
H
I | 256966500 |  | 110716500 |  | 50124100 |  | 27931300 |  | 6918500 |  | 4444200 |  | 3559200 |  | 2103100 |  | 2093600 |  | 1408400 |  | 723200 |  | 970600
J
K | 343750100 |  | 118815200 |  | 40883400 |  | 30186700 |  | 17767500 |  | 8584000 |  | 6100100 |  | 4035000 |  | 2103100 |  | 1417900 |  | 675600 |  | 1141900
L
M | 267183100 |  | 56452700 |  | 24990600 |  | 27503000 |  | 13342300 |  | 7813100 |  | 5500600 |  | 2912000 |  | 1827100 |  | 1532100 |  | 923100 |  | 2645600
N
O
P
Load time: | 2005-07-22 11:44
Read time: | 2005-07-22 11:44
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | Seldin
Plate ID: | #124
Comment: | new comment
Microplate format: | Corning 384 Square Opaque PS
Shake time: | 0 | s
Temperature: | 31.2 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f2
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 6 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 4271890 | cps
Min counts: | 713 | counts
Well list: | r0(a1,a3,a5,a7,a9,a11,a13,a15,a17,a19,a21,a23,c23,c21,c19,c17,c15,c13,c11,c9,c7,c5,c3,c1,e1,e3,e5,e7,e9,e11,e13,e15,e17,e19,e21,e23,g23,g21,g19,g17,g15,g13,g11,g9,g7,g5,g3,g1,i1,i3,i5,i7,i9,i11,i13,i15,i17,i19,i21,i23,k23,k21,k19,k17,k15,k13,k11,k9,k7,k5,k3,k1,m1,m3,m5,m7,m9,m11,m13,m15,m17,m19,m21,m23) = (f2(a1,a3,a5,a7,a9,a11,a13,a15,a17,a19,a21,a23,c23,c21,c19,c17,c15,c13,c11,c9,c7,c5,c3,c1,e1,e3,e5,e7,e9,e11,e13,e15,e17,e19,e21,e23,g23,g21,g19,g17,g15,g13,g11,g9,g7,g5,g3,g1,i1,i3,i5,i7,i9,i11,i13,i15,i17,i19,i21,i23,k23,k21,k19,k17,k15,k13,k11,k9,k7,k5,k3,k1,m1,m3,m5,m7,m9,m11,m13,m15,m17,m19,m21,m23))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | 116198100 |  | 199592900 |  | 226903100 |  | 110221700 |  | 88714100 |  | 116635900 |  | 99829500 |  | 116778600 |  | 315956200 |  | 112762600 |  | 123564000 |  | 189441000
B
C | 98192600 |  | 91607100 |  | 159446700 |  | 102503700 |  | 92863300 |  | 87876600 |  | 79797000 |  | 97155300 |  | 266355200 |  | 104321300 |  | 128979000 |  | 312560700
D
E | 97440800 |  | 86506200 |  | 133290000 |  | 55881700 |  | 82509200 |  | 110012300 |  | 113457300 |  | 83156300 |  | 288365900 |  | 134393900 |  | 173621400 |  | 155929600
F
G | 90208200 |  | 169840300 |  | 74734100 |  | 61601200 |  | 166676900 |  | 106434000 |  | 106824200 |  | 129426300 |  | 300765800 |  | 115741300 |  | 72545300 |  | 280705300
H
I | 316918800 |  | 136906300 |  | 61601200 |  | 34364500 |  | 8498300 |  | 5262700 |  | 4082600 |  | 2483800 |  | 2360100 |  | 1693900 |  | 866000 |  | 1084800
J
K | 427189000 |  | 149373100 |  | 50866400 |  | 36334500 |  | 22183200 |  | 10658600 |  | 7422900 |  | 4824900 |  | 2474300 |  | 1836700 |  | 713700 |  | 1427400
L
M | 333422300 |  | 69614200 |  | 30634000 |  | 33841100 |  | 16121100 |  | 9925800 |  | 6633000 |  | 3625800 |  | 2160200 |  | 1855700 |  | 923100 |  | 3159500
N
O
P
Load time: | 2005-07-22 11:47
Read time: | 2005-07-22 11:47
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | Seldin
Plate ID: | #125
Comment: | new comment
Microplate format: | Corning 384 Square Opaque PS
Shake time: | 0 | s
Temperature: | 31.2 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f2
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 5 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 5112486 | cps
Min counts: | 932 | counts
Well list: | r0(a1,a3,a5,a7,a9,a11,a13,a15,a17,a19,a21,a23,c23,c21,c19,c17,c15,c13,c11,c9,c7,c5,c3,c1,e1,e3,e5,e7,e9,e11,e13,e15,e17,e19,e21,e23,g23,g21,g19,g17,g15,g13,g11,g9,g7,g5,g3,g1,i1,i3,i5,i7,i9,i11,i13,i15,i17,i19,i21,i23,k23,k21,k19,k17,k15,k13,k11,k9,k7,k5,k3,k1,m1,m3,m5,m7,m9,m11,m13,m15,m17,m19,m21,m23) = (f2(a1,a3,a5,a7,a9,a11,a13,a15,a17,a19,a21,a23,c23,c21,c19,c17,c15,c13,c11,c9,c7,c5,c3,c1,e1,e3,e5,e7,e9,e11,e13,e15,e17,e19,e21,e23,g23,g21,g19,g17,g15,g13,g11,g9,g7,g5,g3,g1,i1,i3,i5,i7,i9,i11,i13,i15,i17,i19,i21,i23,k23,k21,k19,k17,k15,k13,k11,k9,k7,k5,k3,k1,m1,m3,m5,m7,m9,m11,m13,m15,m17,m19,m21,m23))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | 142340300 |  | 245295500 |  | 281463900 |  | 140303800 |  | 113362200 |  | 148278700 |  | 121784400 |  | 145490300 |  | 388986500 |  | 143130200 |  | 155892000 |  | 235974100
B
C | 123754300 |  | 113514400 |  | 194660300 |  | 132176600 |  | 116988000 |  | 108756100 |  | 101371200 |  | 120766100 |  | 324235400 |  | 129721300 |  | 160862900 |  | 391656900
D
E | 119938200 |  | 106938400 |  | 162560900 |  | 70432600 |  | 102380000 |  | 138885800 |  | 140884300 |  | 103388700 |  | 357620100 |  | 168341500 |  | 216859600 |  | 193597800
F
G | 108147000 |  | 204326500 |  | 93253500 |  | 76818300 |  | 205032700 |  | 134355900 |  | 134869800 |  | 162701600 |  | 370514300 |  | 140570200 |  | 91245500 |  | 344515700
H
I | 387792700 |  | 165202500 |  | 74943500 |  | 40683600 |  | 10287400 |  | 6509300 |  | 5196000 |  | 2854900 |  | 2731200 |  | 1950900 |  | 999200 |  | 1389400
J
K | 511248600 |  | 179895200 |  | 61191900 |  | 44842400 |  | 26827400 |  | 12885500 |  | 9040800 |  | 5881200 |  | 3140400 |  | 2093600 |  | 932600 |  | 1693900
L
M | 405856100 |  | 85706800 |  | 37352800 |  | 40778800 |  | 20032500 |  | 11781500 |  | 7622800 |  | 4482300 |  | 2559900 |  | 2274400 |  | 1265700 |  | 3644800
N
O
P
Load time: | 2005-07-22 11:49
Read time: | 2005-07-22 11:49
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | Seldin
Plate ID: | #126
Comment: | new comment
Microplate format: | Corning 384 Square Opaque PS
Shake time: | 0 | s
Temperature: | 31.3 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f2
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 4 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 5870106 | cps
Min counts: | 1122 | counts
Well list: | r0(a1,a3,a5,a7,a9,a11,a13,a15,a17,a19,a21,a23,c23,c21,c19,c17,c15,c13,c11,c9,c7,c5,c3,c1,e1,e3,e5,e7,e9,e11,e13,e15,e17,e19,e21,e23,g23,g21,g19,g17,g15,g13,g11,g9,g7,g5,g3,g1,i1,i3,i5,i7,i9,i11,i13,i15,i17,i19,i21,i23,k23,k21,k19,k17,k15,k13,k11,k9,k7,k5,k3,k1,m1,m3,m5,m7,m9,m11,m13,m15,m17,m19,m21,m23) = (f2(a1,a3,a5,a7,a9,a11,a13,a15,a17,a19,a21,a23,c23,c21,c19,c17,c15,c13,c11,c9,c7,c5,c3,c1,e1,e3,e5,e7,e9,e11,e13,e15,e17,e19,e21,e23,g23,g21,g19,g17,g15,g13,g11,g9,g7,g5,g3,g1,i1,i3,i5,i7,i9,i11,i13,i15,i17,i19,i21,i23,k23,k21,k19,k17,k15,k13,k11,k9,k7,k5,k3,k1,m1,m3,m5,m7,m9,m11,m13,m15,m17,m19,m21,m23))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | 167500000 |  | 289108000 |  | 335927100 |  | 170822400 |  | 139599500 |  | 179629900 |  | 145005000 |  | 173705000 |  | 463661600 |  | 171865000 |  | 184282100 |  | 282297600
B
C | 149420700 |  | 132081400 |  | 227126200 |  | 161755600 |  | 140722500 |  | 127760800 |  | 124468100 |  | 145794900 |  | 383014500 |  | 155911100 |  | 193673800 |  | 460475200
D
E | 141188800 |  | 125334100 |  | 191697000 |  | 84127000 |  | 120566300 |  | 166056500 |  | 169515700 |  | 123611600 |  | 423751400 |  | 204372100 |  | 257516500 |  | 231852200
F
G | 124744100 |  | 238712900 |  | 110231200 |  | 90788700 |  | 238408100 |  | 159722900 |  | 159252400 |  | 193775800 |  | 433228300 |  | 163125100 |  | 109822000 |  | 407359700
H
I | 441970600 |  | 189059900 |  | 86582300 |  | 47221500 |  | 11990900 |  | 7308700 |  | 6119100 |  | 3530600 |  | 3007200 |  | 2293500 |  | 1141900 |  | 1636800
J
K | 587010600 |  | 207643500 |  | 70984600 |  | 50999600 |  | 31528600 |  | 15207500 |  | 10687100 |  | 6633000 |  | 3568700 |  | 2550400 |  | 1122900 |  | 1884200
L
M | 455600400 |  | 98915900 |  | 42691600 |  | 47069200 |  | 23049300 |  | 13922800 |  | 9116900 |  | 5243600 |  | 3007200 |  | 2559900 |  | 1360800 |  | 4320500
N
O
P
Load time: | 2005-07-22 11:52
Read time: | 2005-07-22 11:52
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | Seldin
Plate ID: | #127
Comment: | new comment
Microplate format: | Corning 384 Square Opaque PS
Shake time: | 0 | s
Temperature: | 31.3 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f2
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 3 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 6285093 | cps
Min counts: | 1256 | counts
Well list: | r0(a1,a3,a5,a7,a9,a11,a13,a15,a17,a19,a21,a23,c23,c21,c19,c17,c15,c13,c11,c9,c7,c5,c3,c1,e1,e3,e5,e7,e9,e11,e13,e15,e17,e19,e21,e23,g23,g21,g19,g17,g15,g13,g11,g9,g7,g5,g3,g1,i1,i3,i5,i7,i9,i11,i13,i15,i17,i19,i21,i23,k23,k21,k19,k17,k15,k13,k11,k9,k7,k5,k3,k1,m1,m3,m5,m7,m9,m11,m13,m15,m17,m19,m21,m23) = (f2(a1,a3,a5,a7,a9,a11,a13,a15,a17,a19,a21,a23,c23,c21,c19,c17,c15,c13,c11,c9,c7,c5,c3,c1,e1,e3,e5,e7,e9,e11,e13,e15,e17,e19,e21,e23,g23,g21,g19,g17,g15,g13,g11,g9,g7,g5,g3,g1,i1,i3,i5,i7,i9,i11,i13,i15,i17,i19,i21,i23,k23,k21,k19,k17,k15,k13,k11,k9,k7,k5,k3,k1,m1,m3,m5,m7,m9,m11,m13,m15,m17,m19,m21,m23))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | 181967200 |  | 313150100 |  | 374056500 |  | 191789600 |  | 155416200 |  | 200259400 |  | 161256000 |  | 193485100 |  | 509018800 |  | 192210700 |  | 206521100 |  | 314328100
B
C | 164401700 |  | 143311000 |  | 247268100 |  | 183287600 |  | 155340100 |  | 141369600 |  | 141036600 |  | 162493900 |  | 419049000 |  | 176021700 |  | 218078000 |  | 509982700
D
E | 153065600 |  | 136049800 |  | 207621100 |  | 92282800 |  | 136068900 |  | 184832900 |  | 186542000 |  | 138714500 |  | 466307400 |  | 226040000 |  | 290961200 |  | 260011900
F
G | 134517700 |  | 254240400 |  | 122098400 |  | 100609900 |  | 259194600 |  | 173757700 |  | 174229500 |  | 213856700 |  | 470165700 |  | 177170200 |  | 121508400 |  | 443813600
H
I | 478366200 |  | 204049800 |  | 93824500 |  | 51304100 |  | 13370800 |  | 8070100 |  | 6832900 |  | 3797100 |  | 3349800 |  | 2521900 |  | 1256100 |  | 1817600
J
K | 628509300 |  | 221576000 |  | 76875400 |  | 55919700 |  | 33089300 |  | 15835600 |  | 11334300 |  | 7232600 |  | 3854200 |  | 2712200 |  | 1275200 |  | 1998400
L
M | 489552800 |  | 109203400 |  | 46983600 |  | 50561900 |  | 24257900 |  | 14474800 |  | 9430900 |  | 5548200 |  | 3150000 |  | 2759800 |  | 1560700 |  | 4777300
N
O
P
Load time: | 2005-07-22 11:58
Read time: | 2005-07-22 11:58
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | Seldin
Plate ID: | #128
Comment: | new comment
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31.5 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f2
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 7 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 29501922 | cps
Min counts: | 1494 | counts
Well list: | r0(a1:g12) = (f2(a1:g12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 393301900 | 216613500 | 1178386700 | 60183200 | 445130000 | 1022591200 | 5529100 | 730995400 | 610830500 | 99696300 | 19794600 | 14855400
B | 94500200 | 343298300 | 614731900 | 1032949400 | 590223800 | 1937383400 | 1141489400 | 186318900 | 849536900 | 542385300 | 175002500 | 655040500
C | 490553900 | 13684900 | 890100100 | 726387800 | 724319300 | 138961900 | 52503200 | 46974100 | 257047800 | 460236000 | 10820400 | 153113200
D | 615158800 | 280558400 | 1062238000 | 567450300 | 403685200 | 904490500 | 678493900 | 25133400 | 1068278600 | 213472900 | 26199300 | 301258000
E | 2950192200 | 1362501700 | 638247200 | 318530300 | 164077200 | 83917700 | 46479200 | 26123100 | 13970400 | 9430900 | 2065100 | 1674900
F | 2929957200 | 1296820400 | 635212800 | 298697300 | 136963400 | 77617700 | 39798500 | 23030200 | 14122600 | 7394400 | 1494100 | 2236400
G | 2912008800 | 1483432300 | 654356000 | 347441400 | 165147500 | 88685500 | 57214000 | 28131100 | 17405900 | 9507100 | 2160200 | 1674900
H