## qiagen 48
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
7mm | A | 389051600 | 215180700 | 1208218600 | 60678000 | 449720000 | 1022913100 | 5319800 | 730457800 | 606902800 | 100124500 | 19623300 | 13142400
7mm | B | 93976800 | 345584800 | 613713200 | 1062810000 | 588395100 | 1929089600 | 1114992900 | 188874000 | 838896200 | 539698800 | 174241900 | 650493100
7mm | C | 487628300 | 13618300 | 881071600 | 730885800 | 727072000 | 140741500 | 51827600 | 46231800 | 259309700 | 462775400 | 10687100 | 154036300
7mm | D | 611662000 | 279011600 | 1064282700 | 570318800 | 402735300 | 906004300 | 680596600 | 25000200 | 1051060400 | 214760700 | 26408600 | 302669100
| A | 408297300 | 227055500 | 1289537900 | 62124600 | 458577900 | 1056444200 | 5367300 | 751990000 | 630517200 | 102075400 | 20023000 | 13113900
| B | 98049900 | 357712000 | 641458500 | 1095594300 | 607044500 | 1965518000 | 1201163300 | 193787600 | 870928600 | 559175900 | 183806200 | 664776200
| C | 508831100 | 14046500 | 919950700 | 754687000 | 757124000 | 142997000 | 53788000 | 57242500 | 266576000 | 478636400 | 10896500 | 157468500
| D | 637469600 | 293843800 | 1118881500 | 596903000 | 435764900 | 935965400 | 704512500 | 25352300 | 1135950800 | 222050900 | 27189000 | 315911400
| A | 401284200 | 227278500 | 1275956400 | 61582100 | 452122000 | 1045717200 | 5519600 | 755429200 | 628833800 | 102113500 | 19708900 | 13009200
| B | 99163300 | 356552100 | 649504100 | 1087047100 | 605956900 | 1979567000 | 1142392600 | 188607400 | 866952800 | 549585100 | 182902300 | 663074300
| C | 516317300 | 14293900 | 904915700 | 733788900 | 741458600 | 138467100 | 52627000 | 69395300 | 262899300 | 472336300 | 10658600 | 154359800
| D | 641965600 | 289912200 | 1105631600 | 588501700 | 444586800 | 935544200 | 698453200 | 25656800 | 1117518100 | 214810100 | 26684600 | 305264500
| A | 389002100 | 214598700 | 1234564900 | 58946000 | 420850800 | 988503400 | 5652800 | 732348200 | 592126800 | 96451100 | 18471700 | 12390600
| B | 96279800 | 343352700 | 615583700 | 1035212500 | 582380000 | 1831989200 | 1104777800 | 176630100 | 839162600 | 519458300 | 173603100 | 624441700
| C | 501073700 | 13646800 | 883968800 | 701675000 | 709775300 | 130244700 | 49933800 | 75600100 | 245503200 | 453510700 | 10401600 | 146394400
| D | 629717600 | 277535100 | 1069333700 | 561906400 | 434747900 | 896110900 | 654048600 | 24638500 | 1042333600 | 200680300 | 25152400 | 290909100
| A | 358539500 | 195443100 | 1106047300 | 53416800 | 381506600 | 898186000 | 5434000 | 680956300 | 543315200 | 87467400 | 16968100 | 11391400
| B | 88885400 | 312698000 | 571014300 | 924346400 | 529387800 | 1663508000 | 986833100 | 158466800 | 758900200 | 473466600 | 155911100 | 560956200
| C | 466860300 | 12542900 | 790239600 | 640228500 | 651169500 | 115703200 | 45089800 | 77389300 | 219456500 | 418144400 | 9088300 | 129873500
| D | 593117800 | 251893100 | 1011525600 | 515535400 | 419600500 | 825806900 | 599263600 | 23696400 | 986134000 | 178525500 | 22459200 | 261596300

## size std comparison
| 512 | 256 | 128 | 64 | 32 | 16 | 8 | 4 | 2 | 1 | 0 | 0
7mm | 2807811800 | 1325314500 | 643635100 | 315828800 | 163810800 | 83479900 | 45851100 | 25618700 | 13732500 | 9240600 | 1836700 | 1446500 | E
7mm | 2896483600 | 1280262400 | 641965600 | 295529700 | 135773800 | 77208400 | 39703400 | 22335500 | 13960900 | 7384900 | 1265700 | 1969900 | F
7mm | 2923968200 | 1411659400 | 649896600 | 345502800 | 161702900 | 88856800 | 56728600 | 27274600 | 17015700 | 9174000 | 1760500 | 1389400 | G
6mm | 2944842800 | 1434874100 | 667139900 | 334176900 | 171818000 | 86430100 | 47373800 | 26694100 | 14322500 | 9497600 | 2055500 | 1446500 | E
6mm | 3056787200 | 1343865100 | 676671100 | 313545000 | 145604500 | 80767700 | 42720100 | 24343500 | 14836400 | 7765500 | 1427400 | 2179300 | F
6mm | 3060327000 | 1562816100 | 669808100 | 357698000 | 165806300 | 89989300 | 58108500 | 28302400 | 17348800 | 9488000 | 1950900 | 1456000 | G
5mm | 2935086400 | 1433594500 | 681337100 | 330098900 | 173426000 | 85687800 | 46983600 | 26627500 | 14560400 | 9469000 | 2322000 | 1408400 | E
5mm | 3157054600 | 1385997800 | 679232700 | 314011600 | 148640300 | 80796200 | 43310200 | 24629000 | 15293200 | 7955900 | 1655800 | 2569400 | F
5mm | 3007553600 | 1491206900 | 678352200 | 350854800 | 163085200 | 88066900 | 56224300 | 27189000 | 16796800 | 9335800 | 1922300 | 1503600 | G
4mm | 2992028600 | 1424075500 | 653407200 | 317724200 | 169253500 | 80396500 | 45089800 | 25200000 | 13913300 | 8955100 | 2912000 | 1579700 | E
4mm | 3109394800 | 1381735900 | 649093100 | 298651500 | 144681400 | 76447100 | 42253800 | 24305400 | 14969600 | 8241400 | 1693900 | 2950100 | F
4mm | 2902468600 | 1425690100 | 650140600 | 334956500 | 154769100 | 82594900 | 53074200 | 26056500 | 15550100 | 8821900 | 2008000 | 1760500 | G
3mm | 2692603600 | 1317542300 | 599431800 | 288787800 | 155730200 | 72012400 | 41102300 | 23268100 | 12961600 | 8117600 | 3397400 | 1655800 | E
3mm | 2844124600 | 1260840700 | 603751300 | 271926700 | 133775400 | 69880600 | 38904000 | 22440200 | 13599200 | 7622800 | 1827100 | 3159500 | F
3mm | 2626871800 | 1324943000 | 597988000 | 299491300 | 139923100 | 73772900 | 46917000 | 23724900 | 14255900 | 8070100 | 2036500 | 1941300 | G
| 64 | 32 | 16 | 8 | 4 | 2 | 1 | 0 | 0
7mm | 315828800 | 163810800 | 83479900 | 45851100 | 25618700 | 13732500 | 9240600 | 1836700 | 1446500
7mm | 295529700 | 135773800 | 77208400 | 39703400 | 22335500 | 13960900 | 7384900 | 1265700 | 1969900
7mm | 345502800 | 161702900 | 88856800 | 56728600 | 27274600 | 17015700 | 9174000 | 1760500 | 1389400
6mm | 334176900 | 171818000 | 86430100 | 47373800 | 26694100 | 14322500 | 9497600 | 2055500 | 1446500
6mm | 313545000 | 145604500 | 80767700 | 42720100 | 24343500 | 14836400 | 7765500 | 1427400 | 2179300
6mm | 357698000 | 165806300 | 89989300 | 58108500 | 28302400 | 17348800 | 9488000 | 1950900 | 1456000
5mm | 330098900 | 173426000 | 85687800 | 46983600 | 26627500 | 14560400 | 9469000 | 2322000 | 1408400
5mm | 314011600 | 148640300 | 80796200 | 43310200 | 24629000 | 15293200 | 7955900 | 1655800 | 2569400
5mm | 350854800 | 163085200 | 88066900 | 56224300 | 27189000 | 16796800 | 9335800 | 1922300 | 1503600
4mm | 317724200 | 169253500 | 80396500 | 45089800 | 25200000 | 13913300 | 8955100 | 2912000 | 1579700
4mm | 298651500 | 144681400 | 76447100 | 42253800 | 24305400 | 14969600 | 8241400 | 1693900 | 2950100
4mm | 334956500 | 154769100 | 82594900 | 53074200 | 26056500 | 15550100 | 8821900 | 2008000 | 1760500
3mm | 288787800 | 155730200 | 72012400 | 41102300 | 23268100 | 12961600 | 8117600 | 3397400 | 1655800
3mm | 271926700 | 133775400 | 69880600 | 38904000 | 22440200 | 13599200 | 7622800 | 1827100 | 3159500
3mm | 299491300 | 139923100 | 73772900 | 46917000 | 23724900 | 14255900 | 8070100 | 2036500 | 1941300
| 8 | 4 | 2 | 1 | 0 | 0
7mm | 45851100 | 25618700 | 13732500 | 9240600 | 1836700 | 1446500
7mm | 39703400 | 22335500 | 13960900 | 7384900 | 1265700 | 1969900
7mm | 56728600 | 27274600 | 17015700 | 9174000 | 1760500 | 1389400
6mm | 47373800 | 26694100 | 14322500 | 9497600 | 2055500 | 1446500
6mm | 42720100 | 24343500 | 14836400 | 7765500 | 1427400 | 2179300
6mm | 58108500 | 28302400 | 17348800 | 9488000 | 1950900 | 1456000
5mm | 46983600 | 26627500 | 14560400 | 9469000 | 2322000 | 1408400
5mm | 43310200 | 24629000 | 15293200 | 7955900 | 1655800 | 2569400
5mm | 56224300 | 27189000 | 16796800 | 9335800 | 1922300 | 1503600
4mm | 45089800 | 25200000 | 13913300 | 8955100 | 2912000 | 1579700
4mm | 42253800 | 24305400 | 14969600 | 8241400 | 1693900 | 2950100
4mm | 53074200 | 26056500 | 15550100 | 8821900 | 2008000 | 1760500
3mm | 41102300 | 23268100 | 12961600 | 8117600 | 3397400 | 1655800
3mm | 38904000 | 22440200 | 13599200 | 7622800 | 1827100 | 3159500
3mm | 46917000 | 23724900 | 14255900 | 8070100 | 2036500 | 1941300

## 96 test 48plus3stds
Load time: | 2005-07-22 11:59
Read time: | 2005-07-22 11:59
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | Seldin
Plate ID: | #129
Comment: | new comment
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31.5 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f2
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 7 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 29239682 | cps
Min counts: | 1265 | counts
Well list: | r0(a1:g12) = (f2(a1:g12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 389051600 | 215180700 | 1208218600 | 60678000 | 449720000 | 1022913100 | 5319800 | 730457800 | 606902800 | 100124500 | 19623300 | 13142400
B | 93976800 | 345584800 | 613713200 | 1062810000 | 588395100 | 1929089600 | 1114992900 | 188874000 | 838896200 | 539698800 | 174241900 | 650493100
C | 487628300 | 13618300 | 881071600 | 730885800 | 727072000 | 140741500 | 51827600 | 46231800 | 259309700 | 462775400 | 10687100 | 154036300
D | 611662000 | 279011600 | 1064282700 | 570318800 | 402735300 | 906004300 | 680596600 | 25000200 | 1051060400 | 214760700 | 26408600 | 302669100
E | 2807811800 | 1325314500 | 643635100 | 315828800 | 163810800 | 83479900 | 45851100 | 25618700 | 13732500 | 9240600 | 1836700 | 1446500
F | 2896483600 | 1280262400 | 641965600 | 295529700 | 135773800 | 77208400 | 39703400 | 22335500 | 13960900 | 7384900 | 1265700 | 1969900
G | 2923968200 | 1411659400 | 649896600 | 345502800 | 161702900 | 88856800 | 56728600 | 27274600 | 17015700 | 9174000 | 1760500 | 1389400
H
Load time: | 2005-07-22 12:00
Read time: | 2005-07-22 12:00
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | Seldin
Plate ID: | #130
Comment: | new comment
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31.5 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f2
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 6 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 30603270 | cps
Min counts: | 1427 | counts
Well list: | r0(a1:g12) = (f2(a1:g12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 408297300 | 227055500 | 1289537900 | 62124600 | 458577900 | 1056444200 | 5367300 | 751990000 | 630517200 | 102075400 | 20023000 | 13113900
B | 98049900 | 357712000 | 641458500 | 1095594300 | 607044500 | 1965518000 | 1201163300 | 193787600 | 870928600 | 559175900 | 183806200 | 664776200
C | 508831100 | 14046500 | 919950700 | 754687000 | 757124000 | 142997000 | 53788000 | 57242500 | 266576000 | 478636400 | 10896500 | 157468500
D | 637469600 | 293843800 | 1118881500 | 596903000 | 435764900 | 935965400 | 704512500 | 25352300 | 1135950800 | 222050900 | 27189000 | 315911400
E | 2944842800 | 1434874100 | 667139900 | 334176900 | 171818000 | 86430100 | 47373800 | 26694100 | 14322500 | 9497600 | 2055500 | 1446500
F | 3056787200 | 1343865100 | 676671100 | 313545000 | 145604500 | 80767700 | 42720100 | 24343500 | 14836400 | 7765500 | 1427400 | 2179300
G | 3060327000 | 1562816100 | 669808100 | 357698000 | 165806300 | 89989300 | 58108500 | 28302400 | 17348800 | 9488000 | 1950900 | 1456000
H
Load time: | 2005-07-22 12:02
Read time: | 2005-07-22 12:02
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | Seldin
Plate ID: | #131
Comment: | new comment
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31.5 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f2
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 5 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 31570546 | cps
Min counts: | 1408 | counts
Well list: | r0(a1:g12) = (f2(a1:g12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 401284200 | 227278500 | 1275956400 | 61582100 | 452122000 | 1045717200 | 5519600 | 755429200 | 628833800 | 102113500 | 19708900 | 13009200
B | 99163300 | 356552100 | 649504100 | 1087047100 | 605956900 | 1979567000 | 1142392600 | 188607400 | 866952800 | 549585100 | 182902300 | 663074300
C | 516317300 | 14293900 | 904915700 | 733788900 | 741458600 | 138467100 | 52627000 | 69395300 | 262899300 | 472336300 | 10658600 | 154359800
D | 641965600 | 289912200 | 1105631600 | 588501700 | 444586800 | 935544200 | 698453200 | 25656800 | 1117518100 | 214810100 | 26684600 | 305264500
E | 2935086400 | 1433594500 | 681337100 | 330098900 | 173426000 | 85687800 | 46983600 | 26627500 | 14560400 | 9469000 | 2322000 | 1408400
F | 3157054600 | 1385997800 | 679232700 | 314011600 | 148640300 | 80796200 | 43310200 | 24629000 | 15293200 | 7955900 | 1655800 | 2569400
G | 3007553600 | 1491206900 | 678352200 | 350854800 | 163085200 | 88066900 | 56224300 | 27189000 | 16796800 | 9335800 | 1922300 | 1503600
H
Load time: | 2005-07-22 12:03
Read time: | 2005-07-22 12:03
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | Seldin
Plate ID: | #132
Comment: | new comment
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31.5 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f2
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 4 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 31093948 | cps
Min counts: | 1579 | counts
Well list: | r0(a1:g12) = (f2(a1:g12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 389002100 | 214598700 | 1234564900 | 58946000 | 420850800 | 988503400 | 5652800 | 732348200 | 592126800 | 96451100 | 18471700 | 12390600
B | 96279800 | 343352700 | 615583700 | 1035212500 | 582380000 | 1831989200 | 1104777800 | 176630100 | 839162600 | 519458300 | 173603100 | 624441700
C | 501073700 | 13646800 | 883968800 | 701675000 | 709775300 | 130244700 | 49933800 | 75600100 | 245503200 | 453510700 | 10401600 | 146394400
D | 629717600 | 277535100 | 1069333700 | 561906400 | 434747900 | 896110900 | 654048600 | 24638500 | 1042333600 | 200680300 | 25152400 | 290909100
E | 2992028600 | 1424075500 | 653407200 | 317724200 | 169253500 | 80396500 | 45089800 | 25200000 | 13913300 | 8955100 | 2912000 | 1579700
F | 3109394800 | 1381735900 | 649093100 | 298651500 | 144681400 | 76447100 | 42253800 | 24305400 | 14969600 | 8241400 | 1693900 | 2950100
G | 2902468600 | 1425690100 | 650140600 | 334956500 | 154769100 | 82594900 | 53074200 | 26056500 | 15550100 | 8821900 | 2008000 | 1760500
H
Load time: | 2005-07-22 12:05
Read time: | 2005-07-22 12:05
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | Seldin
Plate ID: | #133
Comment: | new comment
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31.6 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f2
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 3 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 28441246 | cps
Min counts: | 1655 | counts
Well list: | r0(a1:g12) = (f2(a1:g12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 358539500 | 195443100 | 1106047300 | 53416800 | 381506600 | 898186000 | 5434000 | 680956300 | 543315200 | 87467400 | 16968100 | 11391400
B | 88885400 | 312698000 | 571014300 | 924346400 | 529387800 | 1663508000 | 986833100 | 158466800 | 758900200 | 473466600 | 155911100 | 560956200
C | 466860300 | 12542900 | 790239600 | 640228500 | 651169500 | 115703200 | 45089800 | 77389300 | 219456500 | 418144400 | 9088300 | 129873500
D | 593117800 | 251893100 | 1011525600 | 515535400 | 419600500 | 825806900 | 599263600 | 23696400 | 986134000 | 178525500 | 22459200 | 261596300
E | 2692603600 | 1317542300 | 599431800 | 288787800 | 155730200 | 72012400 | 41102300 | 23268100 | 12961600 | 8117600 | 3397400 | 1655800
F | 2844124600 | 1260840700 | 603751300 | 271926700 | 133775400 | 69880600 | 38904000 | 22440200 | 13599200 | 7622800 | 1827100 | 3159500
G | 2626871800 | 1324943000 | 597988000 | 299491300 | 139923100 | 73772900 | 46917000 | 23724900 | 14255900 | 8070100 | 2036500 | 1941300
H