## Sheet1
512 | 256 | 128 | 64 | 32 | 16 | 8 | 4 | 2 | 1 | 0 | 0
252900100 | 108824100 | 51880300 | 25469000 | 7376100 | 3873600 | 3902200 | 1760700 | 1874900 | 1798800 | 1018300 | 1246800
262858200 | 114772600 | 40621000 | 30170700 | 17398100 | 10069600 | 7566400 | 4892000 | 2683900 | 1779700 | 894600 | 1227700
260779400 | 56325100 | 27191700 | 26011500 | 13391200 | 7385600 | 5643900 | 3397700 | 1922500 | 2008200 | 1085000 | 2864700

## 384 amersham +3xstds
Load time: | 2005-07-29 15:08
Read time: | 2005-07-29 15:08
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | Seldin
Plate ID: | #143
Comment: | new comment
Microplate format: | MatrixSquare384
Shake time: | 0 | s
Temperature: | 31.1 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f2
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 5 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 2951006 | cps
Min counts: | 247 | counts
Well list: | r0(a1,a3,a5,a7,a9,a11,a23,a21,a19,a17,a15,a13,c1,c3,c5,c7,c9,c11,c13,c15,c17:c18,c19,c21,c23,e23,e21,e19,e17,e15,e13,e11,e9,e7,e5,e3,e1,g1,g3,g5,g7,g9,g11,g13,g15,g17,g19,g21,g23,i23,i21,i19,i17,i15,i13,i11,i9,i7,i5,i3,i1,k1,k3,k5,k7,k9,k11,k13,k15,k17,k19,k21,k23,m23,m21,m19,m1,m3,m5,m7,m9,m11,m13,m15,m17) = (f2(a1,a3,a5,a7,a9,a11,a23,a21,a19,a17,a15,a13,c1,c3,c5,c7,c9,c11,c13,c15,c17:c18,c19,c21,c23,e23,e21,e19,e17,e15,e13,e11,e9,e7,e5,e3,e1,g1,g3,g5,g7,g9,g11,g13,g15,g17,g19,g21,g23,i23,i21,i19,i17,i15,i13,i11,i9,i7,i5,i3,i1,k1,k3,k5,k7,k9,k11,k13,k15,k17,k19,k21,k23,m23,m21,m19,m1,m3,m5,m7,m9,m11,m13,m15,m17))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | 106044900 |  | 151025100 |  | 169013600 |  | 87647400 |  | 73799400 |  | 96184700 |  | 92215900 |  | 92710800 |  | 290471000 |  | 86115100 |  | 107834300 |  | 159378400
B
C | 86219800 |  | 62511500 |  | 139584900 |  | 88361300 |  | 66756300 |  | 75664800 |  | 65880700 |  | 99592000 |  | 241909700 | 247400 | 86867000 |  | 93243800 |  | 288524400
D
E | 88466000 |  | 87104900 |  | 114163500 |  | 43419200 |  | 79595600 |  | 83250300 |  | 90664500 |  | 68374300 |  | 292642800 |  | 110746600 |  | 141022100 |  | 128021100
F
G | 71838700 |  | 147941400 |  | 56991300 |  | 60398600 |  | 127964000 |  | 93253300 |  | 97317300 |  | 111079800 |  | 295100600 |  | 108262500 |  | 65509500 |  | 260765500
H
I | 252900100 |  | 108824100 |  | 51880300 |  | 25469000 |  | 7376100 |  | 3873600 |  | 3902200 |  | 1760700 |  | 1874900 |  | 1798800 |  | 1018300 |  | 1246800
J
K | 262858200 |  | 114772600 |  | 40621000 |  | 30170700 |  | 17398100 |  | 10069600 |  | 7566400 |  | 4892000 |  | 2683900 |  | 1779700 |  | 894600 |  | 1227700
L
M | 260779400 |  | 56325100 |  | 27191700 |  | 26011500 |  | 13391200 |  | 7385600 |  | 5643900 |  | 3397700 |  | 1922500 |  | 2008200 |  | 1085000 |  | 2864700
N
O
P