## Sheet1
512 | 256 | 128 | 64 | 32 | 16 | 8 | 4 | 2 | 1 | 0 | genomphi | lambda
7069371200 | 3326000400 | 1631080700 | 828012100 | 411959600 | 221119900 | 114239600 | 61531200 | 33549500 | 18378400 | 3083600 | 1157853200 | 3158393600

## NN 77 samples + sizestd
Load time: | 2005-07-29 15:00
Read time: | 2005-07-29 15:00
Kinetic read cycle: | 1 of 1
Read start delay time: | 0 | s
Time delay between kinetic reads: | <n/a>
Barcode: | ERROR
Method ID: | Seldin
Plate ID: | #141
Comment: | new comment
Microplate format: | MJRBlackSkirt96
Shake time: | 0 | s
Temperature: | 31 | C
Instrument tag:
Serial number: | AD2123
Read sequence: | row
Mode sequence: | plate
Detection mode: | f2
Light sensor: | HC-120
Excitation side: | Top
Emission side: | Top
Lamp: | Continuous
Readings per well: | 1
Time between readings: | <n/a>
Integration time: | 100000 | us
Attenuator mode: | m
Motion settling time: | 25 | ms
Z Height: | 5 | mm | Numeric
Excitation filter: | 1 | Fluorescein 485 nm
Emission filter: | 1 | Fluorescein 530 nm
Beamsplitter: | Top | Fluorescein 505
Excitation polarizer filter: | o
Emission polarizer filter: | o
Detector counting: | SmartRead
Flash lamp voltage: | <n/a>
Delay after flash: | <n/a>
Sensitivity setting: | 2
A/D converter gain: | x1
Integrating gain: | x1
Max cps: | 70693712 | cps
Min counts: | 2712 | counts
Well list: | r0(a1:h12) = (f2(a1:h12))
Data: | RAW DATA
Units: | rfu
Display format: | %.9e
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 757696400 | 265102900 | 464339000 | 1221142300 | 979105200 | 1770875400 | 81718000 | 560885200 | 955391900 | 359485500 | 917250300 | 696069100
B | 2179340800 | 593922700 | 2355247000 | 424647800 | 696853000 | 667252300 | 847520800 | 463063600 | 311215100 | 610406200 | 4178200 | 272180800
C | 224186700 | 1297500500 | 319279600 | 209328800 | 289706300 | 286708500 | 1452014500 | 2057151400 | 508253300 | 270523900 | 447126300 | 1058924700
D | 352011500 | 149921100 | 468541400 | 312335200 | 937223600 | 5995240400 | 549148400 | 499933300 | 168889500 | 1021882500 | 175750200 | 4692100
E | 1052819200 | 522527100 | 719282800 | 16446300 | 551133900 | 245447000 | 390837100 | 171456600 | 590325300 | 453618000 | 940689400 | 9450900
F | 3401378400 | 2252859800 | 1812642600 | 253101600 | 146161600 | 1566379300 | 303581500 | 892936600 | 322464000 | 356535600 | 2914477200 | 605314200
G | 750007000 | 742076300 | 1602962500 | 1665949500 | 886036400 | 28010200 | 2712500 | 239735800 | 3083600 | 3197900 | 2969400 | 5225100
H | 7069371200 | 3326000400 | 1631080700 | 828012100 | 411959600 | 221119900 | 114239600 | 61531200 | 33549500 | 18378400 | 1157853200 | 3158393600